Proposed Standard S2
Transportation Service Providers should provide on its Informational Postings Web Site daily average gas quality information, to the extent available, for location(s) that are representative of mainline gas flow.  Additionally, this information should be provided in a downloadable format that includes the following:

· Gas Day(s)

· Location

· Heating Value

· Hydrocarbon Components,  % of C1 – Cnn, as used in determining Heating Value

· Specific Gravity

· Water

· Nitrogen

· Carbon Dioxide

· Oxygen

· Hydrogen

· Helium

· Total Sulfur

· Hydrogen Sulfide

· Carbonyl Sulfide

· Mercaptans

· Mercury and/or any other contaminants being measured

· Other pertinent gas quality information

Information should be made available in tariff or general terms and conditions specified units (where available) for the Gas Day(s) being provided.

