NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company: Great Lakes Gas Transmission L.P.
	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	Yes, 1,069 Btu/cu. ft.

	LOW HEATING VALUE
	LHV
	Yes, 967 Btu/cu. ft.

	SPECIFIC GRAVITY
	(
	

	WOBBE INDEX
	W
	

	TEMPERATURE
	T
	Yes, must be between 20 and 120 degrees F.

	WATER
	H2O
	Yes, no free water as nearly as practicable

	WATER DEWPOINT VAPOR
	DH2O
	Yes, no more than 4 lbs. of water per million cf

	HYDROCARBON DEWPOINT
	DHC
	

	METHANE
	C1
	

	ETHANE
	C2
	

	PROPANE
	C3
	

	ISOBUTANE
	iC4
	

	NORMAL BUTANE
	nC4
	

	ISOPENTANE
	Ic5
	

	NORMAL PENTANE
	nC5
	

	HEXANES (and heavier)
	C6 (C6+)
	

	HEPTANES
	C7
	

	OCTANES
	C8
	

	NONANES
	C9
	

	DECANES
	C10
	

	NITROGEN
	N2
	Yes, no more than 3% by volume

	CARBON DIOXIDE
	CO2
	Yes, no more than 2% by volume

	OXYGEN
	O2
	Yes, no more than 1% by volume

	HYDROGEN
	H2
	

	HELIUM
	He
	

	OTHER GASES
	?
	

	TOTAL SULFUR
	STOT
	Yes, no more than 20 grains per 100 cf

	HYDROGEN SULFIDE
	H2S
	Yes, no more than ¼ grain per 100 cf

	CARBONYL SULFIDE
	COS
	

	SULFUR IN MERCAPTANS
	SRSH
	

	IRON SULFIDE
	FeS
	

	OTHER SULFUR COMPOUNDS
	?
	

	MERCURY
	Hg
	

	PARTICULATES
	?
	

	
	
	


NOTES: Blank means NO

L:\Tran_Ser\CONTAD\FAVA\GISB\Gas Q Survey.doc
PAGE  

