NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company:  Texas Gas Transmission, LLC

	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	Y – gross heating value

	LOW HEATING VALUE
	LHV
	N 

	SPECIFIC GRAVITY
	(
	N

	WOBBE INDEX
	W
	N

	TEMPERATURE
	T
	Y - range

	WATER
	H2O
	Y

	WATER DEWPOINT
	DH2O
	N

	HYDROCARBON DEWPOINT
	DHC
	Y

	METHANE
	C1
	N

	ETHANE
	C2
	N

	PROPANE
	C3
	N

	ISOBUTANE
	iC4
	N

	NORMAL BUTANE
	nC4
	N

	ISOPENTANE
	Ic5
	N

	NORMAL PENTANE
	nC5
	N

	HEXANES (and heavier)
	C6 (C6+)
	N

	HEPTANES
	C7
	N

	OCTANES
	C8
	N

	NONANES
	C9
	N

	DECANES
	C10
	N

	NITROGEN
	N2
	N

	CARBON DIOXIDE
	CO2
	Y

	OXYGEN
	O2
	Y

	HYDROGEN
	H2
	Y

	HELIUM
	He
	N

	OTHER GASES
	?
	Y

	TOTAL SULFUR
	STOT
	Y

	HYDROGEN SULFIDE
	H2S
	Y

	CARBONYL SULFIDE
	COS
	N

	SULFUR IN MERCAPTANS
	SRSH
	Y

	IRON SULFIDE
	FeS
	N

	OTHER SULFUR COMPOUNDS
	?
	N

	MERCURY
	Hg
	N

	PARTICULATES
	?
	Y

	
	
	

	
	
	


NOTES

PAGE  

