NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company:   Algonquin Gas Transmission
	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	N

	LOW HEATING VALUE
	LHV
	Y

	SPECIFIC GRAVITY
	(
	N

	WOBBE INDEX
	W
	N

	TEMPERATURE
	T
	Y

	WATER
	H2O
	Y

	WATER DEWPOINT
	DH2O
	N

	HYDROCARBON DEWPOINT
	DHC
	N

	METHANE
	C1
	N

	ETHANE
	C2
	N

	PROPANE
	C3
	N

	ISOBUTANE
	iC4
	N

	NORMAL BUTANE
	nC4
	N

	ISOPENTANE
	Ic5
	N

	NORMAL PENTANE
	nC5
	N

	HEXANES (and heavier)
	C6 (C6+)
	N

	HEPTANES
	C7
	N

	OCTANES
	C8
	N

	NONANES
	C9
	N

	DECANES
	C10
	N

	NITROGEN
	N2
	N

	CARBON DIOXIDE
	CO2
	N

	OXYGEN
	O2
	N

	HYDROGEN
	H2
	N

	HELIUM
	He
	N

	OTHER GASES
	?
	N

	TOTAL SULFUR
	STOT
	Y

	HYDROGEN SULFIDE
	H2S
	Y

	CARBONYL SULFIDE
	COS
	N

	SULFUR IN MERCAPTANS
	SRSH
	N

	IRON SULFIDE
	FeS
	N

	OTHER SULFUR COMPOUNDS
	?
	N

	MERCURY
	Hg
	N

	PARTICULATES
	?
	N

	
	
	


NOTES

Algonquin:  
[the gas] Shall be commercially free from dust, gum, gum-forming constituents, and free liquids under continuous gas flow conditions at the pressure and temperature conditions in Algonquin's pipeline at a point approximately fifty feet in advance of the interconnection into Algonquin's system that is serving as the Point of Receipt and the meter inlet header located at or near any Point of Delivery;

PAGE  

