NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company:   East Tennessee Natural Gas
	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	N

	LOW HEATING VALUE
	LHV
	Y

	SPECIFIC GRAVITY
	(
	N

	WOBBE INDEX
	W
	N

	TEMPERATURE
	T
	Y

	WATER
	H2O
	Y

	WATER DEWPOINT
	DH2O
	N

	HYDROCARBON DEWPOINT
	DHC
	N

	METHANE
	C1
	N

	ETHANE
	C2
	N

	PROPANE
	C3
	N

	ISOBUTANE
	iC4
	N

	NORMAL BUTANE
	nC4
	N

	ISOPENTANE
	Ic5
	N

	NORMAL PENTANE
	nC5
	N

	HEXANES (and heavier)
	C6 (C6+)
	N

	HEPTANES
	C7
	N

	OCTANES
	C8
	N

	NONANES
	C9
	N

	DECANES
	C10
	N

	NITROGEN
	N2
	N2 and CO2 combined

	CARBON DIOXIDE
	CO2
	Y

	OXYGEN
	O2
	Y

	HYDROGEN
	H2
	N

	HELIUM
	He
	N

	OTHER GASES
	?
	N

	TOTAL SULFUR
	STOT
	Y

	HYDROGEN SULFIDE
	H2S
	Y

	CARBONYL SULFIDE
	COS
	N

	SULFUR IN MERCAPTANS
	SRSH
	N

	IRON SULFIDE
	FeS
	N

	OTHER SULFUR COMPOUNDS
	?
	N

	MERCURY
	Hg
	N

	PARTICULATES
	?
	N

	
	
	


NOTES

East Tennessee Natural Gas:  

All gas shall be commercially free (at prevailing pressure and  temperature in Transporter's pipeline) from objectionable odors, dust, hydrocarbon liquids, water or other solid or liquid matters  that might interfere with its merchantability or cause injury to persons or properties or interference with proper operation of the lines, regulators, meters or other appliances through which it flows and which might become separated from the gas in Transporter's facilities, and  Transporter may require furnishing, installation, maintenance and operation of such drips, separators, heaters and other mechanical devices as may be necessary to effect  compliance with such requirements (the installation of such equipment shall be subject to prior approval of Transporter as to the design and construction of such facilities, which approval shall not be unreasonably withheld).
PAGE  

