NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company:   Maritimes & Northeast Pipeline - US
	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	N

	LOW HEATING VALUE
	LHV
	Y

	SPECIFIC GRAVITY
	(
	N

	WOBBE INDEX
	W
	N

	TEMPERATURE
	T
	Y

	WATER
	H2O
	Y

	WATER DEWPOINT
	DH2O
	N

	HYDROCARBON DEWPOINT
	DHC
	N

	METHANE
	C1
	N

	ETHANE
	C2
	N

	PROPANE
	C3
	N

	ISOBUTANE
	iC4
	N

	NORMAL BUTANE
	nC4
	N

	ISOPENTANE
	Ic5
	Combined as liquid hydrocarbons


	NORMAL PENTANE
	nC5
	

	HEXANES (and heavier)
	C6 (C6+)
	

	HEPTANES
	C7
	

	OCTANES
	C8
	

	NONANES
	C9
	

	DECANES
	C10
	

	NITROGEN
	N2
	Y - N2 and CO2 combined

	CARBON DIOXIDE
	CO2
	Y - N2 and CO2 combined

	OXYGEN
	O2
	Y

	HYDROGEN
	H2
	N

	HELIUM
	He
	N

	OTHER GASES
	?
	N

	TOTAL SULFUR
	STOT
	Y

	HYDROGEN SULFIDE
	H2S
	Y

	CARBONYL SULFIDE
	COS
	N

	SULFUR IN MERCAPTANS
	SRSH
	N

	IRON SULFIDE
	FeS
	N

	OTHER SULFUR COMPOUNDS
	?
	N

	MERCURY
	Hg
	N

	PARTICULATES
	?
	Y

	
	
	


NOTES

Maritimes & Northeast – US:
Merchantability.  The gas shall be commercially free, under continuous gas flow conditions, from objectionable odors (except those required by applicable regulations), solid matter, dust, gums, and  gum-forming constituents which might interfere with its merchantability or cause injury to or interference with proper operations of the pipelines, compressor stations, meters, regulators or other appliances through which it flows, or their operation.

PAGE  

