NATGAS QUALITY SPECIFICATIONS LIST

Specifications in the Tariff ?

NATGAS PHYSICAL AND CHEMICAL PROPERTIES OR CHARACTERISTICS POTENTIALLY OF INTEREST TO NATGAS USER GROUPS THAT MAY BE MONITORED, TRACKED, OR CALCULATED BY THE INDUSTRY.

Name of Company: Tennessee Gas Pipeline Company (1)
	PROPERTY or CHARACTERISTIC
	SYMBOL
	Specification in the Tariff  

(yes / no / yes- range)

	HIGH HEATING VALUE
	HHV
	Yes

	LOW HEATING VALUE
	LHV
	Yes

	SPECIFIC GRAVITY
	(
	

	WOBBE INDEX
	W
	

	TEMPERATURE
	T
	Yes (2)

	WATER
	H2O
	Yes (2)

	WATER DEWPOINT
	DH2O
	

	HYDROCARBON DEWPOINT
	DHC
	Yes (2) (3) 

	METHANE
	C1
	

	ETHANE
	C2
	

	PROPANE
	C3
	

	ISOBUTANE
	iC4
	

	NORMAL BUTANE
	nC4
	

	ISOPENTANE
	Ic5
	

	NORMAL PENTANE
	nC5
	

	HEXANES (and heavier)
	C6 (C6+)
	

	HEPTANES
	C7
	

	OCTANES
	C8
	

	NONANES
	C9
	

	DECANES
	C10
	

	NITROGEN
	N2
	Yes (2)

	CARBON DIOXIDE
	CO2
	Yes (2)

	OXYGEN
	O2
	Yes (2)

	HYDROGEN
	H2
	

	HELIUM
	He
	

	OTHER GASES
	?
	

	TOTAL SULFUR
	STOT
	Yes

	HYDROGEN SULFIDE
	H2S
	Yes

	CARBONYL SULFIDE
	COS
	

	SULFUR IN MERCAPTANS
	SRSH
	

	IRON SULFIDE
	FeS
	

	OTHER SULFUR COMPOUNDS
	?
	

	MERCURY
	Hg
	

	PARTICULATES
	?
	Yes

	Other Solids or Liquids
	
	Yes


NOTES: (1) Shippers are responsible to deliver gas to the pipeline according to the specified Tariff provisions.

 (2) Gas received by Transporter.

 (3) Currently being reviewed within regulatory proceedings.
PAGE  

