NATURAL GAS QUALITY MEASUREMENT REPORTS

Transportation Service Providers should provide on its Informational Postings Website daily average gas quality information that is representative of mainline gas flow to the extent available at the locations included in the posting.  This information should be provided in a downloadable format that includes the following:

· Gas Day(s)

· Location

· Heating Value

· Hydrocarbon Components,  % of C1 – C???, as used in determining Heating Value

· Specific Gravity

· Water

· Nitrogen

· Carbon Dioxide

· Oxygen

· Hydrogen

· Helium

· Any other gases being measured

· Total Sulfur

· Hydrogen Sulfide

· Carbonyl Sulfide

· Mercaptans

· Any other sulfur compounds being measured

· Mercury and/or any other contaminants being measured

Data shall be posted in tariff specified units (where available) for the Gas Day(s) being reported when it becomes available.

