Proposed Standard S1

Transportation Service Providers should provide natural gas quality tariff (or general terms and conditions) information in a table, as applicable:  
· property or characteristic,

· property or characteristic symbol, 
· measurement unit(s) or condition,

· analytical test method, 
· value(s) (minimum, maximum, range), 

· indicator of whether the value for the characteristic or property applies to the receipt location(s) or delivery location(s) or both,

· a link to where details may be provided on that characteristic or property, and
· any notes or disclaimers.

