

North American Energy Standards Board

Wholesale Electric Quadrant Electronic Scheduling Subcommittee and Information Technology Subcommittee

R04006 – OASIS 1A Enhancements - Redirects

Draft Standard


Submitted 9/23/04 by Aleks Mitreski, Entergy
Entergy’s TP/CA/RC unit provided comments in the body of the prposed standard. In addtion, the comments have been organized in a table to identify why such changes should be made. Entergy supports the initiative to address redirects and believes that the ESS should make all efforts to eliminate ambiguity that was created by Order 638 which left many issues open for interpretation.

	Standard 
	New Proposed Wording in the Standard


	Comments:

	Standard X.2.1
	The avialable capacity for redirect from the parent reservation on a Firm basis shall be the original confirmed or counteroffered capacity minus the already scheduled capacity that uses the parent reservation , minus the already submitted confirmed, accepted, counteroffered or received Firm redirect request related to the parent reservation and minus any submitted confirmed, accepted, counteroffered or received Non-Firm redirect request related to the parent.
	We have broken down Standard 2 into several substandards for clarity.

	Standard X.2.2
	The Transmission Customer (TC) shall be allowed to submit a request to Redirect on a Firm basis even if the transmission scheduling rights on the parent reservation have been limited due to outages or other security-related events.
	For clarity purposes we recommend that this standard should be stated as individual standard.

	Standard X.4
	The TC’s rights on the original path shall remain unaffected during the Transmission Provider’s evaluation of the Redirect request.


	Grammatical change to “Transmission Provider’s” instead of “Transmission Provider”.

	Standard X.4.2
	Upon confirmation of the Redirect request the capacity of the parent reservation (i.e., the reservation being redirected) shall be permanently reduced by the amount of the redirected capacity for the time period of that Redirect. 


	Added “permanently” in the standard to clearly state that after a redirect the TC can not revert back to the original reservation and regain the redirected capacity.

	Remove the Old Standard X.4.3
	
	We do not agree with this standard and would like to be excluded from this standard.

	New Standard X.4.3
	If the TC desires to utilize the original path then the customer must submit a new original request or a redirect from the existing firm redirect queued and these new requests shall be evaluated by the Transmission Provider in the same manner as any other new firm point to point request. 


	This standard reiterates that the TC has given up on the original capacity after it is redirected on a firm basis. If the customer wants to use the old path then the customer must submit a new request.

	New Standard X.4.4(old X.4.3)
	The total capacity of all Redirect requests shall never be more than the capacity of the parent request.


	Entergy believes that the customer can not submit multiple pending request for which the total capacity will be more than the original capacity of the parent request.

	New Standard X.4.5 (old X.4.4)
	The TP shall take any and all actions consistent with their Business practices or Tariff provisions for handling the overscheduling of reserved capacity in the event the TC schedules capacity reserved on the parent reservation and then confirms a Redirect request in an amount that exceeds the unscheduled capacity on the parent reservation.


	We have added “Business practices or Tariff provisions” to this standard in order to better identify the documents that identify penalty settlement charges.

	Standard X.5.1-
	Any related capacity reductions to the remaining portion of the reserved capacity on the parent reservation shall not affect the Redirect reservation.  


	Curtailments are not done on reservations so Entergy thinks that “Any related capacity reductions” is more suitable. 

	Standard X.5.2-
	Any related capacity reductions affecting the reserved capacity on the Redirect reservation shall not affect the parent reservation nor result in a reinstatement of capacity on the parent reservation.
	Curtailments are not done on reservations so Entergy thinks that “Any related capacity reductions” is more suitable.

	Standard X.7


	Any differences in charges associated with the Redirect transaction will be settled in accordance with the Transmission Provider’s Business Practices or tariffs
	We have added “Business Practices” to include a wider area in which this type of information can be found. 

	Standard X.7.1


	Unless otherwise addressed in the Transmission Provider’s Business Practices or tarrifs, the credit on the parent reservation would be computed as the total reservation charge divided by the total megawatt hours reserved times the megawatt hours redirected.  The redirected reservation would be charged like any other service.  


	Similarly as in the previous standard, we have added “Business Practices” to include a wider area in which this type of information can be found.

	
	
	

	Standard Y.1.2


	Requests for Redirects on a Non-Firm basis shall specify the following transmission service attributes in their request:  

SERVICE_INCREMENT=HOURLY, DAILY, WEEKLY, or MONTHLY

TS_CLASS=SECONDARY

TS_TYPE=POINT_TO_POINT

TS_PERIOD=FULL_PERIOD

TS_WINDOW=FIXED
	We have included the service increments of daily, weekly, and monthly to be included as possible non firm redirect services.

	Standard Y.2.1


	The avialable capacity for redirect from the parent reservation on a Non Firm basis shall be the original confirmed or counteroffered capacity minus the already scheduled capacity that uses the parent reservation , minus the already submitted confirmed, accepted, counteroffered or received Firm redirect request related to the parent reservation and minus any submitted confirmed, accepted, counteroffered or received Non-Firm redirect request related to the parent.
	We believe that Standard Y.2.1 clearly explains the conditions under which a non firm redirect can occur. 

	New Standard Y.2.2


	The Transmission Customer (TC) shall be allowed to submit a request to Redirect on a Non-Firm basis even if the transmission scheduling rights on the parent reservation have been limited due to outages or other security-related events.


	Again, we have divided the old Standard Y.2.1 into two separate standards for better clarity.

	Standard Y.3.1
	Requests for Redirect on a Hourly Non-firm basis must be submitted no earlier than 1200 of the day prior to start of service  


	We have added the word “Hourly” in this standard to clearly identify the timing requirements with this type of a redirect. We also deleted the limitation for duration of the redirect. If the redirect is more than 24 hours then the redirect can be classified as Daily Redirect and follow the rules in Standard Y.3.2

	New Standard Y.3.2
	Requests for Redirect on a Daily Non-firm basis must be submitted no earlier than 48 hours prior to start of service  


	We have introduced new standard in order to better describe the redirect timing requirements for Daily Non-Firm Redirects.

	New Standard Y.3.3
	Requests for Redirect on a Weekly Non-firm basis must be submitted no earlier than 14 days prior to start of service  


	We have introduced new standard in order to better describe the redirect timing requirements for Weekly Non-Firm Redirects.

	New Standard Y.3.4
	Requests for Redirect on a Monthly Non-firm basis must be submitted no earlier than 60 days prior to start of service  


	We have introduced new standard in order to better describe the redirect timing requirements for Monthly Non-Firm Redirects.

	Standard Y.4
	Upon submital or confirmation of a Redirect on a Non-Firm basis, the TC's firm scheduling and redirect rights associated with the original reservation shall be deducted by the redirected amount
	We believe that the Firm capacity on the original request shall be deducted by the amount of a submitted pending or confirmed request. This means that the total capacity of pending redirect request shall not be more than the available capacity of the parent request. Entergy supports a mechanism under which the Transmission customer can RELEASE back the non-firm redirected amount to the parent Firm request as long as it follows the scheduling timing requirements and our tarrifs.

	Standard Y.4.1
	At no time shall the total of the schedules at any point in time under the parent reservation and all Redirects on a Non-Firm basis exceed the amount of the original reservation’s reserved capacity.


	We believe that “At no time” is more appropriate wording then “In no event”.

	New Standard Y.4.2
	In the event when a TC request for redirect on Non-Firm basis is denied then the redirect capacity shall be available for additional redirects on the parent request.


	This new standard identifies that if a request for a redirect is denied by the TP then the requested redirect capacity is available for scheduling against or additional redirects on the parent reservation.

	Standard Y.5
	There shall be no transmission charge for Redirect on a Non-Firm basis if the redirected and scheduled amont never exceeds the capacity of the parent reservation.


	We believe that with this wording the standard is more descriptive concise.


SUMMARY:


This standard establishes standard business practices related to the “redirection” of transmission service.  These standards address the provisions of Section 22 in the FERC Pro Forma Open Access Transmission Tariff related to the modification of Points of Receipt and/or Delivery for Firm Point-to-Point Transmission Service. 
Recommended Standards:

Firm Redirect of Firm Point-to-Point Reservations

Standard X

Transmission Customers shall have the right to request modifications to Points of Receipt and/or Points of Delivery (including source or sink, where required) on a firm basis for any Confirmed Point-to-Point Firm Transmission Service reservation (i.e., parent reservation).  This will be referred to as a Redirect on a Firm basis.  All requests to Redirect on a Firm basis shall be submitted to the primary Transmission Provider. 

Standard X.1

A request to Redirect on a Firm basis shall be queued and evaluated by the Transmission Provider in the same manner as any other firm point to point request. 

Standard X.1.1

No additional deposit shall be required for a request to Redirect on a Firm basis.  

Standard X.2

The Transmission Customer (TC) shall be allowed to submit a request to Redirect on a Firm basis for a portion or all of the capacity of the parent reservation. 
Standard X.2.1 

The avialable capacity for redirect from the parent reservation on Firm basis shall be the original confirmed or counteroffered capacity minus the already scheduled capacity on the parent reservation; minus the already submitted confirmed, accepted, counteroffered or received Firm redirect request related to the parent reservation; and minus any received, accepted, counteroffered or confirmed Non-Firm redirect request related to the parent.
Standard X.2-2 

The Transmission Customer (TC) shall be allowed to submit a request to Redirect on a Firm basis even if the transmission scheduling rights on the parent reservation have been limited due to outages or other security-related events.

Standard X.3

The TC shall be allowed to request a Redirect for a portion or all of the time period of the parent request (i.e., bound by the stop/start times of the parent request).

Standard X.3.1

All requests for Redirect on a Firm basis must represent an established service increment offered by the Transmission Provider.

Standard X.4

The TC’s rights on the original path shall remain unaffected during the Transmission Provider’s evaluation of the Redirect request.


Standard X.4.1

If the Redirect request is denied for any reason, all rights shall remain per the original reservation.

Standard X.4.2

Upon confirmation of the Redirect request, the capacity of the parent reservation (i.e., the reservation being redirected) shall be permanently reduced by the amount of the redirected capacity for the time period of that Redirect.   

Standard X.4.3
If the TC desires to utilize the original path then the customer must submit a new original request or a redirect from the existing firm redirect queued and these new requests shall be evaluated by the Transmission Provider in the same manner as any other new firm point to point request. 

Standard X.4.4
The total capacity of all Redirect requests shall never be more than the capacity of the parent request.

Standard X.4.5
The TP shall take any and all actions consistent with their Business practices or Tarrif provisions for handling the overscheduling of reserved capacity in the event the TC schedules capacity reserved on the parent reservation and then confirms a Redirect request in an amount that exceeds the unscheduled capacity on the parent reservation.

Standard X.5

For the purposes of curtailment and other capacity reductions, confirmed Redirects on a Firm basis shall be treated comparably to all other types of firm service.  


Standard X.5.1

Any related capacity reductions to the remaining portion of the reserved capacity on the parent reservation shall not affect the Redirect reservation.  


Standard X.5.2

Any related capacity reductions affecting the reserved capacity on the Redirect reservation shall not affect the parent reservation nor result in a reinstatement of capacity on the parent reservation.

Standard X.6

Unless otherwise mutually agreed to by the primary provider and original customer,  Redirect requests on a Firm basis do not impact the TCs long term firm renewal rights (e.g., rollover or evergreen rights) on the original path, nor do they confer any renewal rights on the redirected path. 

Standard X.7

Any differences in charges associated with the Redirect transaction will be settled in accordance with the Transmission Provider’s Business Practices or tariffs.  

Standard X.7.1

Unless otherwise addressed in the Transmission Provider’s Business Practices or tariffs, the credit on the parent reservation would be computed as the total reservation charge divided by the total megawatt hours reserved times the megawatt hours redirected.  The redirected reservation would be charged like any other service.  

Non-Firm Redirect of Firm Point-to-Point Reservations

Standard Y

Transmission Customers shall have the right to request an alternate, or secondary, Point of Receipt and/or Point of Delivery (including source and sink, if required) on a non-firm basis for any Confirmed Point-to-Point Firm Transmission Service reservation (i.e., parent reservation).  This will be referred to as a Redirect on a Non-Firm basis.  All redirect requests shall be submitted to the primary Transmission Provider.

Standard Y.1

A request to Redirect on a Non-Firm basis shall be queued and evaluated in accordance with the Transmission Provider’s Open Access Tariff.

Standard Y.1.1

Redirects on a Non-Firm basis shall have a service priority that is lower than non-firm hourly point-to-point service.  

Standard Y.1.2

Requests for Redirects on a Non-Firm basis shall specify the following transmission service attributes in their request:  

SERVICE_INCREMENT=HOURLY, DAILY, WEEKLY, or MONTHLY
TS_CLASS=SECONDARY

TS_TYPE=POINT_TO_POINT

TS_PERIOD=FULL_PERIOD

TS_WINDOW=FIXED

Standard Y.2

The Transmission Customer (TC) shall be allowed to request a Redirect on a Non-Firm basis for a portion or all of the capacity of the parent request.

Standard Y.2.1

The available capacity for redirect from the parent reservation on Non Firm basis shall be the original confirmed capacity minus the already scheduled capacity that uses the parent reservation , minus the already submitted confirmed or pending Firm redirect request related to the parent reservation and minus any received, study (if approved), accepted, counteroffered, and confirmed capacity redirected on a Non-Firm basis related to the parent.".

Standard Y.2-2 

The Transmission Customer (TC) shall be allowed to submit a request to Redirect on a Non-Firm basis even if the transmission scheduling rights on the parent reservation have been limited due to outages or other security-related events. 

Standard Y.3

The TC shall be allowed to request a Redirect on a Non-Firm basis for a portion or all of the time period of the parent request (i.e., bound by the stop/start times of the parent request).

Standard Y.3.1

Requests for Redirect on a Hourly Non-firm basis must be submitted no earlier than 1200 of the day prior to start of service  
Standard Y.3.2
Requests for Redirect on a Daily Non-firm basis must be submitted no earlier than 48 hours prior to start of service  
Standard Y.3.3
Requests for Redirect on a Weekly Non-firm basis must be submitted no earlier than 14 days prior to start of service  

Standard Y.3.4
Requests for Redirect on a Monthly Non-firm basis must be submitted no earlier than 60 days prior to start of service  
Standard Y.4

Upon submital or confirmation of a Redirect on a Non-Firm basis, the TC's firm scheduling and redirect rights associated with the original reservation shall be deducted by the redirected amount.  

.  

Standard Y.4.1

At no time shall the total of the schedules at any point in time under the parent reservation and all Redirects on a Non-Firm basis exceed the amount of the original reservation’s reserved capacity.

Standard Y.4.2
In the event when a TC request for redirect on Non-Firm basis is denied then the redirect capacity shall be available for additional redirects on the parent request.


Standard Y.5

There shall be no transmission charge for Redirect on a Non-Firm basis if the redirected and scheduled amont never exceeds the capacity of the parent reservation.
SUPPORTING DOCUMENTATION
a.  Description of Request:
Using OASIS to process and record redirects of transmission service is a difficult task. There are many issues related to the redirect and resale functionality, but most are caused by provider business rules or vendor design choices. The primary issue concerns redirects of transmission service. The current OASIS standard does not facilitate primary provider approval of redirected transmission when that redirect is using resold (reassigned) transmission service. When transmission rights are resold to another customer, the customer on the original request is the seller on the resale request. In this case, the primary provider responsible for administering ATC no longer has approval rights for any future transactions, such as REDIRECTS, that use this resold or reassigned transmission service. This is only an issue when the 2nd customer wants to redirect transmission usage to a constrained path. Currently, unless the provider intervenes on the backend, that provider only has the option to deny this type of transaction when it is tagged.
b.  Description of Recommendation:

The standard recommendation addresses the “primary issue” stated in the Standard Request: the business practices related to requests for a Redirect of transmission service on either a Firm or Non-Firm basis.  The issue of  the treatment of secondary market resale requests for redirected service are addressed in a separate Standard Recommendation specific to Resales.
The OASIS S&CP discusses redirection of service to alternate points of receipt and delivery in Section 4.2.13.9.  This section did not explictly state to whom such requests must be submitted.  Redirected service requires an assessment of the transfer capability on the designated alternate points of receipt and/or delivery.  Only the primary transmission provider is in a position to make such an assessment an authorize the redirected service under the OATT.  Therefore, the OASIS S&CP is clarified in the recommended standard to explicitly require that all requests for redirected service must be submitted to the primary transmission provider for evaluation and approval.The recommended standard also addresses the settlement issue in the event that redirected service would increase or decrease the charges due to the transmission provider.  

In support of the Recommendation Redirect of Transmission Service for a proposed business practice standard to the NAESB Executive Committee, please see the following sets of minutes: 

	WEQ OASIS 1A Task Force
	February 13, 2004
	http://www.naesb.org/pdf/weq_oasis1a_021304dm.pdf

	WEQ ESS/ ITS
	April 6, 2004
	http://www.naesb.org/pdf/weq_ess_its040604fm.doc

	WEQ ESS/ ITS
	May 26-27, 2004
	http://www.naesb.org/pdf/weq_ess_its052604dm.doc

	WEQ ESS
	February 17-18, 2004
	http://www.naesb.org/pdf/weq_ess021704fm.doc

	WEQ OASIS 1A Task Force
	July 14,  2004
	



c.  Business Purpose:
The Business Practices will provide market participants with procedures for providing any necessary data for the Redirect of Transmission Service.  The current WEQ OASIS standard does not facilitate primary provider approval of redirected transmission when that redirect is using resold transmission service.  When transmission rights are resold to another customer, the customer on the original request is the seller on the resale request.  In this case, the primary provider responsible for administering ATC no longer has approval rights for any future transactions, such as redirects, that use this resold or reassigned transmission usage to a constrained path. 
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

3
September 2, 2004
Page 1

