WEQ BPS Document for 11/29/04 Conference Call and 11/30/04 WEQ EC Meeting:  Document Incorporates All Final Industry Comments on Version 0 and Responses to these Final Comments by the WEQ BPS
Below is outline of the overall document.  At the beginning of this document, you will find the following three documents for referential purposes:
A. October 25. Letter to the WEQ EC from the BPS

B. November 29 Letter to the WEQ EC from the BPS
C. Proposed Replacement Definitions Document

I. Area Control Error Equation Special Cases (ACE)

A.
CAISO Comments on ACE


1.
Comments Submitted by CAISO on ACE


2.
WEQ BPS Response to CAISO Comments on ACE

B.
Entergy Comments on ACE


1.
Comments Submitted by Entergy on ACE


2.
WEQ BPS Response
C.
IRC Comments on ACE


1.
Comments Submitted by IRC on ACE


2.
WEQ BPS Response to IRC Comments on ACE

D..
Mirant Comments on ACE


1.
Comments Submitted by Mirant on ACE


2.
WEQ BPS Response to Mirant Comments on ACE

E..
NERC Comments on ACE


1.
Comments Submitted by NERC on ACE


2.
WEQ BPS Response to NERC Comments on ACE

II. Coordinate Interchange (CI)

A.
Allegheny Comments on CI


1.
Comments Submitted by Allegheny


2.
WEQ BPS Response to Allegheny Comments on CI

B.
CAISO Comments on CI


1.
Comments Submitted by CAISO


2.
WEQ BPS Response to CAISO Comments on CI

C.
Entergy Comments on CI


1.
Comments Submitted by Entergy on CI


2.
WEQ BPS Response
D.
Mirant Comments on CI


1.
Comments Submitted by Mirant on CI


2.
WEQ BPS Response
E.
IRC Comments on CI


1.
Comments Submitted by IRC on CI


2.
WEQ BPS Response

F..
Salt River Project (SRP) [Nolan] Comments on CI


1.
Comments Submitted by SRP [Nolan] on CI


2.
WEQ BPS Response to SRP [Nolan] Comments on CI

G..
Salt River Project (SRP) [Pfeister] Comments on CI


1.
Comments Submitted by SRP [Pfeister]


2.
WEQ BPS Response to SRP [Pfeister] Comments on CI

III. Inadvertent Interchange (II)

A.
CAISO Comments on II


1.
Comments Submitted by CAISO on II

2.
WEQ BPS Response to CAISO Comments on II

B.
Entergy Comments on II


1.
Comments Submitted by Entergy on II


2.
WEQ BPS Response
C.
IRC Comments on II


1.
Comments Submitted by IRC on II


2.
WEQ BPS Response

D..
Mirant Comments on II


1.
Comments Submitted by Mirant on II

2.
WEQ BPS Response
E..
NERC Comments on II


1.
Comments Submitted by NERC on II


2.
WEQ BPS Response to NERC Comments on II

IV. Time Error

A.
Allegheny Comments on Time Error


1.
Comments Submitted by Allegheny


2.
WEQ BPS Response to Allegheny Comments on Time Error

B.
CAISO Comments on Time Error


1.
Comments Submitted by CAISO on Time Error


2.
WEQ BPS Response to CAISO Comments on Time Error

C.
Entergy Comments on Time Error


1.
Comments Submitted by Entergy on Time Error


2.
WEQ BPS Response
D..
IRC Comments on Time Error


1.
Comments Submitted by IRC on Time Error


2.
WEQ BPS Response

E..
Mirants Comments on Time Error


1.
Comments Submitted by Mirant on Time Error


2.
WEQ BPS Response to Mirant Comments on Time Error

F..
NERC Comments on Time Error


1.
Comments Submitted by NERC on Time Error


2.
WEQ BPS Response to NERC Comments on Time Error

G..
SRP Comments on Time Error


1.
Comments Submitted by SRP on Time Error


2.
WEQ BPS Response to SRP Comments on Time Error
V. Transmission Loading Relief (TLR)

A.
Entergy Comments on Time Error


1.
Comments Submitted by Entergy on TLR


2.
WEQ BPS Response
B.
Additional Comments on TLR


1. 
Comments


2.
WEQ BPS Response

VI.
Overall Comments


A.
Duke Overall Comments



1.
Comments Submitted by Duke



2. 
WEQ BPS Response

A. October 25 BPS Letter to the WEQ EC

via email and posting

TO:
NAESB WEQ Executive Committee Members

FROM: 
NAESB Version 0 Drafting Team; Joel Dison, Phil Cox, Narinder Saini, Ed Davis, Roman Carter

RE:
Recommendation for Adoption of Version 0 Business Practices Standards

DATE:

October 25,, 2004 
Dear WEQ Executive Committee, 

The BPS has spent the last 5 months working with NERC to transition the business practices embedded within existing NERC Operating Policies and Planning Standards into “Version 0” Business Practice Standards as part of a parallel effort by NERC to convert the reliability requirements in those policies and standards to “Version” Reliability Standards.  The most current version of the proposed Business Practice Standards can be found at the following link(s):

	Area Control Error (ACE) Equation Special Cases Business Practice:
	http://www.naesb.org/pdf/r04013_attach2.doc 

	Time Error Correction Business Practice:
	http://www.naesb.org/pdf/r04013_attach5.doc 

	Inadvertent Interchange Business Practice:
	http://www.naesb.org/pdf/r04013_attach4.doc 

	Coordinate Interchange Business Practice:
	http://www.naesb.org/pdf/r04013_attach3.doc 

	Transmission Loading Relief (TLR) Business Practice:
	http://www.naesb.org/pdf/r04013_attach6.doc 


As you deliberate on these standards, the BPS would ask that you take into consideration several important factors regarding these standards.

First and foremost, as specified in the Request for Standard and as agreed upon as part of the negotiations with NERC regarding these standards, the BPS was charged with converting the business practices directly from NERC policies into NAESB standards without any change in intent.  Generally speaking, the BPS stayed true to that task.  There were, however, some important changes about which you should be aware. The BPS did take the liberty to make changes in formatting, to convert passive language used in the policies to active standards language, and (as specified by NERC) to incorporate certain portions of the function model to clarify responsibility.  However, these were all changes that were considered “within the scope” of the Request for Standard and you should expect that the ultimate intent of each of these standards has remained unchanged from the original NERC policy.

Second, the BPS feels that it is important to inform you that you should not be surprised if you find that certain (hopefully very minor) “discrepancies” exist regarding how you do business today and how these standards are written.  The BPS discovered several of these when converting the original policy language into standards. Several commenters have made similar observations.  While the BPS acknowledges that those discrepancies might exist, the BPS does not feel it is within the scope of their authority on this particular request to actually change the intent of the original NERC policy and could therefore not incorporate those changes.  The BPS will willingly consider any change that may be submitted to the NAESB office via a formal Request for Standard Modification.  In fact, the BPS has identified a number of areas in which “Version 1” improvements may be considered and will be working towards documenting those over the next few months.

Finally, the BPS would like to remind the EC about the disposition of the TLR standard. This particular standard, as originally developed within NERC policy, integrally binds reliability requirements and business practices into a single procedure.  Given the very short time frame for the development of the Version 0 standards, the NERC and NAESB representatives did not feel there was sufficient time to separate the business and reliability components of that procedure in an effective manner.   As such, NERC and NAESB have worked together to develop a single, “Version 0” document that both NERC and NAESB intend to ratify.  NAESB will ratify the document as a business practice standard and NERC will attach the document as a procedure to its reliability standards.  Furthermore, a team has already been established that will work towards a “Version 1” TLR standard that will adequately separate the reliability and business components of the TLR standard by year end 2005.

As has been explained on several occasions, the Version 0 effort is an important first step in documenting the existing business practices currently implemented within the Wholesale Electric Quadrant.  The BPS appreciates your consideration of these standards.

Sincerely,

NAESB Version 0 Drafting Team

B. November 29 BPS Letter to the WEQ EC

via email and posting

TO:
NAESB Wholesale Electric Quadrant (WEQ) Executive Committee Members

FROM: 
Business Practices Subcommittee (BPS) 

RE:
Comments Received on the NAESB Version 0 Business Practices

DATE:

November 29, 2004

Dear WEQ Executive Committee Members:

The BPS has reviewed the comments received on the Version 0 Business Practices and have developed a response to each.  Those responses were developed as a redlined copy to the original and are attached for your consideration.

In addition, there are a few significant points that the BPS would like to make regarding the comments to Version 0 standards.

First.  Several of the commenters indicated a desire for change or suggested an inaccuracy in the standards.  The BPS did not feel that they were empowered to make such changes if they created a standard that would not be a true conversion of existing NERC Policy.

Second.  Some of the commenters indicated regional variances that differed from the proposed standards.  Some of which were backed by Waivers to NERC Policy and some of which were not.  The BPS is uncertain how to handle these variances since NAESB standards are voluntary and thus do not have waivers.  In some cases, we simply noted that the standards do not apply to certain regions.  However, the BPS leaves that ultimately to the EC to decide.

Finally.  The BPS made a very concerted effort to keep definitions as consistent as possible with NERC definitions.  This of course is not always possible because definitions for NAESB standards are developed independently from NERC standards.  The definitions contained in these standards were developed based on review of many documents, including other, previously ratified NAESB standards and the existing NERC glossary, “Terms Used in the Policies”.  However, it has come to our attention that NERC has completely changed its glossary at the last minute with respect to the Version 0 standards, thus illustrating the difficulty in ensuring complete synchronization.   The BPS has made a quick review of those definitions and has a set of recommended replacement definitions, some – but not all - of which have been changed to match the new NERC Version 0 glossary.  Those recommended replacement definitions are included in this package for your consideration. Some in the industry believe that NAESB should not redefine terms that are already defined by NERC. The NAESB office has previously given the BPS guidance in this area to the contrary, but we leave it to the EC to ultimately decide this matter.  If the EC decides to defer to the NERC definitions, it is recommended that they be referenced as follows: “As defined in the NERC Glossary.”

The BPS appreciates the consideration of the EC on these matters.

Sincerely

NAESB Business Practices Subcommittee

C. Proposed Replacement Definitions Document

Area Control Error (ACE) Equation Special Cases

Area Control Error (ACE) - The instantaneous difference between a Balancing  Authority’s net actual and scheduled interchange, taking into account the effects of Frequency Bias and correction for meter error.

Balancing Authority (BA) – The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a Balancing Authority Area, and supports Interconnection frequency in real time.

Balancing Authority Area - The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load resource balance within this area.

Dynamic Schedule - A telemetered reading or value that is updated in real time and used as a schedule in the AGC/ACE equation and the integrated value of which is treated as a schedule for interchange accounting purposes. Commonly used for scheduling jointly owned generation to or from another Balancing Authority. 

Interchange Schedule - An agreed-upon Interchange Transaction size (megawatts), start and end time, beginning and ending ramp times and rate, and type required for delivery and receipt of power and energy between the Source and Sink Balancing Authorities involved in the transaction. 

Interconnection – When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT

Jointly Owned Units (JOU[s]) - This term refers to a unit in which two or more entities share ownership. 

Net Actual Interchange (NIa) - The algebraic sum of all metered interchange over all interconnections between two physically adjacent Balancing Authority Areas. 

Net Interchange Schedule (NIs) - The algebraic sum of all Interchange Schedules with each adjacent Balancing Authority Area.

Pseudo-Tie - A telemetered reading or value that is updated in real time and used as a tie line flow in the ACE equation but for which no physical tie or energy metering actually exists.  The integrated value is used as a metered MWh value for interchange accounting purposes.

Supplemental Regulation Service - A method of providing regulation service in which the Balancing Authority providing the regulation service receives a signal representing all or a portion of the other Balancing Authority’s ACE.

Time Error Correction 

Balancing Authority (BA) – The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a Balancing Authority Area, and supports Interconnection frequency in real time.

Balancing Authority Area - The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load resource balance within this area.

Frequency Bias Setting - A value, in MW/0.1 Hz, set into a Balancing Authority’s ACE algorithm to represent a Balancing Authority’s response to a frequency deviation. 

Interchange Schedule - An agreed-upon Interchange Transaction size (megawatts), start and end time, beginning and ending ramp times and rate, and type required for delivery and receipt of power and energy between the Source and Sink Balancing Authorities involved in the transaction. 

Interconnection –  When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Interconnection Time Monitor – An entity that monitors Time Error and initiates and terminates Time Error Corrections. 

Leap Second - A Leap Second is a second of time added to Coordinated Universal Time to make it agree with astronomical time to within 0.9 seconds. Historically, Leap Seconds are implemented as needed on June 30th or December 31st. (National Institute of Standards and Technology)

Time Error – The difference between the Interconnection time measured at the Balancing Authority(ies) and the time specified by the National Institute of Standards and Technology. Time error is caused by the accumulation of Frequency Error over a given period.

Time Error Correction - An offset to the Interconnection’s scheduled frequency to return the Interconnection’s Time Error to a predetermined value.

WECCNet – a messaging system used by the Western Electric Coordinating Council (WECC) for use by participating utility’s dispatchers and network administrators.

Transmission Loading Relief – Eastern Interconnection

Approval Entity – An entity that has approval rights for an Interchange Transaction Tag. This includes the Transmission Service Providers (TSP), Balancing Authorities (BA), Purchasing-Selling Entities (PSE), and Load Serving Entities (LSE) involved in the Interchange Transaction.   

Balancing Authority (BA) – The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a Balancing Authority Area, and supports Interconnection frequency in real time.

Balancing Authority Area - The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load resource balance within this area.

Constrained Facility – A transmission facility (line, transformer, breaker, etc.) that is approaching, is at, or is beyond its System Operating Limit or Interconnection Reliability Operating Limit.  

Constraint– A limitation placed on Interchange Transactions that flow over a Constrained Facility.  

Contract Path ( NAESB )- A predetermined electrical path established for scheduling and commercial settlement purposes that represents the continuous flow of electrical energy between the parties to a transaction. The contract path does not represent the path the energy actually will flow. (BPS:Note this definition is different than NERC: An agreed upon electrical path for the continuous flow of electrical power between the parties of an Interchange Transaction.)

Curtailment Threshold – The minimum Transfer Distribution Factor which, if exceeded, will subject an Interchange Transaction to curtailment to relieve a transmission facility Constraint. 

Firm Transmission Service - The highest quality service offered to customers under a filed rate schedule that anticipates no planned interruption.

Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate. 

Generator to Load Distribution Factor (GLDF) -  the algebraic sum of a Generator Shift Factor and a Load Shift Factor to determine to total impact of an Interchange Transaction on an identified transmission facility or monitored flowgate.    

Interchange Distribution Calculator (IDC) – The mechanism used by Reliability  Coordinators in the Eastern Interconnection to calculate the distribution of Interchange Transactions over specific Flowgates. It includes a database of all Interchange Transactions and a matrix of the Distribution Factors for the Eastern Interconnection.  

Interchange Transaction - A Transaction that crosses one or more Balancing Authorities’ boundaries. The planned energy exchange between two adjacent Balancing Authorities. 

Interchange Transaction Tag (Tag) – The details of an Interchange Transaction required for its physical implementation.

Interconnection –When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Interconnection Reliability Operating Limit (IROL) – The value (such as MW, MVar, Amperes, Frequency or Volts) derived from, or a subset of the System Operating Limit, which if exceeded, could expose a widespread area of the Bulk Electric System to instability, uncontrolled separation(s) or cascading outages. 

Load Shift Factor (LSF) - A factor to be applied to a load’s expected change in demand to determine the amount of flow contribution that change in demand will impose on an identified transmission facility or monitored flowgate.    

Native Load (NL) - The end-use customers that the Load-Serving Entity is obligated to serve.  

NERC – North American Electric Reliability Council

Network Integration (NI) Transmission Service ( NAESB )– As specified in the Transmission Service Providers tariff, service that allows an electric transmission customer to integrate, plan, economically dispatch and regulate its network resources in a manner comparable to that in which the transmission owner serves native load customers. 

Non-Firm Transmission Service ( NAESB )- As specified in the Transmission Service Providers tariff, transmission service that is reserved and scheduled on an as-available basis and is subject to curtailment or interruption.    

Point to Point (PTP) Transmission Service ( NAESB )- As specified in the Transmission Service Providers tariff, transmission Service reserved and/or scheduled between specified points of receipt and delivery.  (BPS recommends keeping this definition vs. NERC definition: The reservation and transmission of capacity and energy on either a firm or non-firm basis from the Point(s) of Receipt to the Point(s) of Delivery.)
Purchasing-Selling Entity (PSE) – An entity that is eligible to purchase or sell energy or capacity and reserve transmission services. (BPS undecided on this definition vs. NERC definition: The entity that purchases or sells and takes title to energy capacity and Interconnected Operations Services.  PSE’s may be affiliated or unaffiliated merchants and may and may not own generating facilities.)
Reliability Coordinator Information System (RCIS) - The system that Reliability Coordinators use to post messages and share operating information in real time.

Reallocation - The total or partial curtailment of Transactions during TLR Level 3a or 5a to allow Transactions using equal or higher priority to be implemented. 

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 

Reliability Coordinator (RC) - The entity that is the highest level of authority who is responsible for the reliable operation of the Bulk Electric System, has the Wide Area view of the Bulk Electric System, and has the operating tools, processes and procedures, including the authority to prevent or mitigate emergency operating situations in both next-day analysis and real-time operations. The Reliability Coordinator has the purview that is broad enough to enable the calculation of Interconnection Reliability Operating Limits, which may be based on the operating parameters of transmission systems beyond any Transmission Operator’s vision. 

Sink Balancing Authority ( NAESB )- The Balancing Authority responsible for monitoring and/or controlling the load identified as the sink of a bilateral Interchange Transaction. (recommend keeping this definition vs. NERC)
System Operating Limit (SOL) - The value (such as MW, MVar, Amperes, Frequency or

Volts) that satisfies the most limiting of the prescribed operating criteria for a specified system configuration to ensure operation within acceptable reliability criteria. System Operating Limits are based upon certain operating criteria. 

Tie Facility(ies) – The transmission facility(ies) interconnecting Balancing Authority Areas.

Transfer Distribution Factor (TDF) - The portion of an Interchange Transaction, expressed in percent that flows across a transmission facility (Flowgate). 

Transmission Customer ( NAESB )- Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.  (this is the OASIS definition and recommend keeping it vs. NERC)
Transmission Loading Relief (TLR) - A procedure used in the Eastern Interconnection to relieve potential or actual loading on a constrained facility. 

Transmission Operator – The entity responsible for the reliability of its “local” transmission system, and that operates or directs the operations of the transmission facilities.

Transmission Service – Services needed to move energy from a receipt point to a delivery point provided to Transmission Customers by the Transmission Service Provider.  

Transmission Service Provider (TSP) or Transmission Provider (TP) -  The entity that administers the transmission tariff and provides transmission services to transmission customers under applicable transmission service agreements (note: this is different from OASIS, but preferable and a request is already in place to change the OASIS definition)
Inadvertent Interchange 

Area Control Error (ACE) - The instantaneous difference between a Balancing  Authority’s net actual and scheduled interchange, taking into account the effects of Frequency Bias and correction for meter error.

Balancing Authority (BA) – The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a Balancing Authority Area, and supports Interconnection frequency in real time.

Balancing Authority Area - The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load resource balance within this area.

CPS – Control Performance Standard as defined by NERC

Inadvertent Interchange - The difference between a Balancing Authority’s net actual interchange and net scheduled interchange. 

Interchange Schedule - An agreed-upon Interchange Transaction size (megawatts), start and end time, beginning and ending ramp times and rate, and type required for delivery and receipt of power and energy between the Source and Sink Balancing Authorities involved in the transaction. 

Interconnection –When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

L10 – A control error limitation specified in NERC standards.

Regions - One of the North American Electric Reliability Council regional councils or affiliate. 

Transmission Service Provider (TSP) or Transmission Provider (TP) -  The entity that administers the transmission tariff and provides transmission services to transmission customers under applicable transmission service agreements (note: this is different from OASIS, but preferable and a request is already in place to change the OASIS definition)
Coordinate Interchange  

Approval Entity – An entity that has approval rights for an Interchange Transaction Tag. This includes the Transmission Service Providers (TSP), Balancing Authorities (BA), Purchasing-Selling Entities (PSE), and Load Serving Entities (LSE) involved in the Interchange Transaction.  

Balancing Authority (BA) – The responsible entity that integrates resource plans ahead of time, maintains load-interchange-generation balance within a Balancing Authority Area, and supports Interconnection frequency in real time.

Balancing Authority Area - The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load resource balance within this area.

Checkout Process – The method by which any two entities in the utility industry routinely perform a confirmation of schedules for a period of time.  

Interchange Block Accounting – Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.

Interchange Transaction - An agreement to transfer energy from a seller to a buyer that crosses one or more Balancing Authority boundaries.

Interchange Transaction Tag (Tag) – The details of an Interchange Transaction required for its physical implementation.

Interconnection –When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Load-Serving Entity (LSE) (NAESB) – The entity responsible for securing energy and transmission service and related ancillary services to serve the end-use customer and manages the resource portfolios to meet demand and energy requirements. [ BPS recommend this definition vs. NERC: Secures energy and transmission service (and related Interconnected Operations Services) to serve the electrical demand and energy requirements of its end-use customers.]

Market Operator – An entity that administers a market that integrates capacity, energy, balancing resources, and transmission resources to achieve an economic, reliability-constrained dispatch of resources.

Market Period – The period of time beginning when a Requesting PSE is making purchase, sale, and transmission service arrangements needed to support an Interchange Transaction Tag through the time when the Sink BA (Tag Authority) receives the Market Period approvals.

Purchasing-Selling Entity (PSE) – An entity that is eligible to purchase or sell energy or capacity and reserve transmission services.

Reliability Coordinator (RC) - The entity that is the highest level of authority who is responsible for the reliable operation of the Bulk Electric System, has the Wide Area view of the Bulk Electric System, and has the operating tools, processes and procedures, including the authority to prevent or mitigate emergency operating situations in both next-day analysis and real-time operations. The Reliability Coordinator has the purview that is broad enough to enable the calculation of Interconnection Reliability Operating Limits, which may be based on the operating parameters of transmission systems beyond any Transmission Operator’s vision. Reliability Period – The segment of time beginning with the Sink BA requesting approvals from the reliability Approval Entities until the completion of the physical flow of the energy associated with an Interchange Transaction Tag.

Requesting PSE – The PSE submitting the Interchange Transaction Tag.

Scheduling Agent – Entity that is physically scheduling interchange on behalf of the Transmission Service Provider in order to provide wheeling services.  Typically this is the Balancing Authority for the Transmission Service Provider, but may be several Balancing Authorities supporting a regional transmission service.

Sink BA – The Balancing Authority responsible for monitoring and/or controlling the load identified as the sink of a bilateral Interchange Transaction. 

Source BA ( NAESB )– The Balancing Authority responsible for monitoring and/or controlling the generation identified as the source of a bilateral Interchange Transaction. (recommend keeping this definition vs. NERC)
Transmission Service Provider (TSP) or Transmission Provider (TP) -  The entity that administers the transmission tariff and provides transmission services to transmission customers under applicable transmission service agreements (note: this is different from OASIS, but preferable and a request is already in place to change the OASIS definition)
I. ACE

A. CAISO Comments on ACE

1. Comments Submitted by CAISO

Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown




Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. the term requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus on the definition’s validity and/or appropriateness.   

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

· After reviewing this latest draft of NAESB’s proposed Business Standard, it has become increasingly clear that the issue of “ACE Equation, Special Cases” has been inappropriately assigned to NAESB.  The subject of generation control, and thus the ACE expression, is innately linked to physical generator movement, actual interchange flow, and grid reliability.  To segregate a small, yet important portion of the ACE expression for any purpose is irresponsible, and simply does not meet any test of reasonableness.  It is important that the entire ACE expression is managed by a single entity, namely the Regional Council, in order to ensure that 1) ACE is not compromised, 2) special cases are addressed appropriately with sufficient accommodation for regional differences, and above all, 3) reliability is maintained.  More importantly, however, the subject of ACE, and its various components should never be opened to voting by non-impacted parties.  Regional Councils are the parties responsible for determine the ACE methodology and coordinating such methodology among the Control Areas/Balancing Authorities within that Region.  If NAESB has concerns that a Region’s AGC methodology is somehow incorrect, or perhaps needs to be modified to meet changing market conditions, then NAESB should first approach the various Regional Councils to solicit their approval (even if only in concept) and the approval of their members before attempting to create standards and submitting it for vote among non-impacted parties, such as NERC, and extra-Regional entities.

· The WECC variant of the ACE expression, including the automatic time error correction term is not reflected in this Standard even though it is a regional business practice.

· The term “ACE Expression”, or “ACE Formula” is preferable to “ACE Equation”.

2. WEQ BPS Response to CAISO Comments on ACE
Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown




Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. the term requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus on the definition’s validity and/or appropriateness.   
BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

· After reviewing this latest draft of NAESB’s proposed Business Standard, it has become increasingly clear that the issue of “ACE Equation, Special Cases” has been inappropriately assigned to NAESB.  The subject of generation control, and thus the ACE expression, is innately linked to physical generator movement, actual interchange flow, and grid reliability.  To segregate a small, yet important portion of the ACE expression for any purpose is irresponsible, and simply does not meet any test of reasonableness.  It is important that the entire ACE expression is managed by a single entity, namely the Regional Council, in order to ensure that 1) ACE is not compromised, 2) special cases are addressed appropriately with sufficient accommodation for regional differences, and above all, 3) reliability is maintained.  More importantly, however, the subject of ACE, and its various components should never be opened to voting by non-impacted parties.  Regional Councils are the parties responsible for determine the ACE methodology and coordinating such methodology among the Control Areas/Balancing Authorities within that Region.  If NAESB has concerns that a Region’s AGC methodology is somehow incorrect, or perhaps needs to be modified to meet changing market conditions, then NAESB should first approach the various Regional Councils to solicit their approval (even if only in concept) and the approval of their members before attempting to create standards and submitting it for vote among non-impacted parties, such as NERC, and extra-Regional entities.
 BPS: This was decided by the JIC.
· The WECC variant of the ACE expression, including the automatic time error correction term is not reflected in this Standard even though it is a regional business practice. 
BPS: This comment appears to be misplaced.  However, NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.

· The term “ACE Expression”, or “ACE Formula” is preferable to “ACE Equation”.
 BPS: no preference.

B. Entergy Comments on ACE

1. Comments Submitted by Entergy

Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc

Email of Contact




:  edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Area Control Error

Balancing Authority

Balancing Authority Area

Dynamic Schedule

Interchange Schedule

Interconnection

Net Actual Interchange

Net Interchange Schedule

Pseudo-Tie

Supplemental Regulation Service

Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

.

2. WEQ BPS Response to Entergy’s Comments on ACE
Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc

Email of Contact




:  edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Area Control Error

Balancing Authority

Balancing Authority Area

Dynamic Schedule

Interchange Schedule

Interconnection

Net Actual Interchange

Net Interchange Schedule

Pseudo-Tie

Supplemental Regulation Service

BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

C.  IRC Comments to ACE


1. Comments Submitted by IRC

Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar




Comments submitted on Behalf of Organization
:
ISO RTO Council - SRC

Email of Contact




:
ktammar@nyiso.com
Phone Number on Contact



:
518.356.6205
Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

The ACE expression is innately linked to physical generator movement, actual interchange flow, and grid reliability.  The requirements in this business practice are regional in nature and apply to the Regional Councils that are responsible for determining the ACE methodology and coordinating such methodology among the Control Areas/Balancing Authorities within that Region.  

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

2. WEQ BPS Response to IRC’s comments on ACE
Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar




Comments submitted on Behalf of Organization
:
ISO RTO Council - SRC

Email of Contact




:
ktammar@nyiso.com
Phone Number on Contact



:
518.356.6205
Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

The ACE expression is innately linked to physical generator movement, actual interchange flow, and grid reliability.  The requirements in this business practice are regional in nature and apply to the Regional Councils that are responsible for determining the ACE methodology and coordinating such methodology among the Control Areas/Balancing Authorities within that Region. 
 BPS: Original NERC Policy did not specify the regional variations as indicated in this comment and therefore are not reflected in Version 0.  

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

BPS: If these NAESB BPS have a negative impact on reliability, then the original NERC Policies had a negative impact on reliability.  If they conflict with RRC requirements, then so did the NERC Policies.  The BPS has no desire to create reliability problems, but its objective in this Version 0 effort was to convert existing policy.

D. Mirants Comments on ACE

1. Comments Submitted by Mirant on ACE
Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Suggest that the definitions of the following terms should be modified to match the definitions contained within NERC’s Glossary of Terms Used in Reliability Standards, Version 0-Draft 3:

Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Dynamic Schedule, Interchange Schedule, Interconnection, and Pseudo-Tie. 

Believe that the use of identical terms would minimize confusion.

Comments on Requirements (List comments by Requirement Number)

1.2.2
Please replace “actual tie flows” with “Net Interchange Schedule”.

3.1.1 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.2 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.3 Please replace “Balancing Authority” with “Balancing Authority Area”.

Comments on Appendices (List comments by Appendix Subsection)

· Looks good.  Consistent with examples found in the existing policy (Policy 1, Appendix 1A, section B)

General Comments



2. WEQ BPS Response to Mirant on ACE
Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Suggest that the definitions of the following terms should be modified to match the definitions contained within NERC’s Glossary of Terms Used in Reliability Standards, Version 0-Draft 3:

Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Dynamic Schedule, Interchange Schedule, Interconnection, and Pseudo-Tie.   BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Believe that the use of identical terms would minimize confusion.

Comments on Requirements (List comments by Requirement Number)

1.2.2
Please replace “actual tie flows” with “Net Interchange Schedule”.

BPS – The BPS disagrees with this replacement.

3.1.4 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.5 Please replace “Balancing Authority” with “Balancing Authority Area”.

3.1.6 Please replace “Balancing Authority” with “Balancing Authority Area”.

BPS: Balancing Authority is an entity, Balancing Authority Area is a “territory”.  Requirements 3.1.1, 3.1.2, 3.1.3 are all referencing the Balancing Authority as an entity and are correct as drafted..
Comments on Appendices (List comments by Appendix Subsection)

· Looks good.  Consistent with examples found in the existing policy (Policy 1, Appendix 1A, section B)

General Comments

E. NERC Comments on ACE

1. Comments Submitted by NERC

Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
: NERC Resources Subcommittee

Email of Contact




: cmonroe@spp.org

Phone Number on Contact



: 501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

1. The NERC Resources Subcommittee does not believe that this standard is necessary.  All definitions that relate to ACE need to be contained within the NERC ACE Standard.  Part of he reason is that it needs to be considered in the scheduling practices and TLR practices.

2. Ensure tht any term that affects the ACE equation needs to be entered as equal and opposite values by both parties (Balancing Authorities source and sink).

3. A requirement (procedure) needs to be in place to direct both BAs on how to handle situations (back-up procedures) when telemetry fails.

4. Representation of ACE equation Inadvertent Interchange metric terminology needs to be the same as the Inadvertent Interchange metric terminology for consistency.

5. Supplemental Regulation Services should specify not only Dynamic Schedules but should also include Pseudo Ties.

6. Requirements 3.1.1. and 3.1.2. if the load is assumed to be a positive value, the sign is incorrect.  The language within the standard needs to be crystal clear.  3.1.3. also seems to be backwards.

Comments on Appendices (List comments by Appendix Subsection)

General Comments

7. The NERC Resources Subcommittee does not believe that this standard is necessary.  All definitions that relate to ACE need to be contained within the NERC ACE Standard.  Part of he reason is that it needs to be considered in the scheduling practices and TLR practices.
2. WEQ BPS Response to NERC’s Comments on ACE

Comment Form

ACE Special Cases 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to: 

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
: NERC Resources Subcommittee

Email of Contact




: cmonroe@spp.org

Phone Number on Contact



: 501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

1. The NERC Resources Subcommittee does not believe that this standard is necessary.  All definitions that relate to ACE need to be contained within the NERC ACE Standard.  Part of he reason is that it needs to be considered in the scheduling practices and TLR practices. 
BPS: This was decided by the NERC/NAESB Joint Recommendation and affirmed by the JIC.

2. Ensure tht any term that affects the ACE equation needs to be entered as equal and opposite values by both parties (Balancing Authorities source and sink).   
BPS: The requirement is appropriate but wasn’t specifically listed in the original NERC Policy.  We can add, but must do so with the understanding that it is a NEW requirement or this could be a Version 1 enhancement.

3. A requirement (procedure) needs to be in place to direct both BAs on how to handle situations (back-up procedures) when telemetry fails. 
BPS: The requirement is appropriate but wasn’t specifically listed in the original NERC Policy.  We can add, but must do so with the understanding that it is a NEW requirement or this could be a Version 1 enhancement.
4. Representation of ACE equation Inadvertent Interchange metric terminology needs to be the same as the Inadvertent Interchange metric terminology for consistency. 
BPS: Not sure what is meant by the commenter.
5. Supplemental Regulation Services should specify not only Dynamic Schedules but should also include Pseudo Ties. 
BPS: NERC requirement doesn’t say Pseudo Ties can be used, but current practice allows.  We can add, but must do so with the understanding that it is a NEW requirement or this could be a Version 1 enhancement.
6. Requirements 3.1.1. and 3.1.2. if the load is assumed to be a positive value, the sign is incorrect.  The language within the standard needs to be crystal clear.  3.1.3. also seems to be backwards. 
BPS:-  Requirements 3.1.1, 3.1.2, and 3.1.3 are correct.   Comments # 6 received from the NERC Resources Subcommittee questions the sign used for Load and Generation Transfer by telemetry.  The logic used for adding load to the ACE equation for the Balancing Authority giving up the load and subtracting it from ACE for the Balancing Authority accepting the load is correct.  The reason for these actions is that the Balancing Authority is giving up load, its ACE should increase by the amount of load it is giving up so that the generation can reduce to meet its load requirement after accounting for the given up load.  The reverse is true for the Balancing Authority accepting the load. Therefore, NERC Resources Subcommittee's comment does not appear to be correct.

Comments on Appendices (List comments by Appendix Subsection)

General Comments

7. The NERC Resources Subcommittee does not believe that this standard is necessary.  All definitions that relate to ACE need to be contained within the NERC ACE Standard.  Part of he reason is that it needs to be considered in the scheduling practices and TLR practices. 
Same as 1.
II. Coordinate Interchange (CI)
A. Allegheny’s Comments to CI

1. Comments Submitted by Allegheny

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: William J. Smith

Comments submitted on Behalf of Organization
: Allegheny Power

Email of Contact




: wsmith1@alleghenypower.com

Phone Number on Contact



: (724) 838-652

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Requirements 1.3, 1.6, and 7.1 - References to the timing requirements in NERC Standards should be updated to the latest Version 0 numbering scheme.

Comments on Appendices (List comments by Appendix Subsection)

Appendix A Subsection B

References to the timing requirements in NERC Standards should be updated to the latest Version 0 numbering scheme.

General Comments

2. WEQ BPS Response to Allegheny on CI
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: William J. Smith

Comments submitted on Behalf of Organization
: Allegheny Power

Email of Contact




: wsmith1@alleghenypower.com

Phone Number on Contact



: (724) 838-652

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Requirements 1.3, 1.6, and 7.1 - References to the timing requirements in NERC Standards should be updated to the latest Version 0 numbering scheme. 
BPS: NERC Changed their numbering scheme. The following should be the new references. NAESB Version 0 CI Std Requirement 1.3 references NERC Attachment 2-INT-001-0. NAESB Version 0 CI Std Requirement 7.1 and 8.1 references NERC Attachment 1-INT-004-0.

Comments on Appendices (List comments by Appendix Subsection)

Appendix A Subsection B

References to the timing requirements in NERC Standards should be updated to the latest Version 0 numbering scheme.
 BPS: Agreed. See above.

General Comments

B. CAISO Comments on CI

1. Comments Submitted by CAISO

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown


Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

2. WEQ BPS Response to CAISO Comments on CI

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown


Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

C. Entergy Comments on CI

1. Comments Submitted by Entergy

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




:  edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Interchange Schedule

Interchange Transaction

Interchange Transaction Tag

Interconnection

Load-Serving Entity

Purchasing-Selling Entity

Reliability Coordinator

Sink Balancing Authority

Source Balancing Authority

Transmission Service Provider

Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

2. WEQ BPS Response to Entergy’s Comments on CI
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




:  edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Interchange Schedule

Interchange Transaction

Interchange Transaction Tag

Interconnection

Load-Serving Entity

Purchasing-Selling Entity

Reliability Coordinator

Sink Balancing Authority

Source Balancing Authority

Transmission Service Provider

BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

D. Mirant Comments on CI

1. Comments Submitted by Entergy on CI

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Several terms are listed that are also in the NERC glossary.  Because they are i) primarily reliability related terms and ii) the business practice is linked to several NERC standards, suggest utilizing the NERC definition.  The terms are as follows: Balancing Authority (BA), Balancing Authority Area, Interconnection, Load-Serving Entity (LSE), Purchasing-Selling Entity (PSE), Reliability Coordinator (RC), Sink Balancing Authority and Source Balancing Authority.

Comments on Requirements (List comments by Requirement Number)

1.3 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0.

1.6 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0.

2.1 Do we really mean, “defer” here? The requesting PSE may certainly “delegate” the task to the Market Operator, but it shouldn’t be able to defer its responsibility to another entity.

6.0 Question whether this requirement is really a Version 1 issue.  Current NERC Policy 3, section 2.3 states that the tag should be submitted in the format established by each Interconnection.  For the Eastern Interconnection, such format is described in the Electronic Tagging Functional Specification.  For ERCOT the process is described in the ERCOT Reference Document. Couldn’t find support for the proposed business practice in current policy.

7.1 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0.

8.1 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0

Comments on Appendices (List comments by Appendix Subsection)

Appendix A

· Interchange Transaction where the sink is in the Eastern Interconnection

· Current policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices? 

· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0.

· Interchange Transaction where the sink is in the Western Interconnection

· Under current policy (see NERC Appendix 3A2, part B), the requirement listed under the first bullet pertains to Pre-Scheduled transactions only.  Was the requirement modified based upon known practices or is this an oversight?

· For the requirements listed under the first two bullets, current NERC policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices?

· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0.

Appendix C

· Why was GPE replaced with PSE in this appendix? Doesn’t this change take away a right that an entity has today?  If so, isn’t that a Version 1 issue?

Appendix D

· Part A, section 1.1 – Is there such a thing as a MRD Transaction anymore? I thought NERC suspended that program about a year ago.

General Comments

2. WEQ BPS Response to Mirant’s Comments on CI
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

Several terms are listed that are also in the NERC glossary.  Because they are i) primarily reliability related terms and ii) the business practice is linked to several NERC standards, suggest utilizing the NERC definition.  The terms are as follows: Balancing Authority (BA), Balancing Authority Area, Interconnection, Load-Serving Entity (LSE), Purchasing-Selling Entity (PSE), Reliability Coordinator (RC), Sink Balancing Authority and Source Balancing Authority.

BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

1.4 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0.  
BPS: NERC Version 0 attachment 2-INT-001-0.
1.7 Believe the reference should be to NERC Version 0 Standard INT-001-0, Attachment 1-INT-001-0.  
BPS: Agreed.
2.2 Do we really mean, “defer” here? The requesting PSE may certainly “delegate” the task to the Market Operator, but it shouldn’t be able to defer its responsibility to another entity. 
BPS: The BPS would be agreeable to this change.
7.0 Question whether this requirement is really a Version 1 issue.  Current NERC Policy 3, section 2.3 states that the tag should be submitted in the format established by each Interconnection.  For the Eastern Interconnection, such format is described in the Electronic Tagging Functional Specification.  For ERCOT the process is described in the ERCOT Reference Document. Couldn’t find support for the proposed business practice in current policy.
 BPS: The BPS agrees this is a Version 1 issue.
7.2 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0. 
BPS: Agreed.
8.2 Believe the reference should be to NERC Version 0 Standard INT-004-0, Attachment 1-INT-004-0 
BPS: Agreed.
Comments on Appendices (List comments by Appendix Subsection)

Appendix A

· Interchange Transaction where the sink is in the Eastern Interconnection

· Current policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices? 
BPS: These portions of Appendix 3A2 were temporary and no longer apply to the Western Interconnection.  

· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0.  
BPS: Agreed.
· Interchange Transaction where the sink is in the Western Interconnection

· Under current policy (see NERC Appendix 3A2, part B), the requirement listed under the first bullet pertains to Pre-Scheduled transactions only.  Was the requirement modified based upon known practices or is this an oversight? 
BPS: These portions of Appendix 3A2 were temporary and no longer apply to the Western Interconnection.
· For the requirements listed under the first two bullets, current NERC policy calls for the PSE to communicate tag information either by fax or telephone to all WECC BAs and TPs on the transaction path (see NERC Appendix 3A2 part B).  Was this intentionally left out of the proposed requirement (first bullet) based upon known practices?
 BPS: These portion of Appendix 3A2 were temporary and no longer apply to the Western Interconnection.
· References to NERC’s Version 0, Attachment 010-1 should be Standard INT-001-0, Attachment 1-INT-001-0. 
 BPS: Agreed.
Appendix C

· Why was GPE replaced with PSE in this appendix? Doesn’t this change take away a right that an entity has today?  If so, isn’t that a Version 1 issue?
 BPS: Entities in Version 0 standards must be “Functional Model” entities.  GPE is not a functional model entity.  If additional clarity is needed line 519 could be changed to read “PSE providing generation.” 
Appendix D

· Part A, section 1.1 – Is there such a thing as a MRD Transaction anymore? I thought NERC suspended that program about a year ago. 
 BPS: It is still contained in existing NERC Policy.  BPS recommends its removal as a Version 1 change.
General Comments

E. IRC Comments  to CI

1. Comments Submitted by IRC
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Karl Tammar


Comments submitted on Behalf of Organization
:ISO-RTO Council – Standards Review

 Committee

Email of Contact




:Ktammar@nyiso.com

Phone Number on Contact



: 518-356-6205

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

Appendix A - Interchange Transaction Tagging Between Interconnections, Section A – Between ERCOT and Eastern Interconnections.

Requirements for coordination of ATC across the DC tie between SPP and ERCOT do not reflect the current practices as provided for in filed SPP tariffs and procedures.  ISO-RTO Council (“IRC”) concurs with SPP’s previously provided individual comments to Draft 2 to make appropriate changes to this section.  We are aware of the specific directive of the Version 0 drafting initiative the Business Practices Subcommittee is operating under which does not allow for any changes to the existing NERC requirements.    However, the IRC does not support the establishment of standards which employ practices that are known to be out of date.  It is the IRC’s understanding that NASEB elected not to include an out-of date ERCOT transaction curtailment process from NERC Policy 9 as part of the NAESB TLR Business Practice.  NAESB also elected not to include the WECC transaction curtailment process in the NAESB TLR Business Practice because it was not consistent to be included as a continental business standard.  

The requirements in Appendix A are also regional in nature and apply only between transactions across the ERCOT and SPP borders. We believe it is inappropriate for NAESB to include these regional ATC procedures in a continental standard for Coordinate Interchange.  

For these reasons, the IRC requests NAESB to remove Appendix A from the Version 0 Coordinate Interchange standard.   Any additional business requirements for coordinate interchange between ERCOT and SPP can be requested as Version 1 changes in the future.

General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

2. WEQ BPS Response to IRC Comments on CI
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Karl Tammar


Comments submitted on Behalf of Organization
:ISO-RTO Council – Standards Review

 Committee

Email of Contact




:Ktammar@nyiso.com

Phone Number on Contact



: 518-356-6205

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

Appendix A - Interchange Transaction Tagging Between Interconnections, Section A – Between ERCOT and Eastern Interconnections.

Requirements for coordination of ATC across the DC tie between SPP and ERCOT do not reflect the current practices as provided for in filed SPP tariffs and procedures.  ISO-RTO Council (“IRC”) concurs with SPP’s previously provided individual comments to Draft 2 to make appropriate changes to this section.  We are aware of the specific directive of the Version 0 drafting initiative the Business Practices Subcommittee is operating under which does not allow for any changes to the existing NERC requirements.    However, the IRC does not support the establishment of standards which employ practices that are known to be out of date.  It is the IRC’s understanding that NASEB elected not to include an out-of date ERCOT transaction curtailment process from NERC Policy 9 as part of the NAESB TLR Business Practice.  NAESB also elected not to include the WECC transaction curtailment process in the NAESB TLR Business Practice because it was not consistent to be included as a continental business standard.  
BPS: This comment is accurate.  The change requested does not reflect existing NERC Policy and was earmarked as a Version 1 change because we did not get verification from ERCOT that the change requested by SPP was appropriate.  If the EC desires to make the change, it can find the request in SPP’s comments to the second draft posting.

The requirements in Appendix A are also regional in nature and apply only between transactions across the ERCOT and SPP borders. We believe it is inappropriate for NAESB to include these regional ATC procedures in a continental standard for Coordinate Interchange.  
BPS: The appendix is specific to transactions across SPP to ERCOT and is a direct conversion of NERC Policy 3. 

For these reasons, the IRC requests NAESB to remove Appendix A from the Version 0 Coordinate Interchange standard.   Any additional business requirements for coordinate interchange between ERCOT and SPP can be requested as Version 1 changes in the future. 
 BPS: If Appendix A were removed, there would not be any specifications regarding how a transaction is tagged across the SPP/ERCOT interface.  This would be an incomplete conversion of Policy 3.

General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

BPS: If these NAESB BPS have a negative impact on reliability, then the original NERC Policies had a negative impact on reliability.  If they conflict with RRC requirements, then so did the NERC Policies.  The BPS has no desire to create reliability problems, but its objective in this Version 0 effort was to convert existing policy.

F. Salt River Project (SRP) Comments on CI
1. Comments Submitted by SRP (Nolan) on CI
Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
ganolan@srpnet.com

Phone Number on Contact



:
602.236.0922

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Requirement 2 has “Transmission” capitalized even though it is not part of a defined term.

I believe Requirement 13 requiring the Sink BA to reload the tag after a curtailment is incorrect.  The entity who curtailed the tag originally knows how much and when to reload the tag.  This is critical because there is no requirement for the Scheduling Entity who had to curtail the tag to contact the Sink BA to advise them to reload it.

Around line 396, the word “Internet” is needlessly capitalized and then not capitalized.  At least be consistent.

Comments on Appendices (List comments by Appendix Subsection)

Appendix A – NERC document referenced has had its name changed and needs corrected here.

Appendix B – The word “Component” is not a defined term and should not be capitalized.

“Tag Agent User” is fully capitalized in line 298 but not on line 295.  Be consistent.

From line 347-350, “Email” is neither a defined term nor a proper noun and therefore should not be capitalized.

General Comments

2. WEQ BPS Response to SRP (Nolan) Comments on CI

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
ganolan@srpnet.com

Phone Number on Contact



:
602.236.0922

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Requirement 2 has “Transmission” capitalized even though it is not part of a defined term.
 BPS: Agree to make this change.

I believe Requirement 13 requiring the Sink BA to reload the tag after a curtailment is incorrect.  The entity who curtailed the tag originally knows how much and when to reload the tag.  This is critical because there is no requirement for the Scheduling Entity who had to curtail the tag to contact the Sink BA to advise them to reload it. 
BPS: This is specified correctly as per the TLR procedure.

Around line 396, the word “Internet” is needlessly capitalized and then not capitalized.  At least be consistent. 
 BPS: It is our understanding that when referring to “THE” Internet, the word is always capitalized.  ALSO, on line 415, the word “eity” should be “entity”.

Comments on Appendices (List comments by Appendix Subsection)

Appendix A – NERC document referenced has had its name changed and needs corrected here.  
BPS: NERC Changed their numbering scheme. The following should be the new references. NAESB Version 0 CI Std Requirement 1.3 references NERC Attachment 2-INT-001-0. NAESB Version 0 CI Std Requirement 7.1 and 8.1 references NERC Attachment 1-INT-004-0.

Appendix B – The word “Component” is not a defined term and should not be capitalized.
 BPS: agree, should make this change.

“Tag Agent User” is fully capitalized in line 298 but not on line 295.  Be consistent.  
BPS: Line 295 should be capitalized.

From line 347-350, “Email” is neither a defined term nor a proper noun and therefore should not be capitalized. 
BPS: It is our understanding that “email” is appropriate and should therefore be changed.

General Comments

G. SRP (Pfeister) Comments on CI

1. Comments by SRP (Pfeister)

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Michael Pfeister

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
MJPFEIST@srpnet.com

Phone Number on Contact



:
602.236.3970

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

2.1 - Not so sure this is a good idea for the PSE to defer this responsibility to the Market Operator. It makes more sense for the PSE to defer the tasks, yet the PSE should retain the responsibility.

6 - Why so specific on E-Tag 1.7.095?

Comments on Appendices (List comments by Appendix Subsection)

General Comments

2. WEQ BPS Response to SRP (Pfeister) Comments on CI

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Michael Pfeister

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
MJPFEIST@srpnet.com

Phone Number on Contact



:
602.236.3970

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

2.1 - Not so sure this is a good idea for the PSE to defer this responsibility to the Market Operator. It makes more sense for the PSE to defer the tasks, yet the PSE should retain the responsibility. 
BPS: This is an optional provision, not a requirement and is necessary for the organized markets such as PJM.

6 - Why so specific on E-Tag 1.7.095? 
BPS: This is a NAESB requirement.

Comments on Appendices (List comments by Appendix Subsection)

General Comments

III. Inadvertent Interchange (II)
A.CAISO Comments on II

1.Comments Submitted by CAISO

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown

Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   

Comments on Requirements (List comments by Requirement Number)

· 1.1.1.2   it is important to ensure that the Reliability Coordinator is aware of Inadvertent Interchange payback transaction along with the BA and TSP.  

· 1.1.1.3   In the Western Interconnection, a bilateral inadvertent interchange payback of 25 MW or less does not require a NERC tag.

Comments on Appendices (List comments by Appendix Subsection)

General Comments

· The term “Standard” is capitalized in some cases, lower cased in others.

· This Standard should be re-named “Inadvertent Interchange Payback” to separate it from NERC Version 0 Standard 006 Inadvertent Interchange, and any other inadvertent interchange procedures and practices, such as Inadvertent Interchange accounting.

· Under “Purpose”, there is a single statement … “(T)his standard defines the method(s) in which Inadvertent Energy is paid back.”   However, in the Western Interconnection, this is not entirely true.  Add some language to reflect the current process in the West, e.g. … “It should be recognized that this standard might not be fully applicable whenever Automatic Time Error Control is in effect in an Interconnection.”
· Applicability.  Ditto above.  Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.”
2. WEQ BPS Response to CAISO Comments on II

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown

Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

· 1.1.1.2   it is important to ensure that the Reliability Coordinator is aware of Inadvertent Interchange payback transaction along with the BA and TSP.  
BPS: This should happen automatically via the E-Tag except as indicated below.  
· 1.1.1.3   In the Western Interconnection, a bilateral inadvertent interchange payback of 25 MW or less does not require a NERC tag. 
BPS: The WECC does have this waiver at NERC.  I am not sure how it can be accommodated in the NAESB standard.

Comments on Appendices (List comments by Appendix Subsection)

General Comments

· The term “Standard” is capitalized in some cases, lower cased in others. 
BPS: should change to be lower case.

· This Standard should be re-named “Inadvertent Interchange Payback” to separate it from NERC Version 0 Standard 006 Inadvertent Interchange, and any other inadvertent interchange procedures and practices, such as Inadvertent Interchange accounting. 
BPS: acceptable change.

· Under “Purpose”, there is a single statement … “(T)his standard defines the method(s) in which Inadvertent Energy is paid back.”   However, in the Western Interconnection, this is not entirely true.  Add some language to reflect the current process in the West, e.g. … “It should be recognized that this standard might not be fully applicable whenever Automatic Time Error Control is in effect in an Interconnection.” 
BPS: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC. Applicability.  Ditto above.  Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.” This is an acceptable means of handling this discrepancy..
B. EntergyComments on II

1. Comments Submitted by Entergy on II

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Area Control Error

Balancing Authority

Balancing Authority Area

Control Performance Standard – CPS

Inadvertent Interchange

Interchange Schedule

Interconnection

Transmission Service Provider

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

It is stated in this draft Standard that it applies to “all NERC regions”. However, all the other NAESB Standards state the types of entities to whom the NAESB Standard applies. Therefore, we suggest adding Balancing Authorities and Transmission Service Providers to the Applicability section of this Standard.

2. WEQ BPS Response to Entergy’s Comments on II
Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Area Control Error

Balancing Authority

Balancing Authority Area

Control Performance Standard – CPS

Inadvertent Interchange

Interchange Schedule

Interconnection

Transmission Service Provider

BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

It is stated in this draft Standard that it applies to “all NERC regions”. However, all the other NAESB Standards state the types of entities to whom the NAESB Standard applies. Therefore, we suggest adding Balancing Authorities and Transmission Service Providers to the Applicability section of this Standard.

BPS: This BPS sees no harm in this change/addition.

C. IRC Comments to CI

1. Comments Submitted

Comment Form

Coordinate Interchange 

Version 0 Draft 3

WEQBPS-002-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Karl Tammar


Comments submitted on Behalf of Organization
:ISO-RTO Council – Standards Review

 Committee

Email of Contact




:Ktammar@nyiso.com

Phone Number on Contact



: 518-356-6205

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

Appendix A - Interchange Transaction Tagging Between Interconnections, Section A – Between ERCOT and Eastern Interconnections.

Requirements for coordination of ATC across the DC tie between SPP and ERCOT do not reflect the current practices as provided for in filed SPP tariffs and procedures.  ISO-RTO Council (“IRC”) concurs with SPP’s previously provided individual comments to Draft 2 to make appropriate changes to this section.  We are aware of the specific directive of the Version 0 drafting initiative the Business Practices Subcommittee is operating under which does not allow for any changes to the existing NERC requirements.    However, the IRC does not support the establishment of standards which employ practices that are known to be out of date.  It is the IRC’s understanding that NASEB elected not to include an out-of date ERCOT transaction curtailment process from NERC Policy 9 as part of the NAESB TLR Business Practice.  NAESB also elected not to include the WECC transaction curtailment process in the NAESB TLR Business Practice because it was not consistent to be included as a continental business standard.  

The requirements in Appendix A are also regional in nature and apply only between transactions across the ERCOT and SPP borders. We believe it is inappropriate for NAESB to include these regional ATC procedures in a continental standard for Coordinate Interchange.  

For these reasons, the IRC requests NAESB to remove Appendix A from the Version 0 Coordinate Interchange standard.   Any additional business requirements for coordinate interchange between ERCOT and SPP can be requested as Version 1 changes in the future.

General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

2. WEQ BPS Response
Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar
Comments submitted on Behalf of Organization
:
ISO RTO Council - SRC

Email of Contact




:
ktammar@nyiso.com

Phone Number on Contact



:
518.356.6205

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

· 1.1.1.3   In the Western Interconnection, a bilateral inadvertent interchange payback of 25 MW or less does not require a NERC tag.  Noting the regional differences.
 BPS: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.   Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.” .
Comments on Appendices (List comments by Appendix Subsection)

General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

BPS: If these NAESB BPS have a negative impact on reliability, then the original NERC Policies had a negative impact on reliability.  If they conflict with RRC requirements, then so did the NERC Policies.  The BPS has no desire to create reliability problems, but its objective in this Version 0 effort was to convert existing policy.

D. Mirant Comments on II

1. Comments Submitted by Mirant on II

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

· Consideration should be given to matching defined terms to those within NERC’s Glossary of Terms Used in Reliability Standards-Draft 3.  Specifically referring to the definitions for Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Interchange Schedule, and Interconnection.

· Suggest replacement of “CPS” and its definition with the following: “Control Performance Standard (CPS) – The reliability standard that sets the limits of a Balancing Authority’s Area Control Error over a specified time period.”

· In the definition of Inadvertent Interchange should capitalize the first letter of “Net Actual Interchange” and “Net Scheduled Interchange”, as they are defined terms.

Comments on Requirements (List comments by Requirement Number)

1.1.1 NERC Policy 1.F.5.1.1, from which this requirement is taken, refers the user to Policy 3 for Interchange Scheduling Requirements.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that has been translated from the relevant portion(s) of NERC Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The complication here is that the relevant sections are spread over several NERC standards and NAESB business practices.

1.1.1.2
NERC Policy 1.F.5.1.1.2, from which this requirement is taken, notes that the agreement on a schedule must be in accordance with NERC Policy 3.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that is comparable to the relevant portion of Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The proper reference may be NERC standard INT-003-0, Interchange Transaction Implementation.

Comments on Appendices (List comments by Appendix Subsection)

· Looks good.  Taken verbatim from existing NERC policy (Policy 1, Appendix 1F.C)

General Comments

.2.. WEQ BPS Response to Mirants Comments on II
Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

· Consideration should be given to matching defined terms to those within NERC’s Glossary of Terms Used in Reliability Standards-Draft 3.  Specifically referring to the definitions for Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Interchange Schedule, and Interconnection.

· Suggest replacement of “CPS” and its definition with the following: “Control Performance Standard (CPS) – The reliability standard that sets the limits of a Balancing Authority’s Area Control Error over a specified time period.”

· In the definition of Inadvertent Interchange should capitalize the first letter of “Net Actual Interchange” and “Net Scheduled Interchange”, as they are defined terms.

BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

1.1.2 NERC Policy 1.F.5.1.1, from which this requirement is taken, refers the user to Policy 3 for Interchange Scheduling Requirements.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that has been translated from the relevant portion(s) of NERC Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The complication here is that the relevant sections are spread over several NERC standards and NAESB business practices. 
BPS: The reference in original NERC Policy 1.F.5.1.1 is an informational only note and does not represent or imply additional requirements (e.g. “if you want more info on tagging, refer to …”).  As such, it was removed from the standard requirements.
1.1.1.2
NERC Policy 1.F.5.1.1.2, from which this requirement is taken, notes that the agreement on a schedule must be in accordance with NERC Policy 3.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that is comparable to the relevant portion of Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The proper reference may be NERC standard INT-003-0, Interchange Transaction Implementation. 
BPS: The BPS does not agree that including this reference would make the standard incomplete.  NERC standard INT-003-0 applies whether this requirement includes the reference or not.  Theoretically, the reference could be added, but it would provide only limited additional clarity to the standard while adding the significant burden of “reference maintenance”.  

Comments on Appendices (List comments by Appendix Subsection)

· Looks good.  Taken verbatim from existing NERC policy (Policy 1, Appendix 1F.C)

General Comments

E. NERC Comments on II

1. NERC Submitted Comments

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
:NERC Resources Subcommittee

Email of Contact




:cmonroe@spp.org

Phone Number on Contact



:501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

The NERC Resources Subcommittee recommends the name of this NAESB Business Practice Standard be “Inadvertent Interchange Payback” since Payback is used throughout the standard.

The RS would also be satisfied with “Inadvertent Interchange Settlement” as the title. 

2. WEQ BPS Response to NERC Comments on II

Comment Form

Inadvertent Interchange 

Version 0 Draft 3

WEQBPS-005-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
:NERC Resources Subcommittee

Email of Contact




:cmonroe@spp.org

Phone Number on Contact



:501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

Comments on Appendices (List comments by Appendix Subsection)

General Comments

The NERC Resources Subcommittee recommends the name of this NAESB Business Practice Standard be “Inadvertent Interchange Payback” since Payback is used throughout the standard. 
BPS: This is an acceptable change.

The RS would also be satisfied with “Inadvertent Interchange Settlement” as the title. 

IV. Time Error
A. 
Allegheny Comments on Time Error

1. Comments Submitted by Allegheny

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: William J. Smith

Comments submitted on Behalf of Organization
: Allegheny Power

Email of Contact




: wsmith1@alleghenypower.com

Phone Number on Contact



: (724) 838-6552

Comments on Definitions (List comments by Definition)

WECCNet – The term was added to the definition section but the definition was omitted.

Comments on Requirements (List comments by Requirement Number)

General Comments

2. WEQ BPS Response to Allegheny on Time Error

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: William J. Smith

Comments submitted on Behalf of Organization
: Allegheny Power

Email of Contact




: wsmith1@alleghenypower.com

Phone Number on Contact



: (724) 838-6552

Comments on Definitions (List comments by Definition)

WECCNet – The term was added to the definition section but the definition was omitted.
 BPS: Agreed. Use definition in Proposed Replacement Definitions Document..

Comments on Requirements (List comments by Requirement Number)

General Comments

B. 
CAISO Comments on Time Error

1. Comments Submitted by CAISO

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown

Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   

Comments on Requirements (List comments by Requirement Number)

· 1.1
This section appears to be entirely unnecessary.  If a BA normally operates asynchronous to an Interconnection and they establish their own time error control bands, the BA has not reason or necessity to notify the Interconnection Time Monitor of the bands being utilized, or to provide notification when they are changed.  If that BA has the ability to connect with an Interconnection, then it will become subject to Interconnection rules, and thus Time Error notification upon paralleling with the Interconnection.  

· 4.
This section reflects manual time error correction practices in the Eastern Interconnection and ignores practices in the West whenever the WECC is not operating under Automatic Time Error control (WATEC).  Add language to reflect separate Western Interconnection practices for time when the WECC is not operating under WATEC, e.g. …”(T)ime Error Corrections shall be initiated at the discretion of the Time Error Monitor.  Notice shall be given at least 20 minutes before the time error is to start and/or stop”.  The West does not have any prohibition against initiating manual time error corrections during certain hours of any day, and it should remain that way.

· 5
West manual time error corrections will be initiated at + or – 5 seconds, not 2.

· 10
should begin with the statement…”(A)ny Reliability Coordinator in an Interconnection shall have the authority to terminate a manual time error correction in progress, or a scheduled manual time error correction that has not begun, for reliability considerations”.  Adding this statement will allow the reader to understand how and why a “premature termination” can occur.

General Comments

· The title of this Standard should be changed to Manual Time Error Correction to separate this Standard from any other type of time error correction methodology such as Automatic Time Error Correction which is part of the WECC ACE expression

· Applicability:

· Add “Reliability Coordinators”

· Add language to the effect that this Standard applies to all Interconnections unless an Interconnection is operating in the automatic time error correction AGC mode.  

2. WEQ BPS Response to CAISO Comments on Time Error

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gordon Brown

Comments submitted on Behalf of Organization
:
CAISO

Email of Contact




:
gbrown@caiso.com

Phone Number on Contact



:
(626) 537-2788

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  I suggest that in order achieve a consistent set of definitions, we match NAESB Standards definition to the Glossary that will be incorporated in NERC Version 0 Standards.  To the extent that the NERC Version 0 definition does not satisfy the need for the NAESB Standard, i.e. requires more explanation, etc., NAESB would supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   
BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

· 1.1
This section appears to be entirely unnecessary.  If a BA normally operates asynchronous to an Interconnection and they establish their own time error control bands, the BA has not reason or necessity to notify the Interconnection Time Monitor of the bands being utilized, or to provide notification when they are changed.  If that BA has the ability to connect with an Interconnection, then it will become subject to Interconnection rules, and thus Time Error notification upon paralleling with the Interconnection.  
The BPS disagrees with this comment because of the NERC reliability requirement that all time error correction being coordinated by the Interconnection Time Monitor.

· 4.
This section reflects manual time error correction practices in the Eastern Interconnection and ignores practices in the West whenever the WECC is not operating under Automatic Time Error control (WATEC).  Add language to reflect separate Western Interconnection practices for time when the WECC is not operating under WATEC, e.g. …”(T)ime Error Corrections shall be initiated at the discretion of the Time Error Monitor.  Notice shall be given at least 20 minutes before the time error is to start and/or stop”.  The West does not have any prohibition against initiating manual time error corrections during certain hours of any day, and it should remain that way. 
BPS: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.   Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.” .
· 5
West manual time error corrections will be initiated at + or – 5 seconds, not 2. 
The WECC currently has a waiver on this issue and has requested a permanent change at NERC to 5 seconds.  If the EC agrees to change the WECC column in the table a change 5 seconds would be consistent with current practice but not with current policy.
· 10
should begin with the statement…”(A)ny Reliability Coordinator in an Interconnection shall have the authority to terminate a manual time error correction in progress, or a scheduled manual time error correction that has not begun, for reliability considerations”.  Adding this statement will allow the reader to understand how and why a “premature termination” can occur.
 BPS: See no problem with this addition since it simply restates a NERC Requirement.

General Comments

· The title of this Standard should be changed to Manual Time Error Correction to separate this Standard from any other type of time error correction methodology such as Automatic Time Error Correction which is part of the WECC ACE expression 
BPS: See no problem here.

· Applicability:

· Add “Reliability Coordinators”

· Add language to the effect that this Standard applies to all Interconnections unless an Interconnection is operating in the automatic time error correction AGC mode. 
 BPS: See above..

,,

2

C. Entergy Comments to Time Error

1.
Comments Submitted by Entergy

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Frequency Bias Setting

Interchange Schedule

Interconnection

Time Error

Time Error Correction

Also, there is no definition of WECCNet. Please include a definition or delete this word from the definition list.

Comments on Requirements (List comments by Requirement Number)

None.

General Comments

2. WEQ BPS Response to Entergy’s Comments on Time Error
Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Frequency Bias Setting

Interchange Schedule

Interconnection

Time Error

Time Error Correction

Also, there is no definition of WECCNet. Please include a definition or delete this word from the definition list.

 BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

None.

General Comments

D. IRC Comments to Time Error


1. Comments Submitted

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar


Comments submitted on Behalf of Organization
:
ISO/RTO Council – Standards

 Review Committee

Email of Contact




:
ktammar@nyiso.com


Phone Number on Contact



:
518.356.6205

Comments on Definitions (List comments by Definition)

· The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  In order achieve a consistent set of definitions, matching NAESB Standards definitions to the Glossary that will be incorporated in NERC Version 0 Standards would eliminate duplication.  To the extent that a NERC Version 0 definition does not satisfy the NAESB Standard’s need, i.e. requires more explanation, etc., NAESB could supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.   

Comments on Requirements (List comments by Requirement Number)

· 1.1
If a BA normally operates asynchronous to an Interconnection and they establish their own time error control bands, the BA has no reason or necessity to notify the Interconnection Time Monitor of the bands being utilized, or to provide notification when they are changed.  If that BA has the ability to connect with an Interconnection, then it will become subject to Interconnection rules of that region, and thus Time Error notification upon paralleling with the Interconnection.  

· 4.
This section reflects manual time error correction practices in the Eastern Interconnection and ignores regional practices in the West whenever the WECC is not operating under Automatic Time Error control (WATEC).  

· The IRC is concerned about the impact of this standard on the regional diversity and the varying requirements that is in existence at this time.

General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

2. WEQ BPS Response

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Karl Tammar


Comments submitted on Behalf of Organization
:
ISO/RTO Council – Standards

 Review Committee

Email of Contact




:
ktammar@nyiso.com


Phone Number on Contact



:
518.356.6205

Comments on Definitions (List comments by Definition)

The Definitions section contains a mismatched collection of definitions taken from various sources such as the Functional Model, NERC Terms and Policies, etc., many of which are still in the process of being updated.  In order achieve a consistent set of definitions, matching NAESB Standards definitions to the Glossary that will be incorporated in NERC Version 0 Standards would eliminate duplication.  To the extent that a NERC Version 0 definition does not satisfy the NAESB Standard’s need, i.e. requires more explanation, etc., NAESB could supply an appropriate definition, subject to reaching consensus the definition’s validity and/or appropriateness.  BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

· 1.1
If a BA normally operates asynchronous to an Interconnection and they establish their own time error control bands, the BA has no reason or necessity to notify the Interconnection Time Monitor of the bands being utilized, or to provide notification when they are changed.  If that BA has the ability to connect with an Interconnection, then it will become subject to Interconnection rules of that region, and thus Time Error notification upon paralleling with the Interconnection.  
The BPS disagrees with this comment because of the NERC reliability requirement that all time error correction being coordinated by the Interconnection Time Monitor.

· 4.
This section reflects manual time error correction practices in the Eastern Interconnection and ignores regional practices in the West whenever the WECC is not operating under Automatic Time Error control (WATEC).  
BPS: NAESB Standards are voluntary. The WECC can decide not to adhere to the standard until FERC declares it to be mandatory.  At that time, the WECC can apply with the FERC for a waiver.  We can, if we desire, indicate in the applicability section that the standard does not apply to the WECC.   Perhaps something like…”(T)his Standard applies to all NERC regions except the Western region whenever Automatic Time Error Control is in effect.” .
· The IRC is concerned about the impact of this standard on the regional diversity and the varying requirements that is in existence at this time. 
BPS: To the extent that the regions participate in the process, they can request changes to the NAESB standards to reflect their variances.  The NERC policy did not specify these variances and without specifics we cannot incorporate them either.
General Comments

The IRC is concerned that the development of NAESB Version 0 Business Practices has resulted in requirements that have a greater impact on reliability requirements than anticipated when the JIC made its original assignment to NAESB.   It may not be the intent for these NAESB Business Practices to impact reliability any more than was considered by the JIC but it is impossible to understand any business practice’s impact on reliability until details of the requirements are known.   In addition, certain NAESB Ver 0 Business Practices are conflicting with requirements and procedures that are currently specified and developed by Regional Reliability Councils (RRC).  These NAESB standards, though intended to specify requirements for continental business practices, have an integral effect on how RRCs meet reliability requirements.  As such, the IRC recommends that NAESB review its proposed Business Practices to ensure Version 0 Business Practices do not conflict with RRC requirements and negatively impact reliability.

BPS: If these NAESB BPS have a negative impact on reliability, then the original NERC Policies had a negative impact on reliability.  If they conflict with RRC requirements, then so did the NERC Policies.  The BPS has no desire to create reliability problems, but its objective in this Version 0 effort was to convert existing policy.

E. Mirants Comments to Time Error
1. Comments Submitted by Mirant

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant 

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

· With the exception of Leap Second and WECCNet, all of the definitions differ from those contained within NERC’s Version 0 Draft 3 Glossary.  Although I would agree that the “gist” of the definitions is generally the same, I believe that the definitions should be identical to minimize confusion.  Given that the terms are primarily reliability in nature and that the Version 0 concept is “no changes”, NAESB should incorporate the applicable NERC definitions into this business practice.

· Proposed definition for WECCNet, which was left blank.

WECCNet – a messaging system used by the Western Electric Coordinating Council (WECC) for use by participating utility’s dispatchers and network administrators.

Comments on Requirements (List comments by Requirement Number)

1.1 
Current NERC policy calls for notification to the NERC Resources Subcommittee, not the Interconnection Time Monitor.  In the spirit of Version 0 (i.e., no policy changes) suggest either i) substituting Interconnection Time Monitor with NERC Resources Subcommittee or ii) adding “and the NERC Resources Subcommittee” after Interconnection Time Monitor

7.0
Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3 that reads as follows:

“Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:”

7.1 Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.1 which reads as follows:

“The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving the Frequency Bias Setting normal; or”

7.2 Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.2 which reads as follows:

“The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Frequency Deviation  (i.e., 20% of the Frequency Bias Setting).”

General Comments

NERC reliability standard BAL-004-0, Time Error Correction, requirement R2, references this NAESB business practice.  As such, it should be compatible with the NERC standard and existing NERC policy (Policy 1D).  Acceptance of the changes proposed above will meet that objective.

Thank you for the opportunity to comment

2. WEQ BPS Response to Mirant’s Comments
Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Alan Johnson

Comments submitted on Behalf of Organization
: Mirant 

Email of Contact




: alan.r.johnson@mirant.com

Phone Number on Contact



: (678) 579-3108

Comments on Definitions (List comments by Definition)

With the exception of Leap Second and WECCNet, all of the definitions differ from those contained within NERC’s Version 0 Draft 3 Glossary.  Although I would agree that the “gist” of the definitions is generally the same, I believe that the definitions should be identical to minimize confusion.  Given that the terms are primarily reliability in nature and that the Version 0 concept is “no changes”, NAESB should incorporate the applicable NERC definitions into this business practice. BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
· Proposed definition for WECCNet, which was left blank.

WECCNet – a messaging system used by the Western Electric Coordinating Council (WECC) for use by participating utility’s dispatchers and network administrators.
 BPS: Recommend incorporating this definition.

Comments on Requirements (List comments by Requirement Number)

1.1 
Current NERC policy calls for notification to the NERC Resources Subcommittee, not the Interconnection Time Monitor.  In the spirit of Version 0 (i.e., no policy changes) suggest either i) substituting Interconnection Time Monitor with NERC Resources Subcommittee or ii) adding “and the NERC Resources Subcommittee” after Interconnection Time Monitor.  
BPS: Interconnection Time Monitor was what NERC wanted in place of NERC Resources Subcommittee.

7.0
Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3 that reads as follows: 

“Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:” 
BPSNERC is not supposed to have this duplicate standard in its Reliability Standards.  However, this wording is an acceptable alternative

7.3 Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.1 which reads as follows:

“The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving theFrequency Bias Setting normal; or” 
BPS the frequency schedule of 0.02 Hz is a reliability parameter that, according to the NERC/NAESB joint recommendation should not be included in the business practices.  Per that agreement, the business practice can specify the method, but not the actual schedule parameter.

7.4 Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.2 which reads as follows:

“The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Frequency Deviation  (i.e., 20% of the Frequency Bias Setting).” 
BPS the frequency schedule of 0.02 Hz is a reliability parameter that, according to the NERC/NAESB joint recommendation should not be included in the business practices.  Per that agreement, the business practice can specify the method, but not the actual schedule parameter.

General Comments

NERC reliability standard BAL-004-0, Time Error Correction, requirement R2, references this NAESB business practice.  As such, it should be compatible with the NERC standard and existing NERC policy (Policy 1D).  Acceptance of the changes proposed above will meet that objective.
Thank you for the opportunity to comment
F. NERC Comments on Time Error

1. Comments Submitted by NERC

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
: NERC Resources Subcommittee

Email of Contact




: cmonroe@spp.org

Phone Number on Contact



: 501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

1. NAESB Business Practice Standard SDT needs to check with each of the Interconnection Time Error Monitors (Eastern Interconnection, Western Interconnection, ERCOT Interconnection, Hydro Quebec) to ensure the time periods that are exempt from active ime error correction are identified and secified.

2. Requirement #11 recommends: “. . . . . devices to coincide with the time error of the interconnection.”  Be enhanced to read “. . . . . devices to coincide with the time error of the Interconnection Time Error Monitor.”

General Comments

2. WEQ BPS Response to NERC Comments on Time Error

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Carl Monroe, NERC RS Chairman

Comments submitted on Behalf of Organization
: NERC Resources Subcommittee

Email of Contact




: cmonroe@spp.org

Phone Number on Contact



: 501 664 0146

Comments on Definitions (List comments by Definition)

Comments on Requirements (List comments by Requirement Number)

3. NAESB Business Practice Standard SDT needs to check with each of the Interconnection Time Error Monitors (Eastern Interconnection, Western Interconnection, ERCOT Interconnection, Hydro Quebec) to ensure the time periods that are exempt from active ime error correction are identified and secified.

BPS: Do not believe existing NERC Policy specifies such exemptions.  If they exist at NERC, we should determine whether they should be included in the NAESB standard. 

4. Requirement #11 recommends: “. . . . . devices to coincide with the time error of the interconnection.”  Be enhanced to read “. . . . . devices to coincide with the time error of the Interconnection Time Error Monitor.” 
BPS This seems like a reasonable improvement in language.

General Comments

G. SRP Comments to Time Error

1. Comments Submitted by SRP

Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
ganolan@srpnet.com

Phone Number on Contact



:
602.236.0922

Comments on Definitions (List comments by Definition)

WECCNet is listed but is given no definition.

Comments on Requirements (List comments by Requirement Number)

General Comments

2. WEQ BPS Response to SRP Comments on Time Error
Comment Form

Time Error 

Version 0 Draft 3

WEQBPS-004-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:
Gary Nolan

Comments submitted on Behalf of Organization
:
Salt River Project

Email of Contact




:
ganolan@srpnet.com

Phone Number on Contact



:
602.236.0922

Comments on Definitions (List comments by Definition)

WECCNet is listed but is given no definition. 
BPS: Agreed.  See Proposed Replacement Definitions Document..

Comments on Requirements (List comments by Requirement Number)

General Comments

V. Transmission Loading Relief (TLR)
A. 
Entergy Comments on TLR

1. Comments Submitted by Entergy on TLR

Comment Form

TLR 

Version 0 Draft 3

WEQBPS-006-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Constrained Facility

Contract Path

Curtailment Threshold

Firm Transmission Service

Generator to Load Distribution Factor (GLDF)

Interchange Distribution Calculator (IDC)

Interchange Transaction

Interchange Transaction Tag (Tag)

Interconnection

Interconnection Reliability Operating Limit (IROL)

Load Shift Factor (LSF)

Native Load

NERC

Network Integration Transmission Service

Non-Firm Transmission Service

Point-to-Point Transmission Service

Purchasing-Selling Entity

Reliability Coordinator Information Service

Reallocation

Reliability Area (same definition as Reliability Coordinator Area)

Reliability Coordinator

Sink Balancing Authority

System Operating Limit

Transfer Distribution Factor

Transmission Customer

Transmission Loading Relief

Transmission Operator

Transmission Service

Transmission Service Provider

Other defined terms are so close it is hard to tell the difference, and is the difference material to the industry. For instance, this Standard includes the definition

NAESB Defined Term

Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate. 

NERC Defined Term

Generator Shift Factor (GSF) -  A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or Flowgate.

The only difference between a NAESB “Generation Shift Factor” and a NERC Generation Shift Factor is whether a flowgate is a “monitored flowgate” (NAESB) or an unmonitored “Flowgate” (NERC).
Also note both defined terms use the same acronym “GSF”. When the industry sees “GSF” should they use the NAESB or NERC interpretation?
Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

2. WEQ BPS Response to Entergy’s Comments on TLR
Comment Form

TLR 

Version 0 Draft 3

WEQBPS-006-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





: Ed Davis

Comments submitted on Behalf of Organization
: Entergy Services, Inc.

Email of Contact




: edavis@entergy.com

Phone Number on Contact



:  504-310-5884

Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word. 

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC. 

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Constrained Facility

Contract Path

Curtailment Threshold

Firm Transmission Service

Generator to Load Distribution Factor (GLDF)

Interchange Distribution Calculator (IDC)

Interchange Transaction

Interchange Transaction Tag (Tag)

Interconnection

Interconnection Reliability Operating Limit (IROL)

Load Shift Factor (LSF)

Native Load

NERC

Network Integration Transmission Service

Non-Firm Transmission Service

Point-to-Point Transmission Service

Purchasing-Selling Entity

Reliability Coordinator Information Service

Reallocation

Reliability Area (same definition as Reliability Coordinator Area)

Reliability Coordinator

Sink Balancing Authority

System Operating Limit

Transfer Distribution Factor

Transmission Customer

Transmission Loading Relief

Transmission Operator

Transmission Service

Transmission Service Provider

Other defined terms are so close it is hard to tell the difference, and is the difference material to the industry. For instance, this Standard includes the definition

NAESB Defined Term

Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate. 

NERC Defined Term

Generator Shift Factor (GSF) -  A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or Flowgate.

The only difference between a NAESB “Generation Shift Factor” and a NERC Generation Shift Factor is whether a flowgate is a “monitored flowgate” (NAESB) or an unmonitored “Flowgate” (NERC).
Also note both defined terms use the same acronym “GSF”. When the industry sees “GSF” should they use the NAESB or NERC interpretation?
BPS: The NERC and NAESB processes are independent enough that consistency of definitions can never be guaranteed.  However the BPS made an effort to ensure such consistency existed where appropriate.  This should be handled as an ongoing maintenance item.
Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

General Comments

None

B. Additional Comments to TLR from the WEQ BPS:
As per request from Gerry Cauley at NERC, the term “Security Limit” should be changed to “Reliability Limit” in lines 428 and 455 of the NAESB TLR Business Practice.

This change is acceptable to the BPS. 
VI. Overall Comments

A. Comments Submitted by Duke




1. Comments

Comment Form

Overall Comment 

Version 0 Draft 3

WEQBPS-003-000

Posted October 25, 2004 – November 25, 2004

Please submit comment form by November 25, 2004 to:

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:Ollie Frazier

Comments submitted on Behalf of Organization
:Duke Energy

Email of Contact




:ofrazier@duke-energy.com

Phone Number on Contact



:704-382-6964

Comments on Definitions (List comments by Definition)

Duke Energy is concern with Version ‘0’ being adopted by FERC as the final business standard and FERC ordering Version ‘0’ to be included in future tariffs without giving NAESB adequate time to modify these standards to reflect current processes and practices that may have changed since the last NERC operating policies were adopted.

Comments on Requirements (List comments by Requirement Number)

General Comments

2. WEQ BPS Response 

BPS has no response to this comment.  The BPS received several comments suggesting that improvements need to be made, but earmarked them all for “Version 1” enhancements. 
PAGE  
6
November 24, 2004 

Updated: 


