
Firm Redirect of Firm Point-to-Point Reservations

Standard X

Transmission Customers shall have the right to request modifications to Points of Receipt and/or Points of Delivery for any Confirmed Point-to-Point Firm Transmission Service reservation.  This will be referred to as a Redirect on a firm basis.    All requests to Redirect on a firm basis shall be submitted to the primary transmission provider for review and approval.



Standard X.1
A request to Redirect on a firm basis shall be queued and evaluated in the same manner as any other firm point to point request. 
Standard X.1.1
No additional deposit shall be required for a request to Redirect on a firm basis.  
Standard X.2

The Transmission Customer (TC) shall be allowed to request a Redirect on a firm basis for a portion or all of the capacity of the original request,
Standard X.2.1

The TC shall be allowed to request a Redirect on a firm basis regardless of whether the reserved capacity has been reduced due to outage-related capacity reductions.
Standard X.3

The TC shall be allowed to request a Redirect for a portion or all of the time period of the original request, so long as the Redirect request represents an established service increment offered by the Transmission Provider.
Standard X.4

The TC’s rights on the original path shall remain unaffected during the Transmission Provider evaluation of the Redirect request.


Standard X.4.1

If the Redirect request is denied for any reason, all rights shall remain per the original reservation.
Standard X.4.2
Upon confirmation of the Redirect request, the capacity of the parent reservation shall be reduced by the amount of the redirected capacity for the time period of that Redirect.   
Standard X.4.3
Language consistent with option D (Allow multiple redirects, evaluation of each request will continue but a final check of capacity will apply at the time of confirmation.  TP invalidates the subsequent requests) will be created by Mr. Sorenson. 
Standard X.4.4

Handling of overscheduling.  Language to be proposed by Mr. Sorenson consistent with his proposal that in cases of overscheudle TP will take appropriate actions. 


Standard X.5

For the purposes of curtailment and other capacity reductions, confirmed Redirects on a firm basis shall be treated comparably to all other types of firm service.  

Standard X.5.1

Curtailments or other capacity reductions to the remaining portion of the parent reservation shall not affect the Redirected reservation.  

Standard X.5.2

Curtailments or other capacity reductions affecting the Redirect reservation shall not affect the parent reservation nor result in a reinstatement of capacity on the parent reservation.

Standard X.6

Unless otherwise mutually agreed to by the primary provider and original customer,  Redirect requests on a firm basis do not impact the TCs long term firm renewal rights (e.g., rollover or evergreen rights) on the original path, nor do they confer any renewal rights on the redirected path. (issue to be resolved – clarify that you can Redirect a re-sale) 


Standard X.7
In the event service on the redirected path and original path is not similarly priced, the customer shall be charged for the firm redirect based on the final agreed-to price.  The customer shall be credited against the parent reservation based on the final agreed-to price of the parent reservation. 


Standard Y Non-Firm Redirect of Firm Point-to-Point Reservations
Standard Y
Transmission Customers shall have the right to request an alternate, or secondary, Point of Receipt and/or Point of Delivery for any Confirmed Point-to-Point Firm Transmission Service reservation.  This will be referred to as a Redirect on a Non-Firm basis.  All redirect requests shall be submitted to the primary transmission provider for review and approval. 
Standard Y.1

A request to Redirect on a Non-Firm basis shall be queued and evaluated in accordance with the Transmission Providers Open Access Tariff.

Standard Y.1.1

Redirects on a non-firm basis shall have a service priority that is lower than non-firm hourly point to point service.  

Standard Y.2

Prior to and upon confirmation, the TC's firm rights associated with the parent reservation remain unchanged.  

Standard Y.2.1
In no event shall the total of the schedules under the parent reservation and the non-firm redirect  reservation exceed the amount of the parent reservation’s Granted Capacity.
Standard Y.3
The TC shall be allowed to request a Redirect on a non-firm basis regardless of whether the  reserved capacity has been reduced due to outage-related capacity reductions.






Standard Y.4
The price for a non-firm redirect reservation shall be $0.00. 
Standard Y.5

The Transmission Customer (TC) shall be allowed to request a Redirect on a non-firm basis for a portion or all of the capacity of the original request,

.

