Here are my proposed changes for the 638 table and its associated notes.

Looking at the table the only service that will be affected by these

changes is Daily Firm.  While I think these changes will solve most of the

problems I'm seeing, with the minimal changes to the table, I don't know if

other TP's need additional relief.  (Based on Wendy's comments on using

redirects to hoard transmission on monthly requests, maybe further

modifications should be considered?)  Again, my proposal is that the

approval/response window moves as the request approaches its begtime.  For

example, a daily firm request submitted 48 hours in advance will have 24

hours for the customer to confirm it.  But a daily firm request submitted

36 hours in advance (i.e. at 12:00 two days before it starts) will only

have 14 hours to confirm, because 12 hours later (at 00:00 day ahead) the

confirmation period changes to a 2 hour confirmation period.  We may need a

clarifying statement that time limits will not increase (e.g. a daily firm

request accepted 4/1/04  00:01 for 4/3/04 still expires at 4/2/04 00:01.

At 4/2/04 00:00 it does not get reset to 2 hour confirmation.  As opposed

to a DF request accepted 4/1/04 08:00 for 4/3/04, which at 4/2/04 00:00

gets reduced from a 24 hour (4/2/04 08:00) to a 2 hour (4/2/04 02:00)

confirmation limit.)

(Changes are:  Remove the word Queued in the header of col. 3 in the table.

Add clarifying words to notes 1& 2 that the limits can be reduced as the

current time approaches the reservation start time.)

[image: image1.png]Table 4-2

Reservation Timing Guidelines

Class Service Time Provider Customer Provider
Increment | QUEUER, | Evaluation | Confirmation Time Counter
Prior to Time Limit after Time Limit
Start Limit! ACCEPTED or after
COUNTEROFFER? | REBID®
Non- Hourly <1 hour Besteffort | 5 minutes 5 minutes
Firm
Non- Hourly >1 hour 30 minutes | S minutes 5 minutes
Firm
Non- Daily N/A 30 minutes | 2 hours 10 minutes

Firm




      Notes for Table 4-2:

          1.   Consistent with regulations and filed tariffs,

               measurement starts at the time the request is

               QUEUED, but may be reduced as the current time

   approaches the requested begin time.
          2.   Measurement starts at the time the request is

               first moved to either ACCEPTED or COUNTEROFFER.

               The time limit does not reset on subsequent

               changes of state, but may be reduced as the current time

   approaches the requested begin time.
          3.   Measurement starts at the time the Transmission

               Customer changes the state to REBID.  The

               measurement resets each time the request is

               changed to REBID.

          4.   Subject to expedited time requirements of Section

               17.1 of the pro forma tariff.  Transmission

               Providers should make best efforts to respond

               within 72 hours, or prior to the scheduling

               deadline, whichever is earlier, to a request for

               Daily Firm Service received during period 2 30

               days ahead of the service start time.

� EMBED MSPhotoEd.3  ���








[image: image2.png]Table 4-2

Reservation Timing Guidelines

Class Service Time Provider Customer Provider
Increment | QUEUER, | Evaluation | Confirmation Time Counter
Prior to Time Limit after Time Limit
Start Limit! ACCEPTED or after
COUNTEROFFER? | REBID®
Non- Hourly <1 hour Besteffort | 5 minutes 5 minutes
Firm
Non- Hourly >1 hour 30 minutes | S minutes 5 minutes
Firm
Non- Daily N/A 30 minutes | 2 hours 10 minutes

Firm




_1145762345.bin

