Comments Submitted by: John Calder (Dominion)

Dated: 10/8/04

I will be unable to attend the conference call.  Following are my comments on the subject workpaper.  NAESB - please post as official comments.

9.4.2 - The TC shall be allowed to submit and have pending multiple request for Redirects on a Firm basis against the same

should say

... multiple requests ...

            10.4.2 - The TC shall be allowed to submit and have pending

            multiple request for Redirects on a Non-Firm basis against the

            same Capacity Available to Redirect.  The TP shall evaluate

            each such request with the knowledge that only those requests

            up to the Capacity Available to Redirect may ultimately be

            confirmed. An example is shown in Appendix B.

Since 10.1.6 requires preconfirmation.  I would suggest:

            ...multiple requests...  The TP shall evaluate each such request in the order it was submitted until the CAR is 0.  [(OPTIONALLY

add) The TP will/will not be required to counteroffer a request for redirect on a non-firm basis where CAR is available but the requested

capacity exceeds the CAR.  (My vote would be will NOT)].   ...

10.5.1 – The TC shall not confirm any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect).  The TP shall have the right to block any such confirmation.

Preconfirmed  -- it will not be up to the TC to confirm.  TP will block confirmation by not Accepting the request.  (is TP required to

counteroffer?)

            10.5.2 – The TC shall withdraw any request to Redirect on a

            Non-Firm basis that would exceed Capacity Available to Redirect

            at that point in time (i.e., at the time of attempted

            confirmation and over the time interval of the Redirect). The

            TP shall have the right to withdraw their acceptance of any

            request to Redirect on a Non-Firm basis that cannot be

            confirmed due to limitations in the Capacity Available to

            Redirect by setting the OASIS standard STATUS data element to

            the value of SUPERSEDED.

Doesn't really apply considering preconfirmation.  TC shouldn't have to withdraw because TP has to evaluate the request and should deny it.

            10.6.2 - Curtailments or other capacity reductions affecting

            the reserved capacity on the Redirect reservation shall not

            affect the Parent Reservation nor result in a reinstatement of

            capacity on the Parent Reservation.

I would suggest:

            ... nor result in an **  automatic ** reinstatement of capacity on the Parent Reservation.  Although the capacity reduced may be returned to the Parent via a request for release as described previously.  (was

10.5.3)

My preference on 10.7 is to keep both 10.7's and delete the current 10.7.1 .

      10.7 – Any differences in charges associated with a Redirect on a

      Non-Firm basis will be settled in accordance with the Transmission

      Provider’s tariff.

            10.7.1 – Unless otherwise provided for in the Transmission

      Provider’s tariff, there shall be no charge to Redirect on a Non-Firm

      basis.N_~z

