practical meaning of

Conforming WECC Auto Time Error Correction to CPS1

Prepared for

The NAESB Inadvertent Interchange Payback Task Force

by

Robert Blohm

September 24, 2004

# missing practical MOTIVATION

Howard Illian's accompanying paper explains how what appears to be a mere mathematical transformation, by just (a) decomposing the Inadvertent payback term that the WECC Auto Time Error Correction methodology inserts into the NERC Area Control Error equation and (b) regrouping each of the two decomposed parts of that term with the other adjacent  term in the equation, converts the WATEC ACE equation into the NERC ACE equation. However, the paper does not explain the physical operational consequences, interpretation or meaning of this mathematical transformation and therefore the compelling physical reason for actually making and carrying out the transformation, aside from not "changing the actual control actions" and from referring to a previous paper he provided to the NAESB IIPTF where the explanation and reason are embedded in an in depth investigation and evaluation of the WATEC Methodology.  Furthermore, neither paper nor the WECC's own presentation provides sufficient intuitive understanding behind the WECC Auto Time Error correction term.  I herein offer both the explanation and the intuition.

# the "uncoordinated" auto time-error correction problem

The current WATEC methodology seeks to automatically correct Time Error and pay back Inadvertent Interchange in the process. The WECC currently implements that methodology in an uncoordinated and blind way that may harm control performance as evaluated by NERC's Control Performance Standard and accordingly make the WATEC methodology inconsistent with CPS1.  In particular WATEC is implemented by individual Control Areas who in isolation blindly from one another perform single Scheduling/Time Error corrections that Howard shows1 are decomposable into two parts for purposes of coordination with the other Control Areas.  This uncoordinated, minute-by-minute implementation undifferentiated between the two parts causes inappropriate rapid response by the other Control Areas inappropriately distributed/differentiated among the two component parts of Time/Scheduling Error correction.

Why is the current practice at variance with CPS1?  Because surprise unscheduled payback begets additional Scheduling Error in response and, as a result, prevents the ACE equations across the Interconnection from adding up to current aggregate Time/Scheduling Error plus the Time/Scheduling Error Correction as they are supposed to for CPS1 compliance purposes.  Instead the ACE equations add up to current Scheduling Error plus a Time-Error correction Term that is undifferentiated in composition as to the two components and any other item that may be in there.  The result is that it is impossible to apply the CPS1 measure which requires knowledge of the Time/Scheduling Error adjusted for the Time/Scheduling Error correction.  That adjusted Time/Scheduling error needs not only to be used inside the ACE equation itself which is calculated every minute, but also to be multiplied times the ACE equation to get the CPS1 performance measure.  The CPS1 performance is in turn measured against a specific limit consisting of the single adjusted Time/Scheduling Error for the Interconnection.

All we need to do to remedy the situation (avoid the emergence of extra Scheduling Error) is to decompose the Time/Scheduling Error correction into its two component parts to enable us in practice to specify (a) that Primary (governor) Response that had been deployed "to limit the size" of the past frequency error be "corrected" for by adjusting scheduled frequency in the current governor-response obligation that "limits the size" of current frequency error and guides control action against a predictable fixed scheduled-frequency basis through the hour, and not by an unknown portion of some unplanned sudden unilateral payback that varies minute-by-minute over the hour, (b) that the unilateral payback of the Inadvertent Interchange portion of the Time Error correction be explicitly identified and scheduled by each Control Area, so that it "bilateralizes" by summing to zero across the Interconnection rather than adding some error to ACE additional to adjusted Time/Scheduling Error, and (c) that the denominator H consisting of hours to spread the time-error correction actions over be the same for all Control Areas.

Howard Illian's paper1 proceeds to show the specific rearrangement to make of the mathematical symbols in the correction term that WATEC inserts into the CPS1 ACE equation, to enable Control Areas to end the current practice of uncoordinated, undifferentiated, minute-by-minute surprise correction over the hour, and to.implement the planning and scheduling practice necessary and sufficient to make the WATEC correction term have no impact on the ACE equation used in measuring CPS1 performance .

# Explaining and simplifying the WATEC ACE Equation to enable coordination

The ACE Equation used for control on the Western Interconnection when implementing the WATEC Methodology using 1-hour-average sample data for each of the variables.was provided on slide 23 of the WECC Workshop presentation on Auto Time Error Correction dated May 30-31, 2002.  All terms of this equation but the third term are included in the standard NERC ACE Equation.  The third term of the Equation (1) is the additional "correction" term that the Western Interconnection methodology requires:

ACEi=NIA−NIS−10Bi(FA−FS)+IIPrimary1−Y∗H−T0b+IME	(1)

Where:    IIPrimary=B−BiB×IIi−Bi×εS6

Yi=BiB

1−Yi=1−BiB=B−BiB

BS   =   Interconnection S's Frequency Bias

Bi   =   Control Area i's Frequency Bias.

Equation (1) is simplified here as Equation (2) below by (a) renaming the Primary Inadvertent IIPrimary/(1-Y) term as SEForCorrection (Scheduling Error For Correction), (b) eliminating the (1-Y) term from the divisor of IIPrimary because it is also hidden in IIPrimary itself (the numerator), and (c) dividing IIPrimary of all control areas by the same single number H of future hours over which single Time/Scheduling Error corrections are evenly spread in the interest of reducing the disturbance to system performance. Note: S is divided by 60 (minutes) to express minutes of time error as a fraction of an hour, and S is in turn multiplied by MW of "bias" per 10 Hertz (same as per 10 minutes because 60 minutes of time error in an hour is equivalent to an average for an hour of 60 hertz of frequency error per second) to get the MWh/hour equivalent, or MW equivalent, of the time error.

ACEi=NIA−NIS−10Bi(FA−FS)+SEForCorrectionH−T0b+IME	(2)

Where:	NIA   =   Net Interchange Actual.

NIS   =   Net Interchange Scheduled.

FA   =   Frequency Actual.

FS   =   Frequency Scheduled.

SEForCorrection=−Bi×εS6+IIi  		(3)

IIi   =  Average of previous three hours of Control Area i's Inadvertent Interchange.

Bi   =   Control Area i's Frequency Bias.

H   =	Hours used to spread the payback.

T0b = Any remaining Inadvertent Interchange accumulated [prior to the institution of automatic time-error correction in January 2003 in the case of WATEC] and being bilaterally paid back.

IME   =   Meter Error Correction.

S  =	 Average of the previous three hours' Time Error.

Howard presents the ACE Equation in all known values by substituting Equation (3) into Equation (2) to get

ACEi=NIA−NIS−10Bi(FA−FS)+−Bi×εS6×H+IIiH−T0b+IME	(4)

The third term of Equation (4), as adjusted here, does not change the form of the standard NERC ACE Equation because the term sums across the Interconnection, at any of the H hours, to (a) a correction of the average of the previous 3 hours' aggregate Time/Scheduling Error, plus (b) the zero-sum of any payback of the average of the previous 3  hours' Inadvertent Interchange.  This "correction" term (a) is also the missing "Secondary Response" that was needed to correct the original scheduling error, as opposed to the "Primary Response" obligation which is the second term of the ACE equation that only "arrests" Time/frequency error in the current hour but does not correct it.  A Control Area's Secondary "Response" may both (a) take out or "replace" the Primary Response that had been deployed to arrest Time/frequency error and (b) also "reverse" or "pay back" the Inadvertent Interchange which is the portion of a Control Area's own Scheduling Error that is not being offset by the Control Area's Primary Response to it.

Accordingly the first part of the third "correction" term in Equation (4) is the Control Area's "replacement" by late planned Response of the control area's share (Bi) of the Interconnection's primary response already made to "arrest" a portion (1/H) of the previous 3 hours' average hourly Time/Scheduling Error (60 seconds of time error in an hour is equivalent to an average frequency error for an hour of 1 Hertz per second out of the 60 Hertz in a second).  The second part of the third "correction" term in (3) is the Control Area's planned payback of a portion (1/H) of its average Inadvertent Interchange over the previous 3 hours.  This is also the Control Area's late planned Response to "correct" the effect on frequency of the portion of the Control Area's own Inadvertent Interchange that is the portion of the Control Area's Scheduling Error that was not already "offset" or "arrested" by the Control Area's Primary Response. Normally it is the Control Area that made the original "causal" Scheduling Error that would be performance-incented to make these two corrections as "Secondary Response" within a 15 minute "recovery" period.

The third, "correction term" in Equation (4) is coordinated across the Interconnection by a single value of H that must be the same in all Control Areas for the methodology to remain consistent with the original CPS1 ACE Equation.

The Control Area should not use surprise unilateral payback to provide the first part of the correction term. As Howard Illian has mentioned, that would induce opposite new response from the very Control Areas who responded to the original Scheduling Error and, while this pays back the energy of their original response, it causes them to incur a double expense for the quick response capability/availability that they twice deployed to help frequency with no compensation for that extra value!   Moreover, if the payback of the past Inadvertent Interchange is not coordinated, it will not be bilateral and will have an effect on Time/Scheduling Error correction.

Howard makes one further modification to Equation (4) to be CPS1 compatible and thereby enable Control Areas to eliminate the complicating and CPS1-defeating effect of doing time-error correction exclusively by a single uncoordinated "unilateral payback" of Time/Scheduling Error.  This is done by grouping the first part (the previous Primary Response "replaced" by current late Secondary) of the correction term into the second term of Equation (4), the Frequency Bias obligation term.  The second part (the payback of previous Inadvertent Interchange by late Secondary Response) of the correction term can be moved into the fourth term of Equation (4), the Bilateral Payback term.  This eliminates the "unilateral payback" third term of Equation (4), reducing the final ACE Equation to the traditional 4 terms instead of the previous 5:

ACEi=NIA−NIS−10BiFA−FS−εS60×HFS'−T0b−IIiH+IME	(5)

In this rearranged ACE Equation (5)  the scheduled frequency is reinterpreted to be  FS instead of FS.  This method of (a) converting late replacement of Primary Response into a change in scheduled frequency and of (b) scheduling unilateral payback of Inadvertent Interchange so that it sums to zero across the Interconnection and therefore becomes bilateral, is equivalent to the previous WATEC as long as H is the same for all control areas..

This ACE Equation is compatible with CPS1 and can be used in the CPS1 calculation because it meets all of the requirements for CPS1.  First, all of the Control Areas are controlling to the same frequency, FS, eliminating the problem of scheduled frequency's being indeterminate under the current single uncoordinated payback implementation of WATEC's methodology.  Second, since the Inadvertent Interchange portion of the payback is identified and therefore scheduled, it bilateralizes because it sums to zero across the Interconnection and in no way disturbs Interconnection frequency.  Therefore, this ACE Equation can be used for the calculation of CPS1 without masking CPS1 performance in an undifferentiated Time/Scheduling Error correction term as a result of the Time/Scheduling Error correction.  This effectively includes the enforcement of the automatic Time Error correction within the CPS1 criterion and subsumes Inadvertent Interchange payback under a wider Time/Scheduling Error correction methodology which includes a term for "Primary Response replacement", not just Inadvertent Interchange payback.

# 4.  Summary and Conclusions

The alternative ACE Equation (5), offers the identical  methodology as the ACE Equation (1)or ACE Equation (2) currently being used on the Western Interconnection, except it conforms to the CPS1 criterion by not resorting to a single unplanned unilateral payback.  Basically this implementation of WATEC augments the standard ACE equation by two insertions: (a) adding, to the scheduled frequency, (1/H of) the amount of the previous 3 hours' average Time/frequency error, as an alternative to sudden unplanned and uncoordinated "replacement" of previous primary response in the current WETEC Time/Scheduling Error correction methodology, and (b) adding to the Control Area's Bilateral Payback for this hour (1/H of) the previous 3 hours' average Inadvertent Interchange that the Control Area needs to pay back this hour, not as uncoordinated surprise unilateral payback under the current WETEC Time/Scheduling Error practice, but that turns out to be bilateralized for being scheduled and summing to zero with the rest of the Interconnection's previous 3-hours' average Inadvertent Interchange.  This assures that the same ACE Equation can be used for both control and performance.  Otherwise, if (a) different divisors H are used by different control areas, and (b) surprise unilateral payback is preformed that includes new Scheduling Error, the Time/Scheduling Error correction may immeasurably deteriorate ACE performance under CPS1 because the correction may actually defeat itself and CPS1 compared to the alternative to (a) and (b).  By adopting the coordinated control practice that using the alternative form (4) of the ACE Equation implies, the Western Interconnection can bring the enforcement of Auto Time Error Correction including Inadvertent Payback within the CPS1 criterion without having to change their basic Automatic Time Error Correction methodology.

Conforming WECC Auto Time Error Correction to CPS1, September 24,2004, Presented to the NAESB IIPTF.

Illian, H. F., WECC Auto Time Error Correction Analysis, December 1, 2003, Presented to the NAESB IIPTF.

Intuition behind the conversion of the Time/Scheduling Error correction term:

Your Primary Inadvertent is your Inadvertent that your Scheduling Error caused.

Your Primary Inadvertent is equal and opposite to everybody else's response to your Scheduling Error.

Your Secondary Inadvertent is your Inadvertent that somebody else('s Scheduling Error) caused.

Your Scheduling Error (version I) is your Primary and Secondary Inadvertent less your response to all Scheduling Errors on the Interconnection (including your own).

VERY IMPORTANT AXIOM: "Your Secondary Inadvertent and your response to everybody else's Scheduling Errors are equal and in the same direction".

THEOREM 1: Therefore they cancel out in your Scheduling Error (version I), making your Scheduling Error (version II) reduce to your Primary Inadvertent LESS your response to your own Scheduling Error.

COROLLARY: Accordingly, your Primary Inadvertent equals your Scheduling Error PLUS your response to your own Scheduling Error.

In the WATEC equation, you transform Scheduling Error (version II) used by WATEC into Scheduling Error (version I)

1. The correction term starts out by being Scheduling Error (version II), by DIVIDING your Primary Inadvertent by (1-Y) [i.e. SUBTRACTING back your response to your own Scheduling Error].

2. You then convert your Primary Inadvertent to everybody else's response to your Scheduling Error (version I), which is your Scheduling Error (version I) MULTIPLIED by (1-Y) [i.e. ADDING back your response to your own Scheduling Error].

3. Steps 1 & 2 cause the division and the multiplication by (1-Y) [or the subtraction and the addition of your response to your own Scheduling Error] to cancel out, leaving Scheduling Error (version I).