Comments submitted by SRP


Firm Redirect of Firm Point-to-Point Reservations

Standard X

Transmission Customers shall have the right to request a different Point of Receipt and/or Point of Delivery for any Confirmed Point-to-Point Firm Transmission Service reservation.  This will be referred to as a Firm Redirect.  All redirect requests shall be submitted to the primary transmission provider for review and approval.



Standard X.1.1

A firm redirect request is entered into the firm point-to-point service queue and evaluated as any other firm request at a curtailment priority of 7 (i.e., at the same priority as all other firm or network designated resource uses of the transmission system). 

Standard X.1.1.1

TC is not required to submit an additional deposit.

Standard X.1.2

The TC may request a redirect for a portion or all of the capacity of the original request

Standard X.1.3

The TC may request a redirect for a portion or all of the time period of the original request, so long as the redirect request represents a multiple of an offered service product (e.g. daily, weekly, etc.)

Standard X.1.4

The TC’s rights on the original path shall remain unaffected during the Transmission Provider evaluation of the redirect.


Standard X.1.4.1

If the redirect is denied for any reason, all rights shall remain per the original reservation

Standard X.1.4.2
Upon confirmation, the TC's firm rights associated with the parent reservation shall be modified to reflect a reduction in capacity equivalent to the redirected capacity for a time period equivalent to that associated with the redirect.
Standard X.1.4.3
When a request for a Redirect is in a state of COUNTEROFFER or ACCEPTED the customer shall retain its priority for service on the Parent reservation, but shall have no rights to schedule against or redirect the parent reservation for the capacity and duration of the pending Redirect request.
Alternate Standard X.1.4.3

When a request for a Redirect is in a state of COUNTEROFFER or ACCEPTED the customer shall retain its priority for service on the Parent reservation, and shall also continue to have rights to schedule against the parent reservation or redirect against the parent reservation for the capacity and duration of the pending Redirect request.
Standard X.1.5

Reductions in path capacity (either the parent or the redirect) that require curtailment of firm rights will be administered in a pro rata fashion.


Standard X.1.5.1

Any reduction in any remaining, unmodified portion of the original reservation capacity shall not impact the redirected capacity.

Standard X.1.6

Redirect requests on a firm basis do not impact the TCs long term firm renewal rights (e.g., rollover or evergreen rights) on the original path, nor do they confer any renewal rights on the redirected path.

Standard X.1.7

The customer may request a redirect on a firm basis for any confirmed firm point-to-point reservation regardless of the parent's Request Type.
Standard X.1.8

The customer will be charged for the firm redirect based on a new negotiated price.  The customer will be credited against the parent reservation based on the previously negotiated price of the parent reservation.
Standard X.1.9

A customer may request a firm redirect of a firm point-to-point reservation that is curtailed, to a path that is not affected by the curtailment, subject to capacity availability on the requested path.  Granted capacity of the firm parent that has not been previously redirected or tagged will be the basis for capacity available to redirect.
Standard Y Non-Firm Redirect of Firm Point-to-Point Reservations
Transmission Customers shall have the right to request an alternate, or secondary, Point of Receipt and/or Point of Delivery for any Confirmed Point-to-Point Firm Transmission Service reservation.  This will be referred to as a Non-Firm Redirect.  All redirect requests shall be submitted to the primary transmission provider for review and approval. 
Standard X.2.1

A Non-Firm Redirect request is entered into the non-firm point-to-point service queue at a curtailment priority of  1 (i.e., at a lower priority than hourly non-firm transmission service).

Standard X.2.2

Prior to and upon confirmation, the TC's firm rights associated with the parent reservation remain unchanged.

Standard X.2.3

In no event shall the total of the schedules under the parent reservation and the non-firm redirect  reservation exceed the amount of the parent reservation’s Granted Capacity

Standard X.2.4

Reductions in path capacity of the parent reservation shall not impact the TC ability to redirect on a non-firm basis nor reduce the amount of capacity of the redirected request.   Granted capacity of the firm parent that has not been tagged or previously redirected will be the basis for redirection .

Standard X.2.5

The customer may request a redirect on a non-firm basis for any confirmed firm point-to-point reservation regardless of the parent's Request Type.

Standard X.2.6

A reservation that is a redirect on a non-firm basis shall be a Class Secondary and have a non-firm secondary curtailment priority, lower than firm and non-firm service.
Standard X.2.7

The price for a non-firm redirect reservation shall be $0.00. 
W. Weathers, SRP 05/25/04


