[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

Via email and posting

TO:
NAESB WEQ OASIS 1A Task Force, and Posting for Interested Parties
FROM:
Todd Oncken, Deputy Director

RE:
WEQ ESS & ITS Oasis 1A Task Force Final Minutes – July 14, 2004

DATE:
July 20, 2004

Wholesale Electric Quadrant
OASIS 1A Task Force Meeting

July 14, 2004 in Houston, TX at the NAESB Office

Final Minutes
1. Administrative

Mr. Harshbarger called the meeting to order and welcomed meeting participants.  Mr. Oncken gave the antitrust advice.  Participants introduced themselves.  The draft agenda was reviewed and a discussion of Request R03007 was added under other business.  The agenda was adopted by consent.

The draft minutes from May 14 and July 9, 2004 were reviewed and no changes were proposed.  The draft minutes were adopted by consent.  Ms. Rehman moved, seconded by Mr. Sorenson, to adopt the draft minutes from February 13, 2004 without modification.  The motion passed unanimously.   
2. Discussion of outstanding R04006 OASIS 1A Enhancements

Redirect of Transmission Service:  The posted work paper was reviewed and revised.  It was decided that the term ‘Parent Request’ should be used instead of ‘Original Request’ throughout the document.  During discussion Mr. Sorenson noted that Request R04006 discussed requests for redirect of transmission service in the context of resales, but the context of the proposed standard had been expanded.  The location of posted documents was briefly discussed.  The task force determined that documents would only be posted to the OASIS 1A Documents Page when the task force determined they were complete – no working documents would be posted in that location.  

There was extensive discussion of Proposed Standard X.7 and whether there should be more detail addressing rate treatment.  It was noted that the consequence of remaining silent would be different rate treatment for the same situation by different providers.  Mr. Wood stated that the standard should reflect that source/sink can be redirected on the same path – redirects are not limited to points of receipt or delivery.  There was also extensive discussion about the priority of redirects on a non-firm basis and whether it would be appropriate to limit the product types for this service.  Mr. Sorenson stated that the service did not currently have parameters and would suggest limiting it to parallel non-firm hourly service so it could not be requested sooner than noon the day before flow and flow for more than 24 hours.  Participants were generally in favor of limiting redirects on a non-firm basis.
Mr. Sorenson will reformat the work paper as a recommendation which will be forwarded to the ESS/ITS for consideration at the July meeting.

Recalls of Transmission Service:  Mr. Sorenson reviewed the posted work paper, noting that proposed business practices were listed first, followed by proposed changes to the S&CP.  There were no comments on the business practices.  Mr. Wood agreed to review the document for additional S&CP changes.  The work paper will be reformatted as a recommendation and forwarded to the ESS/ITS for their consideration.
Multiple Submissions of Identical Requests:  The posted work paper was reviewed.  It was noted that a proposal to modify the timing table was an outstanding action item from the last ESS/ITS meeting.  Participants discussed whether it would be appropriate to submit the recommendation without a proposal to modify the timing table, and then modification of the timing table could be addressed through a subsequent request for standards, if submitted.  The proposed business practices were reviewed and it was determined that a possible S&CP change would be to modify S&CP Section 5 which discusses performance requirements.  

To address the above concerns, it was agreed that Mr. Sorenson would draft proposed language for Proposed Standard X.4.2 so that the ESS/ITS could evaluate the following options:

· Delete Proposed Standard X.4.2 and remain silent on time lines.

· Modify Proposed Standard X.4.2 to reflect that the Transmission Provider would have flexibility in proposing modified time lines.  

· Include a modified table following Proposed Standard X.4.2.

Additionally, it was noted that the ITS should be made aware of the potential modifications needed to S&CP Section 5. 

Standard Process for NITS on OASIS:  There has been no action on this part of Request R04006.

Naming Standards:  There has been no action on this part of Request R04006.  
3. Discussion of outstanding R04011 OASIS 1A Enhancements

Generator Interconnection/Outage Reporting:  Ms. Rehman reported on the draft recommendation to address Request R04011, noting the proposed standard would be applicable to any postings required by a regulatory order.  As a result of discussions, Ms. Rehman agreed to modify the recommendation so that it would be a modification to S&CP Section 4.5.  
4. Other Business

PKI (Request R03007):  Mr. Sorenson reviewed the posted work paper.  Mr. Sorenson requested input from the task force on the proposed standard, even though it was not ready for submittal to the ESS/ITS.  Mr. Sorenson noted there have been no comments since the current draft was distributed.  Mr. Sorenson stated the proposed standard reflected the current developments surrounding NERC’s e-MARC policy and the ESS/ITS decision at the last meeting to pursue security standards for OASIS 1A that would be compatible if the e-MARC policy was approved.  Mr. Sorenson summarized that the proposed standard included business practices and modifications to the S&CP that would dictate the use of PKI SSL for access to OASIS with both client and server authentication.  Mr. Sorenson noted a key component to the proposed standards was that an organization would declare knowledge of security requirements, name an organization(s) issuing its certificates, and assume liability for all transactions entered into pursuant to those certificates.  It was noted that the declaration would likely need legal review.
Discussion of the proposed standard revealed the following open issue:  once executed, how the declarations would be maintained – between the counterparties or registered in a central repository.  Mr. Sorenson will report on this item at the upcoming ESS/ITS meeting.  

5. Future Meetings

No subsequent conference calls or meetings were scheduled.  However, a conference call will probably be scheduled pending the results of the July ESS/ITS meeting.  
6. Adjourn

The meeting adjourned at 3:10 p.m. Central.

7. Attendees

	Name
	Organization
	Notes

	Tonya Baggett
	Western Area Power Admin.
	In Person

	Dan Baisden
	Southern Company
	In Person

	Aaron Baizman
	PJM Interconnection
	Phone

	Brett Fisher
	Western Area Power Admin.
	In Person

	Robert Harshbarger
	Puget Sound Energy
	In Person

	Cheryl Mendrala
	ISO New England
	Phone

	Todd Oncken
	NAESB
	In Person

	Barbara Rehman
	Bonneville Power Admin.
	Phone

	Paul Sorenson
	OATI
	In Person

	Wendy Weathers
	Salt River Project
	Phone

	J. T. Wood
	Southern Company
	In Person

	Charles Yeung
	Southwest Power Pool
	In Person


WEQ Oasis 1A Task Force Final Minutes – July 14, 2004
Page 3 of 3

