Comments Submitted by Duke Power: Public Policy and Research

Wed 6/16/2004 3:44 PM 
Ollie Frazier

Duke Power: Public Policy and Research

Power Planning and Policy Department

Subject:  Request for Comments on Operate Within Interconnection Limits Business Practices Scoping Document - due June 16, 2004                                        

Comments:  

1. Beyond  the  initial  transition to NAESB Standards Version 0, is adoption  of  NERC  Operating  Policy  Appendix 9C1, 9C2 or 9C3 as a NAESB  business  practices acceptable to suit the needs of market participants to  relieve  congestion  for  areas where there is no organized pricing market  for congestion?

Yes, the proper application of NERC policy 9 is acceptable.

a. Are  multiple  operating  philosophies  acceptable  for purposes  of  accommodating  market  transactions,  particularly for those  transactions that cross market and Reliability Authority borders?

The  differences  in  the  various  regions  across  the  country dictates  multiple philosophies.

b. NERC Policy 9.F.3.1 states:

Selecting   transmission   loading   relief   procedure.   The RELIABILITY COORDINATOR experiencing a potential or actual SOL or IROL   violation   on  the  transmission  system  within  its  RELIABILITY COORDINATOR  AREA  shall,  at its discretion, select from either a “local” (Regional,  Interregional,  or  subregional)  transmission  loading relief  procedure  or  an  INTERCONNECTION-wide procedure, such as those listed in  Appendix 9C1, 9C2 or 9C3.

Is it appropriate for NAESB to develop and/or adopt the Regional, Interregional,   or  subregional  procedures  referenced  above?   Without adoption,  what  stakeholder  process  exists for the development of those  procedures?

Not  sure  a  blank  yes  or  no  on adoption would be appropriate without  understanding more where and what the differences are in these procedures.

2. Will there be a need to develop market-oriented business practices to complement current NERC Operating Policy 9 Section F (April 24,2004)?

For  example,  should  local procedures, where currently in place, such as  generation  redispatch  or load management, be standardized to require all  dispatchable  resources  to participate in the process and be compensated?

Not at this time.

a. If  yes,  when  allocating  resources  to participate in NAESB, what priority should be placed on this item?

3. As a NAESB business practice complement to current NERC Operating Policy  9  Section F (April 24, 2004), should a standard be developed that  only  addresses  congestion  that  occurs as a circumstance of transacting  business across a seam?

a. If  yes,  when  allocating  resources  to participate in NAESB, what priority should be placed on this item?

4. Should  there  be a new NAESB standard to complement current NERC Operating  Policy  9 Section F (April 24, 2004) with both requirements for  local congestion management and congestion management across seams?

a. If  yes,  when  allocating  resources  to participate in NAESB, what priority should be placed on this item?

