[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org

Home Page: www.naesb.org


March 2, 2007
TO:
NAESB OATT Distribution List, NAESB Subcommittee Chairs and NAESB OATT NOPR Team
cc:

Gerry Adamski

FROM: 
Rae McQuade, Kathy York
RE:
Order 890 Identification of NAESB Standards Development Tasks, Planning
via email
Dear OATT Distribution List, Subcommittee Chairs, and OATT NOPR Team:

On February 16, the FERC released Order No. 890 (Docket Nos. RM05-17-000 and RM05-25-000); “Preventing Undue Discrimination and Preference in Transmission Service.”  It can be accessed through the hyperlink provided in the above text.  The final order has not yet been published in the Federal Register.  As provided on February 26, the attached matrix identifies the cites and the language in the final order in which the Commission has specifically notes that NAESB should develop business practices or is not expected to develop business practices (as noted in the sections on “Commission Determination”).
The matrix now has some open spaces, where we would ask you to do the following:

Column 1
Review the item and if the work is already underway in a particular subcommittee, please indicate which NAESB committee is performing the task.  If you have opinions on where the item should be assigned, please also note in this column..

Column 2
If the work described by the item is already underway, the status should be “underway”.  If the work is planned but has not yet started, the status should be “assigned.”  Otherwise the status should be blank.
Column 3
Any notes you have on a given item that would help in the planning should be put in column 3.
This matrix and your comments will be the basis for planning how NAESB will address the items assigned to it.  We would appreciate your remarks by March 19.  

Several of you are now on a OATT Order 890 distribution list (order890@naesb.org), and can email each other through the use of this distribution lists.  You can be seen on page 2 of this document.  If you would like to work on this effort or have colleagues that would like to work on this effort, please inform the NAESB office that you would like to be added to the OATT Order 890 distribution list.  The OATT NOPR team list put together last year is not automatically added to this distribution, so please check to see if you want your address added.  We very much appreciate the 18 individuals that have volunteered to date, and hope to see more volunteers in the future.

For response to the FERC, once published in the Federal Register, NAESB is to provide the following:

90 days after publication 
NERC/NAESB status report and work plan for completion of ATC related business practices and standards, (paragraph 223)
90 days after publication 
NAESB status report and work plan for completion of OASIS functionality or uniform business practices (other than those related to ATC), (paragraph 141)
We appreciate the recognition given to NAESB in this final order and look forward to working with you in our NAESB committee structure to meet the Commission’s and the industry’s expectations.
With Best Regards,

Rae   and  Kathy
	NAESB Order 890 Analysis Team
Members of the OATT Order 890 distribution list (order890@naesb.org)

	Jim  Busbin
	Southern Company Services, Inc.

	Roman  Carter
	Southern Company

	Valerie  Crockett
	Tennessee Valley Authority

	Michael  Desselle
	Southwest Power Pool

	Joel  Dison
	Southern Company

	Bill  Gallagher
	Vermont Public Power Supply Authority

	Mike  Gildea
	Constellation Generation Group

	Terri  Grabiak
	Allegheny Power

	Jim  Hansen
	Seattle City Light

	Bob  Harshbarger
	Puget Sound Energy

	Laura Kennedy
	NAESB

	Rae McQuade
	NAESB

	Ron  Mucci
	Williams Power

	Clay  Norris
	Carolina Municipal Power Agency #1

	Lou  Oberski
	Dominion Resource Services, Inc.

	Alan Pritchard
	Duke Energy

	Barbara Rehman
	Bonneville Power Administration

	Narinder Saini
	Entergy

	Paul Sorenson
	Open Access Technology International, Inc.

	Jim Stanton
	Representing ICF International

	Roy True
	ACES Power Marketing, Inc.

	Dean Ulch
	Southern Company

	J.T. Wood
	Southern Company Services Inc.

	Kathy York
	Tennessee Valley Authority


	
	Order 890 Identification of NAESB Standards Development Tasks

	Page
	Cite
	1.  Assigned ?
	2.  Status
	3.  Notes/Comments

	61-2
	88. Increases in transparency to lessen the opportunities to discriminate and reduce transaction costs.  In addition to the increased transparency we require regarding the calculation of ATC and transmission planning, we increase the transparency of transmission service provided under the pro forma OATT in several other respects.  For example, we require transmission providers and their network customers to use the transmission providers’ OASIS to request designation of a new network resource and to terminate the designation of an existing network resource.  In addition, we require transmission providers to modify their OASIS so that requests to designate and terminate a network resource can be queried, allowing all parties access to such information.  We also require transmission providers to post a list of their current designated network resources and all network customers’ current designated network resources on their OASIS.  Finally, we require transmission providers to post on OASIS all their business rules, practices and standards that relate to transmission services provided under the pro forma OATT
	
	
	B. Rehman, BPA Comment:  Use OASIS to request designation and termination of network resources; list network resources on OASIS; provide a link on OASIS to all business practices, rules and standards related to transmission services under the OATT.

	62-3
	89.  Strengthening enforcement of the pro forma OATT.  The reforms adopted in this Final Rule provide greater clarity in the terms and conditions of the pro forma OATT, resolving ambiguities in the existing pro forma OATT that have made undue discrimination easier to accomplish and more difficult to detect.  Our new civil penalty authority under EPAct 2005 gives us ample power to remedy tariff violations, but it also places upon us an increased responsibility to make the rules as clear as possible.  We fulfill that responsibility in the Final Rule by providing greater clarity where appropriate to several critical OATT provisions.  We also adopt a number of posting and reporting requirements that will provide the Commission and market participants with information about each transmission provider’s performance of pro forma OATT obligations.  For example, we require transmission providers to post specific performance metrics related to their completion of studies required under the pro forma OATT.  We note that the Commission will continue to audit compliance with the pro forma OATT, and toward that end require transmission information kept on OASIS to be retained for audit purposes for five years.  Finally, we adopt a number of reforms to operational penalties assessed under the pro forma OATT, including so-called “over-use” penalties and the treatment of operational penalty revenues collected from transmission providers and their affiliates
	
	
	B. Rehman, BPA Comment:  Post metrics on completion of studies; keep info for 5 yr for audits.

	95-6
	141.
Other reforms adopted in the Final Rule will involve coordination with the North American Energy Standards Board (NAESB) to establish OASIS functionality or uniform business practices.  The Commission requests that NAESB file a status report within 90 days of publication of the Final Rule in the Federal Register that contains a work plan for development of such OASIS functionality and business practices.  This work plan should indicate, for each reform, what actions are necessary and an estimate of the timeframe for completing those actions.  Pending resolution of these issues with NAESB, the Commission requires that each transmission provider develop its own OASIS functionality or business practice necessary to implement each such reform within 90 days of publication of the Final Rule in the Federal Register, unless a different compliance requirement is otherwise specified in this Final Rule.  Upon review of this work plan, the Commission will issue an order establishing further compliance deadlines as necessary.
	K. York, TVA Comment:  Joint SCs -  BPS/ESS/

ITS
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  Timeframes for Implementation.
K. York, TVA Comment:  Joint BPS/ESS/ITS Committee prepared short-term plan and ESS/ITS preparing detailed plan as well

	127
	194.
In the NOPR, the Commission proposed to address this potential for undue discrimination by requiring industry-wide consistency and transparency of all components of the ATC calculation methodology and certain definitions, data, and modeling assumptions.  The Commission proposed to provide guidance regarding aspects of ATC calculations that should be more consistent and proposed to direct public utilities, working through NERC and NAESB, to revise reliability standards and business practices that are relevant to ATC calculations.  The Commission also proposed to require increased detail in Attachment C of each transmission provider’s OATT and proposed amending the OASIS regulations to require increased transparency.  Although commenters challenged aspects of this proposed remedy, no commenters challenged the underlying finding that ATC reform is necessary to remedy undue discrimination in the provision of transmission service.  
	K. York, TVA Comment:  Joint BPS/ESS/ITS working on ATC
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  Actions are addressed under specific citations with respect to ATC.
K. York, TVA Comment:  Some progress made; working with NERC on comments to MOD-001 will allow more clarity

	128
	196.
In light of these concerns, we direct public utilities, working through NERC reliability standards and NAESB business practices development processes, to produce workable solutions to complex and contentious issues surrounding improving the consistency and transparency of ATC calculations.  We are directing our guidance to public utilities and require that they implement our direction by working with NERC to develop reliability standards that accomplish the ATC reforms required in this rulemaking.  We will coordinate our directives here with the ATC-related reliability standards that are pending in Docket No. RM06-16-000.   The specifics of our findings with respect to ATC reform are discussed below.  
	ATC Group and ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	BPS and ESS/ITS (ATC Group) comment:  NERC community recognizes that MOD003 (Procedure for Input on TTC and ATC Methodologies and Values), MOD006 (Procedure for use of CBM Values) and MOD009 (Procedure for Verifying TRM Values) are business practices and recommend that those be retired at NERC and adopted by NAESB as business practice standards. 
K. York, TVA Comment:  Review of industry comments to NERC MOD-001 for ATC Calculations will provide more clarity; review to begin March 23rd

	139
	214.
In the NOPR, the Commission expressed confidence that the existing NERC and NAESB processes were well-suited to achieving greater consistency in ATC calculations.  The Commission therefore proposed to require public utilities, working through NERC and NAESB, to revise the reliability standards and business practices relating to ATC, consistent with the guidance provided in the Final Rule, within 180 days after the publication of the Final Rule in the Federal Register.
	K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  Actions are addressed under specific citations with respect to ATC.
K. York, TVA Comment:  Also joint work with NERC

	144
	221.
The Commission directs public utilities, working through NERC and NAESB, to modify the ATC-related reliability standards and business practices in accordance with specific direction provided in this Final Rule.  As we explain above, the development of a more coherent and uniform determination of ATC across a region will help limit the potential for undue discrimination in the calculation of ATC.  The Commission concludes that the NERC reliability standards development process and the NAESB business practices development process are the appropriate forums for developing this consistency.  
	K. York, TVA Comment:  Join BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  General directive
K. York, TVA Comment:  Also joint work with NERC

	144-5
	222.
NERC has been certified as the ERO and, as such, has been found to have the ability to develop reliability standards through processes with reasonable notice and opportunity for public comment.  NERC’s processes are open and provide due process as well as a balance of interests, while assuring independence from users and owners and operators of the bulk-power system.  Moreover, NAESB has a long history of developing standard business practices for the electric industry, on which the Commission has relied in various contexts.  While other entities may bring certain benefits, commenters have not demonstrated the superiority of IEEE, a regional reliability organization, or a particular RTO over NERC and NAESB.  Once components of ATC are made consistent and ATC calculation methodologies are made transparent, opportunities for discretion that may lead to undue discrimination in the calculation of ATC will be sufficiently eliminated to invalidate the need for the creation of independent entities to oversee that calculation.  To the extent that, even following the adoption of these reforms, customers have complaints regarding the calculations performed by individual transmission owners, they can be addressed on a case-by-case basis.  
	K. York, TVA Comment:  Joint BPS/ESS/ITS SC
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  General directive

	145-6
	223.
With respect to a timeline for completion, the Commission concurs with NERC that a significant amount of work remains to be done on ATC-related reliability standards development.  We also agree with the many commenters who state that the NOPR’s proposed six-month timeline is too short for such a complex assignment.  Although NERC projects that it may be able to complete the process by the summer of 2007 (which is approximately six months from the date of the Final Rule), we believe NERC should have additional flexibility with respect to its timeline.  Accordingly, we direct public utilities, working through NERC, to modify the ATC-related reliability standards within 270 days after the publication of the Final Rule in the Federal Register.  We also direct public utilities to work through NAESB to develop business practices that complement NERC’s new reliability standards within 360 days after the publication of the Final Rule in the Federal Register.  Finally, we direct NERC and NAESB to file, within 90 days of publication of the Final Rule in the Federal Register, a joint status report on standards and business practices development and a work plan for completion of this task within the timeframe established above.  
	K. York, TVA Comment:  Joint BPS/ESS/ITS SC
	K. York, TVA Comment:  Work plans underway
	ESS/ITS comment:  Timeline
K. York, TVA Comment:  Short-term plan for BPS complete; ESS/ITS working on more detailed plan for OASIS work

	155
	243.
To achieve greater consistency in ETC calculations and further reduce the potential for undue discrimination, the Commission adopts the NOPR proposal and directs public utilities, working through NERC and NAESB, to develop a consistent approach for determining the amount of transfer capability a transmission provider may set aside for its native load and other committed uses.  We expect that NERC will address ETC through the MOD-001 reliability standard rather than through a separate reliability standard.   By using MOD-001, the ETC calculation can be adjusted to be applicable to each of the three ATC methodologies under development by NERC.
	ESS/ITS Comment:  ATC Group
And

ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS and joint NERC team
	K. York, TVA Comment:  Underway
	BPS and ESS/ITS (ATC Group) comment:  NAESB should review NERC’s ETC work carefully to provide insight into ETC 
BPS and ESS/ITS (ATC Group) comment:  NAESB: provide place to post ETC and develop frequency of posting requirements in business practice standards 
ESS/ITS comment:  Posting requirements will require development/revisions to the S&CP by the ESS/ITS.  The ESS/ITS/BPS (ATC Group) should develop any necessary business practices other than S&CPs.
K. York, TVA Comment:  NERC is working on ETC and plans to have NAESB develop definition for ETC

M. Gildea, Constellation Gen. Group Comment:  NERC and NAESB, to develop a consistent approach for determining the amount of transfer capability a transmission provider may set aside for its native load and other committed uses. {Key work that will be difficult.  We see the reference to MOD-001 is undertaking this task.  This is positive.  Will have to watching closely if this standard completely covers this assignment.}

	156
	246.
We agree with NERC that some elements of ETC are candidates for business practices rather than reliability standards.  Accordingly, we direct public utilities, working through NAESB, to develop business practices necessary for full implementation of the developed MOD-001 reliability standard.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	BPS and ESS/ITS (ATC Group) comment:  NAESB:  Implementation of MOD001 via business practice standards 
K. York, TVA Comment:  Draft language being developed for 4/17/07 meeting

	161
	257.
The Commission therefore adopts a combination of the NOPR options one and two, and declines to adopt option three.  First, we require public utilities, working through NERC and NAESB, to develop clear standards for how the CBM value shall be determined, allocated across transmission paths, and used.  We understand that NERC has already begun the process of modifying several of the CBM-related reliability standards and that the drafting process is a joint project with NAESB.  Second, we require transmission providers to reflect the set-aside of transfer capability as CBM in the development of the rate for point-to-point transmission service.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) comment:  NAESB:  NERC plans to retire MOD006 so that NAESB can adopt business practice standards for use of CBM values 
ESS/ITS comment:  This item is also covered in Request No. R05004A items 2a and 3d
K. York, TVA Comment:  NERC to send work on CBM uses to NAESB for business practice

M. Gildea, Constellation Gen. Group Comment:  NERC and NAESB, to develop clear standards for how the CBM value shall be determined, allocated across transmission paths and used. {This is an important subcomponent of the ATC elements identified in page 127 above}

	163
	262.
Concerning TAPS’ proposal to remove the reservation decision from the sole discretion of transmission providers, we determine that LSEs should be permitted to call for use of CBM, if they do so pursuant to conditions established in the reliability standards development process.  We direct public utilities working through NERC to modify the CBM-related standards to specify the generation deficiency conditions during which an LSE will be allowed to use the transfer capability reserved as CBM.  In addition, we direct that transmission set aside as CBM shall be zero in non-firm ATC calculations.  Finally, we order public utilities to work with NAESB to develop an OASIS mechanism that will allow for auditing of CBM usage.
	ESS/ITS Comment:  ATC Group

And

ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) comment:  NAESB ESS/ITS: need to develop mechanism for LSEs to call for use of CBM: not clear will be an online request or done outside of OASIS 
ESS/ITS comment:  Will require changes for S&CP, new templates. NAESB may need to define the product depending on the outcome of NERC standards development. 
BPS and ESS/ITS (ATC Group) comment:  NAESB ESS/ITS should come up with mechanism to track the usage of CBM (tagging requirements, etc.)

M. Gildea, Constellation Gen. Group Comment:  Two important sub-components of page 161 above:

1) LSEs should be permitted to call for use of CBM;

OASIS mechanism that will allow for auditing of CBM usage

	167
	272.
The Commission adopts the NOPR proposal and requires public utilities, working through NERC, to complete the ongoing process of modifying TRM standards MOD-008 and MOD-009.  We understand that the standard drafting process is underway as a joint project with NAESB.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  NERC
	
	ESS/ITS comment:  NAESB needs to develop Business Practices for verification of TRM (NERC plans to recommend that MOD 009 be retired at NERC and adopted by NAESB as Business Practice Standards)
K. York, TVA Comment:  NAESB to review and comment on MOD-008 on 3/23/07; NERC to post 4/1/07

M. Gildea, Constellation Gen. Group Comment:  TRM standards MOD-008 and MOD-009.  We understand that the standard drafting process is underway as a joint project with NAESB. {This is another element identified on page 127 above where NAESB must work with NERC.)

	167-8
	273.
The Commission also adopts the NOPR proposal to establish standards specifying the appropriate uses of TRM to guide NERC and NAESB in the drafting process.  Transmission providers may set aside TRM for (1) load forecast and load distribution error, (2) variations in facility loadings, (3) uncertainty in transmission system topology, (4) loop flow impact, (5) variations in generation dispatch, (6) automatic sharing of reserves, and (7) other uncertainties as identified through the NERC reliability standards development process.  Because load, facility loading and other uncertainties constantly deviate, we will not require that TRM set aside capacity be set at zero in the non-firm ATC calculation.  In other words, we will not require transfer capability that is set aside as TRM to be sold on a non-firm basis.  We find that clear specification in this Final Rule of the permitted purposes for which entities may reserve CBM and TRM will virtually eliminate double-counting of TRM and CBM.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  NERC
	
	ESS/ITS comment:  NAESB will need to work with NERC to ensure these elements are included in the reliability standards

ESS/ITS comment:  NAESB will need to develop Business Practices to prevent double counting of CBM and TRM.

	177
	293.
With regard to EPSA’s request for the standardization of additional data inputs, we believe they are already captured in the Commission’s proposal as adopted in this Final Rule.  Xcel asks the Commission to require consistency in the determination of counterflows in the calculation of ATC.  Counterflows are included in the list of assumptions that public utilities, working through NERC, are required to make consistent.  We believe that counterflows, if treated inconsistently, can adversely affect reliability and competition, depending on how they are accounted for.  Accordingly, we reiterate that public utilities, working through NERC and NAESB, are directed to develop an approach for accounting for counterflows, in the relevant ATC standards and business practices.  We find unnecessary Xcel’s request that we require a date certain for specific issues in the Western Interconnection to be addressed.  Above we require public utilities, working through NERC, to modify the ATC standards within 270 days after the publication of the Final Rule in the Federal Register.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) comment:  NAESB:  need to identify how account for counterflows in the posting
M. Gildea, Constellation Gen. Group Comment:  NERC and NAESB, are directed to develop an approach for accounting for counterflows {Another important component of the ATC work identified on page 127 above.}

	181
	301.
The Commission adopts the NOPR proposal and requires the development of reliability standards that ensure ATC is calculated at consistent intervals among transmission providers.  The Commission thus directs public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data.  This process must also consider whether ATC should be calculated more frequently for constrained facilities.  ATC-related requirements for OASIS posting are discussed below.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	BPS and ESS/ITS (ATC Group) comment:  NAESB needs to develop business practices for intervals for posting of ATC (Request No. R05004A Item 3e (paragraph 168 of the NOPR) (ATC/AFC)
M. Gildea, Constellation Gen. Group Comment:  ATC is calculated at consistent intervals among transmission providers. {Another important component of the ATC work identified on page 127 above.}

	186
	310.
The Commission adopts the NOPR proposal and directs public utilities, working through NERC, to revise the related MOD reliability standards to require the exchange of data and coordination among transmission providers and, working through NAESB, to develop complementary business practices.  The following data shall, at a minimum, be exchanged among transmission providers for the purposes of ATC modeling: (1) load levels; (2) transmission planned and contingency outages; (3) generation planned and contingency outages; (4) base generation dispatch; (5) existing transmission reservations, including counterflows; (6) ATC recalculation frequency and times; and (7) source/sink modeling identification.  The Commission concludes that the exchange of such data is necessary to support the reforms requiring consistency in the determination of ATC adopted in this Final Rule.  As explained above, transmission providers are required to coordinate the calculation of TTC/TFC and ATC/AFC with others and this requires a standard means of exchanging data.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	ESS/ITS comment:  NERC plans to address in MOD001 and FAC12 and NAESB plans to coordinate with NERC the development of these reliability standards. 
K. York, TVA Comment:  In NERC MOD-001 draft; need more clarity after 3/23/07 review of industry comments

M. Gildea, Constellation Gen. Group Comment:  MOD reliability standards to require the exchange of data and coordination among transmission providers and, working through NAESB….standard means of exchanging data

{Another important component of the ATC work identified on page 127 above.}

	194-5
	325.
We do not believe our requirement to include additional information in Attachment C will be overly burdensome or lead to an excessive level of future tariff revisions.  Attachment C must provide an accurate documentation of processes and procedures related to the calculation of ATC, not the actual mathematical algorithms themselves, which should be posted on the transmission provider’s web site.  These processes define service availability and, as such, must be part of the transmission provider’s OATT.  It is entirely appropriate that, because revisions to such processes impact transmission availability, they should be filed for Commission approval and included in a transmission provider’s OATT.  We also require transmission providers to file a revised Attachment C to incorporate any changes in NERC’s and NAESB’s revised reliability standards and business practices related to ATC calculations, as requested by the Commission in this Final Rule.  This filing should be made within 60 days of completion of the NERC and NAESB processes.  As we expect transmission providers to rarely change their ATC calculation methodologies, we do not believe this requirement will trigger an unacceptable level of tariff filings modifying the Attachment C description of the ATC components and processes.
	K. York, TVA Comment: N/A
	
	ESS/ITS comment:  TP compliance issue after completion of standards development.

ESS/ITS QUESTION: what is the definition of the completion of NERC and NAESB processes?

	196-7
	328.
We reject proposals to address the transparency of ATC methodology by merely referencing business practices and reliability standards developed by NERC, NAESB, and WECC.   ATC calculations have a direct and tangible effect on the granting of open access transmission service.   As such, an accurate and detailed statement of the methodology and its components that defines how the transmission provider determines ATC belongs in the transmission provider’s OATT as the means of holding the transmission provider accountable for following non-discriminatory procedures for granting service, not in business practices kept by the transmission provider.   However, as noted above, the actual mathematical algorithms should be posted on the transmission provider’s web site, with the link noted in the transmission provider’s Attachment C.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  N/A
	
	BPS and ESS/ITS (ATC Group) comment:  NAESB should develop a requirement for posting the actual mathematical algorithms for ATC on OASIS
ESS/ITS comment:  This is a TP compliance issue, no action for NAESB required.

	204
	349. In addition, we agree with the requests of APPA and TAPS to require the additional posting of, at a minimum, a listing of all system impact studies, facilities studies, and studies performed for the transmission provider’s own network resources and affiliated transmission customers, to be made available upon request. We note that appropriate procedures to accommodate CEII concerns should be developed to ensure eligible entities with a legitimate interest in transmission study data can receive access to it. Also, we adopt TAPS’ suggestion that the studies be made available for five years to make the requirement consistent with data retention requirements pertaining to denial of service requests.
	
	
	B. Rehman, BPA Comment:  Add to posted list of studies, all System Impact Studies performed for the transmission providers own network resources and affiliated customers to be made available upon request

	212
	354. The Commission adopts the CBM posting requirements proposed in the NOPR.  In doing so, we amend our OASIS regulations to incorporate the directives established in the CBM Order. Accordingly, we require transmission providers to post (and update) the CBM amount for each path. In addition, the Commission requires transmission providers to make any transfer capability set aside for CBM but unused for such purpose available on a non-firm basis and to post this availability on OASIS. Furthermore, the Commission requires transmission providers to post (and update) the TRM values for the paths on which the transmission provider already posts ATC, TTC, and CBM.
	
	
	B. Rehman, BPA Comment:  Post and update TRM values for the paths on which ATC/TTC and CBM are posted.  Post and update CBM for each path and make any unused transfer capability set aside for CBM available for nonfirm and post such availability on OASIS

	209
	358. The Commission incorporates into its regulations the requirement in the CBM Order for a transmission provider to periodically reevaluate its transfer capability setaside for CBM. With respect to TAPS’ concerns over the effort involved in the reevaluation process, we will require CBM studies to be performed at least every year.  This requirement is consistent with the CBM Order, in which the Commission stated that the level of ATC set aside for CBM should be reevaluated periodically to take into account more certain information (such as assumptions that may not have, in fact, materialized).204 While changes requiring a reevaluation of CBM are longer-term in nature (e.g., installation of a new generator or a long-term outage), quarterly may be too frequent, though two years may be too long and may prevent a portion of the CBM setaside from being released as ATC. Moreover, annual reevaluation is consistent with the current NERC standard being developed in MOD-005.205 The requirement to evaluate CBM at least every year also is consistent with the CBM Order in that the Commission directed transmission providers to periodically reevaluate their generation reliability needs so as to make known the need for CBM and to post on OASIS their practices in this regard.
	
	
	B. Rehman, BPA Comment:  Periodically re-evaluate generation reliability needs to make known the need for CBM and post practices in this regard on OASIS

	214
	369.
The Commission adopts the NOPR proposal, with the modifications discussed below, to require that the transmission provider post a brief, but specific, narrative explanation of the reason for a change in monthly and yearly ATC values on a constrained path.  Rather than requiring a narrative when a monthly or yearly ATC value changes as a result of transactions being reserved, service ending, or the TTC estimate for the path changing by more than 10 percent, we will require a narrative when a monthly or yearly ATC value changes only as a result of a 10 percent change in TTC.  This will reduce the number of ATC changes for which a narrative will be required and address concerns that the new requirement unduly burdens transmission providers.  Any remaining burden is justified by the benefit to transmission customers of receiving timely information regarding changes in TTC that result in changes to ATC.  In addition, we adopt NAESB’s suggestion that posted information include the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).
	ESS/ITS Comment: ESS/ITS 
K. York, TVA Comment:  Joint BPS/ESS/ITS
	ESS/ITS Comment:  underway
K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) comment:  NAESB needs to review whether there is a place for posting the reason for change in ATC values on OASIS; consider whether to develop standard explanations
ESS/ITS comment:  NOTE: may need to look at the design of the security template.
M. Gildea, Constellation Gen. Group Comment:  “adopt NAESB’s suggestion that posted information include the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network”

NAESB may  or may not need to provide and standards guidance on this FERC directive.  This should be examined after implementation or after taking requests from those doing the implementing.

	215
	371. We do require, as suggested in the NOPR, a narrative with regard to monthly or yearly ATC values when ATC remains unchanged at a value of zero for a significant period, and will set that period at six months or longer. This information will be valuable to customers and regulators in assessing the ability of a transmission provider’s facilities to meet existing service requests. The information also will provide assurance to customers that the transmission provider is diligent in regularly evaluating ATC on all paths, monitoring persistent constraints and addressing them in its planning processes. 
	
	
	B. Rehman, BPA Comment:  Post narrative when ATC (mthly/yrly) remains zero for 6 mo or longer

	217
	376. As proposed in the NOPR, the Commission maintains the requirement that a transmission provider post the reason for a denial of service and extends from three years to five years the period for which transmission providers must maintain data providing reasons for denial of service. In general, commenters support the requirement for posting denial of service information and the increase in retention time to five years, indicating that such information can be helpful to customers in their awareness of actual transmission congestion, rather than relying on simulation models. 
	
	
	B. Rehman, BPA Comment:  Keep data providing reasons for denial for 5 yrs.  (This item may only be a heads up for OASIS Administrators)

	217-8
	377. We also adopt TAPS’ suggestion to expand the regulations to include availability of information supporting the disposition of a transmission provider’s own network resource designations and to make such information available to any eligible customer rather than just to that customer denied service. In addition, we clarify that a partial denial of service triggers the requirements as well. Such information is consistent with the new regulations established by this Final Rule and will help ensure that customers receive transmission service that is not unduly discriminatory. The development of a log of service denials, full or partial, will establish an ongoing record of service requests and transmission provider responses demonstrating the transmission provider’s provision of nondiscriminatory open access service. Furthermore, repeated denials of service over a particular path or flowgate will provide an indication of congestion that can be used in the transmission planning process. In addition, we agree with East Texas Cooperatives that postings of denials of service should indicate whether the requested service was firm or non-firm.
	
	
	B. Rehman, BPA Comment:  Postings of denials should indicate whether the request was for firm or non-firm service

	220-1
	385.
The Commission adopts the NOPR proposal and requires transmission providers and network customers to use OASIS to request designation of new network resources and to terminate designation of network resources.   This information shall be posted on OASIS for 90 days and available for audit for a five-year period.  Transmission customers thus shall be able to query requests to designate and terminate a network resource.  This requirement adds valuable transparency without undue burden, since it is nothing more than maintaining a database of designation requests made and responded to electronically.  The Commission orders public utilities, working through NAESB, to develop appropriate templates for OASIS.
	ESS/ITS Comment:  ESS/ITS 
K. York, TVA Comment:  Joint BPS/ESS/ITS
	ESS/ITS Comment:  underway
K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.
K. York, TVA Comment:  Templates will most likely be worked on exclusively by ESS/ITS
M. Gildea, Constellation Gen. Group Comment:  network customers to use OASIS to request designation of new network resources and to terminate designation of network resources… NAESB to arrive at templates…{needs to be assigned to a NAESB working group}

	223
	394.
In response to NRECA and other commenters regarding the availability and format of data available on OASIS, we note that current regulations already require that OASIS data be made available in a useable, machine-readable user friendly format to transmission customers.  The improvements required in the Final Rule will enhance the level of detail posted on OASIS and, in turn, transmission customers’ ability to verify the transmission provider’s treatment of transmission requests.  Thus, to the extent NRECA or others desire greater consistency in data formats, they should propose such revisions through the NERC and NAESB processes.
	K. York, TVA Comment:  N/A
	
	K. York, TVA Comment:  Will work on if requests are filed

	224
	396. With respect to Williams’ request for additional OASIS postings, we agree that such additional data would be useful to transmission customers and is already posted on some ISO and RTO web sites and, to a lesser extent, on the NERC web site (TLR data).  Therefore, we require that all transmission service-related business practices and local procedures, including waivers, should be posted on or made available through OASIS.  With respect to real-time data and import/export limits by constrained area, estimated return-to-service dates and line de-ratings, we are confident that most of this data is already required by this Final Rule and shall be provided whenever TTC and ATC changes in value trigger the posting of a narrative explanation of the causes of those changes. Moreover, the Final Rule requires a broad data exchange among transmission providers, including information on line outages and other data relating to ATC calculations. Accordingly, we will not require additional OASIS postings for this data.
	
	
	B. Rehman, BPA Comment:  Post all transmission related standards, business practices, rules, local procedures, including waivers, on OASIS

	228
	404. In order to provide transparency and avoid undue delays in providing information to those with a legitimate need for it, the Commission requires transmission providers to establish a standard disclosure procedure for CEII required to be disclosed by this Final Rule. We note that transmission customers already have digital certificates or passwords to access publicly restricted transmission information on OASIS. Transmission providers may set up an additional login requirement for users to view CEII sections of the OASIS, requiring users to acknowledge that they will be viewing CEII information.  Transmission providers may require customers to sign a nondisclosure agreement at the time that the customer obtains access to this portion of the OASIS. Only information that meets the criteria for CEII, as defined in section 388.113 of the Commission’s regulations,221 should be posted in this section of the OASIS. Transmission providers will be responsible for identifying CEII and facilitating access to it by appropriate entities, and the Commission will be available to resolve disputes if they arise.
	
	
	B. Rehman, BPA Comment:  Identify any additional login/security requirements for appropriate users to view the CEII (Critical Energy Infrastructure Information) section of the OASIS.

	232-3
	413.
The Commission adopts the proposed requirement to post on OASIS metrics related to the provision of transmission service under the OATT.  Specifically, transmission providers must post (1) the number of affiliate versus non-affiliate requests for transmission service that have been rejected and (2) the number of affiliate versus non-affiliate requests for transmission service that have been made.  This posting must detail the length of service request (e.g., short-term or long-term) and the type of service requested (e.g., firm point-to-point, non-firm point-to-point or network service).  The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day.  The Commission directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) comment:  NAESB needs to develop business practices related to posting the metrics related to the provision of transmission service on OASIS 
ESS/ITS comment:  Posting, standardized format and Business Practices should be developed by the ESS/ITS.  
M. Gildea, Constellation Gen. Group Comment:  directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.:

1) the number of affiliate versus non-affiliate requests for transmission service that have been rejected;

2) the number of affiliate versus non-affiliate requests for transmission service that have been made

{Needs to be assigned to a NAESB working group}

	234-5
	416. With regard to posting of load forecasts and actual daily peak load, we conclude that such postings are necessary to provide transparency for transmission customers. We agree with E.ON that RTO and ISO load data needs to be posted at a sufficient granularity to allow for meaningful comparison of control area and LSE load levels.  Most RTOs and ISOs post load data for the entire footprint, but few post it on an LSE or control area basis. We therefore direct ISOs and RTOs to post load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO. This will not create an undue burden on ISOs and RTOs, since the load data for the entire footprint is an aggregation of load data across the LSEs or control areas in the footprint.  We also agree with EEI that the peak load applies to system-wide load, including native load. We direct transmission providers to post load forecasts and actual daily peak load for both system-wide load (including native load) and native load, as this data will be useful to customers and regulators. We deny EEI’s request for a guarantee that transmission providers will not be held accountable for producing a reasonable load forecast. While we do not intend to penalize transmission providers for failing to account for unforeseen circumstances, we retain our ability to investigate any allegations of manipulation of load forecasts, as this could be used as a means of inappropriately denying requested transmission service.
	
	
	B. Rehman, BPA Comment:  Post underlying load forecast assumptions for all ATC calculations.

	253
	443. In order to assist transmission providers in complying with the Final Rule, and ensure that the planning procedures are developed with customer and stakeholder participation, the Commission will convene staff technical conferences in several broad regions around the country to discuss regional implementation and other compliance issues in advance of the compliance date. We extend an invitation to state regulatory commissions to participate in these technical conferences with our staff in order to ensure that state concerns are fully addressed. The Commission will endeavor to hold the technical conferences 90 to 120 days after the publication of the Final Rule in the Federal Register. To facilitate these conferences, each transmission provider should, within 75 days after the publication of the Final Rule in the Federal Register, post a “strawman” proposal for compliance with each of the planning principles adopted in the Final Rule, including a specification of the broader region in which it will conduct coordinated regional planning. This strawman may be posted on the transmission provider's OASIS, or its website if it does not have its own OASIS (e.g., in the case of a transmission owning member of an RTO or ISO that does not have its own OATT). We strongly urge transmission providers to consult with their stakeholders in the development of this strawman.
	
	
	B. Rehman, BPA Comment:  Post planning strawman on OASIS 75 days after publication in Federal Register.  (Due May 29th?)

	262-3
	460.
The Commission adopts the NOPR’s proposal and will require that transmission planning meetings be open to all affected parties including, but not limited to, all transmission and interconnection customers, state commissions and other stakeholders.  We recognize that it may be appropriate in certain circumstances, such as a particular meeting of a subregional group, to limit participation to a relevant subset of these entities.  We emphasize, however, that the overall development of the transmission plan and the planning process must remain open.  We agree with the concerns of some commenters that safeguards must be put in place to ensure that confidentiality and CEII concerns are adequately addressed in transmission planning activities.  Accordingly, we will require that transmission providers, in consultation with affected parties, develop mechanisms, such as confidentiality agreements and password-protected access to information, in order to manage confidentiality and CEII concerns.  Lastly, concerns surrounding the application of the Commission’s Standards of Conduct to planning participants, and whether and how these standards should affect access to and use of information obtained in the planning process, will be discussed below.
	ESS/ITS Comment:  ATC Group
K. York, TVA Comment:  N/A
	
	ESS/ITS comment:  NERC assess Transmission needs and develop Transmission Plans Supplemental SAR is posted for comment with comments due 3/16. 

	312-3
	546. Some commenters express concern that this principle may result in costly congestion studies that are of little interest or value to customers. Our intent is not to impose a costly study requirement that is unrelated to the real-world concerns of consumers. In the NOPR, we sought comment on whether specific metrics (e.g., zero ATC or TLR frequency) should be used to trigger the congestion study requirement.  After considering the comments on this topic, we do not believe that any single metric, or group of metrics, is adequate for that purpose. Relying on discrete metrics in this instance would risk both over- and under-inclusiveness – i.e., triggering too many studies, thereby imposing cost burdens on transmission providers that are not appropriate, or triggering too few studies, thereby omitting important studies that could help customers identify cost-effective solutions to congestion. Additionally, we direct transmission providers, in consultation with their stakeholders during development of their Attachment K compliance filings (as discussed above), to develop a means to allow the transmission provider and stakeholders to cluster or batch requests for economic planning studies so that the transmission provider may perform the studies in the most efficient manner. We will also require the requests for economic planning studies, as well as the responses to the requests, be posted on the transmission provider’s OASIS or web site, subject to confidentiality requirements.
	
	
	B. Rehman, BPA Comment:  Post requests and responses for economic planning studies on OASIS or Web site, subject to confidentiality requirements.

	401
	703.
We also note that management of inadvertent energy is needed to adhere to NAESB standards.  Historically, transmission providers have paid back inadvertent interchange imbalances in kind, which has not, as a general matter, proven to be problematic.  Our primary concern with respect to inadvertent energy is to avoid incentives that could degrade reliability.  To date, the return-in-kind approach has proven to be adequate as a general matter.  However, if there is evidence that it is no longer sufficient to maintain reliability, or is allowing certain entities to lean on the grid to the detriment of other entities, the Commission has authority under FPA section 215 to direct the ERO to develop a new or modified standard to address the matter.
	K. York, TVA Comment:  Complete
	
	ESS/ITS comment:  No action required at this time until the need is identified. 
K. York, TVA Comment:  Reference to current BPs only

	470-1
	815.
As with any innovative rate program, however, the Commission will monitor the secondary capacity market to ensure that participants are not exercising market power.  To enhance oversight and monitoring by the Commission, we adopt reforms to the underlying rules governing capacity reassignments.  First, we require that all sales or assignments of capacity be conducted through or otherwise posted on the transmission provider’s OASIS on or before the date the reassigned service commences. The Commission thus eliminates the current ability of transmission customers to assign the transmission rights to another party with subsequent notification to the transmission provider.   The mechanisms for negotiating a reassignment remain the same. The transmission customer may either request that the transmission provider make the capacity available on its OASIS or the transmission customer may negotiate the terms of an assignment bilaterally.  In either instance, however, the resulting sale or assignment must be posted by the transmission provider on its OASIS prior to the date the reassigned service commences.  We require transmission providers working through NAESB to develop appropriate OASIS functionality to allow such postings.  Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.
	ESS/ITS  Comment:  ESS/ITS
K. York, TVA Comment:  ESS/ITS
	ESS/ITS Comment:  underway
K. York, TVA Comment:  Underway
	ESS/ITS comment:  ESS/ITS needs to modify the Resale Standards and the S&CPs to address paragraph 815.
M. Gildea, Constellation Gen. Group Comment:  NAESB develops appropriate standards:

“we require that all sales or assignments of capacity be conducted through or otherwise posted on the transmission provider’s OASIS on or before the date the reassigned service commences”

While this may need to be assigned to NAESB working Group, Constellation would hope that FERC reconsiders this request and hence would put this as lower in the queue of projects to get underway immediately

	472
	817. Third, in addition to existing OASIS posting requirements, we require transmission providers to aggregate and summarize in an electronic quarterly report the data contained in these service agreements. As proposed in the NOPR, the use of quarterly reports will assist the Commission in gathering data to ensure the effectiveness of market forces and regulatory requirements to mitigate the exercise of market power.  The Commission directs that this quarterly report be submitted electronically in spreadsheet format consistent with the electronic filing system used for Electric Quarterly Reports so that it is readily accessible to the Commission and the public.
	
	
	B. Rehman, BPA Comment:  Submit quarterly report on aggregated data from reassignment transmission service agreements, in spreadsheet format, and submit consistent with the electronic filing system (EQR) used for Electric Quarterly Reports so it is readily accessible to the Commission and the public.  (See also footnote 499)  (Not sure whether NAESB would be assisting transmission providers with this spreadsheet, as it relates to EQR.  If not, please delete from this list.)

	594-5
	1005.
The Commission will not mandate the use of network customer resources or other third party resources in the provision of planning redispatch.   If they choose, network customers and third parties may voluntarily provide planning redispatch services.  A seller is free to post its price to relieve a specific congested transmission facility and its ability to relieve the congestion.  To facilitate provision of such service by third parties, we direct transmission providers to modify their OASIS sites to allow for posting of these third party offers.  Accordingly, we direct transmission providers to work in conjunction with NAESB to develop this new OASIS functionality and any necessary business practice standards.  Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.
	ESS/ITS Comment:  ATC Group

And

ESS/ITS
K. York, TVA Comment:  New
	K. York, TVA Comment: Not Assigned
	ESS/ITS comment:  ATC/AFC Business Practices and the ESS/ITS S&CPs. NOTE: this might affect the split TLR Business Practices and Reliability Standards Development. 
K. York, TVA Comment:  Please check with Paul Sorenson on this

M. Gildea, Constellation Gen. Group Comment:  we direct transmission providers to modify their OASIS sites to allow for posting of these third party offers {This needs to be assigned to a NAESB working group}.

	617-8
	1046.
Further, as discussed in more detail below, we disagree that NERC must modify its processes in order to allow transmission providers to implement this product.  However, we will allow for a sufficient period of time for development of business practices and tracking mechanisms to implement the product.  We recognize that there may be some regional variation in the way transmission providers approach the provision of conditional firm service beyond the minimum attributes that we establish in this Final Rule.  Thus, we do not direct that transmission providers work with NAESB to develop business practices for implementation of the conditional firm service.  Rather, we direct transmission providers located in the same region to coordinate such development among themselves.  We also encourage participation of non-public utility transmission providers in the region and interested transmission customers in the development of these business practices.  Public utility transmission providers should make efforts to include these interested parties in their regional coordination efforts.  We direct transmission providers to implement these mechanisms and business practices within 180 days after the publication of this Final Rule in the Federal Register.
	K. York, TVA Comment:  N/A
	
	ESS/ITS comment:  Assigned to Transmission Providers regionally, not assigned to NAESB.
P. Sorenson, TranServ comment:  TranServ will be filing comments to FERC on Order 890 in which we ask for delay on implementation of conditional firm to 270 days to better align with JISWG’s 1.8 rev to tagging

K. York, TVA Comment:  BPS to be developed at regional levels

	634-5
	1078.
Finally, we address requests to allow for automatic assignment of short-term firm point-to-point service to conditional firm customers.  We agree that transmission providers must take into account the conditional firm service in evaluating the availability of short-term firm service.  Because conditional firm is a long-term firm use of the system, it should not be interrupted prior to short-term firm service.  However, short-term firm service reserved prior to the reservation of conditional firm service should maintain priority over conditional firm service in the periods when conditional firm service is conditional, i.e., when specified system conditions exist or conditional curtailment hours apply.  Because the assignment proposal meets both of these objectives, we direct transmission providers to assign short-term firm service to conditional firm customers as the service becomes available.  Accordingly, we direct transmission providers to work with NAESB to develop the appropriate communications protocols to implement this attribute of conditional firm service.  Transmission providers need not implement this requirement until NAESB develops appropriate communications protocols.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  No
	
	BPS and ESS/ITS (ATC Group) comment:  NAESB:  development of communication protocols for conditional firm including tracking mechanism and regional variation; NAESB will have to review the tagging rules related to the use of conditional firm (IDC, JISWG)
K. York, TVA Comment:  Check with Paul on this one; also with the introduction of a new conditional firm service, the TLR procedure will have to be revised before the product is implemented

M. Gildea, Constellation Gen. Group Comment:  “we direct transmission providers to assign short-term firm service to conditional firm customers as the service becomes available”

NAESB to develop the appropriate communications protocols to implement this attribute of conditional firm service

{This needs to be sent to a NAESB working group}

	671-2
	1139. Next, we also decline to adopt a requirement for transmission providers to incorporate offers to redispatch from third parties into their reliability redispatch or planning redispatch. Mandatory inclusion of third party offers is not necessary to remedy undue discrimination. The pro forma OATT obligates transmission providers to use their resources to provide, where available consistent with reliability, redispatch service because they do so when serving their native load customers. Third party generators do not have this obligation, nor do the Transparent Dispatch Advocates propose to create such an obligation. Rather, under the TDA proposal, transmission providers would remain obligated to provide redispatch service, but third party generators would have only the option of doing so. Transparent Dispatch Advocates are therefore not proposing comparable treatment and we decline to adopt the proposal. This notwithstanding, we believe that redispatch offers by third party generators can increase system reliability and reduce costs to customers by increasing the planning redispatch options available to transmission providers. We therefore are adopting, as explained above, a requirement that transmission providers modify their OASIS to allow for the posting of third party offers to supply planning redispatch. This OASIS posting requirement does not obligate transmission providers to incorporate bids from third parties into their redispatch; rather, posting of third party offers to provide redispatch may be used by transmission customers to secure planning redispatch provided the appropriate agreements are reached between the customer, third party redispatch provider, transmission provider and reliability coordinator.
	
	
	B. Rehman, BPA Comment:  Modify OASIS to allow for posting of 3rd party offers to supply planning redispatch, provided appropriate agreements are reached between customer, 3rd party redispatch provider, transmission provider and reliability coordinator.

	684
	1159. While we agree that transparency can benefit customers, Transparent Dispatch Advocates have not demonstrated the benefits of its posting requirement to customers seeking reliability or planning redispatch. Transparent Dispatch Advocates would have transmission providers frequently post an estimate of the cost of the next increment of redispatch. Customers seeking redispatch would not know the actual costs customers paid for redispatch. Nor would they be able to apply the estimate of cost to their transactions since most transactions would involve more than a single increment of redispatch service and there might be multiple redispatch transactions over a single transmission facility. Thus the estimate would only be of value to the marginal customer taking a small amount of redispatch service. Transmission providers would expend time and money determining the correct formula to use to estimate costs, collecting data for the inputs to the calculation and frequently posting estimates throughout each day that could have little or no correlation to the actual costs a transmission customer would pay for the redispatch service.
	
	
	B. Rehman, BPA Comment:  Post certain redispatch cost information on existing redispatch services required under the OATT.  (Add to 1162)

	686-7
	1162.
Accordingly, to provide greater availability of redispatch information, the Commission adopts certain additional posting requirements for transmission providers.  Specifically, we direct each transmission provider to post on OASIS its monthly average cost of redispatch for each internal congested transmission facility or interface over which it provides redispatch service using planning redispatch or reliability redispatch under the pro forma OATT.   Additionally, to demonstrate the range of redispatch costs each month, the Commission directs transmission providers to post a high and low redispatch cost for the month for each of these same transmission constraints.  The transmission provider shall calculate the monthly average cost in $/MWh for each congested transmission facility by dividing monthly total redispatch costs (at the facility) by the total MWhs that would otherwise be curtailed (at the facility) in the month absent the redispatch.   Transmission providers shall post internal constraint or interface data for the month if any planning redispatch or reliability redispatch is provided during the month, regardless of whether the transmission customer is required to reimburse the transmission provider for those exact costs.  Thus, if the transmission customer pays for redispatch pursuant to a negotiated fixed rate, the transmission provider is required to post and calculate the monthly average redispatch costs and the high and low costs in the month even though the transmission provider will bill the customer the fixed rate.  The same posting requirement applies if the customer is paying a monthly “higher of” rate.    The transmission provider shall post this data on OASIS as soon as practical after the end of each month, but no later than when it sends invoices to transmission customers for redispatch-related services.  We direct transmission providers to work in conjunction with NAESB to develop this new OASIS functionality and any necessary business practice standards.  
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  No
	
	ESS/ITS comment:  Posting Requirements to need be developed.
K. York, TVA Comment:  Cannot find this one on our work list; may need to check with Paul Sorenson as well

M. Gildea, Constellation Gen. Group Comment:  we direct each transmission provider to post on OASIS its monthly average cost of redispatch for each internal congested transmission facility or interface over which it provides redispatch service using planning redispatch or reliability redispatch

{This needs to be sent to a NAESB working group}

	725-6
	1231. The Commission finds that the current rollover policy is no longer just, reasonable, and not unduly discriminatory. The rights and obligations of a rollover customer should bear a rational relationship to the planning and construction obligations imposed on the transmission provider by the rollover rights. We find, for the reasons explained below, that the current policy no longer meets this standard and that a five-year term will ensure greater consistency between the rights and obligations of customers and the corresponding planning and construction obligations of transmission providers. We also believe that an increase to a five-year term is consistent with the native load protections contained in new section 217 of the FPA, primarily because requiring longerterm agreements ensures that the rollover right is used by transmission customers with long-term obligations to purchase capacity.749 Accordingly, the Commission adopts a five-year minimum contract term in order for a customer to be eligible for a rollover right. At the end of its initial five-year contract term, a transmission customer must, within the one-year notice period (discussed more fully below), agree to another five-year contract term or match any longer-term competing request in order to be eligible for a subsequent rollover.
	
	
	B. Rehman, BPA Comment:  Modify 9.7 to reflect new minimum 5 yr term and 1 year notice period.  (Add 1245)

	753-4
	1269.
In Order No. 676, the Commission adopted the “Standards for Business Practices and Communication Protocols for Public Utilities” developed by the NAESB’s Wholesale Electric Quadrant (WEQ).   Order No. 676 incorporated the aforementioned standards by reference into the Commission’s regulations, required public utilities to implement the standards by July 1, 2006, and required public utilities to file revisions to their OATTs to include these standards.   The WEQ Standards include a number of standards addressing requirements for dealing with redirects on both a firm and non-firm basis.   All of the WEQ Standards dealing with redirects were adopted by the Commission in Order No. 676, except for WEQ Standard 001-9.7, which addresses the impact of a firm redirect on a long-term firm transmission customer’s rollover rights under section 2.2 of the pro forma OATT.  The Commission directed the WEQ to reconsider WEQ Standard 001-9.7 and to adopt a revised standard consistent with the Commission’s policies.   The Commission also offered guidance to assist the WEQ in developing a standard that is consistent with Commission policy.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment: ESS/ITS
	ESS/ITS Comment:  underway
K. York, TVA Comment:  Underway
	ESS/ITS comment:  ESS/ITS has begun modification to standard 9.7 to address paragraph 1269. 
ESS/ITS QUESTION: How to reconcile 1269 with the last sentence of 2.2 of the revised tariff.  

	758-9
	1278.
The Commission also concludes that the NAESB WEQ is the appropriate standard-setting body for developing business practices and implementing the Commission’s redirect policy.  The Commission will refrain from commenting here on the NAESB process itself because we believe that the industry is best situated to determine how to structure the standard-setting process to provide for the widest possible participation and consensus.  We nevertheless clarify that, consistent with precedent, NAESB is charged with implementing Commission policy through business practices.   The Commission finds that the NAESB WEQ is an acceptable standards development process, representing a cooperative effort by industry participants to develop business practices that enhance the efficiency of the electric grid.   Where necessary, NAESB participants may seek clarification of Commission policy so that NAESB may develop the appropriate standards.   
	K. York, TVA Comment:  ESS/ITS
	K. York, TVA Comment:  Underway
	

	775-6
	1308. The Commission will require transmission providers to post the performance metrics proposed in the NOPR, as modified by this Final Rule. The proposed metrics will enhance the transparency of the study process and shed light on whether transmission providers are processing request studies in a non-discriminatory manner.  We also agree with comments by MidAmerican and EEI that transmission providers should be able to track delays in the study process caused by transmission customers.  Doing so will allow the Commission and market participants to determine the extent to which delays by transmission customers are causing transmission providers to process request studies on an untimely basis, which will add needed transparency to the study process. Therefore, we will revise the performance metrics transmission providers are required to post to include metrics that track delays by transmission customers.
	
	
	B. Rehman, BPA Comment:  Post on a quarterly calendar basis, study performance metrics and add one to track transmission customer delays.

	776-7
	1309. Transmission providers will be required to post the performance metrics, outlined below, for each calendar quarter. Transmission providers will be required to begin tracking their performance upon the effective date of this Final Rule and keep the quarterly performance metrics posted on their OASIS sites for three calendar years. The transmission provider will be required to post the quarterly performance metrics within 15 days of the end of the quarter. The performance metrics outlined below must be calculated separately for affiliates’ and non-affiliates’ requests, in order to identify potential instances when the transmission provider is processing requests on a discriminatory basis. The transmission provider is required to aggregate studies associated with requests for short-term and long-term transmission service when calculating the metrics defined below. While a transmission provider could offer to study a request for short-term firm point-to-point transmission service, we acknowledge that the transmission customer often is unwilling to pay for such a study. Therefore, to ease the reporting burden, the transmission provider is not required to report the performance metrics defined below separately for requests for short-term and long-term firm point-to point transmission service. A transmission provider is also required to post performance metrics for studies that it conducts for RTOs.
	
	
	B. Rehman, BPA Comment:  Begin tracking performance on effective date of Order (May 14).  Post metrics by affiliate/non-affiliate and aggregate studies associated with requests for short term and long term transmission services (not for interconnection services requests).

	782-3
	1316.
We will not adopt any of the changes to the proposed performance metrics requested by commenters, other than adding metrics to track delays by customers as discussed above.  The Commission is in a better position to determine the specific performance metrics that will achieve our policy goals and thus we will not request that NAESB develop the metrics to be posted.   We believe the set of performance metrics we have chosen strike the appropriate balance between requiring information that will enhance transparency and help ensure that the transmission provider is processing request studies in a timely and non-discriminatory fashion while limiting the burden the transmission provider faces.  For instance, we believe the performance metrics that address the cost of system impact studies and facilities studies as well as the cost of any proposed transmission upgrades can be calculated with relatively little effort by the transmission provider and should provide meaningful benefits to transmission customers.  The transmission provider readily knows the cost of studies it completes and the costs of proposed system upgrades and summaries of this information should enhance the transmission customer’s ability to decide whether to submit a request for service that may result in a study offer.    
	K. York, TVA Comment:  N/A
	
	ESS/ITS comment:  No action for NAESB. 

	784
	1318.
We agree, however, with EEI’s recommendation that the Commission delegate to NAESB the responsibility for developing the Standard and Communications Protocols, business practices and OASIS modifications that will be necessary to provide the performance metrics adopted above.  NAESB is in the best position to develop the standards and the processes by which the performance metrics are posted.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  No
	
	ESS/ITS comment:  develop S&CP/see paragraph 413.
K. York, TVA Comment:  Need to check with Paul Sorenson to be sure

	785-6
	1320. As the Commission proposed in the NOPR, starting the quarter following a notification filing, the transmission provider will be required to post: (1) the average, across completed system impact studies, of the employee-hours expended per completed system impact study; (2) the average, across completed facilities studies, of employee hours expended per completed facilities study; (3) the number of employees devoted to processing system impact studies; and (4) the number of employees devoted to processing facilities studies. The transmission provider is not required to post these additional performance metrics separately for affiliates’ and non-affiliates’ requests for transmission service and for short-term and long-term transmission service. The transmission provider is instead required to aggregate studies associated with requests for short-term and long-term transmission service when calculating these additional metrics.  The transmission provider is not required to post the additional metrics if the Commission concludes that delays in completing studies are due to extenuating circumstances. However, the transmission provider is required to post the additional metrics while the Commission considers the transmission provider’s notification filing arguing that extenuating circumstances prevented it from processing request studies on a timely basis. Based on the timing described in this Final Rule, the transmission provider will be required to post the additional performance metrics approximately two months after the provider makes its notification filing. The Commission will have this time to evaluate the transmission provider’s contention that it was unable to complete request studies due to extenuating circumstances. As a result, we expect the transmission provider with legitimate extenuating circumstances typically will not have to post any additional metrics.
	
	
	B. Rehman, BPA Comment:  Starting the quarter following a notification filing, post additional metrics, not separately for affiliate and non-affiliates.

	803
	1346.
As we discuss below, we believe NAESB’s queue hoarding and queue flooding business practices, as well as additional reforms adopted in this Final Rule, will address the problem surrounding the submission of multiple requests.  With regard to requests for a technical conference or further procedures to consider the effect of our operational penalty regime, we believe the commenters’ proposals would largely provide anecdotal information and speculation on the impacts of the new planning and coordination requirements.  Our experience from the last ten years, and the comments provided in response to the NOI and NOPR, provide a sufficient basis to develop a penalty regime.  In addition, the very requirement that transmission customers post performance metrics and submit notification filings prior to assessment of operational penalties will provide actual experience with the new regime.  As explained above, the notification procedures adopted today will ensure that we will not assess a penalty for late studies unless justified by the circumstances.  We can propose additional changes to the study process or penalty regime based on the actual experience under this Final Rule if our experience warrants it.    
	K. York, TVA Comment:  Complete
	
	ESS/ITS comment:  No action for NAESB.
K. York, TVA Comment:  FERC accepts current BPs for multiple requests

	814
	1365.
The Commission will not require transmission providers to charge a fee for duplicative requests for transmission service.  We will instead first consider whether the newly adopted NAESB queue flooding and queue hoarding business practices reduce the number of requests that the transmission customer does not intend to confirm.  We are concerned that benefits to market participants would not justify the administrative costs of a new fee if the NAESB business practices can effectively discourage transmission service requests the transmission customer does not intend to confirm.  We also believe that the current deposit mechanism in section 17.3 of the pro forma OATT should have the same effect as a fee based on the transmission provider’s cost to process the request for transmission service, like the fee MISO and CREPC propose.  Pursuant to section 17.3, in the event a transmission customer retracts or withdraws a request, the transmission provider is allowed to deduct from the transmission customer’s deposit the costs the transmission provider incurred to process the request.  As a result, we do not believe any other fee structure is necessary to make the transmission provider whole when a transmission customer submits a transmission service request it does not expect to confirm.  
	K. York, TVA Comment:  Complete
	
	ESS/ITS comment:  No action for NAESB. 
K. York, TVA Comment:  FERC accepts current BPs for multiple requests

	820-1
	1377.
The Commission agrees that transmission requests across multiple transmission systems should be coordinated by the relevant transmission providers.  We will not, however, amend the pro forma OATT to require such coordination.  Rather, we require transmission providers working through NAESB to develop business practice standards related to coordination of requests across multiple transmission systems.  In order to provide guidance to NAESB, we will articulate the principles that should govern processing across multiple systems.  All the transmission providers involved in a request across multiple systems should consider a request that requires studies across multiple systems to be a single application for purposes of establishing the deadlines for rendering an agreement for service, revising queue status, eliciting deposits and commencing service.  In order to preserve the rights of other transmission customers with studies in the queue, the priority for the single application should be based on the latest priority across the transmission providers involved in the multiple system requests.  We note that regional entities like wesTTrans are already coordinating requests across multiple transmission systems and we believe such coordination is an acceptable solution to this issue.  
	ESS/ITS:  ATC Group

And

ESS/ITS
K. York, TVA Comment:  No
	
	ESS/ITS comment:  ESS/ITS and BPS need to develop Business Practices and S&CP changes to address 1377.
K. York, TVA Comment:  Check with Paul to ensure not embedded in other work

M. Gildea, Constellation Gen. Group:  “we require transmission providers working through NAESB to develop business practice standards related to coordination of requests across multiple transmission systems. “ 

{This needs to sent to a NAESB working group}

	821-2
	1378.
We interpret Exelon’s request that we require all transmission providers to allow transmission customers to link consecutive requests for firm point-to-point transmission service and to evaluate such requests as a single request as asking us to (1) allow transmission customers to require the transmission provider to either grant service for the entire period, deny service for the entire period, or offer the same partial quantity for the entire period and (2) require the transmission provider to consider the full duration of the linked requests when determining reservation priority pursuant to sections  13.2 of the pro forma OATT (short-term firm point-to-point transmission service).  We require transmission providers working through NAESB to develop business practice standards to allow a transmission customer to rebid a counteroffer of partial service so the transmission customer is allowed to take the same quantity of service across all linked transmission service requests.  Transmission providers need not implement these business practice standards until NAESB develops appropriate standards.  We note that the transmission customer should not be required to take the same quantity of service across consecutive transmission service requests; it should simply have the option to do so.  On the second issue, we reiterate that, according to existing NAESB business practice standard 001-4.16, the transmission provider is required to consider the full duration of the linked requests when determining reservation priority pursuant to section 13.2 of the pro forma OATT.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Underway
	ESS/ITS comment:  ESS/ITS need to develop an extension to the TRANSCUST template in the S&CP.
K. York, TVA Comment:  Draft language went out for informal comment and modifications made based on comments; holding to be submitted as part of overall package

M. Gildea, Constellation Gen. Group:  “We require transmission providers working through NAESB to develop business practice standards to allow a transmission customer to rebid a counteroffer of partial service so the transmission customer is allowed to take the same quantity of service across all linked transmission service requests.”

{We need to have a NAESB working group address this matter}

	826-7
	1390.
We will not modify the pro forma OATT to address requests to allow the transmission provider to terminate idle transmission service requests.  NAESB’s business practice 001-4.11 allows the transmission provider to retract a request if the transmission customer does not respond to an acceptance within the time established in NAESB business practice standard 001-4.13.  Therefore, we interpret TDU Systems comments to refer to circumstances when a transmission customer fails to respond to the transmission provider’s request for additional information during the course of a request study.  As discussed above, by the time the transmission provider offers a system impact study agreement, it should have all of the information that it needs to complete the study.  Pursuant to section 17.4 of the pro forma OATT, the transmission provider can deem a transmission service request deficient if the transmission customer does not provide all of the information the transmission provider needs to evaluate the request for service.  We will revise section 17.7 of the pro forma OATT so that the transmission provider is able to terminate a request for transmission service if a transmission customer that is extending the commencement of service does not pay the required annual reservation fee within 15 days of notifying the transmission provider that it would like to extend the commencement of service.  We will not change the pro forma OATT to allow the transmission provider to terminate a transmission service request if the transmission customer changes its application for service.  We believe the existing pro forma OATT is sufficient to allow a transmission provider to manage situations where the transmission customer modifies its application for service to the point that the customer is requesting transmission service that is meaningfully different than its initial request.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  N/A
	
	ESS/ITS comment:  ESS/ITS should review if this has any impact on business functions. 

	827
	1392.
Commenters also suggest changes to the OASIS protocols, including prohibiting transmission customers from changing a request into a pre-confirmed request and requiring OASIS platforms to be accessible on non-Windows/Explorer computers.  We believe these issues are best addressed by NAESB.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  No
	ESS/ITS Comment:  underway 
	ESS/ITS comment:  This will require a change to the TRANSCUST template in the S&CP. Revised S&CP will incorporate changes to implement accessibility.
K. York, TVA Comment:  Needs to be assigned

M. Gildea, Constellation Gen. Group Comment:  changes to the OASIS protocols, including prohibiting transmission customers from changing a request into a pre-confirmed request

{I read this optional, after we get assigned worked completed.}

	829
	1395. In the NOPR, the Commission proposed to change the priority rules to give priority to pre-confirmed requests for firm point-to-point transmission service.  Specifically, the Commission proposed that a pre-confirmed short-term request for firm transmission service would preempt any non-pre-confirmed short-term requests, regardless of duration. Similarly, the Commission proposed that a pre-confirmed request for long-term firm transmission service would preempt a request for long-term transmission service that is not pre-confirmed. Under the Commission’s proposal, a preconfirmed request for short-term transmission service would not pre-empt a non-preconfirmed request for long-term transmission service.
	
	
	B. Rehman, BPA Comment:  Evaluate need to modify Table 4-3 in WEQ 001-4.16 to accommodate priority for pre-confirmed non-firm and short-term firm Point to Point transmission service requests

	833-4
	1401. The Commission generally agrees with those commenters that argue that giving a priority to pre-confirmed requests can increase the efficient utilization of the system by giving priority to customers who are committed to purchase service over those who have not so committed, including customers that submit multiple requests without any intent to take service if each request is granted. However, we are mindful of concerns that doing so could undermine the Commission’s desire to promote longer-term uses of the transmission system, disrupt the study process, or disadvantage transmission customers that are not in the position to pre-confirm their requests. As a result, we will modify the NOPR proposal and give priority only to pre-confirmed non-firm point-to-point transmission service requests and short-term firm point-to-point transmission service requests. In addition, longer duration requests for transmission service will continue to have priority over shorter duration requests for transmission service, with preconfirmation serving as a tie-breaker for requests of equal duration. This policy will still give an advantage to pre-confirmed requests without imposing substantial implementation difficulties or undermining the Commission’s goals to encourage longerterm uses of the transmission system. Our revised policy on priority for pre-confirmed requests thus addresses the comments that we should preserve the priority of longer duration requests for transmission service over shorter duration requests for transmission service. For instance, a pre-confirmed daily or hourly request will not preempt a weekly request that has not been pre-confirmed. Pre-confirmed short-term service requests therefore will not have a priority superior to that of long-term service requests that have not been pre-confirmed.
	
	
	B. Rehman, BPA Comment:  Evaluate need to modify Table 4-3 in WEQ 001-4.16 to accommodate priority for pre-confirmed as a tie-breaker for requests of equal duration and where pre-confirmed requests do not preempt requests for unconfirmed longer duration requests.

	834
	1402.
We acknowledge that our revised policy on priority for pre-confirmed requests may be less effective than the NOPR proposal in alleviating the problems that arise when transmission customers submit multiple identical requests for service.  However, we have taken other steps – notably accepting the NAESB business practices on queue flooding and queue hoarding – that we believe will substantially reduce the instances of multiple identical requests for service.  
	K. York, TVA Comment:  Complete
	
	ESS/ITS comment:  No action required.
K. York, TVA:  FERC accepts current BPs for queue hoarding

	834-5
	1403. The Commission also acknowledges the concerns expressed regarding operational difficulties caused by giving priority to pre-confirmed requests and clarify our policy as follows. First, we will prohibit transmission customers from withdrawing pre-confirmed non-firm and short-term firm point-to-point transmission service requests prior to when the transmission customer is offered service or a system impact study. This policy will address MidAmerican’s concern that a transmission customer may withdraw a preconfirmed request for transmission service at any time prior to acceptance by a transmission provider. We believe prohibiting withdrawal of a pre-confirmed request is less administratively burdensome than the non-refundable deposit on requests proposed by Nevada Companies and achieves the same goals. The Commission will allow transmission providers to invalidate a pre-confirmed request at the request of the transmission customer in the very near term following submittal of the request, in the event the transmission customer makes an inadvertent error in submitting its request. We expect the transmission provider to log such occurrences as an act of discretion so we can verify that transmission customers are not abusing this flexibility.
	
	
	B. Rehman, BPA Comment:  Prohibit withdrawals of pre-confirmed non-firm and short-term firm Point to Point  transmission service requests prior to when the transmission customer is offered service (i.e., the transmission provider's acceptance) or a system impact study.  Log occurrences as act of discretion when a pre-confirmed request is invalidated upon the request of the transmission customer in the very near term, due to an inadvertent error in submittal of the request.

	836-7
	1407.
In response to requests for clarification from MidAmerican and TranServ, we clarify that a new pre-confirmed request for transmission service would preempt a request of equal duration that has been accepted by the transmission provider but not yet confirmed by the transmission customer.  Thus, we decline to adopt TDU Systems’ suggestion that the Commission include a time window between acceptance of a request and confirmation of the request, during which a request can not be preempted by a pre-confirmed request for transmission service.  This is consistent with our desire to give transmission service first to those customers that are committed to taking the transmission service if it is granted.  In the case of monthly firm point-to-point transmission service, the transmission customer has up to four days to confirm an accepted request.  This is a potentially long delay when there is another transmission customer that is willing to commit to take the same service.  Moreover, this policy is consistent with NAESB business standard 001-4.25, which allows a pre-confirmed request for non-firm point-to-point transmission service to preempt a request of equal duration and lower price that has been accepted but not confirmed.
	ESS/ITS Comment:  ESS/ITS

K. York, TVA Comment:  Complete
	
	ESS/ITS comment:  Request No. R05019 (Modify OASIS standards and S&CP to clearly document the procedures used to implement the displacement/interruption terms of the Pro Forma tariff) addresses 1407 as well as the other instances of preemption. Scope of this item will be difficult. 
K. York, TVA Comment:  FERC accepts current BPs

	838-9
	1410. The Commission adopts the NOPR proposal to add price as a tie-breaker in determining reservation queue priority when the transmission provider is willing to discount transmission service. As a result, price will serve as a tie-breaker after preconfirmation for those requests that have not yet been confirmed by the transmission customer or have not yet been evaluated by the transmission provider. Consistent with the principles currently embodied in the pro forma OATT and articulated in Order No. 638, we clarify that, in the event a later queued short-term request for transmission service preempts a conditional confirmed short-term request for transmission service based on price, then the conditional confirmed request has a right to match the price offer of the later queued request.
	
	
	B. Rehman, BPA Comment:  Evaluate need to modify Table 4-3 in WEQ 001-4.16 to accommodate priority for price, as a tie-breaker in determining reservation queue priority when the transmission provider is willing to discount transmission service, after pre-confirmation priority for those requests that have not yet been confirmed or have not yet been evaluated

	840
	1413. In the NOPR, the Commission responded to comments that transmission customers that have the financial resources to purchase software and employ staff to continually monitor OASIS sites have an unfair advantage under a first-come, first-served approach by seeking comment on whether any such advantage would be mitigated if all requests submitted within a five-minute window were deemed to have been submitted simultaneously. The Commission also sought comment on whether transmission customers could game a five minute equivalent priority standard to request transmission service only after another transmission customer has made a request. The Commission further sought comment on how to allocate limited transmission capacity among equivalent priority requests of equal duration, in the event a five minute equivalent priority standard is adopted.
	
	
	B. Rehman, BPA Comment:  Evaluate need to modify State Diagram or status values in WEQ 002-4.2.10.2 to accommodate a specified "no earlier than" Window for Requests.

	846
	1421. We agree with NRECA and Bonneville’s suggestion that requests submitted within a specified window should not be publicly available until the window has closed in order to prevent competitors from requesting the same service simply to disrupt the transmission service procurement process.
	
	
	B. Rehman, BPA Comment:  Mask such requests on OASIS until close of the "no earlier than" window.

	877-8
	1476. As revised by the Final Rule, section 29.2(v) of the pro forma OATT will require the following information to be provided with the request and posted on OASIS when designating an off-system resource: (1) identification of the resource as an off-system resource; (2) amount of power to which the customer has rights; (3) identification of the control area(s) from which the power will originate; (4) delivery point(s) to the transmission provider’s transmission system; and (5) transmission arrangements on the external transmission system(s). Additionally, section 29.2(v) is revised to require that the following information be provided with such designation, but such information must be masked on OASIS to prevent the release of commercially sensitive information including (1) any operating restrictions (periods of restricted operation, maintenanceschedules, minimum loading level of resource, normal operating level of resource); and, (2) approximate variable generating cost ($/MWH) for redispatch computations.  Requests to designate off-system network resources submitted on or after the effective date of this Final Rule must include all of the information listed above.
	
	
	B. Rehman, BPA Comment:  Mask specific network resource information on OASIS pursuant to OATT 29.2(v). (Add to 1504)

	878
	1477.
We direct transmission providers to develop OASIS functionality to (1) allow all of the information required for a request to designate network resources to be provided electronically, (2) mask information about operating restrictions and generating cost on OASIS, and (3) allow for queries of all information provided with designation requests in accordance with section 37.6 of the Commission’s regulations.   As provided in paragraph 385, we also direct transmission providers to work in conjunction with NAESB to develop business practice standards describing procedural requirements for submitting designations over any new OASIS functionality.  Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.  Prior to implementation of this new OASIS functionality, any information that cannot be provided electronically may be submitted by transmitting the information to the transmission provider by telefax or providing the information by telephone over the transmission provider’s time recorded telephone line.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	ESS/ITS Comment:  Underway
K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.
M. Gildea, Constellation Gen. Group Comment:  we also direct transmission providers to work in conjunction with NAESB to develop business practice standards describing procedural requirements for submitting designations over any new OASIS functionality:

(1) allow all of the information required for a request to designate network resources to be provided electronically, 

(2) mask information about operating restrictions and generating cost on OASIS, 

 (3) allow for queries of all information provided with designation requests in accordance with section 37.6 of the Commission’s regulations

(This needs to be assigned to a NAESB working group)

	891-2
	1504.
In response to South Carolina E&G’s request, we reiterate that not all of the information required by section 29.2 of the pro forma OATT for designation of a network resource will be made publicly available on OASIS.  As discussed above, information about operating restrictions and generating cost will be masked to protect commercially sensitive information.  South Carolina E&G has also requested clarification of the Commission’s intent with respect to how designated network resource information is posted.  Our existing regulations specify the view, download, and query requirements for information posted regarding network resource designations.   The details of how those informational postings are accomplished are best left to be determined as part of the NAESB standards development process.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	ESS/ITS:  Underway
K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.

	892
	1505. TranServ requests that the Commission clarify the minimum term, if any, that a transmission provider must honor for designations of new network resources. We agree with TranServ that the minimum term should be the same as the minimum time period used for firm point-to-point service (i.e., daily), unless otherwise demonstrated by the transmission provider and approved by the Commission.
	
	
	B. Rehman, BPA Comment:  Minimum term for designations should be the same as the minimum time period used for firm Point to Point service (i.e., daily).

	900
	1521. The Commission adopts the NOPR proposal that transmission providers continue to be responsible for verifying that third-party transmission arrangements to deliver the purchase to the transmission provider's system are firm, but that transmission providers are not responsible for verifying that the generating units and power purchase agreements network customers designate as network resources satisfy the requirements in sections 30.1 and 30.7 of the pro forma OATT. We also adopt the proposal to require both the transmission provider’s merchant function and network customers to include a statement with each application for network service or to designate a new network resource that attests, for each network resource identified, that (1) the transmission customer owns or has committed to purchase the designated network resource and (2) the designated network resource comports with the requirements for designated network resources. The network customer should include this attestation in the customer’s comment section of the request when it confirms the request on OASIS.
	
	
	B. Rehman, BPA Comment:  Transmission customers must add attestation to the Customer Comment section of their request, when they confirm the request on OASIS.

	900-1
	1522. If the network customer does not include the attestation when it confirms the request, the transmission provider must notify the network customer within 15 days confirmation that its request is deficient, in accordance with the procedures in section 29.2 of the pro forma OATT. Whenever possible, the transmission provider shall attempt to remedy deficiencies in the request through informal communications with the network customer. If such efforts are unsuccessful, the transmission provider shall terminate network customer's request and change the status of the request on OASIS to “retracted.”  This termination shall be without prejudice to the network customer submitting a new request that includes the required attestation. The network customer shall be assigned a new priority consistent with the date of the new request.
	
	
	B. Rehman, BPA Comment:  Notify transmission customers within 15 days of confirmation and attempt to remedy deficiency in attestation with informal communication; if unsuccessful change OASIS status to "retracted".

	903-4
	1527. We disagree with Pinnacle’s argument that transmission providers should not be responsible for verifying the firmness of the network customer's transmission arrangements on other systems. We find that having transmission providers verify firmness of such transmission arrangements provides a significant benefit to the system and is not unduly burdensome. The confirmation or lack thereof of service on the thirdparty's system should be readily available on OASIS. If firm third-party service is not confirmed in OASIS, the transmission provider should attempt to remedy any information deficiency in the request through informal communications with the network customer. If such efforts are unsuccessful, the transmission provider should find the request to designate the network resource deficient. Because this information is available on OASIS, we disagree with Detroit Edison's request that the Commission require proof that customers have obtained requisite transmission service on external systems.
	
	
	B. Rehman, BPA Comment:  Find requests to designate "deficient",  if informal communication efforts to remedy information deficiencies in the request are unsuccessful.

	905-6
	1532.
In response to TranServ’s request that the exact nature of how the customer would make an attestation should be determined in the NAESB forum, we note that the contents and the specific information that is required to be provided with the attestation are specified in the pro forma OATT, and we are requiring that the attestation be submitted through OASIS with each request to designate a new network resource.  The appropriate subject for transmission providers to coordinate with NAESB to resolve is limited to the appropriate formatting of such information to be provided in OASIS.  In response to TranServ's request that NAESB should also determine the treatment of OASIS requests where the customer fails to provide the necessary attestation, we point out that we have already directed that such requests are to be found deficient by the transmission provider and treated in accordance with the procedures in section 29.2 of the pro forma OATT.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA:  No
	
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.

ESS/ITS comment:  NAESB: ESS/ITS will address mechanisms for attestation in R04006E.
K. York, TVA Comment:  Needs to be assigned

M. Gildea, Constellation Gen. Group Comment:  how the customer would make an attestation should be determined in the NAESB forum

{Another item for NAESB working group.  However, I can not say that is has any priority with Constellation.}

	909
	1540. We clarify that requests to undesignate network resources that are submitted concurrently with a request to redesignate those network resources at a specific point in time shall be considered temporary terminations. Conversely, requests to undesignated network resources submitted without any concurrent request to redesignate those network resources shall be considered a request for indefinite termination of those network resources.
	
	
	B. Rehman, BPA Comment:  Distinguish between temporary and indefinite terminations.

	909-10
	1541.
We direct transmission providers to develop OASIS functionality and, working through NAESB, business practice standards describing the procedural requirements for submitting both temporary and indefinite terminations of network resources, to allow network customers to provide all required information for such terminations.  Such OASIS functionality should allow for electronic submittal of the type of termination (temporary or indefinite), the effective date and time of the termination, and identification and capacity of resource(s) or portions thereof to be terminated.  For temporary terminations, such OASIS functionality should also allow for electronic submittal of      (1) effective date and time of redesignation, following the period of temporary termination; (2) information and attestation for redesignating the network resource following the temporary termination, in accordance with section 30.2 of the pro forma OATT; and (3) identification of any related transmission service requests to be evaluated concomitantly with the request for temporary termination.  In response to TranServ’s request, we clarify that the request for temporary termination of the resource and the requests for the related transmission service identified in item (3), if any, should be evaluated as a single request, and approved or disapproved as such.  We specifically direct transmission providers, working through NAESB, to develop business standards describing the procedures for submitting and processing requests for concomitant evaluations of transmission requests and temporary terminations.  When processing such requests, the evaluation of the transmission service requests identified in item (3) should take into account the undesignation of the network resources identified in the request for termination.  However, the evaluation of the transmission service requests in item          (3) should be processed taking proper account of all competing transmission service requests of higher priority.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  Joint BPS/ESS/ITS
	K. York, TVA Comment:  Assigned
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.
K. York, TVA Comment:  This provides more clarity to current request.

M. Gildea Constellation Gen. Group Comment:  OASIS functionality and, working through NAESB, business practice standards describing the procedural requirements for submitting both temporary and indefinite terminations of network resources .. items listed in detail (1), (2) …

{This needs to be assigned to a NAESB working group}

	910-1
	1542. Consistent with the requirements for requests for designation of new network resources, the new OASIS functionality should also allow for queries of requests to undesignate and redesignate network resources. In accordance with section 37.6 of the Commission’s regulations,892 such requests must be able to be queried by the publicly available information posted on OASIS.
	
	
	B. Rehman, BPA Comment:  Allow network resource requests to be queried.

	911
	1543.
Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.    Prior to implementation of this new OASIS functionality, requests for temporary or indefinite terminations of network resources may be submitted by transmitting the required information to the transmission provider by telefax or providing the information by telephone over the transmission provider’s time recorded telephone line.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  N/A
	
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.

	930
	1582. In response to a request by South Carolina E&G, we clarify that firm third-party sales may be made from an undesignated portion of a network customer’s network resources (i.e., a “slice-of-system sale”), so long as all of the applicable requirements are met. In particular, the network customer must submit undesignations for each portion of each resource supporting the third-party sale. If the undesignation is temporary, then the request must be accompanied by a request to redesignate the resource(s) on a specific date. When the undesignation takes effect, the network customer must update the capacities specified in its list of designated network resources posted on OASIS.
	
	
	B. Rehman, BPA Comment:  Update list on OASIS and transfer capacities when designation, undesignation or termination is effective.

	933-4
	1591.
We agree with parties arguing that network customers should not be required to use the new NAESB processes and OASIS tools to be developed in response to this section until such time as the NAESB standards and OASIS functionality have been developed and implemented.  However, once the new standards and functionality are in place, network customers must use these new procedures to undesignate (whether temporarily or as part of an indefinite termination) any network resources, regardless of the date that those resources were originally designated.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  N/A
	
	BPS and ESS/ITS (ATC Group) Comment:  NAESB: ESS/ITS already working on this item under Request No. R04006E (Network on OASIS).  The ESS/ITS will incorporate the directives in the order within the network on OASIS standards.
K. York, TVA Comment:  Just clarification

	941

942

943-4
	1606. The Commission clarifies that secondary service must be requested in accordance with section 18, including the timing restrictions set forth in section 18.3, of the pro forma OATT. Secondary service is on an as-available basis, and network customers should not be permitted to lock in such service in advance of other non-firm uses of available transmission. Allowing lower-priority secondary service to have a scheduling advantage over non-firm transmission would be inappropriate and would discourage the use of non-firm transmission service, thereby minimizing the revenue credits from nonfirm transmission service that benefit all firm transmission customers.

1608. The Commission proposed to clarify that network customers may not redirect network service in a manner comparable to redirect of point-to-point service, as network service involves no identified contract path and is, therefore, not a directable service. Should a network customer wish to substitute one designated network resource for another, the Commission stated that it must terminate the existing resource and designate a new one. The Commission explained that the network customer could also request to redesignate its original network resource by making a request to designate a new network resource. Alternatively, a network customer could use secondary network service when it wants to substitute a non-designated network resource for a designated network resource on an as-available basis.

1612. The Commission clarifies that network customers may not redirect network service in a manner comparable to the way customers redirect point-to-point service.  Point-to-point service consists of a contract-path with a designated point of receipt and point of delivery. Network service has no identified contract-path and is therefore not a directable service. Network service instead provides for the integration of new network resources and permits designation of another network resource, which has the same practical effect as redirecting network service. If the customer wants to permanently substitute one designated network resource for another, it should terminate the designation of the existing network resource and designate a new network resource. The customer could then simply request to redesignate its original network resource, if it so desires, by making a request to designate a new network resource. The ability of a network customer to also temporarily substitute one designated network resource for another is addressed in section V.D.6.
	
	
	B. Rehman, BPA Comment:  Question on section 18, arranging for non-firm/secondary service, network customers would not have POR/POD or maximum capacity at each point, is that correct?

	953-4
	1627.
We agree with suggestions for the posting of additional curtailment information on OASIS and, therefore, require transmission providers, working through NAESB, to develop a detailed template for the posting of additional information on OASIS regarding firm transmission curtailments.  Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.  These postings must include all circumstances and events contributing to the need for a firm service curtailment, specific services and customers curtailed (including the transmission provider’s own retail loads), and the duration of the curtailment.  This information is in addition to the Commission’s existing requirements: (1) when any transmission is curtailed or interrupted, the transmission provider must post notice of the curtailment or interruption on OASIS, and the transmission provider must state on OASIS the reason why the transaction could not be continued or completed; (2) information to support any such curtailment or interruption, including the operating status of facilities involved in the constraint or interruption, must be maintained for three years and made available upon request to the curtailed or interrupted customer, the Commission’s Staff, and any other person who requests it; and, (3) any offer to adjust the operation of the transmission provider’s system to restore a curtailed or interrupted transaction must be posted and made available to all curtailed and interrupted transmission customers at the same time.
	ESS/ITS Comment:  ESS/ITS
K. York, TVA Comment:  No
	
	ESS/ITS comment: NOTE: schedule detail, reduction and security templates could be impacted. 
K. York, TVA Comment:  Needs to be assigned; check with Paul Sorenson first

M. Gildea, Constellation Gen. Group Comment:  NAESB, to develop a detailed template for the posting of additional information on OASIS regarding firm transmission curtailments.  

{Needs to be assigned to a NAESB working group}

	969
	1652. The Commission instead requires transmission providers to post on their public websites all rules, standards, and practices that relate to transmission service and provide a link to those rules, standards, and practices on OASIS. We conclude that it would not be appropriate to place the rules, standards, and practices only on OASIS as some transmission providers use certificates to restrict access to their OASIS sites. By providing a link on OASIS to the rules, standards, and practices that are otherwise publicly posted, the Commission ensures that all potential customers will have access to the information necessary for them to understand the terms and conditions of service.  We amend section 4 of the pro forma OATT to expressly establish this posting requirement.
	
	
	B. Rehman, BPA Comment:  Provide link to business practices, rules, standards, etc. on OASIS

	972-3
	1655. We also agree with requests to require a transparent process for amending rules, standards, and practices previously posted by a transmission provider. We therefore require each transmission provider also post on its public website (with a corresponding link on OASIS) a statement of the process by which the transmission provider will amend these rules, standards, and practices that are accessible via OASIS. As part of this process, the transmission provider must specify a mechanism to provide reasonable notice of any proposed changes to a posted business practice and the respective effective date of such change.943 We amend section 4 of the pro forma OATT to formalize this posting requirement and obligate transmission providers to follow the amendment procedures specified by the transmission provider. As with the requirement to post the underlying standards, rules and practices, we believe the amendment procedures required here will increase transparency and help minimize opportunities for undue discrimination.
	
	
	B. Rehman, BPA Comment:  Post link on OASIS to statement about process used to amend rules, business practices, etc., including mechanism to provide reasonable notice of changes and effective date of such change or additional procedures, such as opportunities for comment on proposed changes, etc.

	973-4
	1657. To that end, each transmission provider’s Attachment L must specify the qualitative and quantitative criteria that the transmission provider uses to determine the level of secured and unsecured credit required. Attachment L must also contain the following elements: (1) a summary of the procedure for determining the level of secured and unsecured credit; (2) a list of the acceptable types of collateral/security; (3) a procedure for providing customers with reasonable notice of changes in credit levels and collateral requirements; (4) a procedure for providing customers, upon request, a written explanation for any change in credit levels or collateral requirements; (5) a reasonable opportunity to contest determinations of credit levels or collateral requirements; and (6) a reasonable opportunity to post additional collateral, including curing any noncreditworthy determination. We will allow the transmission provider to supplement Attachment L with a credit guide or manual to be posted on OASIS.
	
	
	B. Rehman, BPA Comment:  Allow for credit guide or manual to be posted on OASIS.


Order 890 Identification of NAESB Standards Development Tasks – March 25, 2007

Page 40 of 40

