	FERC and NERC Minimum Current Requirements Chart for Calculations and Frequency of Posting ATC/TTC 
	
	
	

	1. 

Constrained Paths
	FERC Order 889, section 37.6, (3) (i) (A) (1)
	The posting shall show ATC and TTC for a 30-day period.  For this period postings shall be: by the hour, for the current hour and the 168 hours next following; and thereafter, by the day.  If the Transmission Provider charges separately for on-peak and off-peak periods in its tariff, ATC and TTC will be posted separately for the current day and the next 6 days following for each period.
	Notes: (for firm) you need 169 hours of hourly postings and for the remainder of the 30 day period you post by the day 
Example: Assume the 30 day period is the calendar period for the month of January: therefore you would have 
· 169 hours of hourly posting

· remainder of the 30 day period would be daily postings (23 days)



	2.

Constrained Paths
	FERC Order 889, section 37.6, (3) (i) (A) (2)
	Postings shall also be made by the month, showing for the current month and the 12 months next following.
	You are now posting monthly for the next 12 months – hence you have now posted for 13 months

	3.
Constrained 

Paths
	FERC Order 889, section 37.6, (3) (i) (A) (3)
	If planning and specific requested transmission studies have been done, seasonal capability shall be posted for the year following the current year and for each year following to the end of the planning horizon but not to exceed 10 years.
	Expectation is for a planning horizon of 10 years.  

	4.
Constrained

Paths
	FERC Order 889, section 37.6, (3) (i) (B)
	For Non-Firm ATC and TTC.  The posting shall show ATC and TTC for a 30-day period by the hour and days prescribed under paragraph (b)(3)(i)(A)(1) of this section and, if so requested, by the month and year as prescribed under paragraph(b)(3)(i)(A)(2) and (3) of this section.


	Notes: (for non-firm) same as for firm 

	5. 
Constrained Paths
	FERC Order 889, section 37.6 (3) (i) (C) (1)
	(C) Updating Posted Information for Constrained Paths. 

               (1) The capability posted under paragraphs (b)(3)(i)(A) and (B) of this section must be updated when transactions are reserved or service ends or whenever the TTC estimate for the Path changes by more than 10 percent.
	

	6. 
Constrained Paths
	FERC Order 889, section 37.6 (3) (i) (C) (2)
	(2)  All updating of hourly information shall be made on the hour. 


	

	
	
	
	

	1.
Unconstrained

Posted Paths
	FERC Order 889, section 37.6 (3) (ii) (A) 
	(A) Postings of firm and non-firm ATC and TTC shall be posted separately, by the day, showing for the current day and the next six days following and thereafter, by the month for the 12 months next following.  If the Transmission Provider charges separately for on-peak and off-peak periods in its tariff, ATC and TTC will be posted for the current day and the next six days following for each period.  These postings are to be updated whenever the ATC changes by more than 20 percent of the Path's TTC.
	Notes: (for firm) you need 7 days (current day plus 6 additional days) of postings and thereafter need postings by the month for 12 months 

Example: For the month of January, there will be daily postings for day 1 – 7 and thereafter monthly postings for the next 12 months


	2. 
Unconstrained Posted Paths
	FERC Order 889, section 37.6 (3) (ii) (B)
	(B)  If planning and specific requested transmission studies have been done, seasonal capability shall be posted for the year following the current year and for each year following until the end of the planning horizon but not to exceed 10 years.
	Expectation is for a planning horizon of 10 years.

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


