Standard MOD-003-1 — Procedure to resolve comments and questions regarding ATC and AFC Methodologies and Values


A. Introduction

1. Title:
Procedure to resolve comments and questions regarding ATC and AFC Methodologies and Values  
2. Number:
MOD-003-1 
3. Purpose:
To promote the communication of Transmission Service Provider calculation methodologies and values used for calculating  Available Transfer Capability (ATC), and Available Flowgate Capability (AFC) among Transmission Customers. 
Comment:  NAESB comment that this should be business practice; it only addresses and penalizes failures to communicate.  Communication is typically a NAESB business practice development area.  Failure to communicate to does not affect reliability of the system.
Comment: talking about values that go into the calculation or the actual calculated ATC/AFC value itself?  Need clarification on this item.
4. Applicability:

4.1. [image: image1.emf]NAESB   thinks that this should be  a  NAESB   business practice  

 

Each Transmission Service Provider
4.1.1 Entity Limitations.  Transmission Service Providers that are not required to have an OASIS may publish on a publicly available Web site the information discussed in the requirements and measurements sections of this standard.
Comment:  are there non-jurisdictional entities that 4.1.1 would apply to?
5. Effective Date:
t.b.d.
B. Requirements

B. 
B. 
B. 
B. 
B. 
B. 
B. The Transmission Service Provider shall post on OASIS the telephone number and email address of a contact person to whom concerns are to be addressed regarding the AFC and the  ATC methodologies and their associated numeric values. [Risk factor: t.b.d]
B. Comment:  The person who knows the methodology is not necessarily the same individual who contributes to the day to day ATC/AFC posting; posting of one e-mail address will not necessarily be sufficient for answering all questions.
Comment:  if expected to post new names with shift changes will be administrative burden for TP.
B. Each Transmission Service Provider shall create on its OASIS an electronic data input field form for the specific purpose of receiving and responding to queries regarding the AFC and the ATC methodologies and their associated numeric values. [Risk factor: t.b.d]
Comment:  Need clarification whether standard would allow submission of question through e-mail as provided in R1 or only through OASIS posting as set forth in R2?  

Comment:  If questions are accepted through e-mail are those also required to be posted on OASIS?
B. Subject to commercial confidentiality constraints, within one week of the electronic receipt of a query received via the aforementioned field form in R2, the Transmission Service Provider shall post on OASIS an answer to the received query.  [Risk factor: t.b.d]
Comment: If NAESB develops template for posting and is not referenced in the NERC standard, does that mean this requirement lends itself to being adopted by NAESB?

Comment:  R3 treats all queries equally.  All queries must be responded to within a week.  Some may take longer to respond to due to the nature of the query.  Limitation of 1 week appears to be arbitrary.  It is the understanding of the NAESB subcommittee that R3 only addresses queries submitted under R2.
C. Measures

C. The Transmission Service Provider shall have documentation that information required by MOD-003-1 R1 was posted on OASIS
C. The Transmission Service Provider shall provide upon request the internet location of the OASIS website containing the information required by MOD-003-1 R2.
C. The Transmission Service Provider shall have documentation, such as a log, containing the information required by MOD-003-1 R3 demonstrating the timeframe within which the answer was provided.

D. Compliance

1. Compliance Monitoring Process

1.1. Compliance Monitoring Responsibility

Compliance Monitor: NERC.
1.2. Compliance Monitoring Period and Reset Timeframe

Rolling 3 years
1.3. Data Retention
Rolling 3 years.
1.4. Additional Compliance Information
None.

2. Mitigation Time Horizon   
2.1. Long-term planning – t.b.d.
2.2. Operations Planning -  t.b.d.
2.3. Same-day Operation – t.b.d.
2.4. Real-time Operations – t.b.d.
2.5. Operations Assessment – t.b.d.
3. Violation Severity Level
3.1. Lower:

1.3.1. R3: 1 to 5% of the inquiries received were not answered within 1 week during the prior twelve (12) months
3.2. Moderate:

2.3.1. R3: more than 5%  and up to and including 15% of the inquiries received were not answered within 1 week during the prior twelve (12) months 
3.3. 
3.4. High:

4.3.1. R3: more than 15% and up to and including 30% of the inquiries received were not answered within 1 week during the prior twelve (12) months 
4.3.2. R1: Contact information is incorrect 

3.5. Severe:
5.3.1. R1: Contact information is not posted

5.3.2. R2: Inquiry form is not posted

5.3.3. R3: more than 5% of the inquiries were never responded to.

5.3.4. R3: more than 30% of the inquiries received were not answered within 1 week during the prior twelve (12) months 
Comment:  Suggestion that a threshold needs to be established for those entities that have low numbers of inquiries.
Comment: There is no real definition what constitutes a valid query.  There is potential for queue flooding with spurious queries.

Lohrman’s Comment:  Queries are for valid questions when denied: why ATC was what it was; rewrite language so that it says what the intent is:  for queries to justify denial
E. Regional Differences

1. None identified.

Version History

	Version
	Date
	Action
	Change Tracking

	0
	April 1, 2005
	Effective Date
	New

	1
	Dec 13, 2006
	T.B.D
	Revised

	1
	January 22,2007
	T.B.D., applicability
	Revised

	
	
	
	


�





NAESB is concerned about having two methods of contacting TSPs





NAESB will be asked to create a template(s) for OASIS postings for R1 – R3.








Adopted by NERC Board of Trustees: February 8, 2005
1 of 4 

Effective Date: April 1, 2005


