Please use this form to submit comments on the first draft of the ATC/AFC Methodology Documentation Standard (MOD-001-1 ATC and AFC Calculation Methodologies).  Comments must be submitted by T.B.D. You must submit the completed form by emailing it to sarcomm@nerc.com with the words “ATC/AFC Methodology” in the subject line.  If you have questions please contact Bill Lohrman at wwlohrman@praguepower.com or 908-630-0289.

ALL DATA ON THIS FORM WILL BE TRANSFERRED AUTOMATICALLY TO A DATABASE.

DO:
Do enter text only, with no formatting or styles added.


Do use punctuation and capitalization as needed (except quotations).

Do use more than one form if responses do not fit in the spaces provided.

Do submit any formatted text or markups in a separate WORD file.

DO NOT:

Do not insert tabs or paragraph returns in any data field.


Do not use numbering or bullets in any data field.


Do not use quotation marks in any data field.


Do not submit a response in an unprotected copy of this form.

	Individual Commenter Information

(Complete this page for comments from one organization or individual.)

	Name: 
     

	Organization: 
     

	Telephone: 
     

	E-mail:
     

	NERC Region
	
	Registered Ballot Body Segment

	 FORMCHECKBOX 
 ERCOT

 FORMCHECKBOX 
 FRCC

 FORMCHECKBOX 
 MRO

 FORMCHECKBOX 
 NPCC

 FORMCHECKBOX 
 RFC 

 FORMCHECKBOX 
 SERC

 FORMCHECKBOX 
 SPP

 FORMCHECKBOX 
 WECC

 FORMCHECKBOX 
 NA – Not Applicable
	 FORMCHECKBOX 

	1 — Transmission Owners

	
	 FORMCHECKBOX 

	2 — RTOs, ISOs, Regional Reliability Councils

	
	 FORMCHECKBOX 

	3 — Load-serving Entities

	
	 FORMCHECKBOX 

	4 — Transmission-dependent Utilities

	
	 FORMCHECKBOX 

	5 — Electric Generators

	
	 FORMCHECKBOX 

	6 — Electricity Brokers, Aggregators, and Marketers

	
	 FORMCHECKBOX 

	7 — Large Electricity End Users

	
	 FORMCHECKBOX 

	8 — Small Electricity End Users

	
	 FORMCHECKBOX 

	9 — Federal, State, Provincial Regulatory or other Government Entities

	

	Group Comments (Complete this page if comments are from a group.)

Group Name: 

     
Lead Contact:

     
Contact Organization:
     
Contact Segment:

     
Contact Telephone:
     
Contact E-mail:

     

	Additional Member Name
	Additional Member Organization
	Region*
	Segment*

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 

	     
	     
	     
	 


*If more than one Region or Segment applies, indicate the best fit for the purpose of these comments.  Regional acronyms and segment numbers are shown on the prior page.

Background Information

The Long-Term AFC/ATC Task Force (LTATF) was formed to develop specific recommendations for the calculation and coordination of AFC
/ATC
 with the goal of increasing market liquidity and enhancing grid reliability. The task force’s work was coordinated with NAESB
 to separate business practices from reliability concerns. The LTATF evaluated the results of the short-term recommendations in the Alliant West area for summer 2004
, and used this evaluation when considering whether to recommend the Alliant West short-term recommendations continue.  The work resulted in the formation of a SAR
 Drafting Team who formed recommendations that are the basis for the formation of a Standard Drafting Team.

In developing their recommendations the NERC LTATF considered the calculation for AFC/ATC, communication and coordination of AFC/ATC, and consistency between transmission planning and AFC/ATC calculations. A final LTATF report
 was presented to the Standing Committees in March 2005. The task force used the report and recommendations to develop proposed standards for AFC/TFC
/ATC/TTC
 and CBM/TRM. The proposed “MOD-001-1 Documentation of ATC and AFC Calculation” Standard is the culmination of the work of the NERC LTATF and Standard Drafting Team and is the subject matter for this Comment Form.

The proposed standard labeled MOD-001-1 outlines requirements for the calculation of ATC and AFC, but does not provide requirements for the calculation of TFC or TTC.  The proposed standard may reference NERC Standard(s) FAC-012 and/or FAC-013 as the source for the requirements for calculation of TTC and/or TFC.  Currently FAC-012 identifies requirements for the calculation of inter-regional and intra-regional Transfer Capabilities (TC).  The term TTC is not mentioned in FAC-012, as described in the FERC NOPR
. 
A distinct definition for the TC and TTC terms appears in the NERC Glossary of Terms Used in Reliability Standards
. The members of the drafting team are proposing that they are basically the same quantity and should be covered in a single standard in FAC-012 .  Consequently, the draft version of MOD-001-1 does not contain calculation requirements for TTC.  The drafting team is seeking input from the industry on this question (see Comment Form questions 13 and 14). The comment form includes questions asking whether the values for TC and TTC should be considered the same value.  The questions in the comment form also ask for feedback regarding the appropriate standard in which to determine TTC and TFC (see Comment Form questions 15 and 16).  
If the calculation of AFC and ATC are ultimately dependent upon values derived in the FAC-012 and/or the FAC-013 standard(s), the drafting team will revise FAC-012 and/or FAC-013 as necessary prior to balloting MOD-001-1 so that industry will know how those precursor values will be developed.  A partial list of these precursor values could include:
· Semi-annual summer and winter TTC values 

· Assumptions used for modeling generation dispatch

· Transmission and generation outage schedules

· Power flow models

· Load forecasts

· Path definitions and facility ratings

· Algorithms

Clarification of Capacity Benefit Margin and Transmission Reserve Margin will be subsequently  addressed by the drafting team in proposed revisions to the respective standards dealing with those values.
The Standards Committee and Standard Drafting Team (ATCTDT) would like to receive industry comment on the proposed standard.
You do not have to answer all questions.  Enter All Comments in Simple Text Format.  
Insert a “check” mark in the appropriate boxes by double-clicking the gray areas.

1. Is the definition for ETC contained in this standard sufficient for the industry to calculate the ETC in a consistent and reliable manner? If not, please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
2. If it is determined that additional requirements and measures are needed for the calculation of ETC, should these requirements and measures for the calculation of ETC be contained within this standard, or should a new standard strictly for ETC be written? If so please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

3. Should the definition for Transmission Service Request in this proposed standard be expanded or changed? Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

        Comments:
4. Should the drafting team definition for Flowgate be used to replace the Flowgate definition in the NERC Glossary of Terms Used in Reliability Standards
? Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

        Comments:
5. Do you agree with the remaining definition of terms used in the proposed standard?  If not, please explain which terms need refinement and how.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
6. Does the proposed standard include the correct Reliability Functions in the applicability section of the proposed standard? If not, please explain which functions need to be added or deleted and why.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
7. The standard drafting team has identified three methodologies in which the ATC and AFC are calculated (Rated System Path - ATC, Network Response - ATC and Network Response - AFC, methodologies). In developing this standard has the standard drafting team adequately addressed these methodologies?  Please explain if you feel the team has not adequately addressed these methodologies within the proposed standard. 
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
8. The standard drafting team has identified three methodologies in which the ATC and AFC are calculated (Rated System Path - ATC, Network Response - ATC and Network Response - AFC, methodologies). Should the drafting team consider other methodologies? Please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
9. The standard drafting team has identified that the Transmission Service Provider shall choose only one of the three methodologies for the Transmission Service Provider’s entire system in which the ATC and AFC are calculated (Rated System Path - ATC, Network Response - ATC and Network Response - AFC, methodologies).  If chosing just one of these methods is not sufficient for your system, please explain why.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
10. Do you agree with the proposed requirements included in the proposed standard?  If not please explain with which requirements you do not agree and why.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

11. Does the proposed standard sufficiently address the reliability concerns expressed in the NERC LTATF Report
 or the FERC NOPR
? If not, then please explain.   

 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

12. Should the proposed standard include further standardization for the components of the calculation of ATC or AFC (i.e., should the proposed standard be more prescriptive regarding the consistency and standardization of determining TTC, TFC, ETC, TRM, and CBM)? If so, please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
13. Do you agree that Total Transfer Capability (TTC) referenced in the MOD standards and Transfer Capability (TC) references in the FAC-012-1 and/or FAC-013-1 standards are the same and should be treated as such in developing this standard?  Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

14. If you agree in question 13 that TTC and TC represent the same values, should MOD-001-1 address the Total Transfer Capability (TTC) methodology and documentation, as opposed to having the TTC methodology addressed by revising the existing Facility Rating FAC-012-1 and/or FAC-013-1 standards as proposed by FERC NOPR
?  Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

15. If you do not agree in question 13 that TTC and TC represent the same values, how should the drafting team address the similarity between Transfer Capability (TC) and Total Transfer Capability (TTC) methodology and documentation?  Please explain your answer.
      Comments:

16. As mentioned in the introduction, the drafting team has deferred development of requirements for the calculation of Total Flowgate Capability (TFC) pending industry comments.  The drafting team would like to know whether the industry believes that MOD-001-1needs to address TFC methodology and documentation as opposed to having the TFC methodology addressed by revising the existing Facility Rating FAC-012-1 and/or FAC-013-1 standards?  Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

17. Is the requirement in this proposed standard to specify the ultimate source and sink necessary for the ATC methodologies (see requirement R13)? Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

18. Would the provision of a link to the location of a TSP’s data be sufficient in satisfying the requirement(s) to exchange data for this proposed standard?  Please explain.

 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

19. When calculating ATC and monthly, daily, weekly, and hourly AFC values, what time horizon(s) for CBM should be used and which reliability function(s) should make the CBM calculations? Please explain.
      Comments:

20. When calculating ATC and monthly, daily, and hourly AFC values, what time horizon(s) for TRM should be used, and which reliability function(s) should make the TRM calculations? Please explain.
      Comments:

21. Should NERC work with NAESB to determine whether updates to ETC and ATC values should be posted after the transmission request is accepted or after it has been confirmed?  Please explain.
      Comments:  
22. In order to maintain consistency with planning requirements, should NERC work with NAESB to establish a business practice to monitor Load Serving Entities (LSE), Generation Operators, or Purchasing/Selling Entities that might reserve transmission service in multiple directions in excess of either the LSE load or the capacity of the generator?  If so, please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

23. Does the proposed standard address the goals of the related SAR
 and the LTATF report
 to improve communication, coordination, standardization, and transparency?  If not, please explain.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
24. 



25. Should any of the data elements required to be exchanged among Transmission Service Providers in this proposed standard be provided to any other functional entities? Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:
26. Is the frequency of providing data specified in this proposed standard appropriate? Please explain your answer.
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

27. Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?
        Comments:
28. The drafting team would like industry input on the reliability-related timing requirements in requirement R2 for recalculating ATC following changes to any one of the ATC components [TTC, TRM, CBM, or ETC] changes.  
        Comments:
29. The drafting team believes that formal definitions are needed for the various time frames used in the standard.  As a strawman, the drafting team would like to have industry comment on the proposed definitions below:
Operating Horizon – Time frames encompassing same-day and real-time periods.

Scheduling Horizon – Time frames encompassing the day-ahead period.
Operations Planning Horizon – Time frames beyond the Scheduling Horizon up to 13 months

Long-term Planning Horizon – Time frames beyond the Operations Planning Horizon

Do you agree with the four proposed definitions above?  If not, please explain your answer and provide an alternative definition.

 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

      Comments:

30. 



31. Do you have other comments on the proposed standard?

        Comments:
� AFC = Available Flowgate Capability


� ATC = Available Transfer Capability 


� NAESB = North American Energy Standards Board


� � HYPERLINK "ftp://www.nerc.com/pub/sys/all_updl/docs/pubs/AWTTF_Final_Report_032604.pdf" ��ftp://www.nerc.com/pub/sys/all_updl/docs/pubs/AWTTF_Final_Report_032604.pdf� 


� SAR = Standards Authorization Request


� � HYPERLINK "ftp://www.nerc.com/pub/sys/all_updl/mc/ltatf/LTATF_Final_Report_Revised.pdf" ��ftp://www.nerc.com/pub/sys/all_updl/mc/ltatf/LTATF_Final_Report_Revised.pdf� 


� TFC = Total Flowgate Capability 


� TTC = Total Transfer Capability 


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf�


� � HYPERLINK "ftp://www.nerc.com/pub/sys/all_updl/standards/rs/Glossary_02May06.pdf" ��ftp://www.nerc.com/pub/sys/all_updl/standards/rs/Glossary_02May06.pdf� 


� � HYPERLINK "ftp://www.nerc.com/pub/sys/all_updl/standards/rs/Glossary_02May06.pdf" ��ftp://www.nerc.com/pub/sys/all_updl/standards/rs/Glossary_02May06.pdf� 


� � HYPERLINK "ftp://www.nerc.com/pub/sys/all_updl/mc/ltatf/LTATF_Final_Report_Revised.pdf" ��ftp://www.nerc.com/pub/sys/all_updl/mc/ltatf/LTATF_Final_Report_Revised.pdf� 


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf� 


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/051806/E-1.pdf� 


� ftp://www.nerc.com/pub/sys/all_updl/standards/sar/SAR_ATC-TTC_R2_15Feb06.pdf


� ftp://www.nerc.com/pub/sys/all_updl/mc/ltatf/LTATF_Final_Report_Revised.pdf


� Please see APPENDIX attached to this comment form





