NNL ASTFC Spreadsheet Description

NNL ASTFC Spreadsheet

The NNL ASTFC Spreadsheet shows the available MISO ASTFC (available share of Total Flowgate Capacity) for the reciprocal flowgates as per JOA.  This spreadsheet is posted on the OASIS at 23:30 each night.

Navigation – Filters are available on the spreadsheet for easy navigation. Click on the column drop downs to select a Flowgate either by NERCID or FGPATH or a particular day of service.

Column Descriptions – Below the descriptions for the columns that appear in this spreadsheet.

1. Date-Shows the dates for daily in daily format (yyyymmdd) and monthly in monthly format (yyyymm).  First 60 days corresponds to daily values and the remaining corresponds to monthly values from months 2 to 18 months.

2. Nercid- specifies the Nercid of the reciprocal flowgates as agreed between PJM and MISO.

3. Fgpath - Specifies the name of the reciprocal flowgate corresponding to Nercid reported in column 2. The reciprocal flowgates are a subset of the flowgates that are used in MISO AFC Calculation.

4. NNLTTC - Specifies the MISO’s allocation value of the each of the reciprocal flowgate shown in column 3 on that particular day or month of service.
5. NNLASTFC – Specifies the ASTFC on the reciprocal flowgates for that particular day or month of service.  The ASTFC value is arrived at by decrementing the allocation for firm requests and generation impacts.
MISO NNL ASTFC Calculation

Under the MISO-PJM Joint Operating Agreement, reciprocal flowgates are allocated between the two entities based on historic usage.  All impacted entities (both reciprocal and non-reciprocal) receive an allocation share of the flowgate capacity, based on their historic point-to-point and NNL usage. NNL is a term that is used in reference to this allocation to imply the Network Native Load use of Flowgate capacity. 

MISO has an obligation as per the JOA to honor its share of the NNL Allocation as a limit while selling Firm Transmission Service.  As per the JOA, a set of flowgates referred to as reciprocal (NNL) flowgates have been allocated.  The NNL flowgates are the subset of AFC flowgates that are used in MISO AFC Calculation.

The NNL ASTFC values are calculated every hour. During every run, MISO reservations from the MISO FTP site, the MISO NNL Allocation values and the Generation to Load Impacts are used in the calculation. It then computes the current level on NNL usage on each Flowgate as

MISO Current Flowgate capacity usage = 

MISO Generation to Load Impacts 

+ MISO Firm Confirmed reservation Impact 

+MISO Firm Study reservation Impact

The available NNL on a Flowgate then becomes

Available NNL = MISO Allocation – MISO Current Flowgate capacity usage

