Proposed Language for R05004A-1A

Preface to the Standard.  The Network Native Load (NNL) Allocation of Flowgate Capability is derived from FERC filed and approved Operating Agreements (OA’s), of which there are Joint (JOA) and Seams (SOA) Operating Agreements.  There is a Joint Reciprocal Coordination Agreement (JRCA) agreement between Midwest ISO, PJM and TVA, which is not filed with the FERC because of TVA’s non-jurisdictional status, but is honored by all reciprocal parties. The results of these allocations are termed Share of Total Flowgate Capability (STFC).  This is not a NERC defined term.  The positive amount of that number is termed the Available Share of Total Flowgate Capability (ASTFC).  This is the amount of capacity that is available for point-to-point transmission sales.  When a Transmission Service Request (TSR) is received on the OASIS, the first check is against AFC, if the AFC is negative, the Tariff Administrator will deny the TSR.  If the AFC is positive, then the Tariff Administrator will check the ASTFC to see if that Transmission Service Provider has positive ASTFC, if so, the TSR will be approved.  
In recognizing that not every entity that has an ASTFC on a flowgate will be using the all of their allocation in a particular timeframe, the parties involved in the various OA’s had developed a method to either “share” or “transfer” a portion of their allocation.  That is described in your additional meeting material.  The document titled “The Process for the Sharing or Transferring of Unused Allocations”.  This is an attempt to keep the market as fluid and utilized as possible.

To address the concerns of the parties that developed R05004A-1A, both of the values used to evaluate TSR’s are currently posted on the OASIS of the respective TSP’s.  If a TSR is denied for lack of ASTFC, that is noted in the comments box.  While it may seem a bit backward, a Transmission Customer (TC), may want to check the ASTFC first if it is on a path that has a particular flowgate that is consistently the most limiting element, but in fairness to the TC, those can change from day to day.
I don’t believe that calculation variables are a Business Practice.  There are clearly defined in FERC approved documents.

To either change OASIS to post the lower of, or both values side-by-side would involve cost to all TSP’s that would far exceed their value.  As long as both values are posted on OASIS or its successor, the TSP’s would be compliant.
The standard should contain the following requirements

R1.
The timing requirements for the calculation and posting off NNL and the ASTFC are as follows:
· Hourly values for next day and 2 day ahead are calculated daily

· Daily values are calculated weekly for days 8-14
· Monthly value are calculate monthly for months 2 through 7
· Seasonal values are calculated every 6 month’s 7 through 18

R2.
These results should be posted on OASIS or its successor.  

R3.
Any TSR that is denied should contain the reason (probably a current requirement)

R4.
The calculated values should be archived in accordance with current timing requirements for other values used to evaluate Transmission Service Request. 

PAGE  
1
Larry Middleton
Draft 2/22/2007

