Standard MOD-008-1 — TRM Calculation Methodology

A. 
Introduction 
1. Title: Transmission Reliability Margin Calculation Methodology 
2. Number: MOD-008-1 
3. Purpose: To promote consistent and transparent Transmission Reliability Margin calculation methodologies among Transmission Service Providers, Transmission Planners, and Transmission Operators.
4.
Applicability: 
4.1.
Each Transmission Planner
4.2.
Each Transmission Operator

4.3.
Each Transmission Service Provider

5 Effective Date: t.b.d.
B. 
Requirements  
R1.
Transmission Service Providers shall use Transmission Reliability Margin (“TRM”) in the calculation of ATCs or AFCs if their respective Transmission Planners and Transmission Operators have reserved capacity on their transmission system for use as TRM.
R1.1Transmission Planners and Transmission Operators may reserve zero (0) TRM.  However, Transmission Planners and Transmission Operators that reserve zero (0) TRM must document on OASIS (or its successor) as to why no TRM is needed.
R2.
Transmission Planners and Transmission Operators that reserve TRM must document their methodology for calculating TRM on each of their respective posted Contract Path or Flowgate using one or more of the following components:
R2.1.
Aggregate Load forecast error (not included in determining generation reliability requirements).  Transmission Planners and Transmission Operators must quantify the aggregate load forecast error used and describe how the aggregate load forecast error is used to calculate a TRM value.
R2.2.
Load distribution error.  Transmission Planners and Transmission Operators must quantify the load distribution error used and describe how the load distribution error is used to calculate a TRM value.  
R2.3
Forecast uncertainty in transmission system topology.  Transmission Planners and Transmission Operators must quantify to what degree forecast uncertainty in transmission system topology is used and describe how this quantity is used to calculate a TRM value.

R2.4
Allowances for parallel path (loop flow) impacts.  Transmission Planners and Transmission Operators must quantify the allowances for parallel path (loop flow) impacts and describe how this quantity is used to calculate a TRM value.
R2.5
Allowances for simultaneous path interactions.  Transmission Planners and Transmission Operators must quantify the allowances for simultaneous path interactions in internal and external systems and describe how this quantity is used to calculate a TRM value.
R2.6
Variations in generation dispatch.  Transmission Planners and Transmission Operators must quantify variations in generation dispatch and describe how this quantity is used to calculate a TRM value.
R2.7
Short-term System Operator response (Operating Reserve actions not exceeding a 59-minute window).  Transmission Planners and Transmission Operators must quantify short-term System Operator response and describe how this quantity is used to calculate a TRM value.
R.2.8
Reserve Sharing Requirements.  Transmission Planners and Transmission Operators must quantify reserve sharing requirements and describe how this quantity is used to calculate a TRM value.
R.2.9.  Inertial Response. Transmission Planners and Transmission Operators must quantify the allowances for an inertial response (generator response) due to a system contingency and describe how the impact of this quantity is used to calculate a TRM value.

R3.
Transmission Planners and Transmission Operators shall document as part of its TRM methodology which of the uncertainties contained in R2.1-R2.9 are accounted for and used to calculate a TRM on each posted Contract Path or Flowgate. 
R4.
Transmission Planners shall calculate and document as part of its TRM methodology, a TRM value on each posted Contract Path or Flowgate for the Long-term Planning Horizon
 at least once a year, and provide that value to the Transmission Service Provider. 
R5.
Transmission Operators shall calculate and document as part of its TRM methodology, a TRM value on each posted Contract Path or Flowgate for the Short-term Planning Horizon
 at least once a year, and provide that value to the Transmission Service Provider.
R6.
Each Transmission Service Provider shall make available to adjacent Transmission Service Providers and post the TRM calculation methodology on each posted Contract Path or Flowgate, for each time horizon on OASIS (or its successor).
R7.
Each Transmission Service Provider shall make available to adjacent Transmission Service Providers and post the  calculated TRM values on each posted Contract Path or Flowgate, for each time horizon on OASIS (or its successor).
R8. 
Each Transmission Planner and Transmission Operator shall use the same components and assumptions in calculating TRM as it uses with its published planning criteria.  A TRM value is considered consistent with published planning criteria [does this need to be defined?]  if the same components that comprise TRM are also used in the published planning criteria.  The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained.

R9. 
Transmission Service Providers, Transmission Planners, and Transmission Operators shall use the components of uncertainty from R2.1 through R2.9 solely to calculate TRM and not to calculate CBM.
R10.  
Each Transmission Service Provider shall make available upon request all underlying documentation, including work papers and load flow base cases, used to determine TRM,.
R10.1  Transmissioin Service Providers shall not release documentation upon which it calculated its TRM where release of that documentation violates any applicable rule, regulation or confidentiality agreement prohibiting such disclosure or where release of the requested data would pose a security risk to the grid.  

R11. 
Each Transmission Service Provider shall calculate and allocate for the respective paths and flowgates within its service area, the aggregate TRM value for all LSEs within its service area.

.

C.
Measures 
M1.
Each Transmission Service Provider, Transmission Planner, and Transmission Operator shall include in their TRM methodology the requirements as defined in Requirements R1, R2, and R3.
M2. 
Each Transmission Planner shall have and provide upon request the TRM values (either electronic or hard copy) as defined in Requirement R4.
M3.  
Each Transmission Operator shall have and provide upon request the TRM values (either electronic or hard copy) as defined in Requirement R5.
M4.
Each Transmission Service Provider shall have evidence that it has posted the provided TRM methodologies and value(s) on its OASIS (or its successor) as defined in Requirements R6 and R7.
M5. 
Each Transmission Planner and Transmission Operator shall provide evidence (written or electronic) to the Compliance Monitor that it has used the same components and assumptions in calculating TRM as it uses with its published planning criteria as defined in Requirement R8.  

M6. 
Each Transmission Service Provider, Transmission Planner, and Transmission Operator shall have evidence that the components of uncertainty in R2.1 to R2.9 used in the calculation of TRM are not used in the calculation of CBM, as defined in Requirement R9.
M7. 
Each Transmission Service Provider shall have evidence that it has procedures and specimen confidentially agreements in place that are to be used to make available upon request all underlying documentation, including work papers and load flow base cases, used to determine TRM, to any transmission customer and Load Serving Entity (LSE) within its control area, and adjacent Transmission Service Providers, as defined in Requirement R10.

M8. 
Each Transmission Service Provider shall have evidence that it calculates, and allocates on the respective paths and flowgates within its service area, the aggregate TRM value for all LSEs within its service area, as defined in Requirement R11.
D. 
Compliance   
1.
Compliance Monitoring Process 
1.1. Compliance Monitoring Responsibility

Regional Entity shall be responsible for compliance monitoring.

1.2. Compliance Monitoring and Reset Time Frame

One or more of the following methods will be used to verify compliance:

- Self-certification (Conducted annually with submission according to schedule.)

- Spot Check Audits (Conducted anytime with up to 30 days notice given to prepare.)

- Periodic Audit (Conducted once every three years according to schedule.)

- Triggered Investigations (Notification of an investigation must be made within 60 days of an event or complaint of noncompliance. The entity will have up to 30 days to prepare for the investigation. An entity may request an extension of the preparation period and the extension will be considered by the Compliance Monitor on a case-by-case basis.)

The Performance-Reset Period shall be 12 months from the last finding of noncompliance.

1.3. Data Retention
Each Transmission Service Provider, Transmission Planner, and Transmission Operator shall have current, in-force documents available as evidence of compliance as specified in each of the Measures. 
If an entity is found non-compliant the entity shall keep information related to the non-compliance until found compliant or for two years plus the current year, whichever is longer. 

Evidence used as part of a triggered investigation shall be retained by the entity being investigated for one year from the date that the investigation is closed, as determined by the Compliance Monitor.  

The Compliance Monitor shall keep for 3 years the last periodic audit report and all requested and submitted subsequent compliance records.

1.4. Additional Compliance Information

None.

2. Violation Severity Levels:
2.1. Level 1: 
Does not post all its methodologies for TRM on OASIS (or its successor) or does not post a notice that it does not calculate a TRM value.   
2.2. Level 2:   Has not provided upon request its methodologies and values for TRM.


Has not posted its values for TRM.
2.3. Level 3: 
Does not use the same components and assumptions in calculating TRM as it uses with its published planning criteria


Does not calculate TRM in accordance with the prescribed schedule.
2.4. Level 4: 
Does not calculate TRM in accordance with the posted methodology. 


Does not have a TRM methodology.
E. 
Regional Differences 
1.
None identified. 

Version History 
	Version 
	Date 
	Action 
	Change Tracking 

	0 
	April 1, 2005 
	Effective Date 
	New 

	1
	April 1, 2007
	Revision
	New

	
	
	
	


NAESB will prepare a complementary business practice standard describing the location and format of the OASIS postings related to TRM





NAESB will prepare a complementary business practice standard describing the location and format of the OASIS postings related to TRM





For example, some entities have indicated that they include uncertainty values in the determination of TTC.





For example, some entities have indicated that they include uncertainty values in the determination of TTC.








� Definition to be determined during the MOD-001-1 as described in the MOD-001-1 comment form.


� Definition to be determined during the MOD-001-1 as described in the MOD-001-1 comment form.





Draft  April 1, 2007
5 of 6
Effective Date: t.b.d

