Standard MOD-008-1 — TRM Calculation Methodology: Ross/Narinder/Shannon

A. Introduction
1. Title:
Transmission Reliability Margin Calculation Methodology


2. Number:
MOD-008-1
3. Purpose:
To promote consistent and transparent calculation of the maximum  Transmission Reliability Margin calculation and supporting methodologies among Transmission Service Providers, Transmission Planners, and Transmission Operators to help ensure more accurate calculation of transfer capabilities.  
4. Applicability:
4.1. Transmission Planner
4.2. Transmission Operator

4.3. Transmission Service Provider
4.4. Reliability Coordinator
4.5. Planning Coordinator 
5. Effective Date:
To be determined.


B. Requirements

R1. The Transmission Planner, and Transmission Operator shall each document its Transmission Reliability Margin (TRM) calculation methodology, and shall include all of the following in that methodology:

R1.1. Identification of any of the following uncertainties used to calculate its TRM:
· Aggregate Load forecast error (not included in determining generation reliability requirements).  
· Load distribution error.
· Forecast uncertainty in transmission system topology.
· Allowances for parallel path (loop flow) impacts.
· Allowances for simultaneous path interactions.
· Variations in generation dispatch.
· Short-term System Operator response (Operating Reserve actions not exceeding a 59-minute window).
· Reserve Sharing Requirements.
· Inertial Response.
R1.2. A statement to confirm that it uses the same components and assumptions in calculating TRM that it uses in complying with TPL-001 through TPL-003
. 
R1.3. Allocation across paths;     
R1.4. If it calculates a TRM for any of the following time periods, identification of that TRM calculation:
· Same day and real-time 
· Day-ahead and pre-schedule 

· Beyond the day-ahead and pre-schedule 

R3. Each Transmission Planner and Transmission Operator that reserves TRM shall document (on each of its respective posted Contract Paths or Flowgates) each of the following components of uncertainty if used in calculating TRM and shall quantify how that component is used to calculate a TRM value:
· Aggregate Load forecast error (not included in determining generation reliability requirements).  

· Load distribution error.  

· Forecast uncertainty in transmission system topology.  

· Allowances for parallel path (loop flow) impacts.  

· Allowances for simultaneous path interactions in internal and external systems.  

· Variations in generation dispatch.  

· Short-term System Operator response (Operating Reserve actions not exceeding a 59-minute window).  

· Reserve Sharing Requirements.  

· Inertial Response (generator response) due to a system contingency. 
R4. The Transmission Service Provider, Transmission Planner, and Transmission Operator shall each use the components of uncertainty from R2.1 through R2.9 solely to calculate TRM and not to calculate CBM.
R5. At least once each year, the Transmission Operator shall calculate (in accordance with its TRM methodology) a TRM value for the following time periods and shall post these TRM values (on each Contact Path or Flowgate) and provide these TRM values to its Transmission Service Provider(s):

R5.1. Same day and real-time 

R5.2. Day-ahead and pre-schedule 

R6. At least once each year, the Transmission Planner shall calculate (in accordance with its TRM methodology) a TRM value for the following time periods and shall post these TRM values (on each Contact Path or Flowgate) and provide these TRM values to its Transmission Service Provider(s):

R6.1. Beyond the day-ahead
R6.2. Pre-schedule

R7. Each Transmission Service Provider shall make its TRM calculation methodology (including underlying documentation, work papers and load flow base cases used to determine TRM) available to adjacent Transmission Service Providers and to any requesting transmission customer or Load Serving Entity within its service area unless providing the methodology violates an applicable rule, regulation or confidentiality agreement prohibiting such disclosure or where release of the requested data would pose a security risk to the grid.
R8. Each Transmission Planner, Transmission Operator, Transmission Service Provider shall provide its TRM calculation methodology and supporting documentation to the Reliability Coordinator and Planning Coordinator. 
R9. Each Reliability Coordinator and Planning Coordinator shall evaluate the amount of error in the TRM transfer capability predictions and on an exception basis provide feedback.
R10. Each Transmission Service Provider shall calculate and allocate (for the respective paths and flowgates within its service area), the aggregate TRM value for all Load-serving Entities within its service area.

R11. Each Transmission Service Provider shall post (on each posted Contract Path or Flowgate) its TRM value for each of the following time periods:
· Same day and real-time 

· Day-ahead and pre-schedule 

· Beyond the day-ahead
· Pre-schedule
R12. If a Transmission Planner or Transmission Operator reserves capacity on its transmission system for use as TRM, then the associated Transmission Service Provider shall use TRM in its calculation of Available Transfer Capabilities (ATCs) or Available Flowgate Capabilities (AFCs).  

R13. If a Transmission Planner or Transmission Operator reserves zero (0) TRM, that Transmission Planner or Transmission Operator shall document on OASIS (or its successor) the reason(s) why it did not reserve any TRM.

C. Measures

M1. Each Transmission Planner, and Transmission Operator shall have and provide to its Compliance Monitor upon request, a documented TRM methodology that includes R1.1 through R1.3.
D. Compliance

6. Compliance Monitoring Process

6.1. Compliance Monitoring Responsibility

Text

6.2. Compliance Monitoring Period and Reset
Text

6.3. Data Retention
Text

6.4. Additional Compliance Information

Text
7. Violation Severity Levels

7.1. Lower:  There shall be a single lower violation if any one or more of the following conditions exist:
7.1.1. Additional Text
7.2. Moderate: There shall be a single moderate violation if one or more of the following conditions exist:
7.2.1. Additional Text
7.3. High:  There shall be a single high violation if one or more of the following conditions exist:
7.3.1. Additional Text
7.4. Severe: There shall be a separate severe violation for each of the following conditions that exist:

7.4.1. Additional Text
E. Regional Differences

None

F. Associated Documents
Version History

	Version
	Date
	Action
	Change Tracking


	
	
	
	

	
	
	
	








� A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also used in complying with TPL-001 through TPL-003.  The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained


� This does not include violations involving extenuating circumstances approved by the Compliance Monitor.





�List Number


�Body Indent 2


�Heading 4


�Table Col Headings





Draft:

Page 1 of 4


Effective Date:

