Order 693 / P. 1041

See also:  Order 890, P. 296 under “f. Modeling, Assumptions and Input Data”
AFC = TFC – TRM – CBM – ETC  

1) With respect to modeling of generation dispatch

a) Requirements in MOD-001-0

i) Specifying:

(1) How transmission providers should determine:

(a) Which generators should be modeled in service,

(i) Including guidance on how independent generation should be considered.

ii) Specifying that base generation dispatch will model:
(1) All designated network resources and other resources that are committed to or have the legal obligation to run, as they are expected to run and
(2) All uncommitted resources that are deliverable within the control area, economically dispatched as necessary to meet balancing requirements.
R1.
Each Transmission Service Provider calculating AFC shall include in modeled generation all designated network resources and other resources that are committed to or have the legal obligation to run.

R2.
Each Transmission Service Provider calculating AFC shall include in modeled generation all uncommitted resources including independent generation (prioritized per R2.1 and R2.2), that are deliverable within the Balancing Authority Area, and any other resources needed to meet balancing requirements.
R2.1.
Each Transmission Service Provider shall calculate for each modeled generator, the percentage of time each generator served load for the previous five-year period.

R2.2
Each Transmission Service Provider shall place each modeled generator in a modeling queue, prioritized from highest to lowest based on the percentage established in R.1.1.

