

From: Harshbarger, Robert
Sent: Tuesday, July 11, 2006 4:03 PM
To: Kirby, DeDe; WEATHERS WENDY D
Subject: OATT pro forma
19.7 Partial Interim Service: If the Transmission Provider determines that it will not

have adequate transmission capability to satisfy the full amount of a Completed Application for

Firm Point-To-Point Transmission Service, the Transmission Provider nonetheless shall be

obligated to offer and provide the portion of the requested Firm Point-To-Point Transmission

Service that can be accommodated without addition of any facilities and through redispatch.

However, the Transmission Provider shall not be obligated to provide the incremental amount of

requested Firm Point-To-Point Transmission Service that requires the addition of facilities or

upgrades to the Transmission System until such facilities or upgrades have been placed in

service.

Bob Harshbarger
OASIS Trading Manager
Puget Sound Energy
