From: Kimm, Dennis D
Sent: Tuesday, July 11, 2006 10:00 PM
To: Kirby, DeDe
Subject: RE: Partial Interim Service
Unfortunately I can't open the attachment on the road unless it has a smaller file name, but to try to explain the issue....
Providers are very inconsistent in the application of this section of the tariff.  The example is this...A transmission service request is made for 3 months for 100 MW. The first month is not available, the second month 70 MW is available and the third month all 100 MW is available.  Some providers will only offer the third month since it is the only month "available".  Other providers will offer the last two months at 70 MW and others may just refuse the service all together.  What I believe should be done is that the provider offer the second month for 70 MW and the third month at 100 MW.  That way the provider will offer both partial MW (70 out of the 100) and partial period (the second and third month).  The customer should then be able to take all or part of the 70 MW and all or part of the 100 MW.  Maybe 50 MW for the second and third month.  This may not work for annual service with rollover rights, but should work for monthly, weekly or daily service with the partial service being offered respectively.  (By month for monthly, by week for weekly and by day for daily).  I hope this answers the questions.  At this point, I would say it unlikely that I will be able to dial in tomorrow because of a MAPP meeting, but will have access to email and may be able to answer additional questions via email.

 

Dennis



From: Kirby, DeDe
Sent: Tue 7/11/2006 4:31 PM
To: Kimm, Dennis D
Cc: York, Katherine E; jt wood
Subject: 
Dennis,
During the WEQ BPS and ESS/ITS meeting today on ATC/AFC request (R05004), the issues identified in the attached paper were discussed.  The group would like your input on what the exact request of Item B (granting of partial service by capacity requested, both partial period and partial MW (for example WEQSCP-002-4.2.13.2)) is trying to resolve?  The FERC Order is included below for your consideration.  Thanks for your answer.  We will begin addressing this issue first thing in the morning.  It would be appreciated if you could respond either this evening or if you could call in the morning.  
The information for the meeting is included below:
Conference Number: 866-740-1260

Access Code: 3560060

Security Code: 3785

 

DeDe Kirby, NAESB
Kathy York, WEQ BPS Chair
and JT Wood, WEQ ESS/ITS Chair
 

 

19.7 Partial Interim Service: If the Transmission Provider determines that it will not

have adequate transmission capability to satisfy the full amount of a Completed Application for

Firm Point-To-Point Transmission Service, the Transmission Provider nonetheless shall be

obligated to offer and provide the portion of the requested Firm Point-To-Point Transmission

Service that can be accommodated without addition of any facilities and through redispatch.

However, the Transmission Provider shall not be obligated to provide the incremental amount of

requested Firm Point-To-Point Transmission Service that requires the addition of facilities or

upgrades to the Transmission System until such facilities or upgrades have been placed in

service.

 

DeDe Kirby
Meeting/Project Manager
NAESB
