Standard MOD-001-1 — Documentation of TTC, ATC and AFC Calculation Methodologies


Here are some initial comments on the standard

I can’t tell what is optional and what is required
Does each entity get to decide whether they develop two methodologies or not?  

If there is a ‘right choice’ for the RRO to make, then it should be documented and the standard should give the criteria for determining whether the RRO needs one or two methodologies

In the requirements, it seems like the TSP can, but is not required to develop a methodology only if it crosses multiple regions and must develop a different method from the regional methods it is included in. It then must receive approval of that method by the regionsfor this difference.
What system is in place to ensure that the TSPs methodology is consistent with the RROs methodology?  

The purpose indicates that there needs to be consistency, but there isn’t anything in the standard that requires consistency.  Could consistency exist with multiple methodologies?  
There are 3 primary approaches so the consistency is within a region. All entities will use the regional methods as prescribed in the documented regional methodology.
Some of the requirements need to be re-phrased because they don’t identify what functional entity is responsible for compliance. Need to assign this to the group
The terms used in Requirement 2 don’t match the terms used in Requirement 1 – it sounds like two parallel topics are being addressed.  If these were addressing the same topics, then I would expect Requirement 2 to be a subset of Requirement 1 and would expect that Requirement 1 would indicate that the RRO (or TSP) have a methodology that included all of the following with the criteria in Requirement 2 being listed as essential components.

Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development Jun 20 2005.
2. SAC Authorized for Development Feb 14 2006.
3. SAC appoints Standard Drafting Team Mar 17 2006.

Description of Current Draft:

First draft of standard posted for stakeholders comment.  
Future Development Plan:

	1. Post revised standard for stakeholder comments.
	July 1 2006

	2. Respond to comments.
	August 14 2006

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Flowgate  
A single transmission element, group of transmission elements and any associated contingency(ies) intended to model MW flow impact relating to transmission limitations and transmission service usage. Within the Interchange Distribution Calculator, Transfer Distribution Factors are calculated to approximate MW flow impact on the flowgate caused by power transfers.
Flowgate Rating:    The amount of electric power that can flow across the Flowgate under specified system conditions without exceeding the physical capability of the facilities.  Typically expressed in the form of thermal capability, however flowgates can be proxies for stability and other limiting criteria. 
Available Flowgate Capability (AFC):  A measure of the flow capability remaining in the Flowgate for further commercial activity over and above already committed uses. It is defined as the Flowgate Rating less the impacts of existing transmission commitments (including retail customer service), less the impacts of Capacity Benefit Margin and less the impacts of Transmission Reliability Margin.  

Network Response- Method of calculating transfer capability for transmission networks where customer demand, generation sources, and the transmission systems are tightly interconnected.
Rated System Path- Method of calculating transfer capability for transmission networks where the critical transmission paths between areas of the network have been identified and rated as to their achievable transfer loading capabilities for a range of system conditions.

Native Load: The wholesale and retail load of the Load Serving Entities on whose behalf the Transmission Service Provider, by statute, franchise, regulatory requirement, or contract, has undertaken an obligation to construct and operate the Transmission Service Provider's system to meet the reliable electric needs of such loads.

Existing Transmission Commitments (ETC)- Composed of Native Load uses, prudent reserves, appropriate existing commitments for purchases/exchange/deliveries/sales, existing commitments for transmission service and other pending potential uses of transfer capability.

 Introduction

1. Title:
Documentation of Total Transfer Capability and Available Transfer Capability Calculation Methodologies
2. Number:
MOD-001-1 
3. Purpose:

To promote the consistent and uniform application  and documentation of TTC/ATC and  Flowgate Rating/AFC calculations  among regional entities for the scheduling, operating and planning horizons. 
4. Applicability:

4.1. Regional Reliability Organization
4.2. Planning Coordinator
4.3. Transmission Planner
4.4. Reliability Coordinator
4.5. Transmission Operator
4.6. Transmission Service Provider

5. Effective Date:
TBD
B. Requirements

R1. Each Regional Reliability Organization, in conjunction with its Planning Coordinators, Transmission Planners,  Reliability Coordinators, Transmission Operators and Transmission Service Providers, shall jointly develop and document a TTC/Flowgate Rating methodology and ATC/AFC methodology -for scheduling, operating and planning horizons. This regional methodology shall be used by the Planning Coordinator, Transmission Planner, Reliability Coordinator, Transmission Operator and Transmission Service Provider for coordinating, calculating and posting TTC/ATC and Flowgate Rating/AFC values.   
R1.1. A Transmission Service Provider or Transmission Operator that crosses  one or more Regional Reliability Organization boundary shall coordinate and receive approval for its methodology from each of the respective Regional Reliability Organization’s or from NERC  if it must develop a TTC/ATC or Flowgate Rating/AFC methodology that differs from any Region it is included in. This methodology shall provide the Planning Coordinators, Transmission Planners, Reliability Coordinators, Transmission Operators and Transmission Service Providers of the TSP’s or TOs regions with the same information required within the regional methodology for coordinating, calculating and posting TTC/Flowgate Rating methodology and ATC/AFC methodology values.
R1.2. Each Regional Reliability Organization shall post the most recent version of its TTC/ATC methodology, Flowgate Rating/AFC methodologies on a publicly accessible web site and each Transmission Service Provider shall post on its OASIS the most recent version of its TTC/ATC methodology or reference the RRO’s TTC/ATC methodology if the TSP’s methodology and the RRO’s methodology are the same..  
R2.  The regional methodology documentation shall include the requirements below for all methodologies (Rated System Path , Network Response methodology –TTC/ATC or Network Response methodology –AFC) being used by the region and its members. :

R2.1. Rated System Path Methodology
.
R2.1.1. The TTC section of the Rated System Path Methodology shall address each of the items listed below:

2.1.1.1. Identify the parties responsible for performing the calculations.

2.1.1.2. Identify the parties responsible for posting the result on OASIS.

2.1.1.3. Identify the parties that the data used in the calculation of TTC is coordinated with.

2.1.1.4. Explain how TTC is determined.

2.1.1.5. Identify all of the data required for the calculation of TTC.  As a minimum, the following data must be identified and coordinated.  To the extent that the data listed below is not used, provide an explanation. No data, which is subject to a non-disclosure agreement will be posted on the Regional Reliability Organization’s website or the OASIS.
2.1.1.5.1 Transmission Outages: Provide a schedule of the transmission system elements to be taken out of service. 

2.1.1.5.2 Powerflow model: The baseline power flow model for calculating TTC will be made available to neighboring and affected calculators. Changes and upgrades to facilities that would affect the power flow model shall be provided to neighboring and affected Planning Coordinators and Reliability Coordinators when revised.  

2.1.1.5.3 Path Definitions and Facility Ratings: Path Definitions and Facility Ratings shall be exchanged with neighboring and affected calculators when revised. 

2.1.1.6. Require that TTC values and their corresponding limiting factors be reviewed and updated when revised.

2.1.1.7. Describe the general approach to determine the contingencies considered in the TTC calculations.
2.1.1.8. Define the calculation horizons (e.g. scheduling horizon (same day and real-time), operating horizon (day ahead and pre-schedule) and planning horizon (beyond the operating horizon)).
2.1.1.9. Define the Transmission Owner’s and Transmission Planner’s criteria used in the calculation of TTC for the scheduling, operating and planning horizons. Explain the rational between the criteria for the scheduling, operating and planning horizons for any difference(s).
2.1.1.10. Document the approved variances and the formal approval process.
2.1.1.11. Describe whether TTC postings are based upon simultaneous or non-simultaneous analysis.
R2.1.2. The ATC section of the Rated System Path Methodology shall address each of the items listed below:
2.1.2.1. Identify the parties responsible for performing the calculations.

2.1.2.2. Identify the parties responsible for posting the result on OASIS.

2.1.2.3. Explain how ATC is determined and its relationship to the TTC calculation.  Identify how the reservations and schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system are accounted for in the ATC calculation.

2.1.2.4. Transmission Service Providers or entities responsible for posting ATC shall conform to FERC posting requirements.
2.1.2.5. Identify the parties that the data used in the calculation of ATC is coordinated with.

2.1.2.6. Identify all of the data required for the calculation of ATC. No data, which is subject to a non-disclosure agreement will be posted on the Regional Reliability Organization’s website or the OASIS. As a minimum, the following data must be identified and coordinated.  To the extent that the data listed below is not used or shared, provide an explanation.:
2.1.2.6.1 Committed Uses:  This information shall be provided and coordinated when revised.

2.1.2.6.2 Transmission Service Requests: This information shall be provided when revised.

2.1.2.7. Describe assumptions used for counterflow of transmission reservations, and or schedules, including the basis for the assumptions.

2.1.2.8.  The methodology for ATC calculation shall be consistent with the   Transmission Owner’s and Transmission Planner’s criteria used for the scheduling, operating and planning horizons.
2.1.2.8.1 
2.1.2.8.2 
2.1.2.8.3 
2.1.2.8.4 
R2.1.3. Document the approved variances and the formal approval process.

R2.2. Network Response Methodology – TTC/ATC.

R2.2.1. Identification of the parties responsible for performing the calculations and posting the result on OASIS.

R2.2.2. Explanation of how TTC and ATC are determined and used in evaluating transmission service requests.

R2.2.3. Identification of which entities the data listed in the requirements below are shared with for the calculation of TTC and ATC values.  To the extent that the data listed below is not used or shared, provide an explanation. No data, which is subject to a non-disclosure agreement will be posted on the Regional Reliability Organization’s website or the OASIS. The required minimum update periodicity for each item is listed below:

2.2.3.1. Generation Outage Schedules: This information shall be provided daily and when revised. The information exchanged shall differentiate between pending and approved outages.

2.2.3.2. Generation dispatch order: This information shall be provided daily and when revised.
2.2.3.3. Transmission Outage Schedules: This information shall be provided daily and when revised. The information exchanged shall differentiate between pending and approved outages.

2.2.3.4. Interchange Schedules:  This information shall be provided daily and when revised.
2.2.3.5. Transmission Service Requests: This information shall be provided daily and when revised.
2.2.3.6. Load Forecast: This information shall be provided daily and when revised.
2.2.3.7. Powerflow model: The baseline power flow model for calculating TTC will be made available to neighboring/affected calculators. Changes/upgrades to facilities that would affect the power flow model shall be provided to neighboring/affected calculators when revised.

2.2.3.8. TTC:  TTC will also be provided and exchanged.

R2.2.4. Define
 the Transmission Owner’s and Transmission Planner’s criteria used in the calculation of ATC for the scheduling, operating and planning horizons .Describe how the assumptions for and the calculations of TTC and ATC values change over different scheduling, operating and planning horizons. including who is responsible for the calculations for the scheduling, operating and planning horizons.
R2.2.5. Entities identified in R2.2.1 responsible for posting ATC shall conform to FERC posting requirements . Require that TTC and ATC values and postings be reviewed and updated if changed. These values will be made available to other calculators and stakeholders at following intervals.  These changes can be incremental.

2.2.5.1. Hourly TTC values will be calculated and posted hourly.

2.2.5.2. Daily TTC for current week at least once per day.

2.2.5.3. Daily TTC for day 8 through the first month at least once per week.

2.2.5.4. Monthly TTC values for months 2 through 13 at least once per month.

R2.2.6. Describe assumptions used for generation dispatch for both external and internal systems for base case dispatch and describe assumptions for transaction modeling, including the basis for the assumptions.
R2.2.7. Describe the general approach to determine the contingencies considered in the TTC calculations.
R2.2.8. Describe how the TTC methodologies are consistent with the Transmission Owner’s/Transmission Planner’s planning criteria and operating criteria for the scheduling, operating and planning calculation horizons.

2.2.8.1. Any variances must be approved by NERC or its designee.

R2.2.9. Describe whether TTC postings are based upon simultaneous or non- simultaneous analysis.

R2.2.10. Account for existing transmission commitments.

R2.2.11. Account for how the reservations and schedules for Firm (non-recallable) and Non- firm (recallable) Transmission Service, both within and outside the Transmission Service Provider’s system, are included. An explanation must be provided on how reservations that exceed the capability of the specified source point are accounted for. (i.e. how does the Transmission Service Provider’s calculation account for multiple concurrent requests for transmission service in excess of  a generator’s capacity or in excess of a Load Serving Entity’s load)

R2.2.12. Describe how incomplete or so-called partial path transmission reservations are addressed. (Incomplete or partial path transmission reservations are those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or that the reservations have not all been made.)

R2.2.13. Account for the ultimate points of power injection (source) and power extraction (sink) in ATC calculations.

R2.2.14. Indicate the treatment and level of customer demands, including interruptible demands.

R2.2.15. Describe assumptions used for impacts and counterflow of transmission reservations, and or schedules, including the basis for the assumptions.

R2.2.16. Describe the formal process for the granting of any variances to the responsible parties identified in requirement R2.2.1. (Any variances must be approved by NERC or its designee).
R2.3. Network Response – AFC Methodology.
R2.3.1. Identification of the parties responsible for performing the calculations and posting the result on OASIS.
R2.3.2. Explanation of how AFC values are determined and used in evaluating transmission service requests.  In addition, an explanation for all items listed here must also include any process that produces values that can override the AFC values.
R2.3.3. Account for existing transmission commitments.
R2.3.4. Account for how the reservations and schedules for Firm (non-recallable) and Non- firm (recallable) Transmission Service, both within and outside the Transmission Service Provider’s system, are included. An explanation must be provided on how reservations that exceed the capability of the specified source point are accounted for. (i.e. how does the Transmission Service Provider’s calculation account for multiple concurrent requests for transmission service in excess of  a generator’s capacity or in excess of a Load Serving Entity’s load)
R2.3.5. Describe how incomplete or so-called partial path transmission reservations are addressed. (Incomplete or partial path transmission reservations are those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or that the reservations have not all been made.)
R2.3.6. Account for the ultimate points of power injection (source) and power extraction (sink) in AFC calculations.
R2.3.7. Entities identified in R2.3.1 responsible for posting AFC shall conform to FERC posting requirements . Require that AFC values and postings be reviewed and updated if changed. These values will be made available to other calculators and stakeholders at following intervals.  These changes can be incremental.
2.3.7.1. Hourly AFC values will be calculated and posted hourly.

2.3.7.2. Daily AFC values for current week at least once per day.

2.3.7.3. Daily AFC values for day 8 through the first month at least once per week.

2.3.7.4. Monthly AFC values for months 2 through 13 at least once per month.

R2.3.8. Indicate the treatment and level of customer demands, including interruptible demands.
R2.3.9. Identification of which entities the data listed in the requirements below is shared with for the calculation of AFC values.  To the extent that the data listed below is not used or shared, provide an explanation. No data, which is subject to a non-disclosure agreement will be posted on the Regional Reliability Organization’s website or the OASIS. The required minimum update periodicity for each item is listed below:
2.3.9.1. Generation Outage Schedules: This information shall be provided daily and when revised. The information exchanged shall differentiate between pending and approved outages.

2.3.9.2. Generation dispatch order: This information shall be provided daily and when revised.
2.3.9.3. Transmission Outage Schedules: This information shall be provided daily and when revised. The information exchanged shall differentiate between pending and approved outages.

2.3.9.4. Interchange Schedules: This information shall be provided daily and when revised.
2.3.9.5. Transmission Service Requests: This information shall be provided daily and when revised.
2.3.9.6. Load Forecast :) This information shall be provided daily and when revised.
2.3.9.7. Powerflow model: Updated models will be made available to neighboring/affected calculators. Changes/upgrades to facilities that would change the rating of the facilities that are limiting facilities shall be included in the models. This information shall be provided daily and when revised.
2.3.9.8. Flowgate AFC data exchange: Firm and non-firm AFC values shall be provided at the minimum update intervals as follows:  Hourly AFC once-per-hour, Daily AFC once-per-day and Monthly AFC once-per-week.
2.3.9.9. Flowgate Rating:  Flowgate Ratings will also be provided and exchanged. Entities identified in requirement R2.3.1 shall have the same Flowgate Rating as provided by the Transmission Owner of the facility.  This information shall be provided when initially established or when revised.
2.3.9.10. Criteria and definitions: Flowgates and Flowgate definitions and criteria shall be exchanged with neighboring and affected calculators on a seasonal basis, or when revised.

R2.3.10. Describe how the assumptions for and the calculations of AFC values change over different scheduling, operating and planning horizons including who is responsible for the calculations for scheduling, operating and planning horizons.
R2.3.11. Describe assumptions used for impacts and counterflow of transmission reservations, and or schedules, including the basis for the assumptions.
R2.3.12. Describe assumptions used for generation dispatch for both external and internal systems for base case dispatch and transaction modeling, including the basis for the assumptions.
R2.3.13. Describe how the AFC methodologies are consistent with the Transmission Owner’s/Transmission Planner’s planning criteria and operating criteria for the appropriate calculation horizons.
R2.3.14. Any variances must be approved by NERC or its designee.
R2.4. Describe the formal process for the granting of any variances to the responsible parties identified in requirement 2.3.1. (Any variances must be approved by NERC or its designee).
C. Measures

C. 
Each Regional Reliability Organizations and Transmission Service Providers shall have a documented TTC/Flowgate Rating and ATC/AFC methodology that includes all of the items identified in MOD-001-1 Requirement 1 through MOD-001-1 Requirement 2.3.14. 
C. The Regional Reliability Organization shall have evidence that its TTC/Flowgate Rating and ATC/AFC methodology is available on a publicly accessible web site in accordance with Reliability Standard MOD-001-1_R1.2.  
C. The
 Transmission Service Provider shall have evidence that the most recent version of its TTC/Flowgate Rating and ATC/AFC methodology is posted on it’s OASIS or a reference to the Regional Reliability Organization methodology is posted on it’s OASIS Each Transmission Service Provider that has a ​​​​​_____methodolgy shall have evidence that its methodology is posted on its OASIS site.
C. 
D. Compliance

1. Compliance Monitoring Process

1.1. Compliance Monitoring Responsibility

Compliance Monitor: NERC.
1.2. Compliance Monitoring Period and Reset Timeframe

Available on a publicly accessible web site.
1.3. Data Retention
None identified.

1.4. Additional Compliance Information
None.

2. Levels of Non-Compliance  
2.1. Level 1:
There shall be a level one non-compliance if either of the following conditions is present:

1.2.1. The Regional Reliability Organization’s documented TTC/Flowgate Rating methodology does not address one or two of the items required for documentation under Reliability Standard MOD-001-0_R1 and R2. 
1.2.2. The Regional Reliability Organization’s documented ATC/AFC methodology does not address one or two of the items required for documentation under Reliability Standard MOD-001-0_R1 and R3.
2.2. Level 2:
Not applicable.
2.3. Level 3:
Not applicable.
2.4. Level 4:
The Regional Reliability Organization’s documented TTC/Flowgate Rating methodology does not address three or more of the items required for documentation under Reliability Standard MOD-001-1_R1 or R2. 
2.5. The Regional Reliability Organization’s documented ATC/AFC methodology does not address three or more of the items required for documentation under Reliability Standard MOD-001-1_R1 or R3.
E. Regional Differences

1. None identified.

Version History

	Version
	Date
	Action
	Change Tracking

	0
	April 1, 2005
	Effective Date
	New

	0
	January 13, 2006
	Fixed numbering from R.5.1.1, R5.1.2., and R5.1.3 to R1.5.1., R1.5.2., and R1.5.3.

Changed “website” and “web site” to “Web site.”
	Errata

	
	
	
	

	
	
	
	


All members – or just a subset of members?





Can you define what you mean by ‘where applicable’?





Are you expecting that any of the methodologies will contain data that is subject to a non-disclosure agreement?   If no, then delete this sentence since it is a distraction.  





R2 needs to be re-phrased so that it identifies what entity is responsible – 


R2.1 is confusing because it is using a new term that doesn’t match the terms  used in R1.  





Don’t think this is a defined term.





Where are the levels of non-compliance for the TSP.








�Reword to include ATC/AFC and change Trans Cap to TTC.


�Need to explain this is for the Rated path method or the Network response method.


�Insert definition from 96 document to the beginning.


�


�Refer to 2.1, 2.2 or 2.4.


�Insert M2 wording with updated link.





Adopted by NERC Board of Trustees:
1 of 13 

Effective Date: 


