Standard MOD-001-1 — Documentation of TTC, ATC and AFC Calculation Methodologies


Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development Jun 20 2005.

2. SAC Authorized for Development Feb 14 2006.

3. SAC appoints Standard Drafting Team Mar 17 2006.

Description of Current Draft:

First draft of standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	August 15 2006

	2. Respond to comments.
	September 29 2006

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Flowgate:  A single transmission element, group of transmission elements and any associated contingency(ies) intended to model MW flow impact relating to transmission limitations and transmission service usage. Within the Interchange Distribution Calculator, Transfer Distribution Factors are calculated to approximate MW flow impact on the flowgate caused by power transfers.
Flowgate Rating:    The amount of electric power that can flow across the Flowgate under specified system conditions without exceeding the physical capability of the facilities.  Typically expressed in the form of thermal capability, however flowgates can be proxies for stability and other limiting criteria. 
Available Flowgate Capability (AFC):  A measure of the flow capability remaining in the Flowgate for further commercial activity over and above already committed uses. It is defined as the Flowgate Rating less the impacts of existing transmission commitments (including retail customer service), less the impacts of Capacity Benefit Margin and less the impacts of Transmission Reliability Margin.  

Network Response: Method of calculating transfer capability for transmission networks where customer demand, generation sources, and the transmission systems are tightly interconnected.

Rated System Path: Method of calculating transfer capability for transmission networks where the critical transmission paths between areas of the network have been identified and rated as to their achievable transfer loading capabilities for a range of system conditions.

Existing Transmission Commitments (ETC): Composed of Native Load uses, prudent reserves, appropriate existing commitments for purchases/exchange/deliveries/sales, existing commitments for transmission service and other pending potential uses of transfer capability. NAESB develop definition for all components within ETC.  NAESB will cross reference with the NERC Glossary.  
Partial Path Transmission Reservations:  Those for which all transmission reservations necessary to complete the transmission path from ultimate source to ultimate sink are not identifiable due to differing reservation priorities, durations, or that the reservations have not all been made.
 Introduction

1. Title:
Documentation of Total Transfer Capability, Available Transfer Capability and Available Flowgate Capability Calculation Methodologies
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and uniform application and documentation of TTC, ATC and AFC calculations for the scheduling, operating and planning horizons. 
4. Applicability:

4.1. Regional Reliability Organization

4.2. Planning  Authority
4.3. Transmission Planner

4.4. Reliability Coordinator
4.5. Transmission Owner

4.6. Transmission Operator

4.7. Transmission Service Provider

5. Effective Date:
TBD
B. Requirements

R1. Each Regional Reliability Organization, in conjunction with its Planning Authority(s), Transmission Planners, Reliability Coordinators, Transmission Operators and Transmission Service Providers (affected calculators), shall jointly develop and document the TTC/ATC and AFC calculation methodologies (Rated System Path methodology –TTC/ATC, Network Response methodology –TTC/ATC and Network Response methodology –AFC) used within the region for the scheduling, operating and planning horizons.  [Risk Factor: High]
R1.1. A Transmission Service Provider or Transmission Operator that operates in more than one region shall have approval of it's methodology by the affected Regional Reliability Organization if the Transmission Service Provider uses a methodology that differs from the Regional Reliability Organization's methodology.[Risk Factor: High]
R2.  The Regional Reliability Organization methodology shall be used by the Planning Authority, Transmission Planner, Reliability Coordinator, Transmission Operator and Transmission Service Provider within the region for coordinating, calculating and posting TTC/ATC and Flowgate Rating/AFC values.[Risk Factor: High] (the system data template that the TP must use to post ATC/TTC does not include data elements for flowgate ratings and AFC values – that would have to be modified – this group should review when to make adjustments and when to post them)
R3. Each Regional Reliability Organization shall post the most recent version of its approved methodology(s) on a publicly accessible web site. [Risk Factor: Low] (auditing and monitoring changes – a method to denote which is the most up to date version of the methodolgy)
R4. Each Transmission Service Provider or Transmission Operator shall reference or post the most recent version of the Regional Reliability Organization methodology it uses on its OASIS with the exception of those Transmission Service Provider or Transmission Operator identified by Requirement 1.1. [Risk Factor: Low] (may only be a link to the RRO’s public website)
R4.1. A Transmission Service Provider or Transmission Operator that operates in more than one region, and uses a methodology that differs from the Regional Reliability Organization methodology of any Region it operates in, shall post its methodology for the scheduling, operating and planning horizons on its OASIS.[Risk Factor: High]
R5. Each Transmission Service Provider or Transmission Operator shall provide the Planning Authority(s), Transmission Planners, Reliability Coordinators, Transmission Operators and Transmission Service Providers, of the regions it is included in, with the information required by the applicable Regional Reliability Organization methodology[Risk Factor: High]
R6. Each Regional Reliability Organization methodology shall identify the parties responsible for performing the ATC/TTC/AFC calculations within the region.[Risk Factor: Medium] (does this need to be part of a minimal posting requirement for methodology) 
R7. Each Regional Reliability Organization methodology shall identify the parties responsible for posting the ATC/TTC/AFC values on OASIS. [Risk Factor: Low]

R8. Each Regional Reliability Organization methodology shall define the calculation horizons (e.g. scheduling horizon (same day and real-time), operating horizon (day ahead and pre-schedule) and planning horizon (month 2 to month 13), etc)[Risk Factor: Medium]
R9. Each Regional Reliability Organization methodology shall define the Transmission Owner’s and Transmission Planner’s criteria used in the calculation of ATC/TTC/AFC for the scheduling, operating and planning horizons.[Risk Factor: Medium]
R10. Each Regional Reliability Organization methodology shall describe how the assumptions for the calculations of ATC/TTC/AFC values change over different scheduling, operating and planning horizons.[Risk Factor: Medium]
R11. Each Regional Reliability Organization methodology shall explain the rational for differences between the criteria used for calculating ATC/TTC/AFC values for the scheduling, operating and planning horizons.[Risk Factor: Medium]
R12. Regional Reliability Organization methodology shall require the Transmission Owner and Transmission Planner use only the criteria identified in requirement R9 above in the calculation of ATC/TTC/AFC for the scheduling, operating and planning horizons. [Risk Factor: High]
R13. Each Regional Reliability Organization methodology shall identify the parties that the data used in the calculation of ATC/TTC/AFC is coordinated with. (No data, which is subject to a non-disclosure agreement will be posted on the Regional Reliability Organization’s website or the OASIS) [Risk Factor: Medium]
R14. Each Regional Reliability Organization methodology shall describe the general approach to determine the contingencies considered in the TTC/AFC calculations.[Risk Factor: Medium]
R15. Each Regional Reliability Organization methodology shall describe assumptions used for counterflow (netting) of transmission reservations, and schedules, including the basis for the assumptions and effect on the ATC/TTC/AFC values.[Risk Factor: Medium]
R16. Each Regional Reliability Organization methodology shall document the approved variances and the formal approval process.[Risk Factor: High]
R17. The Regional Reliability Organization methodology documentation shall include the requirements below for all methodologies being used within the region:

R17.1. Rated System Path Methodology – TTC. The TTC section of the Rated System Path Methodology shall address each of the items listed below: [Risk Factor: Medium]
R17.1.1. Explain how TTC is determined. 
R17.1.2. Specify the periodicity at which TTC values and their corresponding limiting factors will be reviewed and provided to affected calculators.

R17.1.3. Describe whether TTC postings are based upon simultaneous or non-simultaneous analysis.

R17.1.4. Identify all of the data required for the calculation of TTC.  As a minimum, the following data must be identified and coordinated.  To the extent that the data listed below is not used, provide an explanation.: [Risk Factor: High]

17.1.4.1. Transmission Outages: Provide a list of the transmission system elements to be taken out of service. 

17.1.4.2. Powerflow model: The baseline power flow model for calculating TTC will be made available to neighboring and affected calculators. Updates to the power flow model shall be provided to neighboring and affected calculators to reflect facility changes.  
17.1.4.3. Path Definitions and Facility Ratings: Path Definitions and Facility Ratings shall be exchanged with neighboring and affected calculators when revised. 

R17.2. Rated System Path Methodology –ATC. The ATC section of the Rated System Path Methodology shall address each of the items listed below:[Risk Factor: Medium]
R17.2.1. Explain how ATC is determined and its relationship to the TTC calculation. 
R17.2.2. Identify how the reservations and schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system are accounted for in the ATC calculation.
R17.2.3. Identify all of the data required for the calculation of ATC. As a minimum, the following data must be identified and coordinated with the affected calculators.  To the extent that the data listed below is not used or shared, provide an explanation.: [Risk Factor: High]
17.2.3.1. Existing Transmission Commitments:  This information shall be reflected in Power Flow models or otherwise provided and coordinated when revised.

17.2.3.2. Transmission Service Requests: This information shall be provided when revised.

R17.3. Network Response Methodology – TTC. The TTC section of the Network Response Methodology shall address each of the items listed below:[Risk Factor: Medium]
R17.3.1. Explain how TTC is determined.

R17.3.2. Specify the periodicity at which TTC values and their corresponding limiting factors will be reviewed and provided to affected calculators. 
R17.3.3. Describe assumptions used for generation dispatch for both external and internal systems for base case dispatch and describe assumptions for transaction modeling, including the basis for the assumptions.
R17.3.4. Describe whether TTC postings are based upon simultaneous or non-simultaneous analysis.

R17.3.5. Identify all of the data required for the calculation of TTC.  As a minimum, the following data must be identified and coordinated.  To the extent that the data listed below is not used, provide an explanation. [Risk Factor: High]

17.3.5.1. Transmission Outage Schedules: Coordinate transmission system elements scheduled to be taken out of service. 
17.3.5.2. Generation Outage Schedules: Coordinate generation resources scheduled to be taken out of service. 

17.3.5.3. Generation Dispatch Order:  Provide a typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis.  The generation dispatch order will be updated as required by changes in the status of the unit; however, a new generation dispatch order need not be provided more often than prior to each peak load season. 
17.3.5.4. Powerflow model: The baseline power flow model for calculating TTC will be made available to neighboring and affected calculators. Updates to the power flow model shall be provided to neighboring and affected calculators to reflect facility changes.  
17.3.5.5. Facility Ratings: Facility Ratings shall be exchanged with neighboring and affected calculators when revised.  

17.3.5.6. Load Forecast: This information shall be provided daily.

R17.4. Network Response Methodology –ATC. The ATC section of the Network Response Methodology shall address each of the items listed below:[Risk Factor: Medium]
R17.4.1. Explain how ATC is determined and its relationship to the TTC calculation.  
R17.4.2. Identify how the reservations and schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system are accounted for in the ATC calculation.

R17.4.3. Explain how internal reservations that exceed the capability of the specified source/sink point are accounted for. (i.e. how does the Transmission Service Provider’s calculation account for multiple concurrent requests for transmission service in excess of  a generator’s capacity or in excess of a Load Serving Entity’s load)

R17.4.4. Describe how partial path transmission reservations are addressed. 

R17.4.5. Describe how ultimate points of power injection (source) and power extraction (sink) are accounted for in ATC calculations.

R17.4.6. Identify all of the data required for the calculation of ATC. As a minimum, the following data must be identified and coordinated with the affected calculators..  To the extent that the data listed below is not used or shared, provide an explanation.: [Risk Factor: High]
17.4.6.1. Existing Transmission Commitments:  This information shall be reflected in Power Flow models or otherwise provided and coordinated when revised.
17.4.6.2. Transmission Service Requests: This information shall be provided when revised.

R17.5. Network Response Methodology – AFC. The Network Response AFC Methodology section shall address each of the items listed below:[Risk Factor: Medium]
R17.5.1. Explain how AFC values are determined.  In addition, an explanation for all items listed here must also include any process that produces values that can override the AFC values.
R17.5.2. Identify how the reservations and schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system are accounted for in the AFC calculation. 
R17.5.3. Explain how internal reservations that exceed the capability of the specified source/sink point are accounted for. (i.e. how does the Transmission Service Provider’s calculation account for multiple concurrent requests for transmission service in excess of  a generator’s capacity or in excess of a Load Serving Entity’s load) 
R17.5.4. Describe how partial path transmission reservations are addressed.
R17.5.5. Describe how ultimate points of power injection (source) and power extraction (sink) are accounted for in AFC calculations.
R17.5.6. Describe assumptions used for generation dispatch for both external and internal systems for base case dispatch and transaction modeling, including the basis for the assumptions. 
R17.5.7. Identify all of the data required for the calculation of AFC. As a minimum, the following data must be identified and coordinated with the affected calculators..  To the extent that the data listed below is not used or shared, provide an explanation:[Risk Factor: High]
17.5.7.1. Transmission Outage Schedules: Coordinate transmission system elements scheduled to be taken out of service.

17.5.7.2. Generation Outage Schedules: Coordinate generation resources scheduled to be taken out of service..

17.5.7.3. Generation dispatch order: Provide a typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis.  The generation dispatch order will be updated as required by changes in the status of the unit; however, a new generation dispatch order need not be provided more often than prior to each peak load season.
17.5.7.4. Powerflow model: The baseline power flow model for calculating AFC will be made available to neighboring and affected calculators. Updates to the power flow model shall be provided to neighboring and affected calculators to reflect facility changes.
17.5.7.5. Load Forecast: This information shall be provided daily.

17.5.7.6. Criteria and definitions: Flowgates and Flowgate definitions and criteria shall be exchanged with neighboring and affected calculators on a seasonal basis, or when revised.
17.5.7.7. Flowgate Rating:  Flowgate Ratings will also be provided and exchanged. Entities identified in R13 shall have the same Flowgate Rating as provided by the Transmission Owner of the facility.  This information shall be provided when initially established or when revised.

17.5.7.8. Flowgate AFC data exchange: Firm and non-firm AFC values shall be provided at the minimum update intervals as follows:  Hourly AFC once-per-hour, Daily AFC once-per-day and Monthly AFC once-per-week.

17.5.7.9. Existing Transmission Commitments:  This information shall be reflected in Power Flow models or otherwise provided and coordinated when revised.

17.5.7.10. Transmission Service Requests: This information shall be provided when revised.
C. Measures

C. Documentation of the Regional Reliability Organization’s methodology(s) (Rated System Path methodology –TTC/ATC , Network Response methodology –TTC/ATC and Network Response methodology –AFC) for the TTC/ATC and AFC calculation used within the region for the scheduling, operating and planning horizons.

C.  Documentation of the Regional Reliability Organization’s methodology(s) that include all of the items identified in MOD-001-1 Requirement 1 through MOD-001-1 Requirement 17.5.7.10 for the methodologies used within the region. 
C. Documentation of the Transmission Service Provider’s methodology (Rated System Path methodology –TTC/ATC, Network Response methodology –TTC/ATC and Network Response methodology –AFC) for the TTC/ATC and AFC calculation used for the scheduling, operating and planning horizons.

C. Documentation of the Transmission Service Provider’s methodology that includes all of the items identified in MOD-001-1 Requirement 1 through MOD-001-1 Requirement 17.5.7.10 for the methodology being used for the scheduling, operating and planning horizons.

C. Evidence that the Regional Reliability Organization’s TTC/Flowgate Rating and ATC/AFC methodology(s) are available on a publicly accessible web site in accordance with Reliability Standard MOD-001-1_R3.  
C. Evidence that the Transmission Service Provider’s TTC/Flowgate Rating and ATC/AFC methodology(s) is available on its OASIS in accordance with Reliability Standard MOD-001-1_R4 or R4.1.  
C. Evidence that the Regional Reliability Organizations has reviewed and approved the Transmission Service Provider’s TTC/Flowgate Rating and ATC/AFC methodology to ensure it is consistent with planning and operating criteria.
D. Compliance

1. Compliance Monitoring Process

1.1. Compliance Monitoring Responsibility

Compliance Monitor: NERC.
1.2. Compliance Monitoring Period and Reset Timeframe

One Calendar Year
1.3. Data Retention
5 years.

1.4. Additional Compliance Information
None.

2. Levels of Non-Compliance  

2.1. Level 1:
There shall be a level one non-compliance if either of the following conditions is present:

2.1.1 The Regional Reliability Organization’s documented ATC/TTC/AFC methodology does not address one or two of the items required for documentation under Reliability Standard MOD-001-1_R1 and R17.5.7.10 for a method being used within the region to calculate ATC/TTC/AFC values. 
2.1.2 The Transmission Service Provider documented ATC/TTC/AFC methodology does not address one or two of the items required for documentation under Reliability Standard MOD-001-1_R1 and R17.5.7.10 for a method being used to calculate ATC/TTC/AFC values.
2.2. Level 2:
Not applicable.
2.3. Level 3:
Not applicable.
2.4. Level 4:
There shall be a level four non-compliance if either of the following conditions is present: 

2.4.1 The Regional Reliability Organization’s documented ATC/TTC/AFC methodology does not address three or more of the items required for documentation under Reliability Standard MOD-001-1_R1 and R17.5.7.10 for a method being used within the region to calculate ATC/TTC/AFC values. 
2.4.2 The Transmission Service Provider documented ATC/TTC/AFC methodology does not address three or more of the items required for documentation under Reliability Standard MOD-001-1_R1 and R17.5.7.10 for a method being used to calculate ATC/TTC/AFC values.
E. Regional Differences

1. None identified.

Version History

	Version
	Date
	Action
	Change Tracking

	0
	April 1, 2005
	Effective Date
	New

	0
	January 13, 2006
	Fixed numbering from R.5.1.1, R5.1.2., and R5.1.3 to R1.5.1., R1.5.2., and R1.5.3.

Changed “website” and “web site” to “Web site.”
	Errata

	
	
	
	

	
	
	
	


issues

NERC needs to be providing calculation methodologies for all TP Registered Products and or those required to be posted to OASIS.  

NERC needs to make sure methodology addresses both the ATC adjustment upon acceptance and ATC adjustment upon confirmation.  17.4.2 may address this, but perhaps further clarification is needed.  

Reservation as addressed in Order 888 deals with a request where the Customer has made a commitment to purchase (confirmed or pre-confirmed).  A request is not as stringent – need to make sure that NERC is aware of that differentiation and is using the term correctly.
Components in ETC and “prudent reserves” – does this need to be clarified?

There is no reference to TFC.  

17.5.7 – says that some is confidential and some is not – clarify what is posted

Is a methodology needed for the reasoning behind the ATC change?  Should NERC come up with these standard responses (similar to what TPs have for denial of service)?  

Confidentiality: NERC’s agreement with parties on a need to know basis – is it available to parties if they agree to sign the confidential agreement?  

R2 – what is meant by coordinating ATC? 
NERC did not distinguish between Firm and Non-firm (for example in the definition of AFC)

�Inserted Owner because they are mentioned several places





Adopted by NERC Board of Trustees:
1 of 10 

Effective Date: 


