The TP shall offer partial long term Firm service in response to a long term Firm request and shall offer partial short term Firm service in response to a request for short term Firm service.  The TP is not required to offer short term service in response to a long term Firm request.  

To the extent the TP does not contradict section 19.7 of its approved Pro Forma Tariff, CAPACITY_GRANTED shall be at a constant level of capacity within a given SERVICE_INCREMENT, or as defined in the Transmission Provider’s approved Tariff.  For example, partial offers for annual service (FIXED OR SLIDING) may vary in CAPACITY_GRANTED from year to year but not within each year and partial offers for monthly service (FIXED OR SLIDING) may vary in CAPACITY_GRANTED from month to month but not within the month.
Because of issues on extended products raised in informal comments on the original partial service language (Item B of R05004), section 2.1 of WEQ 001 was modified as shown below: 

Section 2.1 Attribute Values Defining the Period of Service

The data templates of the Phase IA Standards & Communication

Protocols (S&CP) Document have been developed with the use of

standard service attributes in mind. What the Phase IA S&CP

Document does not offer are specific definitions for each

attribute value. This section offers standards for these service

attribute definitions to be used in conjunction with the Phase IA

data templates.

Fixed services are associated with transmission services whose

periods align with calendar periods such as a day, week, or

month. Sliding services are fixed in duration, such as a week

or month, but the start and stop time may slide. For example a

sliding week could start on Tuesday and end on the following

Monday. Extended allows for services in which the start time

may slide and also the duration may be longer than a standard

length. For example an extended week of service could be nine

consecutive days. Various transmission service offerings using

these terms are defined in Standards 2.1.1 through 2.1.13 below.

Table 1-1 identifies the definitions that are proposed as

standard terminology in OASIS Phase IA for the attributes

SERVICE_INCREMENT (Hourly, Daily, Weekly, Monthly, and Yearly)

and WINDOW (Fixed, Sliding, and Extended).  Multiples of the same SERVICE_INCREMENT may be reserved on the same request.  A definition is 

required for each combination of SERVICE_INCREMENT and WINDOW,

except Hourly Sliding and Hourly Extended, which, at the present,

are not sufficiently common in the market to require standard

definitions.

