Standard MOD-001-1 — Documentation of ATC and AFC Calculation Methodologies

DRAFT


Standard Development Roadmap
This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

1. SAC Authorized posting TTC/ATC/AFC SAR Development Jun 20 2005.

2. SAC Authorized for Development Feb 14 2006.

3. SAC appoints Standard Drafting Team Mar 17 2006.

Description of Current Draft:

First draft of standard posted for stakeholders comment.  

Future Development Plan:

	1. Post revised standard for stakeholder comments.
	

	2. Respond to comments.
	

	3. Post revised standard for stakeholder comment.
	TBD

	4. Respond to comments.
	TBD

	5. First ballot of standard.
	TBD

	6. Respond to comments.
	TBD

	7. Post for recirculation.
	TBD

	8. 30 Day posting before board adoption.
	TBD

	9. Board adopts MOD-001-1.
	TBD

	10. Effective date.
	TBD


Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Glossary of Terms Used in Reliability Standards are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Flowgate:   
[Current definition in the Glossary of Terms Used in Reliability Standards] A designated point on the transmission system through which the Interchange Distribution Calculator calculates the power flow from Interchange Transactions.
[Working definition from drafting team] A single transmission element, group of transmission elements and any associated contingency (ies) intended to model MW flow impact relating to transmission limitations and transmission service usage. Transfer Distribution Factors are calculated to approximate MW flow impact on the flowgate caused by power transfers.
Total Flowgate Capability (TFC)
:    The amount of electric power that can flow across the Flowgate under specified system conditions without exceeding the physical capability of the facilities.  Typically expressed in the form of thermal capability, however flowgates can be proxies for stability and other limiting criteria. 
Available Flowgate Capability (AFC):  A measure of the flow capability remaining in the Flowgate for further commercial activity over and above already committed uses. It is defined as the Total Flowgate Capability less the impacts of existing transmission commitments (including retail customer service), less the impacts of Capacity Benefit Margin and less the impacts of Transmission Reliability Margin.  

Network Response: Method of calculating transfer capability for transmission networks where customer demand, generation sources, and the transmission systems are closely interconnected.

Rated System Path: Method of calculating transfer capability for transmission networks where the critical transmission paths between areas of the network have been identified and rated as to their achievable transfer loading capabilities for a range of system conditions.

Existing Transmission Commitments (ETC)
: ETCs are composed of Native Load uses, Contingency Reserves not included in TRM or CBM, existing commitments for purchases/exchange/deliveries/sales, existing commitments for transmission service and other pending potential uses of transfer capability.

Transmission Reservation – A reservation is a confirmed Transmission Service Request
Transmission Service Request – Services provided to [requested by]
 the Transmission Customer by [to] the Transmission Service Provider to move energy from a Point of Receipt to a Point of Delivery. 
Introduction

1. Title:
Documentation of Total Transfer Capability, Available Transfer Capability, Total Flowgate Capability, and Available Flowgate Capability Calculation Methodologies
2. Number:
MOD-001-1 
3. Purpose:
To promote the consistent and uniform application and documentation of TTC/ATC and TFC/AFC calculations for the scheduling, operating and planning horizons. 
Three distinct methodologies exist for determining TTC, ATC, TFC or AFC:

1. Rated System Path Methodology ( TTC and ATC components)

2. Network Response Methodology (TTC and ATC components)

3. Network Response Methodology (TFC and AFC components)

The Transmission Service Provider must determine with either the Planning Coordinator
 or Reliability Coordinator whether to use one of the three methodologies to use and follow the methodologies as laid out in the following requirements.

4. Applicability:

4.1. Planning Coordinator4
4.2. Reliability Coordinator
4.3. Transmission Service Provider

5. Effective Date:
TBD
B. Requirements
R1. Three distinct methodologies exist for determining TTC, ATC, TFC, and AFC.  The Transmission Service Provider must determine with the Planning Coordinator and/or Reliability Coordinator which one of the three methodologies to use and follow that methodology as laid out in the following requirements. [Risk Factor – Medium]
R1.1. Rated System Path Methodology – TTC  
R1.1.1. The Planning Coordinator or the Reliability Coordinator, as applicable, shall provide TTC values (as determined in FAC- 012/013) to the Transmission Service Provider, at least semi-annually for summer and winter, or whenever the Transmission Owner or Transmission Operator indicates that operating or system contingencies or changes in system topology have changed the TTC. [Risk Factor: Medium]
R1.2. Rated System Path Methodology –ATC [Risk Factor: Medium]
R1.2.1. The Transmission Service Provider shall determine ATC and its relationship to the TTC calculation in accordance with the following equation: 
ATC = TTC – TRM – CBM – ETC

R1.2.2. 
 [NAESB item]
      
R1.2.3. As a minimum, the Transmission Service Provider, shall exchange the following with adjacent Transmission Service Providers
:
1.2.3.1. ATC calculation frequency
1.2.3.2. TRM when revised.
1.2.3.3. CBM when revised.
1.2.3.4. TTC
1.2.3.5. ETC

R1.3. Network Response Methodology – TTC [Risk Factor: Medium]
R1.3.1. The Planning Coordinator or the Reliability Coordinator, as applicable, shall provide TTC values (as determined in FAC- 012/013) to the Transmission Service Provider, at least semi-annually for summer and winter, or whenever the Transmission Owner or Transmission Operator indicates that operating or system contingencies or changes in system topology have changed the TTC. [Risk factor: Medium]
R1.4. Network Response Methodology –ATC [Risk Factor: Medium]
R1.4.1. The Transmission Service Provider shall determine ATC in accordance with the following equation:
ATC = TTC – TRM – CBM – ETC
R1.4.2.   [NAESB item]
 

1.4.2.1. 
R1.4.3. As a minimum, the Transmission Service Provider, shall exchange the following with adjacent Transmission Service Providers
.
1.4.3.1. ATC calculation frequency

1.4.3.2. TRM when revised

1.4.3.3. CBM when revised.
1.4.3.4. TTC

1.4.3.5. ETC
R1.5. Network Response Methodology – AFC {Risk Factor Medium]
R1.5.1. The Transmission Service Provider shall determine the AFC value by its relationship to Total Flowgate Capability (TFC) and the impact of CBM and TRM by subtracting from the TFC the impacts of existing transmission commitments (including retail customer service), subtracting the impacts of CBM and subtracting the impacts of TRM
. 

AFC = TFC – (TRM * distribution factor) – (CBM * distribution factor) – the sum of ETC impacts (ETCs * respective distribution factors)
R1.5.2. The Transmission Service Provider shall account for the Transmission Reservations for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system in the AFC calculation separately with respect to how each is considered in the TSP's counter flow rules. For Firm AFC, ETC shall not be decremented for non-firm transmission service.  

R1.5.3. The Transmission Service Provider shall account for the schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system in the AFC calculation separately with respect to how each is considered in the TSP's counter flow rules. For Firm AFC, ETC shall not be decremented for non-firm transmission service.

R1.5.4. The Transmission Service Provider using this methodology shall require that both ultimate source and ultimate sink be identified on the transmission service request and shall require the same source and sink on E-tags. 
 .
R1.5.5. The Transmission Service Provider shall include assumptions used for base case and transfer generation dispatch for both external and internal systems in the AFC document available on OASIS (or its successor).
R1.5.6. As a minimum, the Transmission Service Provider shall exchange the following data with [those] [adjacent]
Transmission Service Providers
 [that AFC is coordinated with].
1.5.6.1. Transmission Outage Schedules: Coordinate transmission system elements scheduled to be taken out of or returned to service. 
1.5.6.2. Generation Outage Schedules: Coordinate generation resources scheduled to be taken out of or returned to service.

1.5.6.3. Generation dispatch order: Provide a typical generation dispatch order or the generation participation factors of all units on an affected Balancing Authority basis.  The generation dispatch order will be updated as required by changes in the status of the unit; however, a new generation dispatch order need not be provided more often than prior to each peak load season. 
1.5.6.4. Powerflow model: The baseline power flow model for calculating AFC will be made available to neighboring TSPs. Updates to the power flow model shall be provided to neighboring TSPs to reflect facility changes.
1.5.6.5. Load Forecast: This information shall be provided daily.
1.5.6.6. Criteria and definitions: Flowgates and Flowgate definitions and criteria shall be exchanged with neighboring TSPs on a seasonal basis, or when revised.
1.5.6.7. Total Flowgate Capability:  Total Flowgate Capability (TFC) will be provided and exchanged.  This information shall be provided when initially established or when revised.
1.5.6.8. Total Flowgate Capability Used: Entities identified in R13 shall have the same TFC as provided by the Transmission Owner of the facility.
1.5.6.9. Flowgate AFC data exchange: Firm and non-firm AFC values shall be provided at the minimum update intervals as follows:  Hourly AFC once-per-hour, Daily AFC once-per-day and Monthly AFC once per month. (Weekly component???)
1.5.6.10. Existing Transmission Commitments:  This information shall be reflected in Power Flow models or otherwise provided and coordinated when revised.
1.5.6.11. Transmission Service Reservation: This information shall be provided when revised.
1.5.6.12. Frequency of Data Posting:
1.5.6.12.1 
· 
· 
· 
· 


1.5.6.13. Frequency of Data Exchange: 
1.5.6.13.1 For the evaluation of transmission service requests, transmission providers should utilize the updated AFC values at the frequency noted below: 

· For hourly, once per hour. 

· For daily, once per day 

· Monthly, once a week
· Weekly component??????
R2. Each Transmission Service Provider shall document which of the ATC and AFC calculation methodologies are chosen to be used for the scheduling, operating and planning horizons.  [Risk Factor: Low]:
Rated System Path methodology – TTC and ATC components, 
Network Response methodology – TTC and ATC components, or 
Network Response methodology – TFC and AFC components.
The documentation must address each of the requirements in R1 for the methodology selected by the TSP.
R3. The Transmission Service Provider’s documentation shall identify how the reservations and schedules for Firm (non-recallable) and Non-firm (recallable) Transmission Service inside the Transmission Service Provider’s system are accounted for in the TTC/ATC and TFC/AFC calculation methodology. [Risk Factor: Low]
R4. Each the Transmission Service Provider shall use the TTC/ATC and TFC/AFC calculation methodology chosen by the TSP for coordinating, calculating and posting TTC/ATC and TFC/AFC values.[Risk Factor: Medium]
R5. Each Transmission Service Provider shall post the most recent version of its TTC/ATC and TFC/AFC calculation methodology documentation on an OASIS (or its successor). [Risk Factor: Low] ( Posting is NAESB Issue)
R6. Each Transmission Service Provider shall provide the Planning Coordinator(s), Transmission Planners, Reliability Coordinators, Transmission Operators and other Transmission Service Providers, of the regions it is included in, with the information required by the applicable  methodology[Risk Factor: Medium]
R7. Each Transmission Service Provider’s documentation shall identify the parties responsible for performing the TTC/ATC and TFC/AFC calculations within the area.[Risk Factor: Low]
R8. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall identify the parties responsible for posting the TTC/ATC and TFC/AFC values on OASIS. [Risk Factor: Low]

R9. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall define the calculation horizons (e.g. scheduling horizon (same day and real-time), operating horizon (day ahead and pre-schedule what does pre-schedule mean?) and planning horizon (month 2 to month 13), and any other horizons used in the methodology)[Risk Factor: Medium or Low
]
R10. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall define the Transmission Operator’s operating and Transmission Planner’s planning criteria used in the calculation of TTC/ATC and TFC/AFC for the scheduling, operating and planning horizons.[Risk Factor: Medium or Low
]
R11. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall describe how the assumptions for the calculations of TTC/ATC and TFC/AFC values change over different scheduling, operating and planning horizons.[Risk Factor: Low] 
R11.1. Long-term TTC/ATC (one year and longer is this another horizon with reference to R9?) shall be based on the same power flow models, assumptions regarding load, generation dispatch, special protection systems, post contingency switching, and transmission and generation facility additions and retirements as those used in the expansion planning for the same time frame. 
R12. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall explain the rational for differences between the criteria used for calculating TTC/ATC and TFC/AFC values for the scheduling, operating and planning horizons.[Risk Factor: Low] 
R13. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall identify with which TSPs the data used in the calculation of TTC/ATC and TFC/AFC is coordinated. [Risk Factor: Low]
R14. Each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall identify the contingencies considered in the TTC/ATC and TFC/AFC calculations methodology.[Risk Factor: Low]
R15. If counter flows are used, each Transmission Service Provider’s TTC/ATC and TFC/AFC calculation methodology documentation shall describe assumptions used for counter flow (netting) of transmission reservations, and schedules, including the basis for the assumptions and effect on the ATC/TTC/AFC/TFC values.[Risk Factor: Low] 
R16. In addition, an explanation for all items listed here must also include any process that produces values that can override the AFC or ATC values. [Risk Factor: Medium]
C. Measures 
C. Documentation of the TSP’s chosen methodology(s) (Rated System Path methodology – (TTC and ATC components), Network Response methodology – (TTC and ATC components) or  Network Response methodology – (TFC and AFC components) for the ATC and AFC calculation used for the scheduling, operating and planning horizons for R1 is available on the TSP’s OASIS (or its successor)
C. Documentation of the TSP’s chosen calculation methodology (available on the TSP’s OASIS or its successor) includes all of the items identified in MOD-001-1 Requirement 2 through MOD-001-1 Requirement 16 for the methodology being used for the scheduling, operating and planning horizons.

C. Documentation that the Transmission Service Provider’s Total Flowgate Capability and ATC/AFC methodology(s) is available on its OASIS (or its successor) in accordance with Requirement 2 through Requirement 16.  
C. Evidence that each Transmission Service Provider uses the chosen TTC/ATC and TFC/AFC calculation methodology in accordance with Requirement 1.

C. Evidence that the Planning Coordinator provides the TSP with the TTC values required in accordance with Requirements 1.1.1 and 1.3.1

C. Evidence that the Transmission Service Provider has exchanged data with [those][adjacent] Transmission Service Provider(s) required in accordance with Requirement 1.5.6
D. Compliance

1. Compliance Monitoring Process

1.1. Compliance Monitoring Responsibility

Compliance Monitor: Regional Entity.
1.2. Compliance Monitoring Period and Reset Timeframe

One Calendar Year
1.3. Data Retention
3 years
1.4. Additional Compliance Information
None.

2. Violation Severity Levels  

2.1. Level 1:
There shall be a level one non-compliance if either of the following conditions is present:

2.1.1 The Transmission Service Provider’s documented TTC/ATC or TFC/AFC methodology does not address one or two of the items required under Reliability Standard MOD-001-1 R1 through 16 for a method being used to calculate ATC/AFC values.
2.2. Level 2: There shall be a level two non-compliance if either of the following conditions is present: 

2.2.1 The TSP’s documented TTC/ATC or TFC/AFC methodology does not address three of the items required for documentation under Reliability Standard MOD-001-1 through 16 for a method being used to calculate ATC/AFC values. 
2.2.2 The Planning Coordinator does not provide the TTC values specified in the chosen methodology in accordance with MOD-001-1 R1.1.1 and R1.3.1.
2.2.3 The TSP does not exchange data specified in the chosen methodology in accordance with MOD-001-1 R1.5.6.
2.3. Level 3: There shall be a level three non-compliance if the following conditions is present: 

2.3.1 The TSP’s documented TTC/ATC or TFC/AFC methodology does not address four of the items required for documentation under Reliability Standard MOD-001-1 through 16 for a method being used to calculate ATC/AFC values. 
2.4. Level 4:
There shall be a level four non-compliance if either of the following conditions is present: 

2.4.1 The TSP’s documented TTC/ATC or TFC/AFC methodology does not address five or more of the items required for documentation under Reliability Standard MOD-001-1 through 16 for a method being used to calculate ATC/AFC values. 
2.4.2 The Transmission Service Provider does not use the chosen methodology it develops in accordance with MOD-001-1.
E. Regional Differences

1. None identified.

Version History

	Version
	Date
	Action
	Change Tracking

	0
	April 1, 2005
	Effective Date
	New

	0
	January 13, 2006
	Fixed numbering from R.5.1.1, R5.1.2., and R5.1.3 to R1.5.1., R1.5.2., and R1.5.3.

Changed “website” and “web site” to “Web site.”
	Errata

	1
	November 3, 2006
	Revised Applicability and risk factors
	New 

	
	
	
	


� Has been known as Flowgate Rating by some – the term is being standardized for sake of consistency.  It has been suggested that the term Flowgate Rating be added as a footnote to the standardized term.


� The drafting team determined that merely using a definition would likely not satisfy the need to establish consistency in the standard, and that the drafting will propose that it work on an additional ETC requirements section for this standard.


� Clarification needed


� Currently referred to as Planning Authority, but anticipated changes to the NERC Functional Model may change the name to Planning Coordinator.


� Clarification needed 


� Clarification needed


� Clarification needed





�OASIS posting is informational and business related and it should be dealt with in NAESB Business Practice Standards and need not be referenced in this Standard.


�Need to coordinate the requirement to share information with customers with the NAESB business practice development NEED CLARIFICATION FOR THIS - NAESB


�OASIS posting is informational and business related and it should be dealt with in NAESB Business Practice Standards and need not be referenced in this Standard.


�Need to coordinate the requirement to share information with customers with the NAESB business practice development.


Ok to post ETC except for native load service





�The determination of flowgate TRM will be described in the TRM MOD-004-1 CBM will be described in MOD-008 NEED CLARIFICATION - NAESB


�Does this requirement mean you must redirect every time a source and/or sink changes?


�Need to coordinate the requirement to share information with customers with the NAESB business practice development.


Ok to post:


Transmission Outages


 Flowgate definitions and criteria


 Flowgate ratings


 ETC except for native load service


NAESB WILL LOOK INTO THIS 





�OASIS posting is informational and business related and it should be dealt with in NAESB Business Practice Standards and need not be referenced in this Standard.





Adopted by NERC Board of Trustees:
6 of 10 

Effective Date: 


