	FERC and NERC Minimum Current Requirements Chart for Calculations and Frequency of Posting ATC/TTC 
	
	
	

	1. 
	FERC Order 889, section 37.6, (3) (i) (A) (1)
	The posting shall show ATC and TTC for a 30-day period.  For this period postings shall be: by the hour, for the current hour and the 168 hours next following; and thereafter, by the day.  If the Transmission Provider charges separately for on-peak and off-peak periods in its tariff, ATC and TTC will be posted daily for each period.
	Notes: you need 169 hours (for the first week) of hourly and thereafter by the day for 30 days of daily

You have to have hourlies for the first week

Daily for the next 30 days

After the first month you go to monthly postings (see below)

	2.
	FERC Order 889, section 37.6, (3) (i) (A) (2)
	Postings shall also be made by the month, showing for the current month and the 12 months next following.
	You are now posting monthly for the next 12 months – hence you have now posted for 13 months

	3.
	FERC Order 889, section 37.6, (3) (i) (A) (3)
	If planning and specific requested transmission studies have been done, seasonal capability shall be posted for the year following the current year and for each year following to the end of the planning horizon but not to exceed 10 years.
	Expectation is for a planning horizon of 10 years.  

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


