S&CP Changes for R04006D - RESALES & TRANSFERS

RESALES & TRANSFERS

Issues that may need to be addressed in current approved standard:

1. Standard Y.1 says that a Resale coveys outstanding conditions such as conditional approval.  This raises a question about how to recall a portion of a reservation which has been partially resold.  For example, if the TP must recall 60 MW from a 100 MW reservation that has two confirmed resales of 25 NW each, which reservations are recalled?

2. Standard Y.3.2 says that Reseller may aggregate reservations.  Do we have a mechanism for recalling capacity from an aggregated reservation?

3. Standard Y.7 addresses displacement of a Firm resale when its parent is displaced.  If a Firm customer opts to MATCH a longer term reservation, the original request is also displaced.  This standard does not address what to do in that situation.

4. Standard Z’s last sentence says that Resales may not be Transferred.  However in Standard Z.4.2 says that all encumbrances are Transferred for a Full Transfer.

S&CP changes 

1. We may need to add a field to track Primary Provider response to TSRs and designate the STATUS field as the field that is used by the Seller.  This is needed because TRANSFERS must be approved by three parties; the Seller, the Assignee and the Primary Provider.

2. The business practice gives the Primary Provider the right to nullify RESALES under certain conditions (explicitly in Y.1.2 & Y.2.2; implied in Y.3.1 & Y.4).  If nullification takes place after confirmation, we need to establish a new state or indicate that the PP may mark a CONFIRMED request as INVALID.  ANNULLED doesn’t work because the definition says that it is done by mutual agreement with the Customer.  This draft has an added  state called NULLIFIED.
3. We may need to differentiate between Seller and Primary Provider actions for all TSRs and need to update the State Diagram of Purchase Transactions to show NULLIFIED.

4. We need to devise a mechanism for correcting the parent/child relationship for all encumbrances impacted by a TRANSFER.

5.  We may need to be able to track Rollover rights for Transfers.  If the Seller has already exercised Rollover Rights then no Rollover Rights are transferred to the Assignee.  Alternately, the Renewal is also transferred to the Assignee.

	Comment
	Section

	First paragraph needs to be expanded to discuss what happens when there is a request for TRANFSER.

Add additional status field for approval of TRANSFER by the TP in addition to the Secondary Seller.
	 002-4.2.10.1
Purchase Transactions
Customers shall purchase services from the Seller using the following basic steps (see Exhibit 4-1):
a. The Templates (transrequest and ancrequest) shall be used by a Customer to enter a request for specific transmission or ancillary services from a specific Seller. Basic requests for transmission services from the Primary Transmission Provider shall be assigned a REQUEST_TYPE of "ORIGINAL"; requests for transmission services on the secondary market (where SELLER is not the Primary Transmission Provider) shall be assigned a REQUEST_TYPE of "RESALE" or “TRANSFER” (Section 4.2.13 documents other values that may be assigned to REQUEST_TYPE). The Customer may enter a BID_PRICE which is different from the OFFER_PRICE in order to try to negotiate a lower price. The OASIS Node sets the initial STATUS of the request to QUEUED. The Customer may set the STATUS_NOTIFICATION to indicate that the OASIS Node must notify the Customer on any change in the request's STATUS or related Data Elements (see Dynamic Notification). The Customer may designate the request as PRECONFIRMED. Preconfirmed requests will be automatically set to the STATUS of CONFIRMED when ACCEPTED by the Seller and, for TRANSFERS, when also ACCEPTED by the Transmission Provider without requiring an explicit confirmation from the Customer. Prior to or commensurate with a Seller's setting of a preconfirmed reservation request's STATUS to ACCEPTED (and by implication CONFIRMED), the Seller must set OFFER_PRICE equal to the value of BID_PRICE as established by the Customer on submission of the request.

	Does this need to be expanded to include separate STATUS fields for the Seller and the Primary Provider when both must provide acceptance of a request (TRANSFER)?

May need to define the valid STATUS values for a Primary Provider.
	002-4.2.10.1
Purchase Transactions
c. The Templates (transsell and ancsell) shall be used by a Seller to set a new value into STATUS, to enter a MW value in CAPACITY_GRANTED, if offering partial service, and to negotiate a price by entering a new OFFER_PRICE which is different from the BID_PRICE entered by the Customer in the transrequest Template. During these negotiations, a Reseller shall formally indicate the approval or disapproval of a transaction and indicate which rights from prior confirmed reservations are to be reassigned. A Primary Provider may, but is not required, to enter transaction approval or disapproval using this Template. During these negotiations, a Reseller shall formally indicate the approval or disapproval of a transaction and indicate which rights from prior confirmed reservations are to be reassigned. A Primary Provider may, but is not required, to enter transaction approval or disapproval using this Template. In the event the Seller is only able to grant a portion of the transmission capacity requested by the Customer and the Seller is obligated or elects to extend an offer for partial service, the Seller shall indicate to the Customer the amount of capacity available using CAPACITY_GRANTED and set the reservation request's status to COUNTEROFFER. Preconfirmed requests that are set to COUNTEROFFER due to an offer of service at a level lower than requested by the Customer shall require explicit confirmation by the Customer. The valid STATUS values which may be set by a Seller are: RECEIVED, INVALID, STUDY, COUNTEROFFER, ACCEPTED, REFUSED, SUPERSEDED, DECLINED, DISPLACED, ANNULLED, or RETRACTED.


	TRANSFER, the Primary Provider must also ACCEPT the request.
	002-4.2.10.1
Purchase Transactions
e. After receiving notification of the transaction's STATUS being set to COUNTEROFFER by the Seller, the Templates (transcust and anccust) shall be used by the Customer to modify the BID_PRICE and set the STATUS to REBID or CONFIRMED. Transcust shall also be used to confirm an offer for partial service (where CAPACITY_GRANTED is less than CAPACITY_REQUESTED) by setting the STATUS to CONFIRMED. After negotiations are complete (STATUS set to ACCEPTED by the Seller), the Customer shall formally enter the confirmation or withdrawal of the offer to purchase services for the OFFER_PRICE shown in the transstatus Template. The valid STATUS values which a Customer may set are: REBID, CONFIRMED, or WITHDRAWN.


	Should this be changed to something like “to seek approval from the Primary Provider”?
	002-4.2.10.1
Purchase Transactions
g. For deals consummated off the OASIS Nodes by a Seller, after the Customer has accepted the offering, the Templates (transassign and ancassign) may be used by the Seller to notify the Primary Provider of the transfer of rights to the Customer. Continuation records may be used to indicate the reassigning of rights for a "profile" of different assignments and different capacities over different time periods. 


	Need to expand this definition for RESALE and TRANSFER.

1. If CONFIRMED based on acceptance by the Seller, then it may be overridden by the PP and that would be some state other than DISPLACED or ANNULLED (perhaps NULLIFIED).

2. If both the Seller and the PP must ACCEPT the transaction, then this definition should be expanded.
	002-4.2.10.2
Status Values

CONFIRMED = assigned by Customer in response to Provider or Seller posting "ACCEPTED" status, to confirm service. For TRANSFERS both the Provider and the Seller must post “ACCEPTED” status before Customer may confirm service. Once a request has been "CONFIRMED," a transmission service reservation exists. (Final state, unless overridden by NULLIFIED, DISPLACED or ANNULLED state).
NULLIFIED = assigned by Provider when a confirmed RESALE reservation is to be voided. (Final state) 


	With two status fields (Seller and Primary Provider), then this may be expanded to show that notification is sent whenever either of the status fields are changed.  However, since it also addresses changes in any other Data Element(s), no change is probably needed.
	002-4.2.10.3
Dynamic Notification

Customers may specify the delivery of dynamic notification messages on each change in STATUS or any other Data Element(s) associated with an ancillary or transmission service reservation.

	Clarify RESALE and add TRANSFER 
	002-4.2.13
Modifications to Transactions

Transactions processed by OASIS as outlined in Section 4.2.10 may be subject to modification by subsequent transactions or events as permitted under the Transmission Provider's Tariff. The following subsections describe the actions to be taken on OASIS to implement specific provisions of the Open Access Pro Forma Tariff related to transmission service. Depending on the exact form of the Provider's Tariff, some of these provisions may not be applicable, and implementation of other provisions may be Provider specific. In general, modification to any OASIS transaction initiated by the Customer shall involve the submission of a new transaction. The new transaction shall identify the specific type of modification being requested using the REQUEST_TYPE Data Element, and reference the transaction to be modified using the RELATED_REF Data Element. In the specific case of secondary market transactions, related transactions are identified with the use of the REASSIGNED_REF Data Element. The following are the specific restricted values for the REQUEST_TYPE Data Element and a brief description of their use:
· ORIGINAL – typical reservation requests submitted to the Primary Provider

· RESALE – secondary market requests submitted for assignment of scheduling rights to a Transmission Customer as Secondary Transmission Provider

· RENEWAL – request to renew an expiring transmission reservation 

· MATCHING – request to meet or exceed a competing request to retain transmission service (right of first refusal)

· DEFERRAL – request to defer or apply for extension on start of transmission service

· REDIRECT – request to redirect all or portion of a transmission reservation to an alternate POR/POD and/or make other changes to the terms of service as permitted
· TRANSFER – request to transfer all rights and obligations, including financial liability to the TP, from one Trasmission Customer to another
· {registered} – Primary Transmission Provider's may register values for REQUEST_TYPE to implement specific provisions of their Tariffs.



	This probably needs to be modified to permit the Seller to counteroffer capacity (for RESALES & TRANSFERS)
	002-4.2.13.2
Partial Service

If in the evaluation of a transmission request, the Primary Provider or the Reseller determines that only a portion of the  Customer's requested capacity reservation (CAPACITY_REQUESTED Data Element) can be  accommodated and that the Provider or the Reseller is obligated or elects to offer the Customer only a portion of the  requested capacity, the Primary Provider shall set the CAPACITY_GRANTED Data Element(s)  associated with that transmission reservation to the amount available, and set the STATUS to  COUNTEROFFER.

	Check this add TRANSFERS
	002-4.2.13.3
Secondary Sales – On OASIS

The sale or assignment of rights from one Transmission Customer to another may be conducted on OASIS using the same transaction process as described for purchases made from the Primary Transmission Provider. The request for purchase of transmission service from another Transmission Customer (Secondary Transmission Provider) is submitted by the Customer purchasing the capacity using the transrequest Template. Secondary transmission sales shall be identified by the REQUEST_TYPE of "RESALE", and be processed as described in Section 4.2.10. The  RELATED_REF Data Element must be null, the Transmission Customer owning capacity offered for resale (the Secondary Transmission Provider) specified as SELLER, and, if the REQUEST_TYPE is  null, the OASIS node shall default its value to "RESALE".  The Secondary Transmission Provider (original Customer) selling their transmission rights over OASIS shall use the transsell Template to approve/deny the request. If the request is to be approved  (STATUS=ACCEPTED), the transmission reservation(s) currently held by the Customer selling their  capacity and the amount of capacity over time from each such reservation to be transferred to the  secondary market Customer must be identified. This information is supplied via the  REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME and  REASSIGNED_STOP_TIME Data Elements. The aggregation of all REASSIGNED_xxx Data  Elements must match the capacity and time frame of the secondary transmission request as specified in  the CAPACITY_GRANTED (and/or CAPACITY_REQUESTED), START_TIME and STOP_TIME  Data Elements of the "RESALE" transaction.  The Customer purchasing transmission service on the secondary market over OASIS shall use the  transcust to monitor the transaction and CONFIRM the sale if necessary. Upon confirmation of the secondary sale the IMPACTED attribute will be incremented for each reservations referenced by the  REASSIGNED_REF Data Elements.



	Check this…add TRANSFERS
	002-4.2.13.4
Secondary Sales – Off OASIS

The sale or assignment of rights from one Transmission Customer to another does not have to be conducted on OASIS. However, the Transmission Customer acting as a Secondary Transmission Provider is obligated to notify the Primary Transmission Provider of all sales or assignments of transmission rights to a third party. The transassign Template shall be used by the Secondary Transmission Provider to convey this sale/assignment information to the Primary Provider.  The transassign Template allows the Secondary Transmission Provider to submit all information related to the secondary market sale. The REQUEST_TYPE of "RESALE" is directly implied by use of the transassign Template. The REASSIGNED_REF, REASSIGNED_CAPACITY,  REASSIGNED_START_TIME and REASSIGNED_STOP_TIME Data Elements identify the  transmission reservation(s) currently held by the Secondary Transmission Provider, and the amount of  capacity over time from each such reservation to be transferred to the secondary market Customer. The  aggregation of all REASSIGNED_xxx Data Elements must match the capacity and time frame of the  secondary transmission request as specified in the CAPACITY_GRANTED, START_TIME and  STOP_TIME Data Elements of the "RESALE" transaction.  The IMPACTED attributed will be incremented for each reservations referenced by the  REASSIGNED_REF Data Elements.



	Do we need to have a RENEWAL flag that may be set on reservations that have rollover rights?  This may be necessary if TRANSFERS may be executed without granting rollover rights.
	002-4.2.13.5
Renewal

Requests by the Transmission Customer to renew their transmission reservation, subject to the terms of the Provider's Tariff, should be submitted using the REQUEST_TYPE of  "RENEWAL" and specify the ASSIGNMENT_REF of the request to be renewed in the new  request's RELATED_REF Data Element. This unique REQUEST_TYPE and association  with the original request more clearly communicates, over OASIS, the intent of the  Transmission Customer, and distinguishes requests for renewal of service from new requests  by the same TC for additional service.



	Do we need to add something here to say how RESALES are impacted by DISPLACEMENTS?
	002-4.2.13.6
Displacement – No Right of First Refusal

Confirmed transmission reservations may be subject to displacement in the event competing, higher  priority requests are received by the Primary Transmission Provider. If the original Customer does not  have the right of first refusal and all capacity from the original, confirmed reservation is required to  accommodate the higher priority request, the Primary Transmission Provider shall set the original  reservation's STATUS to DISPLACED. The STATUS of DISPLACED indicates that the original reservation has been displaced in its entirety. A reference to the competing request that forced the displacement should be entered in the SELLER_COMMENTS field of the original reservation.  If only a portion of the original, confirmed reservation's capacity is required to accommodate the higher  priority request, the Primary Transmission Provider shall document the "recall" of reserved capacity  from the lower priority, confirmed reservation by incrementing the IMPACTED counter on that  reservation and posting on OASIS the amount and time frames over which the original reservation's  capacity was reduced. The Transmission Customer may view all impacts to existing transmission  reservations (e.g., partial displacements, secondary sales, etc.) using the reduction Template. A  reference to the competing request that forced the displacement should be entered in the  SELLER_COMMENTS field of the original reservation.



	How are RESALES kept in alignment with the new parent reservation when ROFR is exercised?
	002-4.2.13.7
Displacement – With Right of First Refusal

Confirmed transmission reservations may be subject to displacement in the event competing, higher  priority requests are received by the Primary Transmission Provider. If the Primary Provider's Tariff  obligates, or the Primary Provider elects to grant the original Customer the right of first refusal, the  original Customer shall be notified of the competing request. The Primary Provider shall set the original request's COMPETING_REQUEST_FLAG to Y and update the SELLER_COMMENTS with a reference to the competing requests ASSIGNMENT_REF. These changes will initiate electronic notification, provided the Customer has elected to receive such notification.  If the original Customer elects to meet or exceed the terms and conditions of the competing request,  that Customer shall submit a new reservation request using the transrequest Template specifying 1) the  terms of the new request, 2) "MATCHING" for REQUEST_TYPE, and 3) the ASSIGNMENT_REF of  their original reservation in RELATED_REF. If the Primary Provider accepts the MATCHING request, the Primary Provider shall set the STATUS of the competing request to "REFUSED" and set the STATUS of the original, confirmed reservation to "DISPLACED". The STATUS of DISPLACED indicates that the original reservation has been displaced in its entirety.  If the original Customer does not elect to meet the terms of the competing request, the Primary  Transmission Provider shall displace the original reservation, in whole or in part, in the same manner  described for reservations that are not extended a right of first refusal.  Once the disposition of the original reservation and the competing request is finalized, the  COMPETING_REQUEST_FLAG shall be reset to "N" in the original reservation.



	Check language in the last sentence and make sure that it isn’t impacted by the new BP.
	002-4.2.13.10

Provider Recall

There are cases in implementing provisions of the Primary Provider's Tariff that the capacity reserved  by a Transmission Customer may be reduced in whole or in part. The particular reasons for these  reductions are Tariff specific. The Primary Provider shall provide a mechanism to post on OASIS any  such reductions or "recalls" in reserved capacity. The Customer shall be notified of any and all such  reductions in reserved capacity by the incrementing of the IMPACTED counter in association with  those reservations that are reduced; the IMPACTED flag is viewable with the transstatus Template.  Specific information regarding the exact nature of each reduction in the reserved capacity under a given  transmission reservation shall be posted and viewable with the reduction Template.   A specific example of a Primary Provider initiated recall of reserved capacity is the implementation of  a partial displacement of a transmission reservation. In this instance, the Customer has not elected (or  was not required to be offered) to match the terms of a higher priority, competing request. The Primary  Provider "recalls" that capacity necessary to accommodate the higher priority request from the original,  lower priority request. The IMPACTED counter of the original request is incremented, and a query  using the reduction Template for that original reservation would show the Customer the amount and  time-frame that the Customer's reserved capacity was recalled by the Primary Provider. (See sections  4.2.13.6 and 4.2.13.7.) Interruption of transmission service, where that interruption directly impacts the rights of the Customer  to schedule any service under that reservation, is another example of an impact to reserved capacity  that would be posted as a Primary Provider initiated recall of reserved capacity.   Secondary market sales of transmission rights are not examples of a Provider initiated recall of  reserved capacity, but the impact of any such sales shall also be returned in response to execution of the  reduction Template.


	Add new section for Transfers.  Do we need to address change in status of RESALES, REDIRECTS, etc., when the parent has been Transferred?
	002-4.2.13.11 Transfers (new)


Transmission Customers (Original TC) may transfer their rights and obligations, including financial liability, under the TP’s Tariff to another Transmission Customer (Assignee).  These requests must be initiated by the Assignee through submission of a transmission request with REQUEST_TYPE of TRANSFER and designation of the Original TC as SELLER.  The transmission service attributes in the TRANSFER request must exactly match those in the transmission reservation(s) held by the Original TC.  TRANSFER requests are handled by the Original TC (SELLER) and the Assignee (CUSTOMER) using the standard Transaction Process.  OASIS may block submission of a TRANSFER request if the Assignee does not have an executed service agreement with the TP. 

When approved by the Original TC, the Original TC must supply information as to the transmission service rights to be conveyed to the Assignee via the  REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME and  REASSIGNED_STOP_TIME Data Elements. The transmission service rights being transferred must have been purchased from the TP (REQUEST_TYPE of ORIGINAL with TP as SELLER) or transferred from another TC (REQUEST_TYPE of TRANSFER with that TC as SELLER). The aggregation of all REASSIGNED_xxx Data Elements must match the capacity and time frame of the TRANSFER request as specified in the CAPACITY_GRANTED (and/or CAPACITY_REQUESTED), START_TIME and STOP_TIME  Data Elements of that transaction.  If for any reason the TP disapproves of the TRANSFER, the TP must set the request’s status to NULLIFIED, and all rights will revert back to the Original TC.

The Transmission Provider may post a TRANSFER request directly on OASIS on behalf of the Original TC and Assignee after confirming the transaction with both parties.  The information required to be posted shall be identical to that posted for TRANSFERs conducted on OASIS. The IMPACTED attributed will be incremented for each of the Original TC’s reservations referenced by the  REASSIGNED_REF Data Elements and be viewable with the reduction template.



	Add additional STATUS field for Primary Provider.

Also, if changed, make sure the following example is updated:


	002-4.3.6.1
Customer Capacity Purchase Request (transrequest)

The Customer Capacity Purchase Request (Input) (transrequest) is used by the Customer to request  the purchase of transmission services or request changes to previously submitted reservations for  transmission services. The response simply acknowledges that the Customer's request was received by  the OASIS Node. It does not imply that the Seller has received the request. Inputting values into the  reference Data Elements is optional.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection  used to input the request.
Supporting "profiles" of service, which request different capacities (and  optionally price) for different time periods within a single request, is at the  discretion of the Primary Provider. Continuation records may be used to indicate  requests for these service profiles; use of continuation records is only supported  when using the CSV Format upload of Template data. Each segment of a profile  is represented by the Data Elements CAPACITY_REQUESTED,  START_TIME, and STOP_TIME, which define the intervals in time over which  a non-zero MW demand is being requested. The initial segment of a profile is  defined by the CAPACITY_REQUESTED, START_TIME and STOP_TIME Data Elements specified in the first/only record submitted; subsequent segments  are specified in continuation records each containing the appropriate CAPACITY_REQUESTED, START_TIME and STOP_TIME values defining  the segment. Provider's may optionally support price negotiation on segments of  a profiled reservation request. In this case, the BID_PRICE Data Element is also  included in each continuation record. If the BID_PRICE Data Element is not  specified in the continuation records, the BID_PRICE specified in the first/only  record submitted will be applied to the entire reservation request.
For requesting transmission services which include multiple paths, the following fields may be  specified using continuation records: PATH_NAME, POINT_OF_RECEIPT, and  POINT_OF_DELIVERY. Supporting multiple paths or multiple POINT_OF_RECEIPT and  POINT_OF DELIVERY is at the discretion of the Provider.
The START_TIME and STOP_TIME indicate the requested period of service.  
When the request is received at the OASIS Node, the TSIP assigns a unique ASSIGNMENT_REF  value and queues the request with a time stamp. The STATUS for the request is QUEUED. The  IMPACTED counter is initially set to 0. If the new request is not modifying an existing reservation (as  indicated by a null value for the RELATED_REF Data Element) and the SELLER is the Primary  Provider, REQUEST_TYPE must either be specified as "ORIGINAL" or be left null and OASIS will  substitute the default value of "ORIGINAL". If the new request is not modifying an existing reservation  and the SELLER is not the Primary Provider, REQUEST_TYPE must either be specified as  "RESALE" or “TRANSFER”. If left null, OASIS will substitute the default value of "RESALE".
If the new request is modifying an existing transmission reservation, the Data Elements  REQUEST_TYPE and RELATED_REF must be entered. RELATED_REF contains the  ASSIGNMENT_REF for the transmission reservation being modified, and REQUEST_TYPE must be  one of MATCHING, REDIRECT, DEFERRAL, RENEWAL, TRANSFER or a Primary Provider registered value.
Specification of a value YES in the PRECONFIRMED field authorizes the TSIP to automatically  change the STATUS field in the transstatus Template to CONFIRMED when that request is  ACCEPTED by the Seller.

Template: transrequest

1. Input

CONTINUATION_FLAG

SELLER_CODE (Primary or Reseller)

SELLER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

ANC_SVC_LINK

POSTING_REF (Optionally set by Customer)

SALE_REF (Optionally set by Customer)

REQUEST_REF (Optionally set by Customer)

DEAL_REF (Optionally set by Customer)

CUSTOMER_COMMENTS

REQUEST_TYPE (Required for request changes)

RELATED_REF (Required for request changes)

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

SELLER_CODE

SELLER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

ANC_SVC_LINK

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

CUSTOMER_COMMENTS

REQUEST_TYPE

RELATED_REF

ERROR_MESSAGE



	Add STATUS for Primary Provider
	002-4.3.6.2
Status of Customer Purchase Request (transstatus)

The Status of Customer Purchase Request (transstatus) is provided upon the request of any Customer or Provider to indicate the current status of one or more reservation records. Users may also view any transaction's status. However, the SOURCE and SINK may be masked for User requests until Transmission Providers must make source and sink information available at the time the request status posting is updated to show that a transmission request is confirmed. 
Continuation records may be returned in association with a transmission reservation to convey information regarding: 1) sale or assignment of transmission rights on the secondary market (reassignments), 2) profiled requests, or 3) service over multiple paths Each continuation record associated with a transmission reservation shall be identified by the CONTINUATION_FLAG Data Element set to 'Y' and include the ASSIGNMENT_REF Data Element.  
When a transmission reservation request acquires its rights to transmission service as the result of a sale or assignment of transmission rights on the secondary market, the identity of the original reservation, capacity, and time interval over which rights are assigned to the new reservation are defined by the Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. These Data Elements will be returned in continuation records when more than one set of reassignment information is associated with a reservation. 
If the transmission reservation has an associated profile, either as a result of the submission of CAPACITY_REQUESTED varying over time (support for Customer reservation profiles is at the discretion of the Provider) or due to the Provider offering partial service specifying a CAPACITY_GRANTED varying over time, then CAPACITY_GRANTED, CAPACITY_REQUESTED, START_TIME and STOP_TIME for the segments of the profile will be returned in continuation records. If the Provider supports negotiation of price on each segment of a Customer profiled request, BID_PRICE and OFFER_PRICE will also be returned with CAPACITY_REQUESTED, CAPACITY_GRANTED, START_TIME and STOP_TIME.
If the Provider supports reservations submitted on multiple paths, continuation records specifying PATH_NAME, POINT_OF_RECEIPT, and POINT_OF_DELIVERY associated with the reservation would be returned in continuation records. 
The AFFILIATE_FLAG will be set by the TSIP to indicate whether or not the Customer is an affiliate of the Primary Provider. The NEGOTIATED_PRICE_FLAG will be set by the TSIP to indicate whether the OFFER_PRICE is higher, lower, or the same as the BID_PRICE. Any time that a confirmed transmission reservation's rights to schedule up to the amount of CAPACITY_GRANTED is reduced, either due to secondary market sales, partial displacements, Provider initiated "recalls" of capacity, etc., the IMPACTED Data Element shall be incremented. Specific information regarding the MW level and reason for reduction in reserved capacity is viewable using the reduction Template.

Template: transstatus

1. Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SERVICE_INCREMENT*

TS_CLASS*

TS_TYPE*

TS_PERIOD*

TS_WINDOW*

TS_SUBCLASS*

STATUS*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

NEGOTIATED_PRICE_FLAG

ASSIGNMENT_REF

REASSIGNED_REF

RELATED_REF

SALE_REF

REQUEST_REF

DEAL_REF

COMPETING_REQUEST_FLAG

TIME_OF_LAST_UPDATE

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG (Set by TSIP)

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

START_TIME

STOP_TIME

CEILING_PRICE

OFFER_PRICE

BID_PRICE

PRICE_UNITS

PRECONFIRMED

ANC_SVC_LINK

ANC_SVC_REQ

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

IMPACTED (Greater than 0, if another reservation impacts this reservation)

COMPETING_REQUEST_FLAG

REQUEST_TYPE


RELATED_REF

NEGOTIATED_PRICE_FLAG ("L" if Seller accepted Price is lower than OFFER_PRICE in transoffering Template; "H" if higher; otherwise blank)

STATUS = 

RECEIVED, QUEUED, INVALID, STUDY, REBID, COUNTEROFFER, ACCEPTED, DECLINED, SUPERSEDED, REFUSED, CONFIRMED, WITHDRAWN, DISPLACED, ANNULLED, RETRACTED, NULLIFIED
STATUS_NOTIFICATION

STATUS_COMMENTS

TIME_QUEUED

RESPONSE_TIME_LIMIT

TIME_OF_LAST_UPDATE

PRIMARY_PROVIDER_COMMENTS

SELLER_REF

SELLER_COMMENTS

CUSTOMER_COMMENTS

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity from each previous transaction)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME



	Check for Primary Provider approval.
	002-4.3.6.3
Seller Approval of Purchase (transsell)

Seller Approval of Purchase (Input) (transsell) is input by a Seller to modify the status and queue of a request by a Customer. 
The following fields may be submitted in continuation records for the transsell Template to convey transmission rights from multiple original transmission reservations to this new reservation: REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. Use of continuation records is only supported when using the CSV format upload of Template data. 
If the Provider/Seller cannot accommodate the Customer's CAPACITY_REQUESTED and is obligated or elects to offer the Customer partial service that varies over the total period of the reservation, CAPACITY_GRANTED, START_TIME and STOP_TIME Data Elements may be repeated in continuation records. 
If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), OFFER_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Seller's offer price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. OFFER_PRICE associated with each segment of a profiled request must match the corresponding BID_PRICE for the reservation request's STATUS to be set to ACCEPTED. 
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. The SELLER_REF Data Element may be set by the SELLER to a seller specific internal tracking number. 
If the reservation is subject to the right of first refusal pending a status change to Displaced, the COMPETING_REQUEST_FLAG shall be set to Y, and SELLER_COMMENTS shall be updated with a reference to the competing request’s ASSIGNMENT_REF. If the reservation is subject to the right of first refusal pending a status change to Superseded, the COMPETING_REQUEST_FLAG shall be set to Y, the OFFER_PRICE shall be updated, the SELLER_COMMENTS shall be updated with a reference to the competing requests ASSIGNMENT_REF, and the STATUS shall be set to COUNTEROFFER. Once the disposition of the request is finalized, the COMPETING_REQUEST_FLAG shall be reset to N and any appropriate status change shall be made. 
The Seller may accept a reservation only when the BID_PRICE and the OFFER_PRICE are the same.

Template: transsell

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS = 

RECEIVED, INVALID, STUDY, COUNTEROFFER, ACCEPTED, REFUSED, SUPERSEDED, DECLINED, ANNULLED, RETRACTED, DISPLACED

STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

2. Response

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS = 

RECEIVED, INVALID, STUDY, COUNTEROFFER, ACCEPTED, REFUSED, SUPERSEDED, DECLINED, ANNULLED, RETRACTED, DISPLACED

STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

ERROR_MESSAGE



	Check for Primary Provider approval.
	002-4.3.6.4
Customer Confirmation of Purchase (Input) (transcust)

Customer Confirmation of Purchase (Input) (transcust) is input by the Customer to state his agreement or withdrawal of a purchase after the Seller has indicated that the purchase request is approved.  Only the BID_PRICE, STATUS, STATUS_COMMENTS, ANC_SVC_LINK, and CUSTOMER_COMMENTS Data Elements can be modified in this Template. 
The PRECONFIRMED Data Element may only be set to a value of 'Y' using this Template. Once the Customer has set PRECONFIRMED to 'Y', either on the original submission of the transrequest Template or via this Template, its value cannot be reset to 'N'. 
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request. 
The Customer must change the BID_PRICE to be equal to the OFFER_PRICE before the reservation request's STATUS can be set to CONFIRMED. 
If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), BID_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Customer's bid price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME.  BID_PRICE associated with each segment of a profiled request must match the corresponding OFFER_PRICE for the reservation request's STATUS to be set to CONFIRMED.

Template: transcust

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS= 

REBID, CONFIRMED, WITHDRAWN

STATUS_COMMENTS

ANC_SVC_LINK

STATUS_NOTIFICATION If left blank, then original URL from the transrequest will be used

CUSTOMER_COMMENTS

2. Response

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS= 

REBID, CONFIRMED, WITHDRAWN

STATUS_COMMENTS

ANC_SVC_LINK

STATUS_NOTIFICATION

CUSTOMER_COMMENTS

ERROR_MESSAGE



	Check this for Primary Provider approval.
	002-4.3.6.5
Seller to Reassign Service Rights to Another Customer (transassign)

Seller to Reassign Service Rights to Another Customer (Input) (transassign) is used by the seller to ask the Transmission Services Information Provider to reassign some or all of the seller's rights to Services to another Customer, for seller confirmed transactions that have occurred off the OASIS Node. The TSIP shall assign a unique ASSIGNMENT_REF in the response (acknowledgment) and enter the status CONFIRMED as viewed in the transstatus Template. SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. 
Only the following fields may be redefined in a continuation record for the transassign input Template: CAPACITY_REQUESTED, CAPACITY_GRANTED, START_TIME, STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. The REQUEST_TYPE of "RESALE" is implied through execution of this Template.

Template: transassign

1. Input

CONTINUATION_FLAG

CUSTOMER_CODE

CUSTOMER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

START_TIME

STOP_TIME

OFFER_PRICE

ANC_SVC_LINK (optional: filled in if assignment is different than original transmission reservation)

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

SELLER_REF

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

CUSTOMER_CODE

CUSTOMER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED (Total capacity being reassigned)

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

START_TIME

STOP_TIME

OFFER_PRICE

ANC_SVC_LINK

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

SELLER_REF

ERROR_MESSAGE



	Check these ancillary services to see if there needs to be a Primary Provider approval field.
	002-4.3.8.2
Ancillary Services Status (ancstatus)

Ancillary Services Status (ancstatus) is used to provide the status of purchase requests regarding the ancillary services that are available for sale by all Service Providers. Continuation records may be returned in association with a ancillary services reservation to convey information regarding: 1) sale or assignment of ancillary rights on the secondary market (reassignments), or 2) profiled requests. When an ancillary reservation request is the result of a sale or assignment of transmission or ancillary rights on the secondary market, the identity of the original reservation, capacity, and time interval over which rights are assigned to the new reservation are defined by the Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. These Data Elements will be returned in continuation records when more than one set of reassignment information is associated with a reservation. If the reservation has an associated profile (support for reservation profiles is at the discretion of the Provider), CAPACITY, START_TIME and STOP_TIME for the segments of the profile will be returned in continuation records. If the Provider supports negotiation of price on each segment of a profiled request, BID_PRICE and OFFER_PRICE will also be returned with CAPACITY, START_TIME and STOP_TIME.
The AFFILIATE_FLAG will be set by the TSIP to indicate whether or not the Customer is an affiliate of the Seller.
The values of STATUS and processes for setting STATUS are the same as for transstatus.

Template: ancstatus

1. Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

CONTROL_AREA

ANC_SERVICE_POINT

SERVICE_INCREMENT

AS_TYPE

STATUS

START_TIME

STOP_TIME

START_TIME_QUEUED

STOP_TIME_QUEUED

NEGOTIATED_PRICE_FLAG

ASSIGNMENT_REF

REASSIGNED_REF

SALE_REF

REQUEST_REF

DEAL_REF

TIME_OF_LAST_UPDATE (only if TIME_OF_LAST_UPDATE is posted by record)

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG (Set by TSIP)

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

CEILING_PRICE

OFFER_PRICE

BID_PRICE

PRICE_UNITS

PRECONFIRMED

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

NEGOTIATED_PRICE_FLAG ("L" if Seller accepted Price is lower than OFFER_PRICE in ancoffering Template; "H" if higher; otherwise blank)

STATUS= 

QUEUED, INVALID, RECEIVED, STUDY, REBID, COUNTEROFFER, ACCEPTED, REFUSED, CONFIRMED, WITHDRAWN, SUPERSEDED, DECLINED, ANNULLED, RETRACTED, DISPLACED

STATUS_NOTIFICATION

STATUS_COMMENTS

TIME_QUEUED

RESPONSE_TIME_LIMIT

TIME_OF_LAST_UPDATE

PRIMARY_PROVIDER_COMMENTS

SELLER_COMMENTS

CUSTOMER_COMMENTS

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

002-4.3.8.3
Seller Approves Ancillary Service (ancsell)

Seller Approves Ancillary Service (ancsell) is used by the Seller to confirm acceptance after the Seller has approved the purchase of ancillary service.
The following fields may be submitted in continuation records for the ancsell Template to convey ancillary rights from multiple original ancillary service reservations to this new reservation: REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), OFFER_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Seller's offer price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. OFFER_PRICE associated with each segment of a profiled request must match the corresponding BID_PRICE for the reservation request's STATUS to be set to ACCEPTED.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancsell

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

OFFER_PRICE

STATUS = 

INVALID, RECEIVED, STUDY, COUNTEROFFER, SUPERSEDED, ACCEPTED, REFUSED, DECLINED, ANNULLED, RETRACTED, DISPLACED

STATUS_COMMENTS

NEGOTIATED_PRICE_FLAG

RESPONSE_TIME_LIMIT

SELLER_COMMENTS

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

OFFER_PRICE

STATUS = 

INVALID, RECEIVED, STUDY, COUNTEROFFER, SUPERSEDED, ACCEPTED, REFUSED, DECLINED, ANNULLED, RETRACTED, DISPLACED

STATUS_COMMENTS

NEGOTIATED_PRICE_FLAG

RESPONSE_TIME_LIMIT

SELLER_COMMENTS

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

ERROR_MESSAGE

002-4.3.8.4
Customer accepts Ancillary Service (anccust)

Customer accepts Ancillary Service (anccust) is used by the customer to confirm acceptance after the seller has approved the purchase of ancillary service. 
The Customer must change the BID_PRICE to be equal to the OFFER_PRICE before the reservation request's STATUS can be set to CONFIRMED. If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), BID_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Customer's bid price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. BID_PRICE associated with each segment of a profiled request must match the corresponding OFFER_PRICE for the reservation request's STATUS to be set to CONFIRMED.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request.

Template: anccust

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS= 

REBID, CONFIRMED, WITHDRAWN

STATUS_COMMENTS

STATUS_NOTIFICATION (If left blank, then the original URL from the ancrequest will be used

CUSTOMER_COMMENTS

2. Response (Acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS = 

REBID, CONFIRMED, WITHDRAWN

STATUS_COMMENTS

STATUS_NOTIFICATION

CUSTOMER_COMMENTS

ERROR_MESSAGE



	Check for Primary Provider approval.
	002-4.3.8.5
Seller to Reassign Service Rights to Another Customer (ancassign)

Seller to Reassign Service Rights to Another Customer (Input) (ancassign) is used by the seller to ask the Transmission Services Information Provider to reassign some or all of the seller's rights to Services to another Customer, for seller confirmed transactions that have occurred off the OASIS Node.
Implementation of this Template is optional until such time that a business case requiring the use of such a facility to selectively reassign ancillary services is clearly demonstrated.
The TSIP shall assign a unique ASSIGNMENT_REF in the response (acknowledgment) and enter the status CONFIRMED as viewed in the ancstatus Template.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.
Only the following fields may be redefined in a continuation record for the ancassign input Template:  CAPACITY, START_TIME, STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancassign

1. Input

CONTINUATION_FLAG

CUSTOMER_CODE

CUSTOMER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_PRICE

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

CUSTOMER_CODE

CUSTOMER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY (Total capacity being reassigned)

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_PRICE

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

ERROR_MESSAGE

	Check these after all template changes are finalized
	002-4.4
FILE REQUEST AND FILE DOWNLOAD EXAMPLES

In the examples, the end-of-line (eol) character is represented by the character," ( ". This symbol may appear different on displays or printouts.

002-4.4.1
File Example for Hourly Offering

Example of the request to Primary Provider, aaa, and response for Seller, wxyz, for PATH_NAME "W/AAAA/PATH-ABC//" for April 10, 1996 from 8 a.m. to 3 p.m. (Note that the PATH_NAME consists of a REGION_CODE, PRIMARY_PROVIDER_CODE, PATH_CODE, and an OPTIONAL_CODE, separated with a slash, "/".) 
The VERSION for this release is 1.4. The request is in the form of a URL query string and the response is an ASCII delimited file.

1. Query

http://(OASIS Node name)/OASIS/aaa/data/transoffering? ver=1.2&templ=transoffering& fmt=data&pprov=AAAA &pprovduns=123456789& path=W/AAA/ABC// &seller=WXYZAA &sellerduns=987654321& POR=aaa& POD=bbb& servincre=hourly& TSCLASS1=firm &TSCLASS2=non-firm&tz=PD&stime=19960410080000PD&sptime= 19960410150000PD

2. Response Data

REQUEST-STATUS=200( (Successful)

TIME_STAMP=19960409113526PD (
VERSION=1.4(
TEMPLATE=transoffering(
OUTPUT_FORMAT=DATA (
PRIMARY_PROVIDER_CODE=AAAA(
PRIMARY_PROVIDER_DUNS=123456789(
DATA_ROWS=14(
COLUMN_HEADERS=TIME_OF_LAST_UPDATE,SELLER_CODE,SELLER_DUNS,PATH_NAME,

POINT_OF_RECEIPT,POINT_OF_DELIVERY,INTERFACE_TYPE,OFFER_START_TIME, OFFER_STOP_TIME,

START_TIME,STOP_TIME, CAPACITY, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD,

TS_SUBCLASS, SALE_REF, POSTING_REF, CEILING_PRICE, OFFER_PRICE, PRICE_UNITS,

SERVICE_DESCRIPTION,SELLER_NAME,SELLER_PHONE,SELLER_FAX, SELLEREMAIL,

SELLER_COMMENTS (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

080000PD,19960410090000PD,300, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A, A001,

1.50,1.35,MW,N/A,N/A,N/A,N/A,N/A,10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

080000PD,19960410090000PD,300, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A,A001,1.50,

1.35,MW,N/A,N/A,N/A,N/A,N/A, 10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

090000PD,1996041010000PD,300, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A,

N/A,A001,1.50,1.35,MW,N/A,N/A,N/A,N/A,N/A,10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

090000PD,19960410100000PD,300, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A,A001,1.50,

1.35,MW,N/A,N/A,N/A,N/A,N/A, 10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

100000PD,19960410110000PD,300, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A,

N/A,A001,1.50,1.35,MW,N/A,N/A,N/A,N/A,N/A,10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

100000PD,19960410110000PD,300, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A,A001,1.50,

1.35,MW,N/A,N/A,N/A,N/A,N/A, 10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

110000PD,19960410120000PD,300, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A,

N/A,A001,1.50,1.35,MW,N/A,N/A,N/A,N/A,N/A,10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

110000PD,19960410120000PD,300, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A,A001,1.50,

1.35,MW,N/A,N/A,N/A,N/A,N/A, 10% DISCOUNT (
. . .

. . .

. . .

19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

140000PD,19960410150000PD,300, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A,

N/A,A001,1.50,1.35,MW,N/A,N/A,N/A,N/A,N/A,10% DISCOUNT (
19960409030000PD,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,19960402080000PD,19960410080000PD,19960410

140000PD,19960410150000PD,300, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK, N/A, N/A,A001,1.50,

1.35,MW,N/A,N/A,N/A,N/A,N/A, 10% DISCOUNT (
002-4.4.2
File Example for Hourly Schedule Data

This example shows a request for the hourly schedule data from Primary Provider, AAAA, related to the seller, WXYZ, for the period 10 a.m. to 3 p.m. on April 10, 2000. 
There are two identical requests examples using two slightly different methods. The first request is using a HTTP URL request string through an HTML GET method. The second request is a similar example using fetch_http from a file using a POST method.

1. Query

URL Request (HTTP method=GET) 
http://(OASIS Node name)/OASIS/aaaa/data/scheduledetail? ver=1.4& pprov=AAAA& templ=scheduledetail& fmt=data &pprovduns=123456789 &path=W/AAA/ABC//& seller=WXYZ &por=BBB &pod=CCC& tz=PD& stime=20000410100000PD& sptime=20000410150000PD

URL Request (HTTP method=POST) 
$ fetch_http http://(OASIS Node name)/OASIS/aaaa/data/OASISdata -f c:/OASIS/wxyz/upload/infile. txt Where in-file.txt contains the following: ver=1.4& pprov=AAAA& templ=scheduledetail& fmt=data &pprovduns=123456789 &path=W/AAA/ABC//& seller=WXYZ &por=BBB &pod=CCC& tz=PD& stime=20000410100000PD& sptime=20000410150000PD

2. Response Data

REQUEST_STATUS=200(
ERROR_MESSAGE=No error. (
TIME_STAMP=20000410160523ES(
VERSION=1.4(
TEMPLATE=scheduledetail(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AAAA(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=PD(
DATA_ROWS=3(
COLUMN_HEADERS=CONTINUATION_FLAG, TIME_OF_LAST_UPDATE, SCHEDULE_REF, TRANSACTION_ID, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, GCA_CODE, LCA_CODE, SOURCE, SINK, SCHEDULE_PRIORITY, START_TIME, STOP_TIME, SCHEDULE_REQUESTED, SCHEDULE_GRANTED, ASSIGNMENT_REF, SELLER_CODE, SELLER_DUNS, CUSTOMER_CODE, CUSTOMER_DUNS, AFFILIATE_FLAG, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_WINDOW, TS_SUBCLASS, NERC_CURTAILMENT_PRIORITY, OTHER_CURTAILMENT_PRIORITY, CAPACITY_USED, PROVIDER_ACTION, SCHEDULE_LIMIT, CURTAILMENT_OPTIONS, SECURITY_REF, INITIATING_PARTY, RESPONSIBLE_PARTY, PROCEDURE_NAME, PROCEDURE_LEVEL, FACILITY_LOCATION, FACILITY_NAME, FACILITY_CLASS, FACILITY_LIMIT_TYPE(
N, 20000409030000PD,12345,2233, W/AAA/ABC//, BBB, CCC,,,,,1, 20000410100000PD, 20000410110000PD,300,300,856743, wxyz,987654321, WXYZAA,987654322, Y, HOURLY, NON_FIRM, POINT_TO_POINT, OFF_PEAK, FIXED,,1,1,300,,,,,,,,,,,, (
N, 20000409030000PD,12346,2233, W/AAA/ABC//, BBB, CCC,,,,,1, 20000410130000PD, 20000410140000PD,300,300,856743,wxyz,987654321, WXYZAA,987654322, Y, HOURLY, NON_FIRM, POINT_TO_POINT, OFF_PEAK, FIXED,,1,1,300,,,,,,,,,,,, (
N, 20000409030000PD,12347,2233, W/AAA/ABC//, BBB, CCC,,,,,1, 20000410140000PD, 20000410150000PD,300,300,856743,wxyz,987654321, WXYZAA,987654322, Y, HOURLY, NON_FIRM, POINT_TO_POINT, OFF_PEAK, FIXED,,1,1,300,,,,,,,,,,,, (
002-4.4.3
Customer Posting a Transmission Service Offering

This example shows how a Customer would post for sale the transmission service that was purchased previously. The Seller would create a file and upload the file using the FETCH_HTTP program to send a file to the OASIS Node of the Primary Provider.

1. Input:

VERSION=1.4(
TEMPLATE=transpost(
OUTPUT_FORMAT=DATA (
PRIMARY_PROVIDER_CODE=AAAA(
PRIMARY_PROVIDER_DUNS=123456789(
DATA_ROWS=1(
COLUMN_HEADERS=PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, INTERFACE_TYPE, CAPACITY, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_SUBCLASS, START_TIME, STOP_TIME, OFFER_START_TIME, OFFER_STOP_TIME, SALE_REF, OFFER_PRICE, SERVICE_DESCRIPTION, SELLER_COMMENTPF(
 WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,150, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A,, 19960402080000PD,19960410080000PD, 19960410080000PD,19960410150000PD, A123,.90,N/A,"As Joe said, ""It is a good buy"""(
FETCH_HTTP Command to send posting $ fetch_http http://(OASIS Node name)/OASIS/abcd/data/transrequest -f c:/OASIS/abcd/upload/post.txt

2. Response Data

REQUEST-STATUS=200 ( (Successful)

TIME_STAMP=19960409113526PD (
VERSION=1.4(
TEMPLATE=transpost(
OUTPUT_FORMAT=DATA (
PRIMARY_PROVIDER_CODE=AAAA(
PRIMARY_PROVIDER_DUNS=123456789(
DATA_ROWS=1(
COLUMN_HEADERS=RECORD_STATUS, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, INTERFACE_TYPE, CAPACITY, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_SUBCLASS, START_TIME, STOP_TIME, OFFER_START_TIME, OFFER_STOP_TIME, SALE_REF, OFFER_PRICE, SERVICE_DESCRIPTION, SELLER_COMMENTS, ERROR_MESSAGE(
200,WXYZ,987654321,W/AAA/ABC//,N/A,N/A,E,150, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK, N/A, 19960402080000PD,19960410080000PD, 19960410080000PD,19960410150000PD, A123,.90,N/A, "As Joe said, ""It is a good buy""", No Error(
002-4.4.4
Example of Re-aggregating Purchasing Services using Reassignment

The following examples do not show the complete Template information, but only show those elements of the Template of interest to the example.

a. Customer #1, "BestE" requests the purchase of 150 MW Firm ATC for 8 a.m. to 5 p.m. for $1.00 from a Primary Provider (transrequest).

TEMPLATE=transrequest(
CUSTOMER_CODE=BestE(
CAPACITY=150(
TS_CLASS="FIRM"(
START_TIME="1996050708000000PD"(
STOP_TIME="1996050717000000PD"(
BID_PRICE="$1.00"(
The Information Provider assigns ASSIGNMENT_REF = 5000 on acknowledgment.

b. Customer #1 purchases 120 MW ATC Non-firm for 3 p.m. to 9 p.m. for $.90 (transrequest). The Information Provider assigns the ASSIGNMENT_REF=5001 when the request for purchase is made and is shown in the acknowledgment.

TEMPLATE="transrequest"(
CUSTOMER_CODE="BestE"(
CAPACITY=120(
TS_CLASS="NON-FIRM"(
START_TIME="1996050715000000PD"(
STOP_TIME="1996050721000000PD"(
BID_PRICE="$1.05"(
c. Customer #1 becomes Seller #1 and post the Transmission service of 100 MW ATC Non-firm capacity from 8 a.m. to 9 p.m. for resale at $.90/MW-hour.

TEMPLATE="transpost"(
SELLER_CODE="BestE"(
CAPACITY=100(
TS_CLASS="NON-FIRM"(
START_TIME="1996050708000000PD"(
STOP_TIME="1996050721000000PD"(
SALE_REF="BEST100"(
OFFER_PRICE=.90(
SELLER_COMMENTS="aggregating two previous purchases"(
d. Customer #2 then requests purchase of 100 MW Non-firm from Reseller #1 from 8 a.m. to 6 p.m. for $0.90/MW-hour (transrequest).

TEMPLATE="transrequest"(
CUSTOMER_CODE="Whlsle"(
SELLER_CODE="BestE"(
CAPACITY=100(
TS_CLASS="NON-FIRM"(
START_TIME="1996050708000000PD"(
STOP_TIME="1996050721000000PD"(
SALE_REF="BEST100"(
DEAL_REF="WPC100"(
BID_PRICE=.90(
CUSTOMER_COMMENTS="Only need service until 6 p.m." (
The Information Provider provides the ASSIGNMENT_REF=5002 for this transaction.

e. Seller informs the Information Provider of the reassignment of the previous transmission rights when the seller accepts the customer purchase request (transsell).

TEMPLATE="transsell"(
CUSTOMER_CODE="Whlsle"(
SELLER_CODE="BestE"(
ASSIGNMENT_REF=5002(
STATUS="Accepted"(
REASSIGNED_REF1=5000(
REASSIGNED_CAPACITY1=100(
REASSIGNED_START_TIME1="199605070800PD"(
REASSIGNED_STOP_TIME1="199605071700PD"(
REASSIGNED_REF2=5001(
REASSIGNED_CAPACITY2=100(
REASSIGNED_START_TIME2="199605071700PD"(
REASSIGNED_STOP_TIME2="199605071800PD"(
002-4.4.5
File Examples of the Use of Continuation Records

a. Basic Continuation Records

The first example of the use of Continuation Records is for the transrequest Template submitted by a Seller for purchase of a transmission reservation spanning 16 hours from 06:00 to 22:00 with "ramped" demand at beginning and end of time period. Two additional reservations appear prior to and following the profile to demonstrate the handling of ASSIGNMENT_REF by the OASIS Node.
Only the following fields may be redefined in a continuation record for the transrequest   Template: CAPACITY_GRANTED, START_TIME, STOP_TIME. Specification of any values corresponding to COLUMN_HEADERs other than CAPACITY-GRANTED, START_TIME, and STOP_TIME will be ignored, however commas must be included to properly align the CAPACITY_GRANTED, START_TIME and STOP_TIME fields.

Input:

VERSION=1.4(
TEMPLATE=transrequest(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=7(
COLUMN_HEADERS=CONTINUTATION_FLAG, SELLER_CODE,SELLER_DUNS, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SOURCE, SINK,CAPACITY_REQUESTED, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_WINDOW, TS_SUBCLASS, STATUS_NOTIFICATION,START_TIME,STOP_TIME,BID_PRICE, PRECONFIRMED, ANC_SVC_LNK, POSTING_REF, SALE_REF, REQUEST_REF, DEAL_REF, CUSTOMER_COMMENTS, REQUEST_TYPE,REASSIGNED_REF(
N, AEP,123456789, ABC/XY, CE, MECS,,,35, DAILY, FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423000000ES,20000424000000ES,24.5, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, Standard daily reservation, ORIGINAL, (
N, AEP,123456789, ABC/XY, CE, AMPO,,,5, HOURLY, NON-FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423060000ES,20000423070000ES,2.5, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, First piece of profile spanning 5 records, ORIGINAL, (
Y,,,,,,,,10,,,,,,, ,20000423070000ES,20000423080000ES,,,,,,,, Second piece,, (
Y,,,,,,,,15,,,,,,, ,20000423080000ES,20000423200000ES,,,,,,,, Third piece,, (
Y,,,,,,,,10,,,,,,, ,20000423200000ES,20000423210000ES,,,,,,,, Fourth piece,, (
Y,,,,,,,,5,,,,,,, ,20000423210000ES,20000423220000ES,,,,,,,, Fifth piece,, (
N, AEP,123456789, ABC/XY, CE, MECS, , ,20, HOURLY, NON-FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423040000ES,20000423160000ES,2, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, Standard hourly reservation after profiled reservation, ORIGINAL, (
Response:

REQUEST_STATUS=200(
ERROR_MESSAGE=Successfully updated. (
TIME_STAMP=20000422160523ES(
VERSION=1.4(
TEMPLATE=transrequest(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=7(
COLUMN_HEADERS=RECORD_STATUS, CONTINUTATION_FLAG, ASSIGNMENT_REF, SELLER_CODE,SELLER_DUNS, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SOURCE, SINK,CAPACITY_REQUESTED, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_WINDOW, TS_SUBCLASS, STATUS_NOTIFICATION,START_TIME,STOP_TIME,BID_PRICE, PRECONFIRMED, ANC_SVC_LNK, POSTING_REF, SALE_REF, REQUEST_REF, DEAL_REF, CUSTOMER_COMMENTS, REQUEST_TYPE,REASSIGNED_REF, ERROR_MESSAGE(
200,N,8234, AEP,123456789, ABC/XY, CE, MECS,,,35, DAILY, FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423000000ES,20000424000000ES,24.5, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, Standard daily reservation, ORIGINAL,, No error(
200,N,8235, AEP,123456789, ABC/XY, CE, AMPO,,,5, HOURLY, NON-FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423060000ES,20000423070000ES,2.5, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, First piece of profile spanning 5 records, ORIGINAL,, No error(
200,Y,8235,,,,,,,,10,,,,,,,,20000423070000ES,20000423080000ES,,,,,,,, Second piece,,, No error(
200,Y,8235,,,,,,,,15,,,,,,,,20000423080000ES,20000423200000ES,,,,,,,, Third piece,,, No error(
200,Y,8235,,,,,,,,10,,,,,,,,20000423200000ES,20000423210000ES,,,,,,,, Fourth piece,,, No error(
200,Y,8235,,,,,,,,5,,,,,,,,20000423210000ES,20000423220000ES,,,,,,,, Fifth piece,,, No error(
200,N,8236, AEP,123456789, ABC/XY, CE, MECS,,,20, HOURLY, NON-FIRM, POINT_TO_POINT, FULL_PERIOD, FIXED,, pub/AEP/incoming,20000423040000ES,20000423160000ES,2, Y, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, P0123 , S123, R765, D123, Standard hourly reservation after profiled reservation, ORIGINAL,, No error(
b. Submission of Reassignment Information - Case 1:

In the prior example, a reservation request was submitted to "Rseler" for 20MW of Hourly Non-firm service from 04:00 to 16:00. Assume that Rseler has previously reserved service for the CE-VP path for Daily Firm in amount of 50 MW on 4/23 under ASSIGNMENT_REF=7019, and Hourly Non-Firm in amount of 10 MW from 08:00 to 20:00 on 4/23 under ASSIGNMENT_REF=7880. Rseler must designate which transmission service rights are to be reassigned to Cust to satisfy the 20MW from 04:00 to 16:00. This reassignment information is conveyed by Rseler using the transsell Template when the reservation request is ACCEPTED. At the SELLER's discretion, rights are assigned from the Non-firm reservation first (ASSIGNMENT_REF=7880) with the balance taken up by the Firm reservation (ASSIGNMENT_REF=7019).

The only fields allowed in "continuation" records for transsell Template are REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. Price may not be negotiated for each "segment" in a capacity profile.

Input:

VERSION=1.4(
TEMPLATE=transsell(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=3(
COLUMN_HEADERS=CONTINUATION_FLAG,ASSIGNMENT_REF, START_TIME, STOP_TIME,OFFER_PRICE,CAPACITY_GRANTED, STATUS, STATUS_COMMENTS, ANC_SVC_LINK, ANC_SVC_REQ, NEGOTIATED_PRICE_FLAG, SELLER_REF, SELLER_COMMENTS, RESPONSE_TIME_LIMIT,REASSIGNED_REF,REASSIGNED_CAPACITY, REASSIGNED_START_TIME , REASSIGNED_STOP_TIME(
N,8236, 20000423040000ES, 20000423160000ES,2.5,20, ACCEPTED, Status comments here, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;,, S123, Seller comments here,,7019,20, 20000423040000ES, 20000423080000ES(
Y,8236,,, ,, , , ,,,, ,,7880,10, 20000423080000ES, 20000423160000ES(
Y,8236,,, ,, , , ,,,, ,,7019,10, 20000423080000ES, 20000423160000ES(
Response:

REQUEST_STATUS=200(
ERROR_MESSAGE=Successfully updated. (
TIME_STAMP=20000422160523ES(
VERSION=1.4(
TEMPLATE=transsell(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=3(
COLUMN_HEADERS=RECORD_STATUS,CONTINUATION_FLAG,ASSIGNMENT_REF, START_TIME, STOP_TIME,OFFER_PRICE,CAPACITY_GRANTED, STATUS, STATUS_COMMENTS, ANC_SVC_LINK, ANC_SVC_REQ, NEGOTIATED_PRICE_FLAG, SELLER_REF, SELLER_COMMENTS, RESPONSE_TIME_LIMIT,REASSIGNED_REF,REASSIGNED_CAPACITY, REASSIGNED_START_TIME , REASSIGNED_STOP_TIME, ERROR_MESSAGE(
N,,8236, 20000423040000ES, 20000423160000ES,2.5,20, ACCEPTED, Status comments here, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;,, S123, Seller comments here,,7019,20, 20000423040000ES, 20000423080000ES, No error(
Y,,8236,,, ,, , , ,,,, ,,7880,10, 20000423080000ES, 20000423160000ES, No error(
Y,,8236,,, ,, , , ,,,, ,,7019,10, 20000423080000ES, 20000423160000ES, No error(
c. Submission of Reassignment Information - Case 2:

Primary provider, AEP, is notified of a sale/assignment of transmission service rights from "Resell" to "cust". The parameters of the new reservation are for 10MW on 4/23 for "off-peak" hours (00:00- 06:00 and 22:00-24:00) on POR/POD CE-VP. Rseler is assigning rights to 10MW from a prior reservation for the CE-VP path for Daily Firm in amount of 50 MW on 4/23 under ASSIGNMENT_REF=7019 to Cust. AEP would submit the following information using the transassign Template to post this (re)sale. The only fields allowed in "continuation" records for the transassign Template are CAPACITY, START_TIME , STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. Even though there is a one-to-one correspondence between the segments of the new reservations and the reassignment of service from a prior reservation, it is entirely possible that a reservation spanning a single contiguous period would require multiple continuation records to convey reassignment information, and vice versa.
Fields for CUSTOMER_NAME and SELLER_NAME were used to convey user names for subsequent resolution of contact information from user registration.

Input:

VERSION=1.4(
TEMPLATE=transassign(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=2(
COLUMN_HEADERS=CONTINUATION_FLAG, CUSTOMER_CODE, CUSTOMER_DUNS, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SOURCE, SINK, CAPACITY_REQUESTED, CAPACITY_GRANTED, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD,TS_WINDOW, TS_SUBCLASS, START_TIME, STOP_TIME, OFFER_PRICE, ANC_SVC_LNK, POSTING_NAME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME , REASSIGNED_STOP_TIME , SELLER_COMMENTS, SELLER_REF(
N, ACSTMR,987654321, , CE, VP,,,10,10, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK,FIXED,, 20000423000000ES, 20000423060000ES,2, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, Jane Doe ,7019,10, 20000423000000ES, 20000423060000ES, Seller comments go here, S123(
Y,,,,,,,,10,10,,,,,,, 20000423220000ES, 20000424000000ES,,,,7019,10, 20000423220000ES, 20000424000000ES,, (
Response:

REQUEST_STATUS=200(
ERROR_MESSAGE=Successfully updated. (
TIME_STAMP=20000422160523ES(
VERSION=1.4(
TEMPLATE=transassign(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=2(
COLUMN_HEADERS=RECORD_STATUS,CONTINUATION_FLAG,ASSIGNMENT_REF, CUSTOMER_CODE, CUSTOMER_DUNS, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SOURCE, SINK, CAPACITY_REQUESTED, CAPACITY_GRANTED, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD,TS_WINDOW, TS_SUBCLASS, START_TIME, STOP_TIME, OFFER_PRICE, ANC_SVC_LNK, POSTING_NAME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME , REASSIGNED_STOP_TIME , SELLER_COMMENTS, SELLER_REF5, ERROR_MESSAGE(
200,N,8207, ACSTMR,987654321, , CE, VP,,,10,10, HOURLY, NON-FIRM, POINT_TO_POINT, OFF_PEAK,FIXED,, 20000423000000ES, 20000423060000ES,2, SC:(AEP:RQ);RV:(AEP:RQ);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, Jane Doe ,7019,10, 20000423000000ES, 20000423060000ES, Seller comments go here, S1235, No error(
200,Y,8207,,,,,,,,10,10,,,,,,, 20000423220000ES, 20000424000000ES,,,,7019,10, 20000423220000ES, 20000424000000ES,,5, No error(
d. Query of Transmission Reservation Status:

The following typical response to a transstatus query might be delivered for 4/23 based on prior examples. Note that the only fields returned in "continuation" records are, ASSIGNMENT_REF, CAPACITY_REQUESTED, CAPACITY_GRANTED, START_TIME, STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME (price fields are debatable).

Input:

<appropriate query name/value pairs to return reservations for 4/23>

Response:

REQUEST_STATUS=200(
ERROR_MESSAGE=No error. (
TIME_STAMP=20000423160523ES(
VERSION=1.4(
TEMPLATE=transstatus(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=AEP(
PRIMARY_PROVIDER_DUNS=123456789(
RETURN_TZ=ES(
DATA_ROWS=11(
COLUMN_HEADERS=CONTINUATION_FLAG, ASSIGNMENT_REF, SELLER_CODE, SELLER_DUNS, CUSTOMER_CODE, CUSTOMER_DUNS, AFFILIATE_FLAG, PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SOURCE, SINK, CAPACITY_REQUESTED, CAPACITY_GRANTED, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD,TS_WINDOW, TS_SUBCLASS, NERC_CURTAILMENT_PRIORITY, OTHER_CURTAILMENT_PRIORITY, START_TIME , STOP_TIME, CEILING_PRICE, OFFER_PRICE, BID_PRICE,PRICE_UNITS, PRECONFIRMED, ANC_SVC_LINK, ANC_SVC_REQ, POSTING_REF, SALE_REF, REQUEST_REF, DEAL_REF,IMPACTED,REQUEST_TYPE,RELATED_REF, NEGOTIATED_PRICE_FLAG, STATUS,STATUS_NOTIFICATION, STATUS_COMMENTS, TIME_QUEUED, TIME_OF_LAST_UPDATE, PRIMARY_PROVIDER_COMMENTS,SELLER_REF, SELLER_COMMENTS, CUSTOMER_COMMENTS, SELLER_NAME, SELLER_PHONE, SELLER_FAX, SELLER_EMAIL, CUSTOMER_NAME, CUSTOMER_PHONE, CUSTOMER_FAX, CUSTOMER_EMAIL, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME , REASSIGNED_STOP_TIME(
N,8207, RSELLR,234567890, ACSTMR,987654321, N, , CE, VP, ,,10,10, HOURLY, FIRM, POINT_TO_POINT, OFF_PEAK,,,,, 20000423000000ES, 20000423060000ES,2.25,2,2,$/MW, N, SC:(AEP:AR:121);RV:(AEP:AR:122);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;, ,S1235, , ,0, RESALE,, L, CONFIRMED,, , 20000422121354ES, 20000422123054ES, TP Comments,, Seller comments go here, Customer comments, Joe Smith, (888)-123-4567, (888)-123-1231, jsmith@xyz.com, Jane Doe, (999)-123-4567, (999)-123-8823,,7019,10, 20000423000000ES, 20000423060000ES(
Y,8207,,,,,,,,,,,10,10,,,,,,,,, 20000423220000ES, 20000424000000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,7019,10, 20000423220000ES, 20000424000000ES(
N,8234, AEP,123456789, CUSTMR,345678912, N, , CE, MECS, ,,35,35, DAILY, FIRM, POINT_TO_POINT,FULL_PERIOD,FIXED,,,, 20000423000000ES, 20000423060000ES,42,24.5,24.5,$/MW, N, SC:(AEP:AR:123);RV:(AEP:AR:124);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;, P0123 , S123, R765, D123,0, ORIGINAL,, L, CONFIRMED, pub/AEP/incoming,, 20000422131354ES, 20000422133354ES, Standard daily reservation,, System Operator, Customer comments, Frank Orth, (999)-123-4567, (999)-123-1231, jsmith@xyz.com, Jane Doe, (999)-123-4567, (999)-123-8823,,7019,10, 20000423000000ES, 20000423060000ES(
N,8235, AEP,123456789, CUSTMR,345678912, N, , CE, AMPO, ,,5,5, HOURLY, NON-FIRM, POINT_TO_POINT,FULL_PERIOD,FIXED,,,, 20000423060000ES, 20000423070000ES,2.5,2.5,2.5,$/MW, N, SC:(AEP:AR:125);RV:(AEP:AR:126);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;, P0123 , S123, R765, D123,0, ORIGINAL,,, CONFIRMED, pub/AEP/incoming,, 20000422160523ES, 20000422170523ES, Profile verified,, First piece, Customer comments, System Operator, (888)-123-4567, (888)-123-1231, jsmith@xyz.com, Jane Doe, (999)- 123-4567, (999)-123-8823,,7019,10, 20000423000000ES, 20000423060000ES(
Y,8235,,,,,,,,,,,10,10,,,,,,,,, 20000423070000ES, 20000423080000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,5 Y,8235,,,,,,,,,,,15,15,,,,,,,,, 20000423080000ES, 20000423200000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
Y,8235,,,,,,,,,,,10,10,,,,,,,,, 20000423200000ES, 20000423210000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,5 Y,8235,,,,,,,,,,,5,5,,,,,,,,, 20000423210000ES, 20000423220000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
N,8236, AEP,123456789, CUSTMR,345678912, N, , CE, VP, ,,20,20, HOURLY,NON_FIRM, POINT_TO_POINT,FULL_PERIOD,FIXED,,,, 20000424040000ES, 20000424160000ES,2.5,2.5,2.5,$/MW, N, SC:(AEP:AR:127);RV:(AEP:AR:128);RF:(FT);EI:(FT);SP:(FT);SU:(FT);, SC:M;RV:M;RF:U;EI:U;SP:U;SU:U;, P0123 , S123, R765, D123,0, ORIGINAL,,, CONFIRMED, pub/AEP/incoming,, 20000422160723ES, 20000422171523ES, Bid price refused,, Negotiated OFFER_PRICE accepted,, Joe Smith, (888)-123-4567, (888)-123-1231, jsmith@xyz.com, Jane Doe, (999)-123-4567, (999)-123-8823,,7019,20, 20000423040000ES, 20000423080000ES(
Y,8236,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,7880,10, 20000423080000ES, 20000423160000ES(
Y,8236,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,7019,10, 20000423080000ES, 20000423160000ES(
002-4.4.6
Examples of Negotiation of Price and Partial Service Offer

002-4.4.6.1
Negotiation with Preconfirmation

a. The Customer submits a PRECONFIRMED transmission service request using the transrequest Template. Initially, the STATUS is set to QUEUED by the OASIS Node. 
b. The Seller has the option of setting STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, COUNTEROFFER, ACCEPTED, DECLINED, or REFUSED.
c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER via the transell Template if the seller can only provide partial service.
d. If the Seller sets STATUS to ACCEPTED (and, as required by Section 4.2.10.1i, the OASIS Node forces the Seller to set OFFER_PRICE equal to BID_PRICE as a condition to setting STATUS to ACCEPTED) and CAPACITY_GRANTED is equal to CAPACITY_REQUESTED, the OASIS Node will immediately set STATUS to CONFIRMED. (Section 4.2.10.1k requires the OASIS Node to set a null CAPACITY_GRANTED equal to CAPACITY_REQUESTED when STATUS is set to ACCEPTED.)
e. The Customer may WITHDRAW request via transcust Template at any time up to point where the Seller sets STATUS to ACCEPTED. 
f. Once the STATUS is CONFIRMED, the OFFER_PRICE and CAPACITY_GRANTED officially becomes the terms of the reservation.

002-4.4.6.2
Negotiations without Preconfirmation

a. The Customer submits a transmission reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest Template. Initially the STATUS is set to QUEUED by the OASIS Node.
b. The Seller has the option of setting the STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If INVALID (due to invalid entries in the request), DECLINED (due to the Seller determining that the proposed price is not acceptable and further negotiations are not desired), or REFUSED (due to the unavailability of the requested service) are set, the transmission reservation request is terminated.
c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER via the transell Template if the seller can only provide partial service.
d. If the Seller set the STATUS to RECEIVED or STUDY, and determines that the BID_PRICE is too low, the Seller sets the OFFER_PRICE to the price desired, and sets the STATUS to COUNTEROFFER via the transsell Template. 
e. The Customer agrees to the OFFER_PRICE, sets the BID_PRICE equal to the OFFER_PRICE, and sets the STATUS to CONFIRMED via the transcust Template.
f. The OFFER_PRICE and CAPACITY_GRANTED with the STATUS of CONFIRMED locks in the terms of the reservation.

002-4.4.6.3
Multiple Step Negotiations

a. The Customer submits a transmission reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest Template. Initially the STATUS is set to QUEUED by the OASIS Node.
b. The Seller has the option of setting the STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If INVALID, DECLINED, or REFUSED are set, the transmission reservation request is terminated.
c. The seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER via the transell Template if the seller can only provide partial service. If ATC changes before the request reaches the STATUS of CONFIRMED, seller may change the CAPACITY_GRANTED.
d. The Seller determines that the BID_PRICE is too low, sets the OFFER_PRICE to the desired value, and sets the STATUS to COUNTEROFFER via the transsell Template. 
e. The Customer responds to the new OFFER_PRICE with an updated BID_PRICE and sets the STATUS to REBID for re-evaluation by the Seller.
f. The Seller determines that the BID_PRICE now is acceptable, and sets the STATUS to ACCEPTED via the transsell Template. The transition to ACCEPTED state requires the OFFER_PRICE to be set to the BID_PRICE: accepting a reservation with an OFFER_PRICE different from BID_PRICE would require the STATUS be set to COUNTEROFFER rather than ACCEPTED (see item c).
g. The Customer agrees to the OFFER_PRICE and sets the STATUS to CONFIRM via the transcust Template.
h. The OFFER_PRICE and CAPACITY_GRANTED with the STATUS as CONFIRMED locks in the terms of the reservation.

002-4.4.6.4
Negotiations Declined by Seller

a. The Customer submits a transmission reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest Template. Initially the STATUS is set to QUEUED by the OASIS Node.
b. The Seller has the option of setting the STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If INVALID, DECLINED, or REFUSED are set, the transmission reservation request is terminated.
c. The Seller determines that the BID_PRICE is too low, sets OFFER_PRICE to his desired value, and sets STATUS to COUNTEROFFER via the transsell Template. 
d. The Customer responds to OFFER_PRICE with updated BID_PRICE and sets the STATUS to REBID via the transcust Template for re-evaluation by Seller.
e. The Seller breaks off all further negotiations by setting the STATUS to DECLINED, indicating that the price is unacceptable and that he does not wish to continue negotiations.

002-4.4.6.5
Negotiations Withdrawn by Customer

a. The Customer submits a transmission reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest. Initially the STATUS is set to QUEUED by the OASIS Node.
b. The Seller has the option of setting the STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If INVALID, DECLINED, or REFUSED are set, the transmission reservation request is terminated.
c. The Seller has the option of entering a CAPACITY_GRANTED and setting the STATUS to COUNTEROFFER via the transell Template if the seller can only provide partial service.
d. The Seller determines that the BID_PRICE is too low, sets the OFFER_PRICE to his desired value, and sets the STATUS to COUNTEROFFER via the transsell Template.
e. The Customer responds to the OFFER_PRICE with an updated BID_PRICE and sets the STATUS to REBID for re-evaluation by Seller.
f. The Seller determines that the BID_PRICE is still too low, sets the OFFER_PRICE to another value, and sets STATUS to COUNTEROFFER via the transsell Template.
g. The Customer breaks off all further negotiations, either because the OFFER_PRICE or CAPACITY_GRANTED are unacceptable, by setting STATUS to WITHDRAWN (or the Customer/Seller could go through additional iterations of REBID/COUNTEROFFER until negotiations are broken off or the reservation is CONFIRMED).

002-4.4.6.6
Negotiations Superseded by Higher Priority Reservation

a. The Customer submits a transmission reservation request with the BID_PRICE less than the CEILING_PRICE via the transrequest Template. Initially the STATUS is set to QUEUED by the OASIS Node.
b. The Seller has the option of setting the STATUS via the transsell Template to one of the following: INVALID, RECEIVED, STUDY, ACCEPTED, DECLINED, COUNTEROFFER, or REFUSED. If INVALID, DECLINED, or REFUSED are set, the transmission reservation request is terminated.
c. If the Seller determines that another reservation has higher priority and must displace this request, he sets the STATUS to SUPERSEDED and the negotiations are terminated.
d. However, if desired and permitted by the tariff, the Seller may set the STATUS of a request in any of these previous states (including COUNTEROFFER and ACCEPTED) to COUNTEROFFER with an OFFER_PRICE which could avoid the request being superseded, thus allowing the Customer the choice of being SUPERSEDED or accepting the proposed OFFER_PRICE.

002-4.4.7
Audit Template examples

The following examples are included to show the general type of audit report responses that could be expected to be returned by implementations of the audit reporting Templates as documented above.

002-4.4.7.1
Offerings

The following is an example of a hypothetical audit query for daily non-firm offerings to the "DDD" point of delivery for Monday August 17, 1998 (line breaks and indentations added to improve readability):
REQUEST_STATUS=200 (
ERROR_MESSAGE (
TIME_STAMP=19980821091601ES (
VERSION=1.4 (
TEMPLATE=transofferingaudit (
OUTPUT_FORMAT=DATA (
PRIMARY_PROVIDER_CODE=WXYZ (
PRIMARY_PROVIDER_DUNS=78912345 (
RETURN_TZ=ES (
DATA_ROWS=14 (
COLUMN_HEADERS=RECORD_TYPE,TIME_OF_LAST_UPDATE,MODIFYING_COMPANY_CODE,MODIFYIN G_NAME, TIME_OF_LAST_UPDATE,SELLER_CODE,SELLER_DUNS,PATH_NAME,POINT_OF_RECEIPT,POINT_OF_DEL IVERY, INTERFACE_TYPE,OFFER_START_TIME,OFFER_STOP_TIME,START_TIME,STOP_TIME,CAPACITY,SERVIC E_INCREMENT, TS_CLASS,TS_TYPE,TS_PERIOD,TS_WINDOW,TS_SUBCLASS,ANC_SVC_REQ,SALE_REF,POSTING_REF,CEI LING_PRICE, OFFER_PRICE,PRICE_UNITS,SERVICE_DESCRIPTION,NERC_CURTAILMENT_PRIORITY,OTHER_CURTAIL MENT_PRIORITY, SELLER_NAME,SELLER_PHONE,SELLER_FAX,SELLER_EMAIL,SELLER_COMMENTS (
U,19980815131756ES,WXYZ,Jane Doe,19980815131756ES, WXYZ,78912345,X/WXYZ/AAA-DDD//,AAA,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,800, DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48732,102.00,85.00,$/MW-Day,,3,, Jane Doe,123-456-7813,123-456-7801, doej@wxyz.com (
U,19980815124022ES,WXYZ, Jane Doe,19980815124022ES, WXYZ,78912345,X/WXYZ/AAA-DDD//,AAA,DDD,E, 1 9980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,850, DAILY,NON-FIRM,POINT_TO_ POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,, 48732,102.00,85.00,$/MW-Day,,3,, Jane Doe,123-456-7813,123-456-780 1,doej@wxyz.com, (
U,19980814120018ES,WXYZ, Joe Smith,19980814120018ES,WXYZ,78912345,X/WXYZ/AAA-DDD//,AAA,DDD,E,1 9980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,850, DAILY,NON-FIRM,POINT_TO_ POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48732,102.00,90.00,$/MW-Day,,3,,Joe Smith,123-456-7893,123-456-7801 ,smithj@wxyz.com (
I,19980813171204ES,WXYZ, Supervisor,19980813171204ES, WXYZ,78912345,X/WXYZ/AAA-DDD//,AAA,DDD,E, 19980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,850, DAILY,NON-FIRM,POINT_TO _POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48732,102.00,95.00,$/MW-Day,,3,, Supervisor,123-456-7890,123-456-78 01 (
U,19980815124022ES,WXYZ, Jane Doe,19980815124022ES, WXYZ,78912345,X/WXYZ/BBB-DDD//,BBB,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,1200, DAILY,NON-FIRM,POINT_TO_ POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48783,102.00,85.00,$/MW-Day,,3,,Jane Doe,123-456-7813,123-456-7801, doej@wxyz.com (
U,19980814120022ES,WXYZ,Joe Smith,19980814120022ES,WXYZ,78912345,X/WXYZ/BBB-DDD//,BBB,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,1200,DAILY,NON-FIRM,POINT_TO_ POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48783,102.00,90.00,$/MW-Day,,3,,Joe Smith,123-456-7893,123-456-7801 ,smithj@wxyz.com (
I,19980813171210ES,WXYZ,Supervisor,19980813171210ES,WXYZ,78912345,X/WXYZ/BBB-DDD//,BBB,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,1200,DAILY,NON-FIRM,POINT_TO_ POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48783,102.00,95.00,$/MW-Day,,3,,Supervisor,123-456-7890,123-456-780 1, (
U,19980816101000ES,WXYZ,Supervisor,19980816101000ES,WXYZ,78912345,X/WXYZ/CCC-DDD//,CCC,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,85,DAILY,NON-FIRM,POINT_TO_PO INT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48820,102.00,102.00,$/MW-Day,,3,,Supervisor,123-456-7810,123-456-7801, 5U,19980814143807ES,WXYZ,Supervisor,19980814143807ES,WXYZ,78912345,X/WXYZ/CCC-DDD//,CCC,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,90,DAILY,NON-FIRM,POINT_TO_PO INT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48820,102.00,102.00,$/MW-Day,,3,,Supervisor,123-456-7890,123-456-7801, 5U,19980814120023ES,WXYZ,Joe Smith,19980814120023ES,WXYZ,78912345,X/WXYZ/CCC-DDD//,CCC,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,110,DAILY,NON-FIRM,POINT_TO_P OINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48820,102.00,90.00,$/MW-Day,,3,,Joe Smith,123-456-7893,123-456-7801,s mithj@wxyz.com (
I,19980813171214ES,WXYZ,Supervisor,19980813171214ES,WXYZ,78912345,X/WXYZ/CCC-DDD//,CCC,DDD,E,19 980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,110,DAILY,NON-FIRM,POINT_TO_P OINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48820,102.00,95.00,$/MW-Day,,3,,Supervisor,123-456-7890,123-456-7801, (
U,19980815124023ES,WXYZ,Jane Doe,19980815124023ES,WXYZ,78912345,X/WXYZ/WXYZ-DDD//,WXYZ,DDD, E,19980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,340,DAILY,NON-FIRM,POINT_T O_POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48855,102.00,85.00,$/MW-Day,,3,,Jane Doe,123-456-7813,123-456-78 01,doej@wxyz.com (
U,19980814120023ES,WXYZ,Joe Smith,19980814120023ES,WXYZ,78912345,X/WXYZ/WXYZ-DDD//,WXYZ,DDD, E,19980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,340,DAILY,NON-FIRM,POINT_T O_POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48855,102.00,90.00,$/MW-Day,,3,,Joe Smith,123-456-7893,123-456-7 801,smithj@wxyz.com (
I,19980813171222ES,WXYZ,Supervisor,19980813171222ES,WXYZ,78912345,X/WXYZ/WXYZ-DDD//,WXYZ,DDD, E,19980814000000ES,19980817000000ES,19980817000000ES,19980818000000ES,340, DAILY,NON-FIRM,POINT_T O_POINT,FULL_PERIOD,FIXED,,SC:M;RF:M,,48855,102.00,95.00,$/MW-Day,,3,,Supervisor,123-456-7890,123-456-7 801, (
From this audit report, the daily non-firm offerings on the four paths to "DDD" (AAA-DDD, BBB-DDD, CCC-DDD, and WXYZ-DDD) were all originally posted by WXYZ's "Supervisor" at approximately 17:12 on 8/13 at a price of $95.00 /MW-Day discounted from a ceiling price of $102.00.

At approximately 12:00 on 8/14, Joe Smith changed the offer price to $90.00 on all four paths.
At 14:14 on 8/14, "Supervisor" adjusted the capacity available on path X/WXYZ/CCC-DDD// to 90 MW (POSTING_REF = 48820) and set the offer price up to match the tariff ceiling rate (presumably due to the path now being constrained and released from the requirement to have discounted service offered at the same rate as all other unconstrained paths to DDD). Capacity on this path was last updated to a value of 85 MW at 10:10 on 8/16, which is the current information posted on OASIS for this path at the time of the query.
Jane Doe adjusted the price on the three presumably unconstrained paths to DDD at 12:40 on 8/15 to $85.00, which may have been in response to a negotiation for service on one of these paths. No further updates have occurred to the offerings on paths BBB-DDD and WXYZ-DDD since that time.
Finally, the capacity available on path X/WXYZ/AAA-DDD// was updated by Jane Doe from 850 to 800 MW at 13:17 on 8/15, which may have corresponded with final confirmation of a reservation at a negotiated discount by the customer that initiated the price change from $90.00 to $85.00.

002-4.4.7.2
Reservations

The following is an example of a hypothetical audit query for a specific transmission service reservation (line breaks and indentations added to improve readability):
REQUEST_STATUS=200(
ERROR_MESSAGE=(
TIME_STAMP=19980821092048ES(
VERSION=1.4(
TEMPLATE=transstatusaudit(
OUTPUT_FORMAT=DATA(
PRIMARY_PROVIDER_CODE=WXYZ(
PRIMARY_PROVIDER_DUNS=78912345(
RETURN_TZ=ES(
DATA_ROWS=9(
COLUMN_HEADERS=RECORD_TYPE,TIME_OF_UPDATE,MODIFYING_COMPANY_CODE,MODIFYING_NAME, CONTINUATION_FLAG,ASSIGNMENT_REF,SELLER_CODE,SELLER_DUNS,CUSTOMER_CODE, CUSTOMER_DUNS,AFFILIATE_FLAG,PATH_NAME,POINT_OF_RECEIPT,POINT_OF_DELIVERY, SOURCE,SINK,CAPACITY,SERVICE_INCREMENT,TS_CLASS,TS_TYPE,TS_PERIOD,TS_WINDOW, TS_SUBCLASS,NERC_CURTAILMENT_PRIORITY,OTHER_CURTAILMENT_PRIORITY,START_TIME, STOP_TIME,CEILING_PRICE,OFFER_PRICE,BID_PRICE,PRICE_UNITS,PRECONFIRMED,ANC_SVC_LINK,ANC _SVC_REQ,POSTING_REF,SALE_REF,REQUEST_REF,DEAL_REF,NEGOTIATED_PRICE_FLAG, STATUS,STATUS_NOTIFICATION,STATUS_COMMENTS,TIME_QUEUED,RESPONSE_TIME_LIMIT, TIME_OF_LAST_UPDATE,PRIMARY_PROVIDER_COMMENTS,SELLER_COMMENTS, CUSTOMER_COMMENTS,SELLER_NAME,SELLER_PHONE,SELLER_FAX,SELLER_EMAIL, CUSTOMER_NAME,CUSTOMER_PHONE,CUSTOMER_FAX,CUSTOMER_EMAIL,REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME,REASSIGNED_STOP_TIME(
U,19980815131629ES,DEFPM,Alan Trader,N,104392,WXYZ,78912345,DEFPM,912876543,N,X/WXYZ/AAA-DDD//,A AA,DDD,AAA,ZZZ,50,DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,3,,19980817000000ES,199808 18000000ES,102.00,85.00,85.00,$/MW-Day,N,,SC:M;RF:M,,,,,,CONFIRMED,,,19980815121510ES,19980815144100ES, 19980815131629ES,,,,Jane Doe,123-456-7813,123-456-7801,doej@wxyz.com,Alan Trader,312-678-9104,312-678-9100,a .trader@defmarketing.com,,,, (
U,,,,Y,,,,,,,,,,,,75,,,,,,,,,19980818000000ES,19980819000000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
U,,,,Y,,,,,,,,,,,,100,,,,,,,,,19980819000000ES,19980820000000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
U,19980815125042ES,WXYZ,Jane Doe,N,104392,WXYZ,78912345,DEFPM,912876543,N,X/WXYZ/AAA-DDD//,AAA ,DDD,AAA,ZZZ,50,DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,3,,19980817000000ES,19980818 000000ES,102.00,85.00,82.00,$/MW-Day,N,,SC:M;RF:M,,,,,,COUNTEROFFER,,,19980815121510ES,19980815144100 ES,19980815125042ES,,,,Jane Doe,123-456-7813,123-456-7801,doej@wxyz.com,Alan Trader,312-678-9104,312-678-910 0,a.trader@defmarketing.com,,,, (
U,19980815124811ES,DEFPM,Alan Trader,N,104392,WXYZ,78912345,DEFPM,912876543,N,X/WXYZ/AAA-DDD//,A AA,DDD,AAA,ZZZ,50,DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,3,,19980817000000ES,199808 18000000ES,102.00,85.00,82.00,$/MW-Day,N,,SC:M;RF:M,,,,,,REBID,,,19980815121510ES,19980815144100ES,19980 815124811ES,,,,Jane Doe,123-456-7813,123-456-7801,doej@wxyz.com,Alan Trader,312-678-9104,312-678-9100,a.trader @defmarketing.com(
U,19980815124100ES,WXYZ,Jane Doe,N,104392,WXYZ,78912345,DEFPM,912876543,N,X/WXYZ/AAA-DDD//,AAA ,DDD,AAA,ZZZ,50,DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,3,,19980817000000ES,19980818 000000ES,102.00,85.00,80.00,$/MW-Day,N,,SC:M;RF:M,,,,,,COUNTEROFFER,,,19980815121510ES,19980815144100 ES,19980815124100ES,,,,Jane Doe,123-456-7813,123-456-7801,doej@wxyz.com,Alan Trader,312-678-9104,312-678-910 0,a.trader@defmarketing.com(
I,19980815121510ES,DEFPM,Alan Trader,N,104392,WXYZ,78912345,DEFPM,912876543,N,X/WXYZ/AAA-DDD//,A AA,DDD,AAA,ZZZ,50,DAILY,NON-FIRM,POINT_TO_POINT,FULL_PERIOD,FIXED,,3,,19980817000000ES,199808 18000000ES,102.00,90.00,80.00,$/MW-Day,N,,SC:M;RF:M,,,,,,QUEUED,,,19980815121510ES,,19980815121510ES,,,,Company Default,123-456-7800,123-456-7801,,Alan Trader,312-678-9104,312-678-9100,a.trader@defmarketing.com(
I,,,,Y,,,,,,,,,,,,75,,,,,,,,,19980818000000ES,19980819000000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
I,,,,Y,,,,,,,,,,,,100,,,,,,,,,19980819000000ES,19980820000000ES,,,,,,,,,,,,,,,,,,,,,,,,,,,,, (
First, this example shows the handling of continuation records which conveyed a time varying demand of 50 MW on 8/17, 75 MW on 8/18, and 100 MW on 8/19. This demand profile was initially entered with the original reservation request (transrequest Template) at 12:15 on 8/15 by Alan Trader. Since the Data Elements associated with the profile were never modified, the intervening audit response records do not repeat the data from these continuation records.
As part of the original reservation, Alan Trader attempted to negotiate a price for service of $80.00 /MW-Day. Jane Doe responded to this request with a counter offer at the rate of $85.00 /MW-Day at 12:41 on 8/15. Since the status of COUNTEROFFER constitutes acceptance of all terms of the reservation except price (i.e., transmission capability has been evaluated and is available), the RESPONSE_TIME_LIMIT Data Element has been updated to reflect the time by which the customer must confirm service (assuming the establishment of customer confirmation time limits is approved by FERC). 
At 12:48, Alan Trader attempted to negotiate further for a rate of $82.00 /MWDay and the reservation status was set to REBID. Jane Doe responded at 12:50 with a second counter offer restating a rate of $85.00, which Alan Trader finally agreed to at 13:16 on 8/15. The current posted information on OASIS shows this final CONFIRMED reservation.


Page 1 of 48

