[image: image1.png]\

o

l





NAESB Open Access Same-Time Information Systems (OASIS) Data Dictionary – WEQ-003

	003-0
OASIS DATA DICTIONARY

	Data Dictionary Element Name
	Alias
	Field Format :
minimum characters  
{type of ASCII} 
maximum characters
	Restricted Values
	Definition of Data Element

	AFFILIATE_FLAG
	AFFLAG
	{ALPHANUMERIC}3
	Valid Values

YES

NO
	Set to YES if customer is an affiliate of the provider

	ANC_SERVICE_POINT
	ANCPOINT
	0{ALPHANUMERIC}12
	Free form text, null can be used if there is no ancillary service point other than the control area
	Name of ancillary service point within a control area, such as a POR/POD/SOURCE/SINK from which the ancillary service is provided

	ANNOTATION
	ANNOTATE
	0{ALPHANUMERIC}255
	Free-form text
	Used to provide additional notes, comments or other descriptive information with the posted event.

	AS_TYPE
	ASTYPE
	1{ALPHANUMERIC}20
	Valid types

·
EI

·
SP

·
SU

·
RV

·
RF

·
SC

·
DT

·
TL

·
BS

·
{Registered}
	EI - Energy Imbalance

SP - Spinning Reserve

SU - Supplemental Reserve

RV - Reactive supply and Voltage Control

RF- Regulation and Frequency response

SC- Scheduling, system Control and Dispatch

DT - Dynamic Transfer

TL - Real power Transmission Loss

BS - System Black Start capability

{Registered} must be registered with www.tsin.com and listed in the ANCSERV Template

	ANC_SVC_LINK
	ANCSVCLINK
	0{ALPHANUMERIC}300
	Formatted string as follows:

SC:(AA[:xxx[:yyy[:nnn] ]]); RV:(AA[:xxx[:yyy[:nnn ]]]); RF:(AA[:xxx[:yyy[:nnn] ]]); EI:(AA[:xxx[:yyy[:nnn]] ]); 

SP:(AA[:xxx[:yyy[:nnn] ]]); SU:(AA[:xxx[:yyy[:nnn] ]]);

{Registered}:(AA[:xxx[ :yyy[:nnn]]])
	The method for linking ancillary services to a transmission service request. The provider and capacity of each ancillary service is identified using the formatted string:

SC:(AA[:xxx[:yyy[:nnn]]]); RV:(AA[:xxx[:yyy[:nnn]]]); RF:(AA[:xxx[:yyy[:nnn]]]); EI:(AA[:xxx[:yyy[:nnn]]]); 

SP:(AA[:xxx[:yyy[:nnn]]]); SU:(AA[:xxx[:yyy[:nnn]]]); {Registered}:(AA[:xxx[:yyy[:nnn]]])

where AA is the appropriate PRIMARY_PROVIDER_CODE, SELLER_CODE, or CUSTOMER_CODE, and represents the company providing the ancillary services. "AA" may be unspecified for "xxx" type identical to "FT", in which case the ":" character must be present and precede the "FT" type.

If  multiple "AA" terms are necessary, then each "AA" grouping will be enclosed within parenthesis, with the overall group subordinate to the AS_TYPE specified within parenthesis and where xxx represents either:

- "FT" to indicate that the Customer will determine ancillary services at a future time, or

	ANC_SVC_LINK (cont.)
	
	
	
	- "SP" to indicate that the Customer will self-provide the ancillary services, or

- "RQ" to indicate that the Customer is asking the OASIS Node to initiate the process for making an ancillary services reservation with the indicated Provider or Seller on behalf of the Customer. The Customer must then continue the reservation process with the Provider or Seller. If the transmission services request is for preconfirmed service, then the ancillary services shall also be preconfirmed, or

- "AR" to indicate an assignment reference number sequence follows.The terms "yyy" and "nnn" are subordinate to the xxx type of "AR". yyy represents the ancillary services reservation number (ASSIGNMENT_REF) and nnn represents the capacity of the reserved ancillary services. Square brackets are used to indicated optional elements and are not used in the actual linkage itself. Specifically, the :yyy is applicable to only the "AR" term and the :nnn may optionally be left off if the capacity of ancillary services is the same as for the transmission services, and optionally multiple ancillary reservations may be indicated by additional (xxx[:yyy[:nnn]]) enclosed within parenthesis. If no capacity amount is indicated, the required capacity is assumed to come from the ancillary reservations in the order indicated in the codes, on an "as-needed" basis.

	ANC_SVC_REQ 
	ANCSVCREQ
	0{ALPHANUMERIC}100
	EI:{M,R,O,U}; SP:{M,R,O,U}; SU:{M,R,O,U}; RV:{M,R,O,U}; RF:{M,R,O,U}; SC:{M,R,O,U};

{registered}:{M,R,O,U }  
	Ancillary services required for a transmission services offering. The appropriate letter {M,R,O,U} will be assigned to each of the six Proforma Ferc ancillary services (see AS_TYPE), where the letters mean the following:

·
(M) Mandatory, which implies that the Primary Provider must provide the ancillary service 

·
(R) Required, which implies that the ancillary service is required, but not necessarily from the Primary Provider

·
(O) Optional, which implies that the ancillary service is not necessarily required, but could be provided

·
(U) Unknown, which implies that the requirements for the ancillary service are not known at this time

	ASSIGNMENT_REF
	AREF
	1{ALPHANUMERIC}12
	Unique value
	A unique reference number assigned by a Transmission Information Provider to provide a unique record for each transmission or ancillary service request. A single transmission or ancillary service request will be over a contiguous time period, i.e. from a START_TIME to an STOP_TIME.

	ATTRIBUTE_UNITS
	ATTRUNITS
	1{ALPHANUMERIC}20
	Free form text
	System data attribute units

	ATTRIBUTE_VALUE
	ATTRVALUE
	1{NUMERIC}12
	Real number
	System data attribute value

	BID_CAPACITY
	BIDCAP
	0{NUMERIC}12
	Number in units of MW
	Amount of bid transfer capacity being requested to readily move or transfer power from one area to another over all transmission lines (or paths) between those areas under specified system conditions. In this context "area" may be an individual electric system, powerpool, control area, subregion, or NERC region or portion thereof.

	BID_PRICE
	BIDPR
	1{NUMERIC}5  + "."

+ 2{NUMERIC}4
	Positive number with 2  to 4 decimals
	The current bid price of a Service in dollars and cents. Used by Customers to designate a price being bid.

	BID_START_TIME
	BIDSTTIME
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Start date and clock time of a service bid. When used as a Query Variable, it requires the return of all items whose Stop time is after the Start time. 

Note that for some Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be truncated to valid hour, day or month.

	BID_STOP_TIME
	BIDSPTIME
	16{ALPHANUMERIC}16
	Valid date and time

yyyy+mo+dd+hh

+mm+ss+tz
	Stop date and clock time of a service bid. When used as a Query Variable, it requires the return of all items which start before the Stop time. 

Note that for some Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be increased to include BID_STOP_TIME.

	CAPACITY
	CAP
	0{NUMERIC}12
	Number in units of MW
	Transfer capability is the measure of the ability of the interconnected electric system to readily move or transfer power from one area to another over all transmission lines (or paths) between those areas under specified system conditions. In this context "area" may be an individual electric system, powerpool, control area, subregion, or NERC region or portion thereof.

	CAPACITY_AVAILABLE
	CAPAVAIL
	0{NUMERIC}12
	Non-negative number in units of MW
	Amount of transmission capacity available after  all the reductions are applied to CAPACITY_GRANTED over the time interval

	CAPACITY_CURTAILED
	CAPCUR
	1{NUMERIC}12
	Non-negative number in units of MW
	The amount of transfer capability curtailed by the Primary provider for emergency reasons.

	CAPACITY_GRANTED
	CAPGRNT
	0{NUMERIC}12
	Non-negative number in units of MW
	The amount of capacity granted by the seller equal to or less than CAPACITY_REQUESTED by the TC.

	CAPACITY_REDUCED
	CAPREDU
	0{NUMERIC}12
	Negative number in units of MW
	Amount of transmission capacity reduced

	
	
	
	
	

	CAPACITY_USED
	CAPUSED
	0{NUMERIC}12
	Non-negative number in units of MW
	CAPACITY_USED reflects the peak MW amount of the reservation used to support the scheduled transaction

	CATEGORY
	CAT
	0{ALPHANUMERIC}25
	Valid name from CATEGORY in LIST Template
	A name to be used to categorize messages. Valid names would include: , Want-Ad, Curtailment, Outage, OASIS_Maintenance_Outage

	CEILING_PRICE
	CEILPR
	1{NUMERIC}5  + "." 

+ 2{NUMERIC}4 
	Positive number with 2  to 4 decimals
	Ceiling price of the Service as entered by the Transmission Provider.

	COLUMN_HEADERS
	HEADERS
	1{ALPHANUMERIC} Limited to all the elements names in one Template
	Headers surrounded with " " and separated by commas. Limited to valid Template element names. Must use full element name and not alias.
	Example:

COLUMN_HEADER=APATH_NAME","POI NT_OF_RECEIPT","POINT_OF_DELIVER Y","SOURCE","SINK"

	COMPETING_REQU EST_FLAG
	COMPREQ
	1{ALPHANUMERIC}1
	"Y" or "N"
	If "Y", indicates there is one or more competing requests for this reservation. The competing request AREFs are listed in the SELLER_COMMENTS

	CONTINUATION_FLAG
	CONT
	1{ALPHANUMERIC}1
	"Y" or "N"
	Indicates whether or not  this record is a continuation from the previous record

	CONTROL_AREA
	AREA
	1{ALPHANUMERIC}20
	Valid name of a control area
	A part of the power system with metered tie lines and capable of matching generation and load while meeting scheduled interchange. Location of Ancillary Services is my CONTROL_AREA.

	CURTAILMENT_OPT IONS
	CUROPT
	0{ALPHANUMERIC}80
	Free form text
	Customer options, if any, to avoid curtailment

	CUSTOMER_CODE
	CUST
	1{ALPHANUMERIC}6 
	Unique value, registered on TSIN.COM
	Any entity (or its designated agent) that is eligible to view OASIS information, to execute a service agreement, and/or to receive transmission service.

	CUSTOMER_COMM ENTS
	CUSTCOM
	0{ALPHANUMERIC}255
	Free-form text
	Informative text. For information to be communicated between the customer and seller.

	CUSTOMER_DUNS
	CUSTDUNS
	9{NUMERIC}9
	Unique DUNS number
	Unique DUNS number for a Customer

	CUSTOMER_EMAIL
	CUSTEMAIL
	1{ALPHANUMERIC}25
	Valid Internet E-Mail address
	Internet E-Mail address of Customer contact person

	CUSTOMER_FAX
	CUSTFAX
	14{ALPHANUMERIC}20
	Area code and telephone number, plus any extensions

(aaa)-nnn-nnnn xnnnn
	FAX phone number of Customer contact person

	CUSTOMER_NAME
	CUSTNAME
	1{ALPHANUMERIC}25
	Free form text
	Name of Customer contact person

	CUSTOMER_PHONE
	CUSTPHON
	14{ALPHANUMERIC}20
	Area code and telephone number, plus any extensions

(aaa)-nnn-nnnn xnnnn
	Telephone of Customer contact person

	DATA_ROWS
	ROWS
	1{NUMERIC}unlimited
	Positive Number 
	Number of records (rows) of data exclusive of header information that are to be uploaded or downloaded in a file.

	DATE_TIME_EFFECTIVE
	TIMEEFCT
	16{ALPHANUMERIC}16 
	Valid date and time in seconds

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time a message or service offer is in effect

	DEAL_REF 
	DREF
	0{ALPHANUMERIC}12 
	Unique value, Assigned by Customer
	The unique reference assigned by a Customer  to two or more service purchases to identify each of them as related to others in the same power service deal. These requests may be related to each other in time sequence through a single Provider, or as a series of wheels through multiple Providers, or a combination of both time and wheels. The User uses the DEAL_REF to uniquely identify a combination of requests relating to a particular deal. 

	DISCRETION_DESCRIPTION
	DISCDESC
	0{ALPHANUMERIC}1000
	Free form text
	A detailed description of the discretion being reported

	ELEMENT_NAME
	ELEMENT
	1{ALPHANUMERIC}40
	Valid Template element name
	Template element name as indicated in data dictionary

	EMPLOYEE_NAME
	EMPNAME
	1{ALPHANUMERIC}25
	Free form text
	Name of  person who is transferring from one position to another

	ERROR_MESSAGE
	ERROR
	1{ALPHANUMERIC}250
	Free form text
	Error message related to a RECORD_STATUS or REQUEST_STATUS

	EVENT_ID
	EVENTID
	0{ALPHANUMERIC}25
	Free form text
	The EVENT_ID Data Element is any regional or interconnection-wide recognized security event identifier for events that are of greater scope than those administered locally by the Provider (e.g., a NERC Security Coordinator assigned identifier corresponding to a particular implementation of the NERC TLR procedure).   

	FACILITY_CLASS
	FACLASS
	0{ALPHANUMERIC}25
	Free form text, for example:

TRANSFORMER,

LINE,

FLOWGATE

Or as defined in the LIST Template
	Type of limiting device such as ‘transformer’, ‘line’  or ‘flowgate’

	FACILITY_LIMIT_TYPE
	FACLIMTYP
	0{ALPHANUMERIC}25
	thermal, stability, voltage or defined in LIST Template
	For example: thermal, stability, voltage

	FACILITY_LOCATION
	FACLOC
	0{ALPHANUMERIC}8
	Free form text, for example:

INTERNAL 

EXTERNAL

Or as defined in the LIST Template
	Location of facility that caused the interruption, either internal to the TP or external to the TP grid

	FACILITY_NAME
	FACNAME
	0{ALPHANUMERIC}100
	Free form text
	Name of facility, such as name of path or name of flowgate

	FORMER_COMPANY
	FORMCO
	1{ALPHANUMERIC}25
	Free form text
	Former company of the person who is transferring

	FORMER_DEPARTM ENT
	FORMDEPT
	1{ALPHANUMERIC}52
	Free form text
	Former department of the person who is transferring

	FORMER_POSITION
	FORMPOS
	1{ALPHANUMERIC}25
	Free form text
	Former position held by the person who is transferring

	GCA_CODE
	GCA
	1{ALPHANUMERIC}4
	Registered control area company code
	Generator Control Area Code. Information from Tag

	IMPACTED
	IMPACTED
	0{NUMERIC}4
	Number
	Indicates whether the reservation has been impacted by another reservation.  For an original reservation this counter is 0. This counter is incremented by 1  by TSIP on the parent request when its ASSIGNMENT_REF is entered in any other reservation’s REASSIGNED_REF or RELATED_REF or in entered in any reduction. 

	IMPACTING_REF
	IMPACTRE F
	0{ALPHANUMERIC}12
	Unique reference
	IMPACTING_REF references the ASSIGNMENT_REF of the associated transmission reservation (if applicable) that caused the reduction in capacity

	INITIATING_PARTY
	INITPARTY
	0{ALPHANUMERIC}4
	Registered company code for a Transmission Provider (TP), Security Coordinator (SC) or Control Area (CA)
	Company code for company responsible for initiating execution of a transmission security procedure.

	INTERFACE_TYPE
	INTERFACE
	0{ALPHANUMERIC}1
	I,E
	Type of interface define by path: Internal (I) to a control area or External (E) to a control area

	LCA_CODE
	LCACODE
	0{ALPHANUMERIC}4
	Valid registered control area code
	Load Control Area registered code. Information comes from tag

	LIST_ITEM
	ITEM
	1{ALPHANUMERIC}50
	Free form text
	Item from LIST, such as list of SELLER, list of PATH_NAME, list of POINT_OF_RECEIPT, list of POINT_OF_DELIVERY, list of SERVICE_INCREMENT,  list of TS_CLASS, list of TS_TYPE, list of TS_PERIOD, list of TS_WINDOW, list of TS_SUBCLASS, list of AS_TYPE, list of REQUEST_TYPE,  list of ANC_SERVICE_POINT,  list of FACILITY_CLASS, list of FACILITY_LIMIT_TYPE, list of PROCEDURE_NAME, list of SYSTEM_ATTIBUTE,  list of SECURITY_TYPE, list of FACILITY_LOCATION, list of  NERC_CURTAILMENT_PRIORITY, list of OTHER_CURTAILMENT_PRIORITY, list of CATEGORY, list of TEMPLATE, list of LIST

	LIST_ITEM_DESCRIPTION
	ITEMDESC
	0{ALPHANUMERIC}100
	Free form text
	A detailed description of the LIST_ITEM

	LIST_NAME
	LIST
	1{ALPHANUMERIC}50
	LIST, SELLER, PATH, POR, POD,  SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_SUBCLASS,  AS_TYPE, NERC_CURTAILMENT_PRIORITY,  REQUEST_TYPE, 

ANC_SERVICE_POINT, 

FACILITY_CLASS, 

FACILITY_LIMIT_TYPE, 

PROCEDURE_NAME, 

SYSTEM_ATTRIBUTE, 

SECURITY_TYPE, 

FACILITY_LOCATION,  OTHER_CURTAILMENT_PRIORITY,  CATEGORY, TEMPLATE
	List of valid names for each of the types of lists. The minimum set of lists defined must be implemented.

	MESSAGE
	MSG
	1{ALPHANUMERIC}200
	Free form text
	An informative text message

	MODIFYING_COMPANY_CODE
	MODCODE
	1{ALPHANUMERIC}6
	Registered company code for a TP, SC or CA
	Contains the registered company code that modified the transaction, used in the audit Templates

	MODIFYING_NAME
	MODNAME
	0{ALPHANUMERIC}25
	free form text
	Contain the name of the person that modified the transaction, used in the audit Templates

	MODIFICATION_REF
	MODREF
	1{ALPHANUMERIC}12
	Valid ASSIGNMENT_REF
	Forward pointer. Pointing  to next reservation that replaces the current reservation

	NEGOTIATED_PRICE_FLAG
	NGPRIFLG
	0{ALPHANUMERIC}1
	H, L, or blank
	Set to H if OFFER_PRICE is higher than the currently posted price; set to L if OFFER_PRICE is lower than the currently posted price

	NERC_CURTAILMENT_PRIORITY
	NERCURT
	1{INTEGER}1
	Integer
	One of the NERC curtailment priorities, documented in LIST Template

	NEW_COMPANY
	NEWCO
	1{ALPHANUMERIC}25
	Free form text
	New company of the person who is transferring

	NEW_DEPARTMENT
	NEWDEPT
	1{ALPHANUMERIC}52
	Free form text
	New department of the person who is transferring

	NEW_POSITION
	NEWPOS
	1{ALPHANUMERIC}25
	Free form text
	New position held by the person who is transferring

	OFFER_CAPACITY
	OFFCAP
	0{NUMERIC}12
	Non-negative number in units of MW
	Amount of transmission capacity that a Customer may offer from an existing confirmed reservation.

	OFFER_INCREMENT
	OFRINCR
	1{ALPHANUMERIC}8
	Valid increments

·
HOURLY

·
DAILY

·
WEEKLY

·
MONTHLY

·
YEARLY

·
{Registered}
	Set by the Seller to indicate to potential Customers the increment of service the Seller will accept in a purchase request.  
The transmission service increments provided. Five are pre-defined, while additional increments can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template

	OFFER_PRICE
	OFFPR
	1{NUMERIC}5  + "." 

+ 2{NUMERIC}4 
	Positive number with 2 to 4 decimals
	The current offered price of a Service in dollars and cents. Used by the Seller to indicate the offering price.

	OFFER_START_TIME
	OFFSTIME
	0,16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Start time of the window during which a Customer may request an offer. If null, no restrictions on the start of the offering time is implied (other than tariff requirements).

	OFFER_STOP_TIME
	OFFSPTIME
	0,16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Stop time of the window during which a Customer may request an offer. (Expiration time of an offer). If null, no restrictions on the end of the offering time is implied (other than tariff requirements).

	OPTIONAL_CODE
	N/A
	0{ALPHANUMERIC}25
	Unique path name within region
	OPTIONAL_CODE - 25 chars, unique for Path. If used for directionality, then the first 12 characters shall represent POR, followed by "-", followed by 12 characters which shall represent POD. Used by PATH_NAME.

	OTHER_CURTAILMENT_PRIORITY
	OTHCUR
	0{ALPHANUMERIC}8
	Valid Values:

{Registered}
	Other than NERC curtailment priorities, such as regional curtailment priorities. Suggested format region+number, for example MAPP4, WSCC7. Documented in LIST Template and registered with central registry.

	OUTPUT_FORMAT
	FMT
	4{ALPHANUMERIC}4
	HTML, DATA
	Format of response:

HTML =  hypertext markup language for         presentation using a web browser

DATA = text for use in a downloaded file.

	PATH_CODE
	N/A
	0{ALPHANUMERIC}12
	Unique code for each path as defined by primary provider
	Unique code within a Region for each path. Used by PATH_NAME

	
	
	
	
	







	
	
	
	
	

	
	
	

	
	

	POSTING_NAME
	POSTNAME
	1{ALPHANUMERIC}25
	Free form text
	Name of person who is posting the information on the OASIS Node

	POSTING_REF
	POSTREF
	1{ALPHANUMERIC}12
	Unique Value
	Assigned by TSIP when Service or Message is received by TSIP. Unique reference can be used by the user to modify or delete the posting.

	PRECONFIRMED
	PRECONF
	2{ALPHA}3
	YES or NO
	Used by Customer to preconfirm sale in Template TRANSREQUEST or ANCREQUEST. If customer indicates sale is preconfirmed, then the response is YES and the customer does not need to confirm the sale.

	PRICE_UNITS
	UNITS
	0(ALPHA)20
	Free form text
	The units used for CEILING_PRICE, OFFER_PRICE, and BID_PRICE. 

Examples: $/MWhr, $/MWmonth

	PRIMARY_PROVIDER_CODE
	PROVIDER
	1{ALPHANUMERIC}4
	Unique code
	Unique code for each Primary Provider. Used by PATH_NAME and in URL. Registered as part of URL at www.tsin.com.

	PRIMARY_PROVIDER_COMMENTS
	PPROVCOM
	0{ALPHANUMERIC}255
	Free-form text
	Informative text. Usually entered by the Primary Provider through a back end system. For information communicated between primary transmission provider and all other parties.

	PRIMARY_PROVIDER_CONDITIONS
	PPCOND
	
	
	

	PRIMARY_PROVIDER_DUNS
	PPROVDUNS
	9{NUMERIC}9
	Valid DUNS number
	Unique code for each Primary. Provided by Dun and Bradstreet.

	PRIMARY_PROVIDER_STATUS
	PPSTAT
	5{ALPHANUMERIC}25
	Valid field  (QUEUED, INVALID, RECEIVED, STUDY, REBID, COUNTEROFFER, DECLINED, SUPERSEDED, ACCEPTED, REFUSED, CONFIRMED, WITHDRAWN,  DISPLACED, ANNULLED, RETRACTED)
	Transmission Provider Status.  

QUEUED =
initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID =
assigned by TSIP or Primary Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED=
assigned by Primary Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY=
assigned by Primary Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED =
assigned by Primary Provider or Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state). 
COUNTEROFFER= assigned by Primary Provider or Seller to indicate that a new OFFER_PRICE and/or OFFER_CAPACITY over time is being proposed in the negotiation of requested service (i.e., offering of partial service or negotiation of price).

REBID = assigned by Customer to indicate that a new BID_PRICE and/or BID_CAPACITY over time is being proposed.

SUPERSEDED =
assigned by Primary Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED =  
assigned by Primary Provider or Seller to indicate the service request at the designated BID_PRICE and BID_CAPACITY has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.
DECLINED = 
assigned by the Primary Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE,  are unacceptable and that negotiations are terminated or that contractual terms have not been met. (Final state). RETRACTED =
assigned by Primary Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN = assigned by the Customer at any point in request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED =
assigned by the Customer in response to the Primary Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED", a transmission service reservation exits. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED =
assigned by Primary Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation, and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final State.)
ANNULLED = assigned by the Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided, or assigned unilaterally by the Primary Provider when a confirmed reservation is to be voided. (Final State)


	PROCEDURE_NAME
	PROCNAM E
	0{ALPHANUMERIC}25
	Valid Names:

NERC TLR

WSCC USF

{Registered}


	Name of a transmission security procedure:

- NERC TLR as defined in NERC Policy 9

- WSCC USF as defined in WSCC Policy

- Local procedure as registered by Transmission Providers



	PROCEDURE_LEVEL
	PROCLVL
	1{ALPHANUMERIC}25
	Valid Levels:

(NERC TLR Levels}

{WSCC USF Levels}
{Registered}
	Levels or stages associated with actions to be taken in implementation of a transmission security procedure as defined in:

- NERC Policy 9 for the NERC TLR procedure

- WSCC Policy for the WSCC USF procedure

- Local procedures as registered by Transmission Providers

	PROVIDER_ACTION
	PROVACT
	1{ALPHANUMERIC}25
	Free form text, for example:

DENIED

CURTAILED

INTERRUPTED
	PROVIDER_ACTION indicates the particular action taken by the Transmission Provider with respect to the scheduled transaction; specific values to be returned are, DENIED if the schedule was not started as requested, CURTAILED if the scheduled MW was limited for reliability reasons, or INTERRUPTED if the scheduled MW was limited for economic reasons.  

	REASSESSMENT_DUE_TIME
	RASMTTIME
	16{ALPHANUMERIC}16  
	Valid date and time to seconds:

yyyy+mo+dd+hh+tz 
	

	REASSIGNED_CAPACITY 
	RASCAP
	1{NUMERIC}12
	Positive number, cannot exceed previous assigned capacity 
	The amount of transfer capability that was reassigned from one entity to another.

	REASSIGNED_REF
	REREF
	1{ALPHANUMERIC}12
	Unique value
	REASSIGNED_REF contains the ASSIGNMENT_REF of any preceding (parent) requests that are affected by this request. Used only for secondary market sales. 

	REASSIGNED_START_TIME
	RESSTIME
	16{ALPHANUMERIC}16  
	Valid date and time to seconds:

yyyy+mo+dd+hh+tz 
	Beginning date and time of the reassigned transmission service

	REASSIGNED_STOP_TIME
	RESSPTIME
	16{ALPHANUMERIC}16  
	Valid date and time to hour:

yyyy+mo+dd+hh+tz 
	Date and time of the end of the transmission service that is reassigned to another User.

	RECORD_STATUS
	RECSTATUS
	1{NUMERIC}3
	Error number
	Record status indicating record was successful or error code if unsuccessful. 

200 = Successful

	RECORD_TYPE
	RECTYPE
	1{ALPHA}1
	Valid Types:

I

U

D
	Indicates the type of information reported in a response record generated by an audit Template.  "I" designates information as it was initially inserted (posted) on OASIS; "U" designates information updated (modified) on OASIS; "D" designates deleted information as it appeared on OASIS just prior to being deleted (as appropriate).

	REDUCTION_REASON
	REDREAS
	1{ALPHANUMERIC}50
	Free form text
	Reason for the reduction

	REDUCTION_TYPE
	REDTYPE
	1{ALPHANUMERIC}25
	Free form text
	Type of reduction such as REDIRECT, INTERRUPTION, RESALE, DISPLACEMENT

	REGION_CODE
	N/A
	1{ALPHANUMERIC}2
	Unique within OASIS System 
	Defined for NERC regions, with the following defined:

E - ECAR

I - MAIN

S - SERC

T - ERCOT

A - MAPP

P - SPP

M - MAAC

N - NPCC

W - WSCC

F - FRCC

Second character or digit reserved for subregion id as defined by each region.

	RELATED_REF
	RELREF
	1{ALPHANUMERIC}12
	Unique reference
	Contains the ASSIGNMENT_REF of any preceding (parent) requests that are affected by this request

	RENEWAL_DUE_TIME
	RENEWTIME
	16{ALPHANUMERIC}16  
	Valid date and time to seconds:

yyyy+mo+dd+hh+tz 
	

	REQUEST_REF
	RREF
	0{ALPHANUMERIC}12
	Unique value
	A reference uniquely assigned by a Customer to a request for service from a Provider.

	REQUEST_STATUS
	RSTATUS
	1{NUMERIC}3
	Error number
	Message status indicating message was successful (if all RECORD_STATUS show success) or error code if any RECORD_STATUS showed unsuccessful. 

200 = Successful

	REQUEST_TYPE
	REQTYPE
	1{ALPHA}30
	Valid Types:

ORIGINAL

RESALE

RENEWAL

MATCHING

DEFERRAL

REDIRECT
RELINQUISH
FULL_TRANSFER

PART_TRANSFER

RECALL
{Registered}
	ORIGINAL = typical reservation requests submitted to the Primary Provider (as the Seller of the transmission or ancillary service).
RESALE = secondary market requests submitted to a Transmission Customer as Secondary Provider.
RENEWAL = request to renew an expiring transmission reservation that has rollover rights.
MATCHING = request to meet or exceed a competing request to retain transmission service (right of first refusal).
DEFERRAL = request to defer or apply for extension on start of transmission service.
REDIRECT = request to redirect all or portion of a transmission reservation to an alternate POR/POD and/or make other changes to the terms of service as permitted.

RELINQUISH = request to release all or a portion of the capacity of a Redirect on a Non-Firm basis to the Firm Parent Reservation.
FULL_TRANSFER = request to transfer all capacity, rights, encumbrances and obligations, including financial liability to the TP, from one Transmission Customer to another.
PART_TRANSFER = request to transfer a portion,  but not all, capacity, and all rights, and obligations, including financial liability associated with the transferred capacity to the TP, from one Transmission Customer to another.  No encumbrances (resales, etc) may be transferred with a PART_TRANSFER.

RECALL = request submitted by the Seller (Reseller or Primary Transmission  Provider) to take back all or a portion of the capacity of a transmission reservation
{registered} = Primary Provider's may register values for REQUEST_TYPE to implement specific provisions of their Tariffs.

	RESPONSE_TIME_LIMIT
	RESPTL
	16{ALPHANUMERIC}16
	Valid date and time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time to seconds by when a response must be received from a Customer

	RESPONSIBLE_PARTY
	PARTY
	1{ALPHANUMERIC}4
	Registered company code for a TP, SC or CA
	The company code of the entity responsible for administering a transmission security procedure.

	RESPONSIBLE_PARTY_ NAME 
	PARTNAME
	1{ALPHANUMERIC}25
	Free form text 
	The name of the person responsible for granting the discretion.

	RETURN_TZ
	TZ
	2{ALPHANUMERIC}2
	AD, AS, PD, PS, ED, ES, MD, MS, CD,CS, UT
	A time zone code, indicating the base time zone, and whether daylight saving time is to be used. This field may be set by a Customer in a query. Returned date and time data is converted to this time zone.

	ROLLOVER_CAPACITY
	ROLLCAP
	0{NUMERIC}12
	Non-negative number in units of MW
	

	ROLLOVER_START_TIME
	ROLLSTTIME
	0,16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	

	ROLLOVER_STOP_TIME
	ROLLSPTIME
	0,16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	

	SALE_REF
	SREF
	0{ALPHANUMERIC}12
	Unique value 
	Identifier which is set by seller (including Primary Provider) when posting a service for sale

	SCHEDULE_GRANTED
	SCHEDGRNTED
	0{NUMERIC}12
	Non-negative number in units of MW
	SCHEDULE_GRANTED reflects the MW value of energy actually scheduled by the Transmission Provider at either the point of receipt or delivery, whichever is larger, over the START_TIME/STOP_TIME time interval

	SCHEDULE_LIMIT
	SCHEDULELIM
	0{NUMERIC}12
	Non-negative number in units of MW
	SCHEDULE_LIMIT reflects the maximum MW value over the START_TIME/STOP_TIME interval that the Provider has determined can be scheduled

	SCHEDULE_PRIORITY
	SPRIORITY
	0{NUMERIC}2
	Positive Number
	SCHEDULE_PRIORITY identifies the relative priority of this particular interchange transaction as compared to all other scheduled transactions with respect to the application of curtailments or interruptions.  SCHEDULE_PRIORITY would typically reflect the curtailment priority Data Elements associated with the OASIS transmission reservation used to support the schedule (i.e., NERC_CURTAILMENT_PRIORITY or OTHER_CURTAILMENT_PRIORITY).  

	SCHEDULE_REF
	SCHDREF
	0{ALPHANUMERIC}20
	Unique reference
	Unique reference assigned by Transmission Provider to a posting of a schedule information

	SCHEDULE_REQUESTED
	SCHEDULEREQ
	0{NUMERIC}12
	Non-negative number in units of MW
	Scheduled energy requested by the Transmission Customer (TC)

	SECURITY_REF
	SECREF
	1{ALPHANUMERIC}10
	Unique value
	Unique value generated by company initiating the security for each security event in the SECURITY Template.

	SECURITY_TYPE
	SECTYPE
	1{ALPHANUMERIC}6
	Valid Values:

OUTAGE

LIMIT
	SECURITY_TYPE identifies the type of information posted for the event; restricted values are OUTAGE for postings reflecting the state of critical transmission facilities, and LIMIT for postings reflecting the implementation of security procedures to limit or reduce scheduled transactions.

	SELLER_CODE
	SELLER
	1{ALPHANUMERIC}6
	Unique value
	Organization name of Primary Provider or Reseller. 

	SELLER_COMMENTS
	SELCOM
	0{ALPHANUMERIC}255
	Free-form text
	Informative text provided by the Seller. For information communicated between the seller (either Primary Provider or reseller) to the
 customer of the services. 

	SELLER_DUNS
	SELDUNS
	9{NUMERIC}9
	Valid DUNS number
	Unique Data Universal Numbering System provided by Dun and Bradstreet. Code for a Primary Provider or Seller.

	SELLER_EMAIL
	SELEMAIL
	5{ALPHANUMERIC}60
	Valid network reference
	E-Mail address of Seller contact person

	SELLER_FAX 
	SELFAX
	14{ALPHANUMERIC}20
	Area code and telephone number, plus any extensions

Example: (aaa)-nnn-nnnn xnnnn
	The fax telephone number for contact person at Seller.

	SELLER_NAME 
	SELNAME
	1{ALPHANUMERIC}25
	Free form text 
	The name of an individual contact person at the Seller.

	SELLER_PHONE 
	SELPHONE
	14{ALPHANUMERIC}20
	Area code and telephone number, plus any extensions

(aaa)-nnn-nnnn xnnnn
	The telephone number of a contact person as a Seller

	SELLER_REF
	SELREF
	0{ALPHANUMERIC}12
	Free-form text
	Identifier which is set by seller (including Primary Provider) to uniquely identify reservation requests for seller’s own internal use

	SERVICE_DESCRIPTION 
	SVCDESC
	0{ALPHANUMERIC}200 
	Free-form text
	Information regarding a service.

	SERVICE_INCREMENT
	SRVINCR
	1{ALPHANUMERIC}8
	Valid increments

·
HOURLY

·
DAILY

·
WEEKLY

·
MONTHLY

·
YEARLY

·
{Registered}
	The transmission service increments provided. Five are pre-defined, while additional increments can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template

	SERVICE_NAME 
	SVCNAME
	1{ALPHANUMERIC}25
	Free-form text
	Name of service affected by the discretionary action

	SERVICE_TYPE
	SVCTYPE
	1{ALPHANUMERIC}25
	Free-form text
	Type of service affected by the discretionary action.

	SINK
	SINK
	0{ALPHANUMERIC}14
	Valid  area  name
	The area in which the SINK is located.

	SOURCE
	SOURCE
	0{ALPHANUMERIC}14
	Valid  area  name
	The area in which the SOURCE is located.

	SPARE_CODE
	N/A
	0{ALPHANUMERIC}3
	Defined by region
	Spare code to be used at a later time. Used by PATH_NAME

	STANDARDS_OF_CONDUCT_ISSUES
	STDISSUE
	0{ALPHANUMERIC}800
	Free-form text
	Issues that were in violation of the FERC Standards of Conduct. This text may include a reference pointer to a more detailed description.

	START_TIME
	STIME
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Start date and clock time of a service. When used as a Query Variable, it requires the return of all items whose Stop time is after the Start time. 

Note that for some Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be truncated to valid hour, day or month.

	START_TIME_POSTED
	STIMEP
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Query parameter to indicate all the records are to be retrieved that were posted on or after this time.

	START_TIME_QUEUED
	STIMEQ
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Start date and clock time of a service, used for requesting transactions queued after this time

	STATUS
	STATUS
	5{ALPHANUMERIC}25
	Valid field  (QUEUED, INVALID, RECEIVED, STUDY, REBID, COUNTEROFFER, DECLINED, SUPERSEDED, ACCEPTED, REFUSED, CONFIRMED, WITHDRAWN,  DISPLACED, ANNULLED, RETRACTED)
	QUEUED =
initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID =
assigned by TSIP or Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED=
assigned by Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY=
assigned by Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED =
assigned by Provider or Seller to indicate service request has been denied due to lack of availability of transmission capability. SELLER_COMMENTS should be used to communicate details for denial of service. (Final state).

	STATUS (cont.)
	
	
	Valid field  (QUEUED, INVALID, RECEIVED, STUDY, REBID, COUNTEROFFER, DECLINED, SUPERSEDED, ACCEPTED, REFUSED, CONFIRMED, WITHDRAWN,  DISPLACED, ANNULLED, RETRACTED)
	QUEUED =
initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID =
assigned by TSIP or Primary Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED=
assigned by Primary Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY=
assigned by Primary Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED =
assigned by Primary Provider or Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state). 

	STATUS (cont.)
	
	
	
	COUNTEROFFER= assigned by Primary Provider or Seller to indicate that a new OFFER_PRICE and/or OFFER_CAPACITY over time is being proposed in the negotiation of requested service (i.e., offering of partial service or negotiation of price)..

REBID = assigned by Customer to indicate that a new BID_PRICE and/or BID_CAPACITY over time is being proposed.

SUPERSEDED =
assigned by Primary Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED =  
assigned by Primary Provider or Seller to indicate the service request at the designated BID_PRICE and BID_CAPACITY has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.
DECLINED = 
assigned by the Primary Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE,  are unacceptable and that negotiations are terminated or that contractual terms have not been met. (Final state).

RETRACTED =
assigned by Primary Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN = assigned by the Customer at any point in request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED =
assigned by the Customer in response to the Primary Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED", a transmission service reservation exits. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED =
assigned by Primary Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation, and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final State.)

ANNULLED = assigned by the Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided, or assigned unilaterally by the Primary Provider when a confirmed reservation is to be voided. (Final State).

	STATUS_COMMENTS
	STACOM
	0{ALPHANUMERIC}255
	Free form text
	Informative: For information to be communicated by any party to all other parties.

	STATUS_NOTIFICATION
	STATNOT
	0{ALPHANUMERIC}200
	http://URL:portnumber/direc otry/cgi script/query parameters 

or 

Mailto: <e-mail address>
	The STATUS_NOTIFICATION Data Element shall contain the protocol field "http:", which designates the notification method/protocol to be used, followed by all resource location information required; the target domain name and port designations shall be inserted into the notification URL based on the Customer's Company registration information.  The resource location information may include directory information, cgi script identifiers and URL encoded query string name/value pairs as required by the Customer's application.  

or mailto and email address for the status information the Customer wants to receive upon a change in STATUS of transstatus, or ancstatus

	STOP_TIME
	SPTIME
	16{ALPHANUMERIC}16
	Valid date and time

yyyy+mo+dd+hh

+mm+ss+tz
	Stop date and clock time. When used as a Query Variable, it requires the return of all items which start before the Stop time. 

Note that for some Templates when used as a Query Variable the time may be only valid up to the hour, day or month. If more data is given than is valid, the hour, day or month will be used to make the date and time inclusive, i.e. date or time will be increased to include STOP_TIME.

	STOP_TIME_POSTED
	STPTIMEP
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Query parameter to indicate all the records are to be retrieved that were posted on or before this time.

	STOP_TIME_QUEUED
	SPTIMEQ
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Stop date and clock time, used for requesting transactions queued before this time

	SUBJECT
	SUBJ
	0{ALPHANUMERIC}80
	Free form text
	Informative text used to summarize a topic in a message

	SYSTEM_ATTRIBUTE
	SYSATTR
	0{ALPHANUMERIC}15
	Valid values:

CBM

TRM

TTC

FATC

NFATC
ATC_ANNOTATION
{Registered}

	Type of system data viewed by SYSTEMDATA Template:

CBM – Capacity Benefit Margin

TRM – Transmission Reliability Margin

TTC – Total Transmission Capability

FATC –Firm Available Transmission Capability

NFATC –Non-firm Available Transmission Capability
ATC_ANNOTATION – Annotation for a change in monthly or yearly posted ATC.
{registered} – Provider specific registered name for the data posted

	SYSTEM_ELEMENT
	SYSELM
	1{ALPHA}50
	
	How do we want to address different restricted values based on SYSTEM_ELEMENT_TYPE
PATH - The name is constructed from the following codes, with each code separated by a "/". Trailing "/" may be omitted, if there are no values for OPTION_CODE and SPARE_CODE: 
REGION_CODE - 2 chars, unique to OASIS System PRIMARY_PROVIDER_CODE - 4 chars, unique within Region

PATH_CODE - 12 chars, unique for Primary Provider

OPTIONAL_CODE - 25 chars, unique for Path. If used for directionality, then the first 12 characters shall represent POR, followed by "-", followed by 12 characters which shall represent POD

SPARE_CODE - 3 chars.
POR and POD - Unique value within Primary Provider. Only special character allowed is ".", for example, ab.cde.123

	SYSTEM_ELEMENT_TYPE
	SYSELMTY
	1{ALPHA}30
	Valid Types:
PATH

POR
POD
{Registered}
	PATH = (Path Name) Unique name assigned to a single transmission line or the set of one or more parallel transmission lines whose power transfer capabilities are strongly interrelated and must be determined in aggregate. These lines are typically described as being on a path, corridor or interconnection in some regions, or as crossing an interface or cut-plane in other regions. Multiple lines may be owned by different parties and require prorating of capability shares.
POR = Point of Receipt is one or more point(s) of interconnection on the Transmission Provider's transmission system where capacity and/or energy transmitted will be made available to the Transmission Provider by the Delivering Party. This is used along with Point of Delivery to define a Path and direction of flow on that path.  For internal paths, this would be a specific location(s) in the area.  For an external path, this may be an area-to-area interface.
POD = Point of Delivery is one or more point(s)  of interconnection on the Transmission Provider's transmission system where capacity and/or energy transmitted by the Transmission Provider will be made available to the Receiving Party. This is used along with Point of Receipt to define a Path and direction of flow on that path.  For internal paths, this would be a specific location(s) in the area.  For an external path, this may be an area-to-area interface.
{registered} = Primary Provider's may register values for SYSTEM_ELEMENT_TYPE to implement specific provisions of their Tariffs.

	TARIFF_REFERENCE
	TARIFF
	0{ALPHANUMERIC}150
	Free form text.

Name and description of Tariff
	Tariffs approved by FERC

	TEMPLATE
	TEMPL
	1{ALPHANUMERIC}20
	Valid Name of Template from Section 4.3 or from LIST Template
	The name of a logical collection of DATA_ELEMENTS in a User's interaction with an OASIS Node.

	TIME_OF_LAST_UPDATE
	TLUPDATE
	16{ALPHANUMERIC}16 
	Valid date and time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time to seconds that data was last updated. May be used to search data updated since a specific point in time. 

	TIME_POSTED
	TIMEPST
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time a message is posted

	TIME_QUEUED
	TIMEQ
	16{ALPHANUMERIC}16 
	Valid Date and Time to seconds:

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time that the request was queued

	TIME_STAMP
	TSTAMP
	16{ALPHANUMERIC}16  
	Valid date and Time to seconds

yyyy+mo+dd+hh+mm+ss+tz
	Time data is created

	TRANSACTION_ID
	TRANSID
	1{ALPHANUMERIC}30
	Free form text
	Identifier associated with an interchange transaction that may span multiple SCHEDULE_REF records. May be the NERC Tag id as specified in the NERC Electronic Tagging Functional Specification.

	TS_CLASS
	TSCLASS
	1{ALPHANUMERIC}20
	Valid classes:

·
FIRM

·
NON-FIRM

·
TTC

·
SECONDARY

·
{Registered}
	The transmission  service classes provided. Four are pre-defined, while additional classes can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template page. SECONDARY is defined as alternate points of receipt or delivery for POINT_TO_POINT, or as nondesignated resources for NETWORK service.

	TS_PERIOD
	TSPER
	1{ALPHANUMERIC}20
	Valid periods:

·
ON_PEAK

·
OFF_PEAK

·
FULL_PERIOD

·
{Registered}
	The transmission service periods provided. Three are pre-defined, while additional periods can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template

	TS_SUBCLASS
	TSSUBC
	0{ALPHANUMERIC}20
	Free Form
	The transmission service subclasses provided. These are freeform.

	TS_TYPE
	TSTYPE
	1{ALPHANUMERIC}20
	Valid types

·
POINT_TO_POIN T

·
NETWORK

·
ATC

·
{Registered}
	The transmission service types provided. Three are pre- defined, while additional types can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template

	TS_WINDOW
	TSWIND
	1{ALPHANUMERIC}20
	Valid windows

·
FIXED

·
SLIDING

·
EXTENDED

·
NEXT_INCREME NT

·
{Registered }
	The transmission service windows provided. Four are pre-defined, while additional windows can be used if they are registered on TSIN.COM and shown in the Provider's LIST Template

	TZ
	TZ
	2{ALPHANUMERIC}2
	Valid time zone and indication whether daylight savings time is to be used
	Time zones:

Atlantic time = AD, AS

Eastern time = ED, ES

Central time = CD, CS

Mountain time = MD, MS

Pacific time = PD, PS

Universal time = UT

	VALID_FROM_TIME
	VALFTIME
	16{ALPHANUMERIC}16
	Valid date and time

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time after which the message is valid

	VALID_TO_TIME
	VALTTIME
	16{ALPHANUMERIC}16
	Valid date and time

yyyy+mo+dd+hh

+mm+ss+tz
	Date and time before which the message is valid

	VERSION
	VER
	1{REAL NUMBER}6
	Range of 1.0 to 9999.9
	Specifies which version of the OASIS Standards and Communication Protocol to use when interpreting the request






























































































































































































































































































































































































































































































































































































































































�Does this data element get deleted?





