

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE


For Quadrant:
Wholesale Electric Quadrant

  
Requesters:
ESS/ITS

Request Number:
R04035

Request Title:
Request to Modify Standards


Modified 10/5/05 to include changes to 4.19 and 4.20 agreed to by OASIS 1A TF 8/18/05. Does not exactly match redline of 4.19, 4.20 posted but is red-lined against the approved standards.  Also added rationale for same to Section d) commentary/rationale - wdw
1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:
___
Accept as requested
___
Change to Existing Practice

___
Accept as modified below
___
Status Quo

___
Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:
Per Recommendation:
___
Initiation 
___
Initiation 

___
Modification
___
Modification

___
Interpretation
___
Interpretation

___
Withdrawal
___
Withdrawal

___
Principle
___ 
Principle 

___
Definition 
___
Definition 

___
Business Practice Standard  
___
Business Practice Standard 

___
Document 
___
Document

___
Data Element 
___
Data Element

___
Code Value 
___
Code Value 

___
X12 Implementation Guide
___
X12 Implementation Guide

___
Business Process Documentation
___
Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


Recommended Standards:

Recommended modifications to Version2 (?)of the WEQ OASIS Business Practice Standards (WEQ BPS-001-000)(?) are redlined below.
Modification 1

Definitions: Add or delete the following definitions, as appropriate
Commission – Federal Energy Regulatory Commission, or appropriate regulating authority.
FERC – Federal Energy Regulatory Commission

Appropriate Regulating Authority – the entity which has regulating authority over a given Transmission Provider.
Modification 2
Standard 1 Changed to read, in part:

Applicability

Standard 1 applies to any public utility that owns, operates, or controls facilities used for the transmission of electric energy in interstate commerce and to transactions limited to the provision of open access transmission service performed under the pro forma tariff required under currently applicable regulations.”

Modification 3
Standard 3.1 changed to read, in part:

3.1
All entities or persons using OASIS shall register the identity of their organization (including DUNS number) or person at the OASIS Home Page at http://www.tsin.com.  Registration identification shall include the parent entity (if any) of the registrant.  Registration shall be a prerequisite to OASIS usage and renewed annually and whenever changes in identification occur and thereafter.  An entity or person not complying with this requirement or providing false information may be denied access by a transmission provider to that transmission provider’s OASIS node.
Modification 4
Standard 2.5 changed to read, in part:

Other Service Attribute Values
Six ancillary services are pre-defined.  Other services may be offered pursuant to filed tariffs 

2.5:
A Transmission Provider shall use the definitions below to describe the AS_TYPEs offered on OASIS, or shall post alternative attribute values and associated definitions on the OASIS Home Page at http://www.tsin.com, or shall use attribute values and definitions posted by another Transmission Provider.  (See Standard 3 for registration requirements.)

Ancillary Services Definitions
Modification 5
Standard 4.1: Changed to read:

4.1:
All reservations and price negotiations shall be conducted on OASIS.

Modification 6
Standard 7. Next Hour Market Service, changed to read in part:
Introduction
The standards in this section apply to the offering of Next Hour Market (NHM) Service only.  The FERC has designated this service as voluntary for a transmission provider to offer.  Therefore the standards apply to a transmission provider only if that provider offers NHM Service, in which case the standards become mandatory for that provider.

Modification 7
Standard 10.1.5 changed to read:
10.1.5. Requests for Redirects on a Non-Firm basis shall specify: 
TS_CLASS=SECONDARY

TS_TYPE=POINT_TO_POINT


Modification 8

10.5.3. The TC shall have the right to request the TP to release unscheduled capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation. The TP shall honor all such valid requests, and reinstate the capacity on the Parent Reservation. 
Modification 9
9.5.2. The TC should withdraw any request to Redirect on a Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED.

Modification 10
10.5.2 The TC should withdraw any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Non-Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED.

Modification 11

4.19
Prior to Confirmation, in those cases where right-of-first-refusal is required to be offered, the Transmission Provider shall move requests in the ACCEPTED state to COUNTEROFFER, to notify the customer of the opportunity to match the subsequent offer.
4.20
A Customer who has been extended a right-of-first-refusal according to Table 4-3 shall have a confirmation time limit equal to the lesser of (a) the Customer Confirmation Time Limit in Table 4-2 or (b) 24 hours.
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

This recommendation addresses comments received by the WEQ ESS/ITS on the draft of its recommendation for request R04005-A (OASIS Baseline Business Practices – Standards 1 -7), R04006-B (Multiple Requests – Standard 8) and R04006-C (Redirects – Standards 9 and 10). As the comments recommended substantive changes to the standards, it was not appropriate to address these comments as a part of the initial issuance of the standards.  Now that the standards have been ratified, the ESS/ITS combined the comments into Request R04035 being addressed herein. 

The comments proposed:

· Changes to some of the definitions, including the replacing references to the “Commission,” with an international, more general term, and others.

· Section 4.19 of the OASIS Baseline Business Practices be clarified to reflect that the Transmission Provider is not required to COUNTEROFFER a confirmed reservation.

· The standard be clarified to show that its numbered components are “requirements” of the OASIS Business Practice Standard, not individual standards [WHAT DOES THIS MEAN? Prs to find out]
b.  Description of Recommendation:

In support of the Recommendation Multiple Requests to the NAESB Executive Committee for a proposed business practice standard, please see the following sets of minutes.

 [Include minutes]

	WEQ OASIS 1A Task Force
	UPDATE TABLE
	http://www.naesb.org/pdf/weq_oasis1a_021304dm.pdf

	WEQ ESS/ ITS
	April 6, 2004
	http://www.naesb.org/pdf/weq_ess_its040604fm.doc

	WEQ ESS/ ITS
	May 26-27, 2004
	http://www.naesb.org/pdf/weq_ess_its052604dm.doc

	WEQ ESS
	February 17-18, 2004
	http://www.naesb.org/pdf/weq_ess021704fm.doc

	WEQ OASIS 1A Task Force
	July 14, 2004
	


c.  Business Purpose:


See Section d. Commentary/Rationale
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

The following is a list of comments received and a response to each.

I. Comments on Baseline Business Practices (R04005-A)

a. Comments by Entergy

Submitted by:  Edward Davis

September 20, 2004

Entergy suggests that expansion of the Pro Forma Tarrif and OASIS requirements since the initial issuances make the following wording not specific to the provision of transmission service. Therefore, we suggest the following changes to the draft:

“Standard 1: Provision of Open Access Transmission Service. All transmission providers shall provide open access transmission service in accordance with the following requirements.

Applicability

Standard 1 applies to any public utility that owns, operates, or controls facilities used for the transmission of electric energy in interstate commerce and to transactions limited to the provision of open access transmission service performed under the pro forma tariff required under currently applicable regulations.”
Response: Language included as suggested, see modification 2.
Entergy suggests expanding the legitimate reasons for denying access to include the provision of false information, as follows:

a.
Standard 3.1:  All entities or persons using OASIS shall register the identity of their organization (including DUNS number) or person at the OASIS Home Page at http://www.tsin.com.  Registration identification shall include the parent entity (if any) of the registrant.  Registration shall be a prerequisite to OASIS usage and renewed annually and whenever changes in identification occur and thereafter.  An entity or person not complying with this requirement or providing false information may be denied access by a transmission provider to that transmission provider’s OASIS node.
Response: Language included as suggested, see modification 3.
b. Comments by WE Energies

For all documents, definition of terms should be consistent with the NAESB Glossary and between documents. Inconsistencies were found in the definition of Affiliate, Transmission Customer, Firm Transmission, Non-firm Transmission, Point-to-Point Transmission Service, Network Service .  

P. 10 of R04005-A, Standard 1.8 - A definition of "significant amount" is needed.

Thank you for the opportunity to comment.

Barb Kedrowski , Project Manager , We Energies 
Response: Laura to get more information per oasis 1a conf call.
c. Comments by V. Bissonnette, Hydro-Quebec TransEnergie

HYDRO-QUÉBEC TRANSÉNERGIE COMMENTS

September 20, 2004

NAESB must prepare Business Standards that could apply internationally, meaning to Canadian entities also. This requires some adaptation work to this Recommendation.

The term "Commission" as defined in this Recommendation refers to FERC. That term should be replaced by "Appropriate Regulating Authority" (or some other term) and should be defined as the entity which has regulating authority over a given Transmission Provider. The whole document should then be revised with this international intent in mind (for example, this simplifies 1.5(f) that would then apply to "Appropriate regulating authorities staff" and the introduction to Standard 4.1 could be simplified to read only "All reservations and price…." Instead of "Consistent with FERC policy and regulations, all reservations and price…").

Response:  The definition of Commission has been broadened to include “Appropriate Regulating Authority”. References to FERC have been omitted where they are unnecessary.  In cases where we do want to refer to the Federal Energy Regulatory Commission specifically, we have used the term FERC.  See modifications 4, 5 and 6.
A Transmission Provider is not necessarily a "public utility". The definition should be broadened to include all possibilities and specify that it is used for those who provide Open Access to their electrical transmission System. As written the definition seems to encompass even systems which do not offer such access. The term "interstate" is also limiting regarding the international nature of a Business Standard. We also question that a Transmission Provider is not necessarily operating "interstate" even in the U.S. As a first try, the resulting definition for Transmission Provider could then read: "An entity that owns, operates or control facilities used for the transmission of electric energy and that offers open access transmission service over those facilities".

Response: The requests to change the definition of “Public Utility” and change the term “interstate” is beyond the scope of the Electronic Scheduling Subcommittee/Information Technology Subcommittee. No changes are recommended to the Business Practice Standards.

Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation

Hydro-Québec TransÉnergie

II
Comments on Multiple Requests (R04006-B)

a. Comments by First Energy

Denial of Service – the act of  intentionally or unintentionally  denying service to other OASIS customers by consuming OASIS cyber resources in such a way that OASIS performance is degraded and the market’s ability to operate is impeded.  (The name didn’t fit the definition.)
Queue Hoarding – this is the act, intentionally or unintentionally, of not confirming or withdrawing an accepted service request within the time limit specifed by the e-tag rules. .

Response:  The definitions of “Denial of Service” and “Queue Hoarding” currently reflect the intended definitions.  No changes are recommended to the Business Practice Standard definitions.

Standard 8. Requirements for dealing with multiple, identical transmission service requests.

8.1 Denial of Service -  OASIS system administrators or Transmission Providers shall have the right to institute programs for the detection and mitigation of Denial of Service (DoS) events based on recognized standard industry practices. (the word attacks here implies an intentional event while the definition states a cause can be unintentional)
8.1.2 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more DoS events.
8.1.3 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the DoS events has been corrected.

8.2.1 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more Queue Flooding events.

8.2.2 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the Queue Flooding events has been corrected.

8.3.3 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more Queue Hoarding events.

8.3.4 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the Queue Hoarding events has been corrected. 
Response: Why?  
b. Comments by Hydro-Quebec TransEnergie

Naesb weq recommendation r04006-B Oasis 1A Enhancements – Multiple Requests

Hydro-québec transénergie comments

November 5, 2004

The term "Commission" is defined as "the Federal Energy Regulatory Commission" and it is used only in "4. SUPPORTING DOCUMENTATION", Section d. Since the NAESB Standards should have an international intent, we propose to remove this definition and replace "Commission" by FERC (as is done elsewhere in the document) in this Section d.

Response:  See modifications 4, 5 and 6.

Our comments on the definition of "Transmission Provider" stated for Recommendation R04005 also apply: A Transmission Provider is not necessarily a "public utility". The definition should be broadened to include all possibilities and specify that it is used for those who provide Open Access to their electric Transmission System. As written the definition seems to encompass even systems which do not offer such access. The term "interstate" is also limiting regarding the international nature of a Business Standard. We also question that a Transmission Provider is not necessarily operating "interstate" even in the U.S. As a first try, the resulting definition for Transmission Provider could then read: "An entity that owns, operates or control facilities used for the transmission of electric energy and that offers open access transmission service over those facilities".

Response:  The requests to change the definition of “Transmission Provider” and “Public Utility” and change the term “interstate” is beyond the scope of the Electronic Scheduling Subcommittee/Information Technology Subcommittee. 
Remove the "Responsible party", "Reseller" and "Wholesale merchant function" definitions as those terms are not used in the document.

Response:  The definitions within the OASIS Business Practice Standards are global, not repeated within each standard.  The definitions listed above are all used in the Business Practice Standards even if not used in the Multiple Requests Standard.  
Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation Hydro-Québec TransÉnergie

c. Comments by Southern Company Bulk Power Operations

Multiple Requests Southern Company Bulk Power Operations

Comments Submitted by: Southern Company’s Bulk Power Operations

Dated: 11/08/04; 3:56 PM via email

Redirects and Multiple Submissions

1) Standard 8, Section 8.3.2 references a time limitation imposed by the Transmission Provider in the event of Queue Hoarding. This restriction states “…in no event shall the TP impose such restrictions that would set the confirmation time limit to expire any earlier than 30 minutes before the pro forma scheduling deadline.” This restriction puts an undue burden on the TP’s and the TC’s to approve and accept the rest of the queued reservations within only a 30 minute window. The Business Practice Standards for OASIS Transactions (Order 638), Standard 4.13 already specifies timing requirements for OASIS requests.  Specifically in that standard, Table 4-2 Footnote 2 states “Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override preexemption deadlines.” This footnote already allows the TP to set the TC response deadlines to accommodate multiple reservation requests and yet minimize the impacts on scheduling deadlines due to queue hoarding. Therefore, the Southern Company transmission organization (“Southern Company Transmission”) recommends that the EC delete this confirmation time limit restriction (i.e., the last sentence in Section 8.3.2) from the standard.
Response:  This issue will be discussed at the August/September ESS/ITS meeting. 
2) Standard 9, Section 9.8.1 references a calculation for a default charge on a firm redirect and a default credit on the Parent Reservation, “if not addressed in the Transmission Provider’s tariff”. All tariff rate calculations are submitted by each Transmission Provider to FERC for approval and should not be addressed here. Southern Company Transmission suggests that the EC delete this section (9.8.1) in its entirety. 

Response:  If a Standard is addressed in a Transmission Provider’s tariff, the tariff will always take precedent. If not addressed in the tariff, standard 9.8.1 provides a standard for this rate calculation. 
3) Standard 10, Section 10.1.5 needs to be reworded. As presently worded, the standard seems to imply that Transmission Providers might have to offer additional service increments of Secondary Point-to-Point service. Southern Company Transmission suggests that the EC revise the wording “...offered by the TP for Non-Firm Point-to-Point service." to “…offered by the TP for Non-Firm Secondary Point-to-Point service.” (emphasis added).

Response:  We agree that this could be ambiguous and have made deletions as shown in Modification 7 above.
4) Standard 10, Section 10.5.3 references a “release” mechanism for Redirect on a Non-Firm basis. This proposed release mechanism has not yet been developed in support of this standard. Given the potential design complications that will likely arise in retrofitting a “release” mechanism into existing OASIS applications, as well as the likelihood of further automation requirements for verification of redirect capacity available on the Parent Reservation, Southern Company Transmission suggests that the EC consider a 6 months time frame for implementation of Standard 10.  Some reasonable implementation period is necessary for an orderly transition which allows a Transmission Provider to remain in compliance with all applicable standards at any point in time.

Response:  In respnse to this comment, we will discuss general recommendation to the FERC along these lines. 
5) Standard 10, Section 10.5.3 needs additional clarification, with respect to the rights and obligations of the TC and TP concerning a request for “release” of a confirmed non-firm redirect reservation.  Some redundant wording can also be eliminated, in regard to the future use of the re-instated capacity on the Parent Reservation.  Southern Company Transmission suggests that Section 10.5.3 be revised as follows:

10.5.3 – The TC shall have the right to request the TP to release unscheduled capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all valid requests for release, and reinstate the released capacity to the Parent Reservation.
Response:  We agree.  See Modification 8 above.
III.
Comments on Redirects (R04006-C)

a. Comments by First Energy

Definitions to be added to the OASIS Business Practice standard

Parent Reservation –  the original, existing, confirmed reservation being modified by a Transmission Customer’s request to redirect, reassign, resale, etc. 

Response:  A Parent Reservation may be not be an original reservation as it may be a Redirect, Resale, or other type of reservation.  This change has not been made to the standards.
Business Practices to be added to the OASIS Business Practice standard

Standard 9. Requirements for dealing with Redirects on a Firm basis.

9.1 – The Transmission Customer (TC) shall have the right to request modifications to Points of Receipt and/or Points of Delivery (including source or sink, where required) on a firm basis for a Confirmed Point-to-Point Firm Transmission Service reservation (i.e., Parent Reservation) providing the original path of the transaction is utilized for the Redirect.   This will be referred to as a Redirect on a Firm basis.  
Response:  The requested change is a substantive change that would depart from FERC required industry standard practice.  Without a rationale for making such a change, this change cannot be considered.
9.1.3 - A request to Redirect on a Firm basis shall be queued and treated in the same manner as any other firm point to point request providing the original path of the transaction is maintained and subject to the other requirements of this standard. 

Response:  The requested change is a substantive change that would depart from FERC required current industry practice.  Without a rationale for making such a change, this change cannot be considered.
9.1.5 – The TC shall not submit a request for a Redirect on a Firm basis that exceeds the Capacity Available for Redirect. 
Response:  The suggested standard is not consistent with the intent of the standard, which is why standards 9.5.1 and 9.5.2 are included approved OASIS standards.  The suggested standard would conflict with FERC requirements.  Without a rationale for making such a change, this change cannot be considered.
9.2 - The TC shall be allowed to request a Redirect on a Firm basis for a portion or all of the Capacity Available to Redirect, even if the transmission scheduling rights on the Parent Reservation have been limited due to outages or other reliability-related events. An example is shown in Appendix B.  (Ed – I am of the opinion that the request should be allowed, but a refusal should also be allowed if the request will worsen the reliability condition.  However, if a TP sold transmission on a firm basis the entity purchasing the transmission capacity should be able to use the capacity up to the limits provided by a firm reservation such that the TP may be required to shed firm load to load the schedule.  I think the bottom line here is that the TP sold transmission capacity that they didn’t have if they have to shed firm load to allow the transaction to go forward.)
Response:  Standard 9.2 requires only that the Transmission Customer be allowed to request a certain type of redirect. The standard does not address the Transmission Provider response.
9.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Firm basis up to and not exceeding the  Capacity Available to Redirect.  The TP shall evaluate the requests for Redirects in the order they are received and will confirm only the requests up to and not exceeding the Capacity Available to Redirect..  An example is shown in Appendix B.

Response:  . The addition of the language “up to and exceeding the” to standard 9.4.2 is not consistent with the intent of the standard.  It would achieve the same thing as adding the suggested standard 9.1.5, which was not incorporated.  The suggested standard would conflict with FERC requirements.  Without a rationale for making such a change, this change cannot be considered.  The intent of the change to the sentence “The TP shall evaluate…” is addressed sufficiently elsewhere in the standard.  
9.5 - Upon confirmation of the request or requests to Redirect on a Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the total of the redirected capacity for the time period of that Redirect.   An example is shown in Appendix B.

Response:  Standard 9.5 as written is more concise than the suggested changes.  The standard may apply to more than one request which would achieve the same thing as the modified language.
10.1.7 – The TC shall not submit a request for a Redirect on a non-Firm basis that exceeds the Capacity Available for Redirect. 

Response:  . See response to suggested standard 9.1.5 and suggested changes to standard 9.4.2. 

10.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Non-Firm basis up to and not exceeding the  Capacity Available to Redirect. The TP shall evaluate the requests for Redirects in the order they are received and will confirm only the requests up to and not exceeding the Capacity Available to Redirect  An example is shown in Appendix B.  

Response:  . See response to suggested standard 9.1.5 and suggested changes to standard 9.4.2. 

Appendix B – Redirect Standards Examples

These examples need a lot of work.  They do not clearly represent the principles described in 9 and 10 above.  These examples would be clearer if they included the parent reservation prior to the redirect, the redirect, and then the effect of the redirect on the parent reservation.  Sort of a before and after or cause and effect view.
Response:   

b.
Comments by Southern Company Bulk Power Operations

Dated: 11/08/04; 3:56 PM via email

Redirects and Multiple Submissions

1) Standard 8, Section 8.3.2 references a time limitation imposed by the Transmission Provider in the event of Queue Hoarding. This restriction states “…in no event shall the TP impose such restrictions that would set the confirmation time limit to expire any earlier than 30 minutes before the pro forma scheduling deadline.” This restriction puts an undue burden on the TP’s and the TC’s to approve and accept the rest of the queued reservations within only a 30 minute window. The Business Practice Standards for OASIS Transactions (Order 638), Standard 4.13 already specifies timing requirements for OASIS requests.  Specifically in that standard, Table 4-2 Footnote 2 states “Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override preexemption deadlines.” This footnote already allows the TP to set the TC response deadlines to accommodate multiple reservation requests and yet minimize the impacts on scheduling deadlines due to queue hoarding. Therefore, the Southern Company transmission organization (“Southern Company Transmission”) recommends that the EC delete this confirmation time limit restriction (i.e., the last sentence in Section 8.3.2) from the standard.

Response: 
See responses to earlier comments . 
2) Standard 9, Section 9.8.1 references a calculation for a default charge on a firm redirect and a default credit on the Parent Reservation, “if not addressed in the Transmission Provider’s tariff”. All tariff rate calculations are submitted by each Transmission Provider to FERC for approval and should not be addressed here. Southern Company Transmission suggests that the EC delete this section (9.8.1) in its entirety. 
Response: 
See responses to earlier comments . 

3) Standard 10, Section 10.1.5 needs to be reworded. As presently worded, the standard seems to imply that Transmission Providers might have to offer additional service increments of Secondary Point-to-Point service. Southern Company Transmission suggests that the EC revise the wording “...offered by the TP for Non-Firm Point-to-Point service." to “…offered by the TP for Non-Firm Secondary Point-to-Point service.” (emphasis added).
Response: 
See responses to earlier comments . 

4) Standard 10, Section 10.5.3 references a “release” mechanism for Redirect on a Non-Firm basis. This proposed release mechanism has not yet been developed in support of this standard. Given the potential design complications that will likely arise in retrofitting a “release” mechanism into existing OASIS applications, as well as the likelihood of further automation requirements for verification of redirect capacity available on the Parent Reservation, Southern Company Transmission suggests that the EC consider a 6 months time frame for implementation of Standard 10.  Some reasonable implementation period is necessary for an orderly transition which allows a Transmission Provider to remain in compliance with all applicable standards at any point in time.
Response:
See responses to earlier comments . 

5) Standard 10, Section 10.5.3 needs additional clarification, with respect to the rights and obligations of the TC and TP concerning a request for “release” of a confirmed non-firm redirect reservation.  Some redundant wording can also be eliminated, in regard to the future use of the re-instated capacity on the Parent Reservation.  Southern Company Transmission suggests that Section 10.5.3 be revised as follows:

10.5.3 – The TC shall have the right to request the TP to release unscheduled capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all valid requests for release, and reinstate the released capacity to the Parent Reservation.
Response:
See responses to earlier comments . 

c.
Comments by WE Energies

Comments Submitted by:
Barb Kedrowski

Dated: 11/11/04, 1:21 PM

Below are We Energies' comments on the WEQ 2004 Annual Plan Item 2 - OASIS 1A Enhancements - Redirects (Comments in red, text from standard in blue): [color deleted]
Standard 10 - Requirements for dealing with Redirects on a non-firm basis:
Section 10.1.6 - Requests for redirects on a non-firm basis shall be submitted by the TC as pre-confirmed.
We Energies' comment:  Why must it be preconfirmed?  Would it be possible to set an acceptable time interval for redirect request confirmation that would allow requests to be submitted without being preconfirmed?  Sometimes deals are done that encompass more than one transmission provider.  If TLR's are in effect on one TP's jurisdiction, the deal falls apart.  If the redirect request is preconfirmed and it has been confirmed by the TP, it is no longer of any use since one segment of the deal can't flow.
Response:  The preconfirmation requirement was accepted because the Transmission Customer has the ability to use the release mechanism, per standard 10.5.3, to “undo” the transaction, or move the capacity back to the parent reservation.  Specifics of the release mechanism are being developed in Recommendation R04006-C1.  .For disussion at the August/September ESS/ITS meeting.
Section 10.5.1 - The TC shall not confirm any request to Redirect on a non-firm basis that would exceed the Capacity Available to Redirect at that point in time.  The TP shall have the right to block any such confirmation.
We Energies' comment:  If the TC can submit multiple redirect requests that are over the level of the parent request, how does the TC know if they have excluded the capacity available to redirect if the TP is evaluating multiple requests?
Response:  [?]

Sections 10.1.6 and 10.5.1

We Energies comment:  When looking at these sections together, if a TC must pre-confirm a request and can have multiple competing redirect requests that are being evaluated, when the TC "accepts" a request it will automatically be confirmed in violation of 10.5.1.  This then raises the question on how the TC would notify the TP which competing redirect request has priority if more than one are deemed Ok.  If the requirement for pre-confirmation is removed, then the TC would be able to determine which request they would prefer to confirm.
Response:  The Transmission Provider would, if done correctly, reject any requests over the amount of the Capacity Available to Redirect of the Parent Reservation.  If this were not done…[Need to discuss this one. She has a good point. If pre-confirmed the customer does not actually have a change to manually confirm, customer confirmation would occur upon TP approval. TP approval should not be given but may be given in error in some cases. The TP should have the right to nullify the nf redirect.]
Section 4.b Description of Recommendation (Supporting Documentation)
We Energies' comment:  Use of the word "an" instead of the word "and" in the sentence:  "Only the primary transmission provider is in a position to make such an assessment and authorize the redirected service under the OATT."
Response:  [is it necessary to submit a change to the supporting documentation?]

Thanks,
Barb Kedrowski 
Project Manager 
We Energies 

d. Comments by Puget Sound Energy

Comments Submitted by:  Susanne McFadden

Puget Sound Energy Marketing

Dated: 11/10/04; 5:21 PM

REDIRECTS R04006-C

9.5.2 – The TC shall withdraw any request to Redirect on a Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depleted.  TP’s OASIS should automatically supercede remaining requests.)
Response: 
We agree. See modification 9. 
9.6.2 - Curtailments or other capacity reductions affecting the reserved capacity on the Redirect reservation shall not affect the Parent Reservation nor result in a reinstatement of capacity on the Parent Reservation. (…result in the automatic reinstatement… Should alos inclued “unless the TC submits a subsequent Redirect on a Firm Basis request”)

Response:
The intent of this standard is to not allow any reinstatement, automatic or otherwise.  9.6.2 is intended to only address curtailments and other capacity reductions.
10.1.3 - A request to Redirect on a Non-Firm basis shall be queued and treated in the same manner as any other non-firm point to point request, subject to the other requirements of this standard. (What does this imply? The TC is requesting secondary point- to-point service, not non-firm point-to-point service.  It is a “as available” service subordinate to all other services (exception is Buy At Market))

Response:
Discuss at the August/September ESS/ITS meeting. It also contradicts Table 4-3, row 9. Ask about 10.1.4 reference to hourly. 
10.1.6 – Requests for Redirects on a Non-Firm basis shall be submitted by the TC as pre-confirmed. (Why pre-confirmed? This limits a customer’s options.)
Response:
Refer to response to We Energies’ comments on this standard.
10.5 - Upon confirmation of the request to Redirect on a Non-Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the redirected capacity for the time period of that Redirect. An example is shown in Appendix B.  (OATT says in 22.1(3) the TC shall retain all of their scheduling rights on the parent.  This statement limits the TC.)

Response:
The release mechanism was created to allow the customer flexiblity. 
10.5.1 – The TC shall not confirm any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect).  The TP shall have the right to block any such confirmation.

10.5.2 – The TC shall withdraw any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Non-Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depeleted.  TP’s OASIS should automatically supercede remaining requests.)
Response: 
We agree.  See modification 10. 
10.5.3 – The TC shall have the right to request the TP to release capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all such requests, and reinstate the capacity on the Parent Reservation such that it may subsquently be scheduled, Redirected on a Firm or Non-Firm basis to a different path, resold, etc. (OATT says in 22.1 (3) the TC shall retain all of their scheduling rights on the parent.  This statement limits, the TC has to request to have their rights back.) 
Response:
The release mechanism was created to allow the customer flexiblity. 
10.8 - TPs shall have the right, but are in no means obligated, to accept requests for Redirect on a Non-Firm basis based on the submission of an Electronic Tag (ETAG) using protocols compliant with Version 1.7.095 NERC Transaction Information System Working Group (TISWG) Electronic Tagging Functional Specification.  (If a TC can use E-Tag to request a Redirect on a Non-firm Basis, then the TC should also have the ability “release” capacity via E-Taf by referencing the parent reservation.)
Response:
Needs to be addressed by the JISWG. 
10.8.5 - The OASIS queue time of a Redirect requested via ETAG shall be the TP’s ETAG Approval Service receipt time, unless a system failure requires the use of backup procedures, in which case the OASIS queue time shall be the time the ETAG is received by the TP. (How is the TP going to force the appearance and specified queue time into their OASIS?. How can this be comparable if some requests are on OASIS and other are off-OASIS)
Response:
Needs to be addressed by the JISWG. 
Modification 11:
The change to Standard 4.19 clarifies that a request cannot be moved to a state of Counteroffer once confirmed.

The change to Standard 4.20 was made to clarify that Standard 4.20 does not apply in the case of rollover rights. 
3
Draft as of October 5, 2005

Page 3

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







