Draft 1

1/23/2007

	If

Actual Arranged Interchange (RFI) is Submitted
	IA Assigns Initial Status of
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments
IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	>1 hour after the start time
	ATF
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	NA
	NA

	<15 minutes prior to ramp start but <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI 
	15 minutes* according to reasonable efforts

	<10 minutes prior to ramp start but <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI
	10 minutes* according to reasonable efforts

	<1 hour but > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<20 minutes but > 10 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	<1 hour but > 20 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	>1 hour but < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute


	> 4 hours prior to ramp start
	On-time*
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours

	*RFI is submitted between 1500 and 1700 PPT with a start time between 00:00 and 23:59 PPT of the following day for WECC.
	Pre-Late
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


