The Approval may elect to automate the provision of some of these parameters (i.e.,  Security Key, Tag Code, etc…).  In certain cases, Market Operators may specify not Reliability Limit Profile Changes, but Market Level Profile Changes.  This is completely acceptable, provided the entity is a registered Market Operator and the transaction they are modifying sources or sinks in their market.  Such use of the Market Level profile must ONLY be used by the market operator when market conditions are setting the flow of the transaction; reliability concerns must still be handled through the use of the Reliability limit.  Market Operators must provide full sets of profile changes (i.e., not only the profile at the Generator, but all profiles along the scheduling path as well).
