Standards Authorization Request Form



Standard Authorization Request Form

	Title of Proposed Standard
Coordinate Interchange Transactions

	Request Date


March 30, 2006


	SAR Requestor Information
	SAR Type (Check a box for each one that applies.)

	Name
NERC/NAESB Joint Interchange Scheduling Working Group
	 FORMCHECKBOX 

 FORMCHECKBOX 

	New Standard

	Primary Contact
Jim Hansen
	 FORMCHECKBOX 

	Revision to existing Standard 

	Telephone
206-706-0165  

Fax
206-706-0183

	 FORMCHECKBOX 

 FORMCHECKBOX 

	Withdrawal of existing Standard 

	E-mail
James.Hansen@seattle.gov
	 FORMCHECKBOX 

 FORMCHECKBOX 

	Urgent Action


	Purpose (Describe the purpose of the standard — what the standard will achieve in support of reliability.))

Registered Market Operators may request changes to the Market Level profile of Implemented Interchange.  Such change requests will require the approval of only the Source and Sink Balancing Authorities and will not be deemed LATE.

To support this change, the e-Tag specificaiton will need to be moldified as follows:  the processing of Market Level profile change requests submitted by registered Market Operators will utilize the same timing and approval mechanisms as Reliability Level profile change requests.

Various INT standards may need to be modified in order to reflect this change.




	Industry Need (Provide a detailed statement justifying the need for the proposed standard, along with any supporting documentation.)

This standard revision will introduce the Market Operator’s role in the INT Standards and stream line the approval process to ensure reliability entities and tools (i.e., the Interchange Distribution Calculator) are notified of changes to the transactions.  It will no longer be necessary for Market Operators to request adjustment to the reliability level for non-reliability reasons.     





	Brief Description (Describe the proposed standard in sufficient detail to clearly define the scope in a manner that can be easily understood by others.)

This standard revision will allow Market Operators to adjust Implemented Interchange as a result of their market results.  Typically, the Market Operator will conduct a market into which participants will submit transactions.  These transactions may be represented in e-Tags at their desired Market Level.  After the Market Operator’s market closes, it may be necessary to reflect changes to the original transactions by adjusting the associated e-Tag.  

Currently, the e-Tag specification recognize Market Operators and their ability to request adjustments to the Market Level profile, but as with any Market Level profile change request, it requires the approval of all reliability entities associated with that transaction.  In addition, the change request can be deemed Late by the e-Tag system which defaults the requests to Denied should not all approval entities respond.

This standards request will introduce the Market Operator’s role in the Interchange Coordination Standards and stream line the approval process to ensure reliability entities and tools (i.e., the Interchange Distribution Calculator) are notified of changes to the transactions.




Reliability Functions

	The Standard will Apply to the Following Functions (Check box for each one that applies.)

	 FORMCHECKBOX 

	Reliability Authority
	Ensures the reliability of the bulk transmission system within its Reliability Authority area. This is the highest Reliability Authority.

	 FORMCHECKBOX 

	Balancing Authority
	Integrates resource plans ahead of time, and maintains load-interchange-resource balance within its metered boundary and supports system frequency in real time.

	 FORMCHECKBOX 

	Interchange Authority
	Authorizes valid and balanced Interchange Schedules.

	 FORMCHECKBOX 

	Planning Authority
	Plans the Bulk Electric System.

	 FORMCHECKBOX 

	Resource Planner
	Develops a long-term (>one year) plan for the resource adequacy of specific loads within a Planning Authority area.

	 FORMCHECKBOX 

	Transmission Planner
	Develops a long-term (>one year) plan for the reliability of transmission systems within its portion of the Planning Authority area.

	 FORMCHECKBOX 

	Transmission Service Provider
	Provides transmission services to qualified market participants under applicable transmission service agreements

	 FORMCHECKBOX 

	Transmission Owner
	Owns transmission facilities.

	 FORMCHECKBOX 

	Transmission Operator
	Operates and maintains the transmission facilities, and executes switching orders.

	 FORMCHECKBOX 

	Distribution Provider
	Provides and operates the “wires” between the transmission system and the customer.

	 FORMCHECKBOX 

	Generator Owner
	Owns and maintains generation unit(s).

	 FORMCHECKBOX 

	Generator Operator
	Operates generation unit(s) and performs the functions of supplying energy and Interconnected Operations Services.

	 FORMCHECKBOX 

	Purchasing-Selling Entity
	The function of purchasing or selling energy, capacity, and all necessary Interconnected Operations Services as required.

	 FORMCHECKBOX 

	Market Operator
	Integrates energy, capacity, balancing, and transmission resources to achieve an economic, reliability-constrained dispatch.

	 FORMCHECKBOX 

	Load-Serving Entity
	Secures energy and transmission (and related generation services) to serve the end user.


Reliability and Market Interface Principles

	Applicable Reliability Principles (Check box for all that apply.)

	 FORMCHECKBOX 

	1. Interconnected bulk electric systems shall be planned and operated in a coordinated manner to perform reliably under normal and abnormal conditions as defined in the NERC Standards.

	 FORMCHECKBOX 

	2. The frequency and voltage of interconnected bulk electric systems shall be controlled within defined limits through the balancing of real and reactive power supply and demand.

	 FORMCHECKBOX 

	3. Information necessary for the planning and operation of interconnected bulk electric systems shall be made available to those entities responsible for planning and operating the systems reliably.

	 FORMCHECKBOX 

	4. Plans for emergency operation and system restoration of interconnected bulk electric systems shall be developed, coordinated, maintained and implemented.

	 FORMCHECKBOX 

	5. Facilities for communication, monitoring and control shall be provided, used and maintained for the reliability of interconnected bulk electric systems.

	 FORMCHECKBOX 

	6. Personnel responsible for planning and operating interconnected bulk electric systems shall be trained, qualified, and have the responsibility and authority to implement actions.

	 FORMCHECKBOX 

	7. The security of the interconnected bulk electric systems shall be assessed, monitored and maintained on a wide area basis.

	Does the proposed Standard comply with all of the following Market Interface Principles? (Select ‘yes’ or ‘no’ from the drop-down box.)

	1. The planning and operation of bulk electric systems shall recognize that reliability is an essential requirement of a robust North American economy.  FORMDROPDOWN 


	2. An Organization Standard shall not give any market participant an unfair competitive advantage. FORMDROPDOWN 
 

	3. An Organization Standard shall neither mandate nor prohibit any specific market structure.  FORMDROPDOWN 


	4. An Organization Standard shall not preclude market solutions to achieving compliance with that Standard.  FORMDROPDOWN 


	5. An Organization Standard shall not require the public disclosure of commercially sensitive information.  All market participants shall have equal opportunity to access commercially non-sensitive information that is required for compliance with reliability standards.  FORMDROPDOWN 



Related Standards

	Standard No.
	Explanation

	INT-All
	Need to be reviewed and revised as necessary to support MO role

	     
	     

	     
	     

	     
	     


Related SARs

	SAR ID
	Explanation

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     

	     
	     


Regional Differences

	Region
	Explanation

	ERCOT
	     

	FRCC
	     

	MRO
	     

	NPCC
	     

	SERC
	     

	RFC
	     

	SPP
	     

	WECC
	     


E-mail completed form to � HYPERLINK "mailto:mark.ladrow@nerc.net" ��mark.ladrow@nerc.net�









SAR-1

SAR-2

