Comment Form — SAR for Permanent Changes to the Timing Table in Coordinate Interchange Standards (Project 2007-14)

Please use this form to submit comments on the proposed the first draft of the SAR to make permanent changes to the Timing Table in the Coordinate Interchange standards.  Comments must be submitted by May 21, 2007.  You may submit the completed form by e-mail to sarcomm@nerc.net with the words “Perm CI Table” in the subject line.  If you have questions please contact Maureen Long at maureen.long@nerc.net or by telephone at 813-468-5998.

	Individual Commenter Information

(Complete this page for comments from one organization or individual.)

	Name: 
NERC/NAESB Joint Interchange Scheduling Working Group

	Organization: 
     

	Telephone: 
     

	E-mail:
james.hansen@seattle.gov, robert.harshbarger@pse.com, Chairs of the JISWG

	NERC Region
	
	Registered Ballot Body Segment

	 FORMCHECKBOX 
 ERCOT

 FORMCHECKBOX 
 FRCC

 FORMCHECKBOX 
 MRO
 FORMCHECKBOX 
 NPCC

 FORMCHECKBOX 
 RFC

 FORMCHECKBOX 
 SERC

 FORMCHECKBOX 
 SPP

 FORMCHECKBOX 
 WECC

 FORMCHECKBOX 
 NA – Not Applicable
	 FORMCHECKBOX 

	1 — Transmission Owners

	
	 FORMCHECKBOX 

	2 — RTOs and ISOs

	
	 FORMCHECKBOX 

	3 — Load-serving Entities

	
	 FORMCHECKBOX 

	4 — Transmission-dependent Utilities

	
	 FORMCHECKBOX 

	5 — Electric Generators

	
	 FORMCHECKBOX 

	6 — Electricity Brokers, Aggregators, and Marketers

	
	 FORMCHECKBOX 

	7 — Large Electricity End Users

	
	 FORMCHECKBOX 

	8 — Small Electricity End Users

	
	 FORMCHECKBOX 

	9 — Federal, State, Provincial Regulatory or other Government Entities

	
	 FORMCHECKBOX 

	10 — Regional Reliability Organizations and Regional Entities

	


	Group Comments (Complete this page if comments are from a group.)

Group Name: 

JISWG
Lead Contact:

Jim Hansen, Bob Harshbarger
Contact Organization:
see  above


Contact Segment:

     


Contact Telephone:
     
Contact E-mail:

see above

	Additional Member Name
	Additional Member Organization
	Region*
	Segment*

	Brett Fisher
	Western Area Power Administration
	     
	     

	Tom Vandervort
	NERC
	     
	     

	Clint Aymond
	Entergy
	     
	     

	Paul Sorenson
	OATI
	     
	     

	Andy Tritch
	SunGard
	     
	     

	Chairs
	     
	     
	     

	Bob Harshbarger
	Puget Sound Energy
	     
	     

	Jim Hansen
	Seattle Power and Light
	     
	     

	     
	     
	     
	     

	Dan Baisden
	Southern Company
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     


*If more than one Region or Segment applies, indicate the best fit for the purpose of these comments.  Regional acronyms and segment numbers are shown on prior page.

Background Information
An Urgent Action SAR to modify the Timing Table in some of the Coordinate Interchange standards (INT-005, INT-006, and INT-008) was approved by its ballot pool on March 30, 2007.  The Urgent Action SAR made modifications to the timing table so that the reliability assessment period for WECC was lengthened from 5 minutes to 10 minutes for e-tags submitted less than 1 hour and greater than 20 minutes prior to ramp start. 
The new SAR proposes to make the above changes permanent, and also proposes to add the following to the timing table to bring the timing table into alignment with the categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI).
· Designation of request status based on start and submittal times  

· Assess times for After-the-Fact (ATF) requests

· WECC pre-schedule late (Pre-late) submittal definition
Please review the SAR, answer the questions on the following page, and e-mail your comments to sarcomm@nerc.net with the subject “Perm CI Table” by May 21, 2007.
You do not have to answer all questions. 
Insert a “check” mark in the appropriate boxes by double-clicking the gray areas.

1. The modifications made to the timing table in the Coordinate Interchange standards, using the “Urgent Action” process, were approved (by the associated ballot pool) on March 30, 2007.  These modifications will expire unless a SAR is entered into the full standards development process.  The modification made to the timing table was made to provide sufficient time for reliability entities to do an analysis of the arranged interchange.  This SAR would make those changes permanent and would also bring the timing table into alignment with the categories (On-time, Late, After-the-Fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI).  Do you agree that there is a reliability-related need for the proposed standards action?  If not, please explain in the comment area. 

 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      
2. Do you agree with the scope of this SAR which is limited to making changes to the Timing Tables in the Coordinate Interchange Standards INT-005, INT-006, INT-008?  If not, please explain in the comment area. 
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      
3. Do you agree with the modification to the Timing Table that includes the new the column that is labeled, 'IA assigns initial status?'
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments: For this question, please see the attached table.  Changes were made to the table at the May 16, 2007 JISWG meeting.  The same changes are being submitted to NAESB under Request R07007.  JISWG believes the changes made to the table provide clarity for timing requirements.  While the majority of changes are formatting in nature, therefore leaving the intent as is, these formatting changes provide a better understanding of the timing requirements.  
4. Do you agree with the modifications to the Timing Table that include the addition of the rows for the following:

· RFI submitted >1 hour after the start time

· RFI submitted <15 minutes prior to ramp start but <1 hour after the start time

· RFI submitted <10 minutes prior to ramp start but <1 hour after the start time

 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      
5. Do you agree with the modification to the timing table that includes the addition of the row for the following:

· RFI submitted <1 hour but >20 minutes prior to ramp start

 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments: Attached table has a replacement row that is <1 hour and >10 minutes prior to ramp start.
6. Do you agree with the modification to the Timing Table that includes the row (just for WECC) for the following:

· RFI submitted between 1500 and 1700 PPT with start time >00:00 PPT of following day
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments: JISWG elimnated this row in their reformatted timing requirement tables.  In its place, JISWG created a new row to focus on pre-scheduled tags for the WECC.  
7. Are you aware of any regional variances that we should consider with this SAR?  If not, please explain in the comment area. 
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments: Ramp duration and ramp start are different for the WECC.  
8. Are you aware of any modifications that need to be made to any associated business practices — or any new business practices that we should consider with this SAR?
 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments: For this question, please see the attached table.  Changes were made to the table at the May 16, 2007 JISWG meeting.  The same changes are being submitted to NAESB under Request R07007.  JISWG believes the changes made to the table provide clarity for timing requirements.  While the majority of changes are formatting in nature, therefore leaving the intent as is, these formatting changes provide a better understanding of the timing requirements.  
9. Do you have any other comments on the SAR?

 FORMCHECKBOX 
 Yes 

 FORMCHECKBOX 
 No 

Comments:      

Page 6 of 6



