Comment Form

Joint NERC/NAESB Interchange Scheduling Working Group (JISWG) 
Care of: North American Energy Standards Board

mailto:naesb@naesb.org, fax: 713-356-0067

Contact Information (Must be Provided)

Contact Name





:  Ed Riley

Comments submitted on Behalf of Organization
:  CAISO

Email of Contact




:  eriley@caiso.com

Phone Number on Contact



:  916.351.4463

Comments on Definitions (List comments by Definition)

· Not Applicable

Comments on Requirements (List comments by Requirement Number)

·  Not Applicable

Comments on Appendices (List comments by Appendix Subsection)

· Not Applicable

General Comments

 CAISO appreciates the opportunity to comment on the recent JISWG draft Request for Standard included in Bill Blevins e-mail dated June 7, 2005.  The draft request details a proposal by the JISWG to allow Purchasing-Selling Entities (PSEs) associated with a transmission segment in the tag optional approval rights.  This enhancement would provide PSEs participating in the secondary transmission market conducted off the OASIS the ability to prevent unauthorized use of their transmission rights.  This proposal adds optional approval rights for PSEs listed as “owners” of transmission rights who are not the tag author.  Currently one market entity must create the tag. They do this on behalf of all market operators and "title" holders involved in the transaction.  The reliability entities Control Area, Transmission Provider, and Reliability Coordinator have the ability/responsibility to approve/deny the transaction based on a specific set of criteria.  If a titleholder other than the PSE that created the tag either disagrees with the tag or needs to change it based on some market conditions the current process requires them to either call their reliability Transmission Provider or Control Area or have them perform the denial or to call the creating PSE and have them correct, or withdraw and resubmit as required.

Any PSE's who are correctly registered as a Transmission Owner would have the ability to approve or deny a request and perhaps independently request a market adjustment related to their transmission.
 

CAISO does not see any significant issue with this providing the following are TRUE:
 

· PSE's are NOT given reliability curtailment authority. (Market Requests only)

· PSE's are not given approval/denial authority for curtailments issued by Reliability entities

· The scope of this standard request is focused on the transmission rights holder PSE approval rights only.
· PSE's can only adjust market levels for their own transmission.
· WECC include PSE's into RMS to be responsible for sanctions for failure to actively approve or deny their request like all other approval entities.

· Any OASIS enhancements to incorporate these changes should be done under a separate standard request.

The reason for the last piece is that this change has the very real possibility of introducing many new approval entities on a transaction. If even one of these routinely depends on the "passive approval" method of approving tags then the effect would be to always delay tag implementation until the end of the timing period. If the RMS Standards are not enforced for all approval entities including PSE's then I do not understand how WECC could continue to sanction the Control Areas and TP's for failure to actively approve.
