
1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

      Accept as requested



   x  Change to Existing Practice

  x   Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  x   Business Practice Standard 

      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:
To address Request R07007, e-Tag timing tables, the JISWG worked with the requestor to simplify and enhance the clarity of the tables.  JISWG also split the tables into two in order to simplify them.  One table is applicable to Interconnections other than WECC and one is applicable to the WECC.  These two tables have differences due to the difference in ramp durations and ramp start between the WECC and other interconnections.  The tables now also contain a timeline diagram which various industry participants requested.  The timing tables, if approved, should replace the timing tables in the existing Coordinate Interchange standard.  The revised timing tables are included below.
Recommended Standards:

Timing Requirements for all Interconnections except WECC

	
	
	A
	B
	C
	D
	

	If Actual Arranged Interchange (RFI) is Submitted
	IA Assigns Initial Status of
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments

IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	>1 hour after the start time
	ATF
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	NA
	NA

	<15 minutes prior to ramp start and <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA 
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI 
	15 minutes 

	<1 hour and  > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA
	<1 minute from receipt of all Reliability Assessments
	>3 minutes prior to ramp start
	15 minutes

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


[image: image1.wmf] 


Timing Requirements for WECC

	
	
	A
	B
	C
	D
	

	If Actual Arranged Interchange (RFI) is Submitted
	IA Assigns Initial Status of
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments

IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	>1 hour after the start time
	ATF
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	NA
	NA

	<10 minutes prior to ramp start and <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA 
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI
	15 minutes 

	<1 hour and > 10 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA and > 4 minutes prior to ramp start 
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10-15 minutes

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours

	Submitted before 10:00 PPT with start time > 00:00 PPT of following day
	On-time
	< 1minute from RFI submission
	By 12:00 PPT of day the Arranged Interchange was received by the IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	Min 4 hours


[image: image2.wmf] 


4.  SUPPORTING DOCUMENTATION
a. Description of Request:

Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI): 
· Include designation of request status based on start and submittal times.  

· Include assess times for After-The-Fact (ATF) requests.

Include a WECC preschedule late (Pre-Late) submittal definition
b.  Description of Recommendation:

After review of this Request and in consultation with the WECC, the JISWG recommends that the Pre-late category is not necessary.  The JISWG recommends that the tables sete forth in this recommendation be adopted to replace the existing timing tables in the Coordinate Interchange Standard.
c.  Business Purpose:

Clear definition of what RFIs are assigned on their initial status:  On Time, Late, or After the Fact
d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):  Simplify timing rules, clarify the effects of the timing tables on each entity, incorporate desired changes from industry participants, and provide a clear definition of the initial status that should be assigned to an RFI as per the request. 
JISWG Meeting, May 15-18, 2007:  Draft Minutes
JISWG Conference Call, June 6, 2007

June 6, 2007

Page 1 of 5

[image: image3.png]Ramp e-Tag

Start Time: Start Time
On Time ATF
Initial Status Late
e-Tag submit time
relative to start
time -5x.55 -2x:55 x40 155 xx00 +1x:00
4hours 1 hour e
before before e
ramp start ramp start ot
Reliabillty
< - e >

Assessment 2 hours 20 minutes 10 minutes 2 hours

Not to scale
Dec 11, 2006



[image: image4.png]Ramp e-Tag
Start Time Start Time

Initial Status

o-Tag submit time.
relative to start

time -5x:50 2050 XS0 00 +1x:00
4 hours 1 hour
before before

ramp start ramp start

Reliabilty

Assessment 20 minutes. 10 minutes 10 minutes 2 hours,

510
minutes

*If submitted before 10:00 PPT -1x:35 10
with start time >= 00:00 PPT of -1x:36 9
the following day then reliability 1x:378
assessmentis >= 2 hours and by A1x387
12:00 PPT -1x:396

1x405

Not to scale
Dec 11, 2006



_1075620371.doc
[image: image1.png]|

Lo







