e-Tag Specification Changes
July 18-19, 2006

1) Market Operator Adjust

a) This is a request from the Interchange Distribution Calculator Work Group to allow for “near after-the-fact” energy profile modifications to reflect centralized market results.

b) Spec. currently treats adjustment requests from registered Market Operators the same as a market level adjustment request, it requires approval of all reliability entities listed in the tag.

c) Within the e-Tag specification, change Tag Authority service to: 

i) Recognize a Market Operator adjustment request

ii) Distribute only to the Source and Sink BAs for assessment. Copy everyone else.
iii) Upon approvals, set adjustment request state to Implement, change the referenced tag’s market level profile according to the adjust request, and distribute.
2) Add optional transmission contract rights holder approval 

a) Part of the NAESB CI BP standards

b) Requires minimal changes to Tag Authority service

i) Treat in same manner as GPE and LSE optional approval rights

(1) PSE may register with the NERC Registry an Approval Service URL

(2) The Authority Service will include any PSE (listed as the GPE, the LSE, or the PSE  in each transmission segment in the tag - TC) who has a registered Approval URL in the assessment distribution.

ii) This is applicable for initial tag assessment, only (not for tag adjustment requests)

iii) Since the e-Tag Authority Service performs both Market Assembler and Interchange Authority tasks concurrently, it is not possible to distinguish commercial assessment distributions to BAs and TSPs from reliability assessment distributions to BAs and TSPs. Therefore, once all reliability entities listed in the tag (GBA, LBA, TSPs, SEs) have actively Approved, and none of the optional PSEs have actively Denied the request, the Authority Service will set the request to Implement.  These optional PSE approval rights are for commercial considerations and should not impact the IA’s reliability role.  This still allows the optional rights holders to participate – but does not allow them to delay the assessment process through inaction.

3) Remove certain Authority Service defaults (this needs discussion)

a) The NERC INT Standards do not allow the Interchange Authority function to “second guess” BAs and TSPs regarding the reliability assessment of e-Tag request.  The IA will only set a request to Implement only if all listed reliability entities on a tag have actively approved the request and none of the optional PSEs have actively denied the request.
b) The Tag Authority Service is an implementation of the Interchange Authority (IA) concept contained in the INT Standards.  Those standards no longer allow the IA to default an e-Tag to the Implement state.  The IA only reflects the active approvals of all reliability entities on the e-Tag via their Tag Approval Services.

c) If one or more reliability Approval Services fail to respond to the assessment distribution before the assessment time expires, the e-Tag Authority Service will change the composite tag status from Pending to Expired.
d) A new final state of Expired will be assigned to a request that fails to get one or more active reliability entity approvals before the assessment deadline.
e) Expired will be assigned to a request at 20 minutes before the start time for request submitted at least 30 minutes prior to the start time.

f) For requests submitted less than 30 minutes before the start time (including submission after the start time), Expired will be assigned 10 minutes after the submittal if one or more reliability entities fails to actively approve the request.

4) Create new final composite Request States to assist compliance and market monitoring:
a) Cancelled (previously Dead) – this is when the Tag Author sets the market level and transmission allocation of an e-Tag with a composite status of Implement to zero prior to the start time.
b) Withdrawn (previously Dead) – this is when the Tag Author withdraws a request before it has reached its final state (e.g., Implement, etc.).
c) Denied (previously Dead) – this is when one or more approval entities denies an approval request.
d) Expired (previously mostly Dead) - this is when one or more reliability Approval Services fails to actively respond to the IA’s assessment request before the assessment period ends.

e) Primarily requires changes to the Tag Authority Service with minor changes to the Agent and Approval services (i.e., interface changes recognizing the new final states, etc.).

5) Eliminate the 24 hour limitation on adjustment requests

a) This change could be made without Standard changes – no such limitation in the standards exists. 

b) Unable to find meaningful reason why restriction was originally created – processing burden could be one reason; might be IDC related.
c) Changes would be required in Tag Agent, Tag Approval, and in Tag Authority services.

i) Remove validation checks in order to allow start-stop time periods greater than 24 hours.

6) Allow requests (both initial and adjustment) to be submitted up to 119 minutes after listed start time

a) Simple change to the validation checking in Agent, Approval, and Authority services.
7) Addition of MWh element

a) Create a new schema element to allow a source or sink BA to enter the actual MWh of the tagged transaction (further discussion needed).
b) Could be useful to communicate a transaction’s total energy transfer – such as dynamic schedules.

c) Could replaces phone calls

8) Allowance of Transmission Operator (TOP) to initiate all cut adjustment??[rhh: not sure where is came from]
a) Definite INT standard change – missed this – where?
b) Is this a user interface issue?

c) Current INT standards have either the TSP or the RC creating reliability adjustment requests.  For multi-owner facilities, some have suggested have the TOP have the ability to issue reliability adjustment requests for all tags where they are listed as the SE over a specific POR-POD (path).

9) CounterParty Reports section removal
a) While at one time this functionality had great hopes in aiding check-out procedures, the industry for the most part has automated check-out in one fashion or another.

b) To require implementation of this feature will require a fair amount of testing and coordination – perhaps more work than it is worth. 
c) Suggest that it is removed from the spec.

10) Historical sections of the specification (e.g., 1.1.2., etc.) removal
a) Some of the explanations – especially the historical – seem misplaced in a technical specification
b) Suggest we consider removal.

11) Tagging World vs. Coordinate Interchange Standards and IA World
a) The standards use terms such as Arranged Interchange and Confirmed Interchange which are not used in the e-Tag specification. 

b) The Tag Authority service is not a true IA – it concurrently processes reliability and commercial approvals (the IA report contemplated separate transaction approval processes, first commercial, then reliability, etc.).

12) Update diagram in 1.4.1. for several nomenclature problems
13) Capacity Tag

a) More clearly define the treatment and handling of Tag Type = Capacity by the tag services.
14) Transmission Provider Adjust to Transmission Allocation
a) Revise the specification such that reliability adjustment requests issued by TSPs would impact a particular Transmission Allocation and not the Reliability Limit.
b) Only source and sink BAs could adjust the Reliability Limit profile.
c) This could be a solution to the problem of reliability entities setting on each other adjustment to the single Reliability Limit profile.

