Draft 1.8 Change Summary to Serve as Basis for Tutorial
7/31/2007 version


	Change
	Description

	Add new final states and their definitions
	1.7097
	1.8

	
	Request States 

Pending, Implemented, and Dead  
	Request States 

Pending, Withdrawn, Approved, Denied, and Expired.

	
	Definition: Value used to indicate whether or not a request will be implemented (IMPLEMENTED) or not (DEAD). 
	Definition: The overall status of a Request which can be any of the following:  PENDING, APPROVED, WITHDRAWN, EXPIRED, or DENIED.

	
	Individual Approval States NA, Pending, Approved, Denied, and Study
	Individual Approval States 

NA, Pending, Approved, Denied, Study, and Expired.

	
	Definition: The State communicating an Approval Entity’s willingness to implement a particular Request.
	Definition: The State communicating an Approval Entity’s willingness to implement a particular Request.

	
	A “composite state” is referenced twice in the 1.7097 specification, but not defined.
	Composite State Types

Confirmed, Implemented, Cancelled, Terminated, Pending, Withdrawn, Denied, and Expired.

	
	Note: [ uses request states]
	Definition: This is the overall state of the e-Tag which can have any of the following values:  CONFIRMED, IMPLEMENTED, TERMINATED, CANCELLED.[note the definition lacks several states defined in 1.3]

	Add Rounding definition
	Within e-Tag, rounding is used in loss calculations. MW values specified in e-Tag profiles must sometimes be integrated into MWh values across appropriate schedule intervals. E-Tag profiles that start or stop within schedule intervals may result in fractional MWh values being calculated. These MWh values must be rounded to the nearest whole MWh (< .50 down, >= .50 up).

Calculation of aggregated data such as hourly, daily, monthly, and e-Tag totals must be performed in accordance with applicable NAESB/NERC Coordinate Interchange Standards.

	Add Ramp Duration validation in definition 
	Is this the check to ensure ramps do not overlap? Users will no longer see a ramp duration on intermediate blocks. CI Standards use ramp start and ramp stop. Default ramp rate of zero for reliability adjustments. Define straddled ramp default ramp rates for Western and Eastern Interconnection. 


	Identify physical segment in Curtailment (for proper MWh accounting when in-kind losses are used)
	Currently, when a tag is curtailed, the associated losses are adjusted to reflect the curtailment starting at the source.  Under 1.8, the reliability entity associated with a transmission segment requesting a curtailment must include the POR-POD being curtailed.  Then, both the upstream and downstream losses are adjusted accordingly. 

	Modify in-kind loss calculations
	1.8 has an improved loss calculation module to recalculate in-kind losses after an  curtailment.

	Define which Functional Model entities can be Scheduling Entities (BA)
	The scheduling entity field must contain a registered BA. [See NERC glossary of terms.]

	Carbon Copy list (no approval, sent copies of e-Tag)
	Currently the tag author identifies market participants that are part of the transaction and reliability entities that are a part of the physical path.  Under 1.8, the author may also include additional entities that will receive a copy of the tag and all associated subsequent requests (BA, TSP, or PSE).  [this might be an item for NAESB CI BPs to address]

	Calculation of ActOnByTime and ImplementTime
	In an ideal world, the Authority Service’s distribute function would be instantaneous and all approval services would receive an assessment request at the same time the authority sent it.  But, the distribute function takes time and all approval services do not receive the request at the same time.  So the Authority Service calculates the “respond by time” or assessment deadline prior to the distribute.  This calculated value sent to all approval services. [did not see where the approval and agent service must consider/use the ActOnByTime. – do they?][not in definitions

	Addition of TimeClassification (Late, OnTime, ATF)
	Currently the Authority Service assigns each new request a label based upon the request’s start time and the submittal time.  In 1.8, this data element is formally named TimeClassification.  It can be On Time, Late, or ATF. [not in definitions]

	NERC web site changed to Electric Industry Registry web site
	References to the registry are made independent of the registry sponsor.

	Added RequestTerminateTag and related handling
	Associated with Cancel and maybe Terminate – see definitions maybe a typo.  For industry users, clear definition of both Cancel and Terminate and required approvals. (all)

	Simplify Recovery function
	Provides agent and approval services enhanced data recovery from all authority services. User interface is vendor dependant. [spec seams to articulate better the extent of the recovery action but it does not require a user initiated recovery? If there is one, let them know about it] 

	Allow ATF e-Tags to be Terminated
	Currently, a request assigned ATF can not be terminated.  Under 1.8, the request author can terminate the ATF e-Tag. 


	Allow Source or Sink to modify DYNAMIC e-Tag with actual data
	Currently, only the e-Tag author can adjust a Dynamic tag.  Under 1.8, the tag author, the sink BA, or the source BA may adjust a dynamic tag to reflect the actual hourly values.  This is limited to ATF adjusts. Requires normal approval.  

	Transmission Allocation must be > energy profile.
	The Agent Service requires a request to contain Transmission Allocations greater than or equal to the energy profile.  The Authority Service validates submittals to enforce this rule.

	Validations in INT-007-1 R1.1, 1.2, and 1.3 are performed by the Agent and Authority
	R1.1. Source Balancing Authority megawatts equal sink Balancing Authority megawatts (adjusted for losses, if appropriate).

R1.2. All reliability entities involved in the Arranged Interchange are currently in the NERC registry.

R1.3. The following are defined [in the e-Tag]:

R1.3.1. Generation source and load sink.

R1.3.2. Megawatt profile.

R1.3.3. Ramp start and stop times.[defaults?  User usually specs MW profile in block accounting]
R1.3.4. Interchange duration.[start/stop times]

	Added SSL via HTTPS and client certificate requirement based on NAESB PKI standard
	The full implementation of this functionality is dependent on implementation of the new Electric Industry Registry.  The e-Tag specification allows this functionality to be enabled at the discretion of each company without impacting any other company.  The initial rollout will encrypt data sent to the Authority services and allow for the encryption of data sent by all of the Authority services to any entity who has registered a secure URL (i.e. https rather than http).  Companies will need to work with their specific vendor as implementation requirements will vary. 

	Extend e-Tag creation to 168 hours into the past
	A new ATF e-Tag may submitted with a start time up to 168 hours in the past.  However, the new e-Tag is restricted to a duration of one hour, except for e-Tag transaction type DYNAMIC.

	Extend e-Tag adjustment to 168 hours into the past for DYNAMIC e-Tags
	Currently Dynamic e-Tags can only be adjusted up to 96 hours in the past.  Under 1.8, this capability has been extended to 168 hours – again just for dynamics.

	Current Level no longer distributed (calculated based on approved requests in request order)
	No need to include for user tutorial.

	Add Pseudo Tie transaction type.
	Behaves exactly like dynamic, just different label for unique identification.

	Strike Appendix A
	The Buy At Market capability was removed from 1.8 specifications. 



3

