 



From: Mendrala, Cheryl  
Sent: Tuesday, July 17, 2007 2:56 PM
To: naesbmail@naesb.org
Subject: Comments on JISWG Conditional Firm Proposal
I would like to provide the comment below in response to the JISWG  request for comment on their proposed "Specification for Implementation of Conditional Firm in e-Tagging".
JISWG Members, 
As a member of the NERC IDCWG, I would like to offer an observation of how the proposed "Specification for Implementation of Conditional Firm in e-Tagging" would be implemented within the IDC.  Consistent with the current NERC and NAESB rules regarding TLRs, if a TSP were to make a change to the priority of the eTag after xx:25 for the coming hour (i.e., at 2:28 for next hour 3:00 - 4:00) that change would be considered a late adjustment and that new tag priority would not be considered during any TLRs issued for the 3:00-4:00 hour.  If any different treatment is desired in the IDC for these type of adjustments the TLR processes will need to be reviewed/modified in accordance NERC and NAESB processes. 
Regards, 
Cheryl Mendrala 
ISO New England 

