The following was my excerpt of notes from the OSC Feb 19, 2003 meeting regarding handling of multiple entity curtailment/reload.  Note that IDC implemented (6).  I would suggest exploring (3) for tagging over any of the other options.

Possible technical solutions:

1. Just a Flag to enable or disable IDC Reload.  An IDC curtailment would have the IDC Flag set to Yes.  A Control area curtailment would set the IDC Flag to No.  This prevents the IDC from reloading a local event.  This is considered a Medium impact because it is adding a new element that needs to be tracked.

2. Add a profile to the Market, Reliability and Current level called IDC Level.  This would allow for the reloading of only their curtailment.  This does not prevent a separate control area from reloading the curtailment.  This is considered a Medium/High impact because everyone has to track the information.

3. Track who owns the curtailment.  Only the owner would be able to reload the curtailment.  An issue with this one would be if the curtailing party was off line and unable to do the reload.  This is considered a Low impact, since this is internal to their systems.

4. The tag has a reliability profile for each entity that can issue a curtailment.  This is considered a High impact.

5. Keep the extra profile as listed in number four, but the Authority tracks and distributes only the lowest level.  As the curtailments are released then the level that is in the distribute message is changed.  This gives the appearance of only one curtailment level.  Having the ability to see if any other entities have put reliability limits on the transaction.  This is considered a Low impact but High effort because only the Authority services are impacted because they need to track the many curtailment profiles.

6. IDC keeping track of its level and only reloading to when current level matches its level.  This is considered a Low impact, but would need to be referred to the IDCWG. 

Non-technical solutions:

1. If a reload comes across that should not be performed, deny them. 

