From: Doran, Pat of IESO 
Sent: Sunday, October 23, 2005 9:20 PM
To: North American Energy Standards Board (NAESB)
Subject: Comments on Draft Systems Requirement Document (SRD) for Registry
The IESO would like to offer the following comments on the draft registry system requirement document:

· The IESO requires the ability to participate in the registry without OASIS participation (as today). 
· Ensure restrictions are in place to prevent a commercial entity from accessing any sensitive security type information (covered in 1.1.3) 
· On page 9 paragraph 4 there is mention of supporting current Etag code requirements, but relaxing other restrictions. It is not clear what is meant by this statement. It may refer to relaxing the structure rules, or simply the ability to repeat an Etag code as long as it is unique at that point in time. Needs to be clarified. 
· This suggests that the registry could be a repository for all digital certificates. Would this require 24/7 service in case of certificate issues? Would this allow access from different locations (backup center, remote testing facilities)? Would this registry have availability from a disaster recovery site? 
· Section 1.1.6.1 states that the  Eastern, Western and ERCOT synchronous interconnection should be defined . Should TE be defined as well? 
· Would this information be accessed via the various applications as well as via a stand alone interface (i.e.. would I still be able to view a registered PSE in Etag without leaving the application)? 
· Section 1.1.6.6. discusses registering control zones for IDC modeling. The level of interdependence between applications and the registry should be established. It may not be wise to require a registry change prior to a software/model change in an individual application. 
· Section 1.1.7.1 discusses having flowgate information contained within the registry. The ability to construct flowgates on the fly must be retained within IDC as it is extensively used by some entities, particularly MISO. 
· Section 1.1.7.1.3 states that the registry should contain seasonal flowgate limits. This would be a new requirement, as we post the current flowgate limit to the CRC, but IDC does not make use of any limits. Is there much value in sending seasonal values? Would there be an issue with exceeding the posted value, or issued TLRs at a lower than posted flow value? There is also a request to submit LTE and STE limits for the appropriate flowgates. This implies a much more involved interface with the registry them updating data twice a year. There will be a cost for infrastructure to provide up to date data. This cost was one of the major downfalls of option 3 in the IDC Granularity White Paper. 
· Overall, there are some good benefits to having most of the data discussed it this document in one place. The ability for the IESO to see the boundaries of a balancing entity or the footprint of a RTO is desirable. It may well be a step foreword for one stop information shopping. However, we need to be careful about over dependence of other systems on such a tool. 
Pat Doran 

Manager – Market Facilitation

