Draft 1

12/7/2006

	If

Actual Arranged Interchange (RFI) is Submitted
	IA Assigns Initial Status of
	IA Makes Initial Distribution of Arranged Interchange
	BA and TSP Conduct Reliability Assessments
IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	>1 hour after the start time
	ATF
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	<15 minutes prior to ramp start but <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<10 minutes prior to ramp start but <1 hour after the start time
	Late
	< 1minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	<1 hour but > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<20 minutes but > 10 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	<1 hour but > 20 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for WECC
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	>1 hour but < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


