[image: image1.emf]
[image: image2.png]Customer OASIS Interaction Seller

Query for
transstatus Roquests
Subrmit
Transaction —— transrequest
reauest transstatus Query for
Requests
Queryfor o fransstatus
Requests
Approve or
transseli +—— Deny
Request
Query for
Roquests +— tansstatus
Confirm or

Withdraw — ——  granscust
Request




Proposed Revisions to S&CP to support Implementation Guide
D – R – A – F - T

002-4.2.10
Transaction Process

OASIS shall implement Templates that allow Customers and Sellers to enter, modify and consummate arrangements for transmission and ancillary services. The transaction process is controlled through the transaction REQUEST_TYPE, identifying the type of transaction being conducted, and STATUS, indicating where in the transaction process the request is currently.

The following is a summary of the templates used and actions taken by the Customer and Seller to execute a transaction on OASIS.  Detailed examples of the transaction process and description of the business logic envisioned to be implemented as part of the Transmission Provider’s OASIS or other back-end transaction support services are provided in Appendix A.

a. The Templates (transrequest and ancrequest) shall be used by the Customer to enter a transaction request for specific transmission or ancillary services from a specified Seller.  All pertinent transaction specific information must be provided in the template data elements.
b. OASIS shall set the initial transaction STATUS of the request to QUEUED and assign the unique ASSIGNMENT_REF reference identifier for the transaction.

c. The Templates (transstatus and ancstatus) shall be used by both Customer and Seller to query for the current transaction information (e.g., STATUS).  Alternatively, the Customer may request dynamic notification whenever the transaction data is changed.
d. The Templates (transsell and ancsell) shall be used by the Seller to indicate to the Customer whether the request is acceptable or not by setting the transaction STATUS to one of RECEIVED, INVALID, REFUSED, DECLINED, SUPERSEDED, RETRACTED, STUDY, COUNTEROFFER, ACCEPTED, ANNULLED, or DISPLACED.  Transmission Provider’s as the Seller may use the transsell/ancsell template to act on requests or may use proprietary software solutions to perform this function in a similar manner.
e. The Templates (transcust and anccust) shall be used by the Customer to indicate to the Seller whether they wish to withdraw, negotiate, or confirm the transaction by setting the transaction STATUS to one of WITHDRAWN, REBID, or CONFIRMED. 
f. If the Customer has identified the transaction as PRECONFIRMED and the Seller has set the transaction STATUS to ACCEPTED, OASIS shall automatically set the transaction’s STATUS to CONFIRMED without any Customer interaction required.

g. If the Customer has identified the transaction as PRECONFIRMED and the Seller has set the transaction STATUS to COUNTEROFFER, OASIS shall take no automatic action on the transaction and require explicit confirmation by the Customer.

h. OASIS Nodes shall accept a Seller initiated change in STATUS to ACCEPTED only when OFFER_PRICE matches BID_PRICE (i.e., Seller must set OFFER_PRICE equal to BID_PRICE prior to or coincident with setting STATUS to ACCEPTED).
i. OASIS Nodes shall accept a Customer initiated change in STATUS to C
CONFIRMED only when BID_PRICE matches OFFER_PRICE (i.e., Customer must set BID_PRICE equal to OFFER_PRICE prior to or coincident with setting STATUS to CONFIRMED).
j. If CAPACITY_GRANTED is null when STATUS is being changed to ACCEPTED or CONFIRMED, the OASIS Node shall set it equal to CAPACITY_REQUESTED.

k. The source of all Customer and Seller contact information shall be the OASIS User registration process. Therefore, it shall not be input as part of uploads, but shall be provided as part of all transaction downloads.
l. transassign/ancassign template shall be used by the Seller to document transactions consummated off the OASIS Node with a specified Customer.  These templates provide the notification to the Primary Provider of the transfer of rights from the Seller to the Customer. [Does this conflict with the definition of RESALE and TRANSFER request types on page 3 that say the assignee is submitting the request? And, when does the notification to the primary provider happen – e.g. at QUEUED, CONFIRMED, etc. would assume QUEUED.]
The transaction process flow is depicted in the diagram below.
[image: image3.png]\

o

l




Exhibit 4-1 – Transaction Process Flow

002-4.2.10.1
Request Types
The following are the valid OASIS transaction request types (template data element REQUEST_TYPE) submitted by the customer unless otherwise noted, along with a brief description of their intended use:
ORIGINAL = reservation request submitted to the Primary Provider as the Seller of the transmission or ancillary service
RESALE = request submitted by a Transmission Customer (Customer or Assignee) to another Transmission Customer (Seller or Reseller) to convey scheduling rights from the Reseller to the Assignee (secondary market request)
TRANSFER =  request submitted by a Transmission Customer (Customer or Assignee) to another Transmission Customer (Seller or Reseller) and the Primary Provider to convey all rights (including financial obligation to the Primary Provider) from the Reseller to the Assignee (secondary market request)
RENEWAL = request to continue to take service at the expiration of a reservation
MATCHING = request to meet the terms (typically duration) of a competing request to retain priority of transmission service when offered a right of first refusal
DEFERRAL = request to defer or apply for an extension to the start and end of a transmission reservation
REDIRECT = request to move all or a portion of the capacity of a transmission reservation to an alternate POR/POD and/or make other changes to the terms of service
RELINQUISH = request to release all or a portion of the capacity of a transmission reservation

RECALL = request submitted by the Seller to take back all or a portion of the capacity of a transmission reservation
{registered} = A Primary Transmission Provider may register values for REQUEST_TYPE to implement specific provisions of their Tariff. 
Appendix A, OASIS Technical Implementation Guidelines, contains detailed descriptions on the use of each transaction REQUEST_TYPE and explains the business processes to be implemented in association with each of these requests as specified by the OASIS Business Practice Standards.












002-4.2.10.2
Status Values

The possible STATUS values are:

QUEUED = initial status assigned by TSIP on receipt of "customer services purchase request."  

INVALID = assigned by TSIP or Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED = assigned by Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY= assigned by Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED = assigned by Provider or Seller to indicate service request has been denied due to lack of availability of transmission capability. (Final state).

COUNTEROFFER = assigned by Provider or Seller to indicate that a new OFFER_PRICE is being proposed or that CAPACITY_GRANTED is less than CAPACITY_REQUESTED.
REBID = assigned by Customer to indicate that a new BID_PRICE is being proposed.

SUPERSEDED = assigned by Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED = assigned by Provider or Seller to indicate the service request at the designated OFFER_PRICE and CAPACITY_GRANTED has been approved/accepted. If the reservation request was submitted PRECONFIRMED and CAPACITY_GRANTED is equal to CAPACITY_REQUESTED, the OASIS Node shall immediately set the reservation status to CONFIRMED. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.

DECLINED = assigned by Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE, are unacceptable and that negotiations are terminated or that contractual terms and conditions have not been met. (Final state).
CONFIRMED = assigned by Customer in response to Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED," a transmission service reservation exists. (Final state, unless overridden by DISPLACED or ANNULLED state).

WITHDRAWN = assigned by Customer at any point in request evaluation to withdraw the request from any further action. (Final state).

DISPLACED = assigned by Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state).
ANNULLED = assigned by Provider or Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided. (Final state).

RETRACTED = assigned by Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

The following diagram exhibits the valid transaction states and the counter-party that is allowed to make changes in STATUS. However, individual tariffs may dictate specific allowed actions between states.


Exhibit 4-2 - State Diagram of Purchase Transactions
002-4.2.10.3
Dynamic Notification

Customers may specify the delivery of dynamic notification messages on each change in STATUS or any other Data Element(s) associated with an ancillary or transmission service reservation. OASIS Nodes shall support the delivery of dynamic notification messages through either the HTTP protocol or by electronic mail. The selection of which mechanism is used and the contents of the messages delivered to the client program or e-mail address is defined by the content of the STATUS_NOTIFICATION Data Element as described in the next subsections. Regardless of whether this dynamic notification method is used or not, it shall still remain the User's responsibility to get the desired information, possibly through the use of a periodic "integrity request". OASIS Nodes shall not be obligated or liable to guarantee delivery/receipt of messages via the STATUS_NOTIFICATION mechanism other than on a "best effort" basis. As an extension of the Company registration information of the host, domain and port identifiers for dynamic notification of changes in the Customer's purchase requests, a field should be added to the Company's registration information that would define/identify how notification would be delivered to that Company should a transmission or ancillary purchase request be directed to that Company as a Seller of a transmission or ancillary service. The pertinent information would be either a full HTTP protocol URL defining the protocol, host name, port, path, resource, etc. information or a "mailto:" URL with the appropriate mailbox address string. On receipt of any purchase request directed to that Company as SELLER via either the "transrequest" or "ancrequest" Templates, or on submission of any change in request STATUS (or any other Data Elements associated with the request) to that Company as SELLER via either the "transcust" or "anccust" Templates, a notification message formatted as documented for the delivery of notification to the Customer, shall be formatted and directed to the Seller. This extension of dynamic notification is required only where the Transmission Provider has programmed its computer system for its own notification.

002-4.2.10.3.1 
HTTP Notification

OASIS Nodes shall deliver dynamic notification to a client system based on HTTP URL information supplied in part by the STATUS_NOTIFICATION Data Element and by information supplied as part of the Customer's Company registration information. HTTP URL's are formed by the concatenation of a protocol field (i.e., http: ), a domain name (e.g., //www.tsin.com), a port designation (e.g., :80), and resource location information. 
The STATUS_NOTIFICATION Data Element shall contain the protocol field "http:", which designates the notification method/protocol to be used, followed by all resource location information required; the target domain name and port designations shall be inserted into the notification URL based on the Customer's Company registration information. The resource location information may include directory information, cgi script identifiers and URL encoded query string name/value pairs as required by the Customer's application. An OASIS Node performs no processing on the resource location information other than to include it verbatim along with the protocol, domain name and port information when forming the URL that will be used to deliver the HTTP protocol notification message.  For example, 

Company XYZ has established the domain name and port designations of "//oasistc.xyz.com:80" as part of their registration information.When a transmission reservation is submitted by one of Company XYZ's users (the Customer), and includes a STATUS_NOTIFICATION Data Element with the value of 

"http:/cgi-bin/status?DEAL_REF=8&REQUEST_REF=173", an OASIS Node shall deliver an HTTP notification message using the URL:

http://oasistc.xyz.com:80/cgi-bin/status?DEAL_REF=8&REQUEST_REF=173

If the STATUS_NOTIFICATION field contained only the "http:" protocol designation, the notification message would be delivered using the URL: 

http://oasistc.xyz.com:80

The contents of the HTTP protocol notification message delivered by an OASIS Node shall consist of the complete URL created by combining fields from the STATUS_NOTIFICATION Data Element and Company registration information as part of an HTTP POST method request. In addition to the POST method HTTP header record, OASIS Nodes shall also append the CSV formatted output of the transstatus Template information for that particular reservation using the standard Content-type: text/x-oasis-csv and appropriate Content-length: HTTP header records. OASIS Nodes shall use a Primary Provider specific default value for RETURN_TZ in formulating the transstatus response information. Continuing with the previous example, the important records in the HTTP notification message that would be delivered to Company XYZ for the transmission reservation request submitted to Primary Provider ABC and given an ASSIGNMENT_REF of 245 would be,

POST http://oasistc.xyz.com:80/cgi-bin/status?DEAL_REF=8&REQUEST_REF=173

HTTP/1.0

.

.

Content-type: text/x-oasis-csv

Content-length: <byte count of remainder of message>

REQUEST_STATUS=200

TIME_STAMP=<appropriate value>

VERSION=1.4

TEMPLATE=transstatus

OUTPUT_FORMAT=DATA

PRIMARY_PROVIDER_CODE=ABC

PRIMARY_PROVIDER_DUNS=123456789

RETURN_TZ=<appropriate value for ABC>

DATA_ROWS=1

COLUMN_HEADERS=CONTINUATION_FLAG, ASSIGNMENT_REF, . . .

N, 245, . . .

In the event an error is encountered delivering the HTTP notification message to the target URL as indicated by a failure of the target system to respond, or return of HTTP response status of 408, 500, 503, or 504, OASIS Nodes shall retry up to two more times, once every 5 minutes.

002-4.2.10.3.2 
E-mail Notification

OASIS Nodes shall deliver dynamic notification to an e-mail address based on Mailto: URL information specified in the STATUS_NOTIFICATION Data Element. Mailto: URL's consist of the "mailto:" protocol identifier and an Internet mail address to which the notification message should be sent.  The STATUS_NOTIFICATION Data Element shall contain the protocol field "mailto:", which designates the notification method/protocol to be used, followed by an Internet mail address in conformance with RFC 822. OASIS Nodes shall send an e-mail message to the Internet mail address containing the following information: "To:" set to the mail address from the STATUS_NOTIFICATION Data Element, "From:" set to an appropriate mail address of the OASIS Node, "Subject:" shall be the transstatus Template name followed by the value of the ASSIGNMENT_REF Data Element and the current value for the STATUS Data Element associated with the reservation (e.g., "Subject: transstatus 245 ACCEPTED"), and the body of the message shall contain the CSV formatted output of the transstatus Template information for that particular reservation. OASIS Nodes shall use a Primary Provider specific default value for RETURN_TZ in formulating the transstatus response information.

002-4.2.10.4
Use of Comments

Transmission and ancillary service reservation templates support the following text data elements to be used to communicate information between parties (i.e., transmission provider, seller, and customer) to a transaction:
· PRIMARY_PROVIDER_COMMENTS - for information to be communicated by the primary transmission provider to all other parties

· SELLER_COMMENTS - for information to be communicated by the seller (either primary provider or reseller) to the customer

· CUSTOMER_COMMENTS - for information to be communicated by the customer to the seller

· STATUS_COMMENTS - for information to be communicated by any party to all other parties

Use of these comments fields is at the discretion of the parties to the transaction with the exception that sellers of services must indicate via SELLER_COMMENTS the reason for denial of any request for service (STATUS values of INVALID, REFUSED, or DENIED). Transactions which are subject to displacement, either before or after confirmation (STATUS values of SUPERSEDED or DISPLACED), shall also include a reference to the competing reservation request that initiated the displacement in the SELLER_COMMENTS.

002-4.2.10.5
Reference Identifiers

a. The TSIP shall assign a unique reference identifier, ASSIGNMENT_REF, for each Customer request to purchase capacity or services. The value of ASSIGNMENT_REF may be used to imply the order in which the request was received by the TSIP. This identifier will be used to track the request through various stages, and will be kept with the service through out its life. Whenever a transaction is modified by a subsequent transaction, a new ASSIGNMENT_REF number is assigned to that subsequent transaction along with a reference to the previous transaction such that a chain of all transactions related to the service can be maintained. These changes create a parent/child relationship between related requests. The TSIP shall use REASSIGNED_REF or RELATED_REF as specified in section 4.2.13 to identify the parent request’s ASSIGNMENT_REF and shall increment the IMPACTED counter of the parent request by 1. Reductions to a request posted by the Transmission Provider shall also reference the requests ASSIGNMENT_REF and the TSIP shall increment the IMPACTED counter of the request by 1. 
b. The TSIP shall assign a unique reference identifier, POSTING_REF, to each Seller's offerings of service for sale or other information (messages) posted on an OASIS Node. The Seller in any/all subsequent Template submissions, that would result in a modification to or deletion of that specific offering or message, shall reference this identifier. Optionally, Customers may also refer to this POSTING_REF in their subsequent purchase requests to aid in identifying the specific offering associated with the purchase request. 
c. Sellers may aggregate portions of several previous transmission service reservations to create a new offering to be posted on an OASIS Node. When all or a portion of such offerings are sold, the Seller (original Customer) is obligated to notify the Primary Provider of the sale/assignment by inserting appropriate reassignment information on the OASIS Node (via the transsell or transassign Templates) or by some other approved method. This reassignment information consists of the ASSIGNMENT_REF value assigned to the original reservation(s) and the time interval and capacity amount(s) being reassigned to the new reservation. These values are retained in the REASSIGNED_REF, REASSIGNED_START_TIME, REASSIGNED_STOP_TIME, and REASSIGNED_CAPACITY Data Elements. 
d. Sellers may identify their service offerings received from Customers through the Seller supplied value specified for the SALE_REF Data Element. 
e. Customers may track their purchase requests through the Customer supplied values specified for the DEAL_REF and REQUEST_REF Data Elements. Customers may also use POSTING_REF and SALE_REF in their purchase requests to refer back to posted offerings.

002-4.2.10.6
Linking of Ancillary Services to Transmission Services
The requirements related to ancillary services are shown in transoffering (and updated using transupdate) using the ANC_SVC_REQ Data Element containing the following permitted values:

SC:x; RV:x; RF:x; EI:x; SP:x; SU:x;

where SC, RV, RF, EI, SP and SU are the ancillary services 1 through 6 described in the Proforma Tariff,

· SC - Scheduling, system Control and dispatch

· RV - Reactive supply and Voltage control

· RF - Regulation and Frequency response

· EI - Energy Imbalance

· SP - SPinning reserve

· SU - SUpplemental reserve

and where x={M,R,O,U} means one of the following:

· Mandatory, which implies that the Primary Provider must provide the ancillary service

· Required, which implies that the ancillary service is required, but not necessarily from the Primary Provider

· Optional, which implies that the ancillary service is not necessarily required, but could be provided

· Unknown, which implies that the requirements for the ancillary service are not known at this time

Ancillary services may be requested by a User from the Provider at the same time as transmission services are requested via the transrequest Template, by entering the special codes into ANC_SVC_LINK to represent the Proforma ancillary services 1 through 6 (or more) as follows:

SC:(AA[:xxx[:yyy[:nnn]]]); RV: (AA[:xxx[:yyy[:nnn]]]); RF:

(AA[:xxx[:yyy[:nnn]]]);

EI: (AA[:xxx[:yyy[:nnn]]]); SP: (AA[:xxx[:yyy[:nnn]]]); SU:

(AA[:xxx[:yyy[:nnn]]]); {Registered}:(AA[:xxx[:yyy[:nnn]]])

where AA is the appropriate PRIMARY_PROVIDER_CODE, SELLER_CODE, or CUSTOMER_CODE, and represents the company providing the ancillary services. "AA" may be unspecified for "xxx" type identical to "FT", in which case the ":" character must be present and precede the "FT" type. If multiple "AA" terms are necessary, then each "AA" grouping will be enclosed within parenthesis, with the overall group subordinate to the AS_TYPE specified within parenthesis and where xxx represents either:

· "FT" to indicate that the Customer will determine ancillary services at a future time, or

· "SP" to indicate that the Customer will self-provide the ancillary services, or

· "RQ" to indicate that the Customer is asking the OASIS Node to initiate the process for making an ancillary services reservation with the indicated Provider or Seller on behalf of the Customer. The Customer must then continue the reservation process with the Provider or Seller. If the transmission services request is for preconfirmed service, then the ancillary services shall also be preconfirmed, or

· "AR" to indicate an assignment reference number sequence follows.

The terms "yyy" and "nnn" are subordinate to the xxx type of "AR". yyy represents the ancillary services reservation number (ASSIGMNENT_REF) and nnn represents the capacity of the reserved ancillary services. Square brackets are used to indicated optional elements and are not used in the actual linkage itself. Specifically, the :yyy is applicable to only the "AR" term and the :nnn may optionally be left off if the capacity of ancillary services is the same as for the transmission services, and optionally multiple ancillary reservations may be indicated by additional (xxx[:yyy[:nnn]]) enclosed within parenthesis. If no capacity amount is indicated, the required capacity is assumed to come from the ancillary reservations in the order indicated in the codes, on an "as-needed" basis.

Examples:

Example 1:

Assume ancillary services SC and RV are mandatory from the TP, whose code is "TPEL", and ancillary services RF, EI, SP and SU are required, but will be defined at a future time.

"SC: (TPEL:RQ); RV: (TPEL:RQ); RF:(:FT); EI:(:FT); SP:(:FT); SU:(:FT)";

Example 2:

Assume ancillary services SC and RV are mandatory from the TP, whose code is "TPEL", and RF, EI, SP and SU are self-supplied. The customer code is "CPSE" 

"SC: (TPEL:RQ); RV: (TPEL:RQ); RF:(CPSE:SP); EI:(CPSE:SP); 

SP:(CPSE:SP); SU:(CPSE:SP)"

Example 3:

Assume ancillary services SC and RV are mandatory from the TP, whose code is "TPEL", and ancillary services RF, EI, SP and SU were purchased via a prior OASIS reservation from seller "SANC" whose reservation number was "39843". There is sufficient capacity within the Ancillary reservation to handle this Transmission reservation.

"SC:(TPEL:RQ); RV:(TPEL:RQ); RF:(SANC:AR:39843);

EI:(SANC:AR:39843) SP:(SANC:AR:39843); SU:(SANC:AR:39843)"

Example 4:

Assume ancillary services SC and RV are mandatory from the TP, whose code is "TPEL", and ancillary services RF, EI, SP and SU were purchased via prior OASIS reservations from sellers "SANC" and "TANC", whose reservation numbers where "8763" and "9824" respectively. There is not sufficient capacity within the Ancillary reservation from seller "SANC" to handle this Transmission reservation. In this case the OASIS reservation number 8763 will be depleted for the time frame specified within the transmission reservation and the remaining required amount will come from reservation number "9824".

"SC:(TPEL:RQ); RV:(TPEL:RQ); RF:((SANC:AR:8763)(TANC:AR:9824));

EI:((SANC:AR:8763)(TANC:AR:9824));

SP:((SANC:AR:8763)(TANC:AR:9824));

SU:((SANC:AR:8763)(TANC:AR:9824))"

Example 5:

Assume a transmission reservation in the amount of 100 mw/hour for a period of one day is made. Ancillary services SC and RV are mandatory from the TP, whose code is "TPEL", and ancillary services RF, EI, SP and SU were purchased via prior OASIS reservations from sellers "SANC" and "TANC", whose reservation numbers where "8763" and "9824" respectively. There is sufficient capacity within the Ancillary reservation from seller "SANC" to handle this Transmission reservation, however the purchaser wishes to use only "40 mw's" from this seller. In this case the OASIS reservation number 8763 will be depleted in the amount of "40 mw's" for the time frame specified within the transmission reservation and the remaining required amount will come from reservation number "9824".

"SC:(TPEL:RQ); RV:(TPEL:RQ); RF:((SANC:AR:8763:40)(TANC:AR:9824));

EI:((SANC:AR:8763:40)(TANC:AR:9824));

SP:((SANC:AR:8763:40)(TANC:AR:9824));

SU:((SANC:AR:8763:40)(TANC:AR:9824))"



· 
· 
· 
· 
· 
· 
· 





















002-4.3
TEMPLATE DESCRIPTIONS

The following OASIS Templates define the Data Elements [in fixed number and sequence WHAT DOES THIS MEAN?] which must be provided for all data transfers to and from the OASIS Nodes. The definitions of the Data Elements  are listed in the Data Element Dictionary in Appendix A. TSIPs must provide a more detailed supplemental definition of the list of Sellers, Paths, Point of  Receipt (POR), Point of Delivery (POD), Capacity Types, Ancillary Service Types and Templates online,  clarifying how the terms are being used (see LIST Template). If POR and POD are not used, then Path Name must include directionality. Many of the Templates represent query-response interactions between the User and the OASIS Node.  These interactions are indicated by the "Query" and "Response" section respectively of each Template.  Some, as noted in their descriptions, are Input information, sent from the User to the OASIS Node. The Response is generally a mirror of the Input, although in some Templates, the TSIP must add some information.

002-4.3.1
Template Summary

The following table provides a summary of the process areas, and Templates to be used by Users to query information that will be downloaded or to upload information to the Primary Providers. These  processes define the functions that must be supported by an OASIS Node.

	Process Area 
	Process Name 
	Template(s) 

	4.3.2 Query/Response of Posted Services Being Offered 
	Query/Response Transmission Capacity Offerings 
	transoffering 

	
	Query/Response Ancillary Service Offerings 
	ancoffering 

	
	
	

	4.3.3 Query/Response of Services Information 
	Query/Response Transmission Services 
	transserv 

	
	Query/Response Ancillary Services 
	ancserv 

	
	
	

	4.3.4 Query/Response of Schedule details and Curtailments, Security Events, Reductions, and System Data 
	Query/Response Transmission Schedules and Curtailments 
	scheduledetail 

	
	Query/Response Security Events 
	security 

	
	Query/Response Reductions to Reserved Capacity 
	reduction 

	
	Query/Response Transmission System Data 
	systemdata 

	
	
	

	4.3.5 Query/Response of Lists of Information 
	Query/Response List of Sellers, Paths, PORs, PODs, Capacity Types, Ancillary Service Types, Templates 
	list 

	
	
	

	4.3.6 Purchase Transmission Services 
	Request Purchase of Transmission Services (Input) 
	transrequest 

	
	Query/Response Status of Transmission Service Request 
	transstatus 

	
	Seller Approves Purchase (Input) 
	transsell 

	
	Customer Confirm/Withdraw Purchase of Transmission Service (Input) 
	transcust 

	
	Seller Reassign Rights (Input) 
	transassign 

	
	
	

	4.3.7 Seller Posting of Transmission Service 
	Seller Post Transmission Service for Sale (Input) 
	transpost 

	
	Seller Modify (Remove) Transmission Service for Sale (Input) 
	transupdate 

	
	
	

	4.3.8 Purchase of Ancillary Service 
	Request Purchase of Ancillary Service (Input) 
	ancrequest 

	
	Query/Response Status of Ancillary Service Request 
	ancstatus 

	
	Seller Approves Purchase of Ancillary Service (Input) 
	ancsell 

	
	Customer Accept/Withdraw Purchase of Ancillary Service (Input) 
	anccust 

	
	Seller Reassign Rights (Input) 
	ancassign 

	
	
	

	4.3.9 Seller Post Ancillary Service 
	Seller Post Ancillary Service (Input) 
	ancpost 

	
	Seller Modify (Remove) Ancillary Service for Sale (Input) 
	ancupdate 

	
	
	
	

	4.3.10 Informal Messages 
	Post Want Ads (Input) 
	
	messagepost 

	
	Query/Response Want Ads 
	message 

	
	Delete Want Ad (Input) 
	messagedelete 

	
	Personnel Transfers 
	personnel 

	
	Discretion 
	discretion 

	
	Standards of Conduct 
	stdconduct 

	
	
	

	4.3.11 Audit Log 
	Query/Response Audit Log 
	(various) 


002-4.3.2
Query/Response of Posted Services Being Offered

The following Templates define the information to be posted on services offered for sale. All discounts  for service negotiated by a Customer and Primary Provider (as Seller) at a price less than the currently  posted offering price shall be posted on OASIS Nodes in such a manner as to be viewed using these  Templates. All secondary market and/or third-party posting and Primary Provider offerings for like  services shall also be viewed using these Templates.  The Query must start with the standard header Query Variable Data Elements, listed in Section 4.2.6.2,  and may include any valid combination of the remaining Query Variables, shown below in the  Templates. START_TIME and STOP_TIME is the requested time interval for the Response to show  all offerings which intersect that interval (see Section 4.2.6.6). TIME_OF_LAST_UPDATE can be  used to specify all services updated since a specific point in time.  Query variable listed with an asterisk (*) can have at least 4 multiple instances defined by the user in  making the query.  In the Response, OFFER_START_TIME and OFFER_STOP_TIME indicate the "request time  window" within which a customer must request a service in order to get the posted OFFER_PRICE.  START_TIME and STOP_TIME indicate the time frame that the service is being offered for.  The SERVICE_DESCRIPTION Data Element shall define any attributes and/or special terms and  conditions applicable to the offering that are not listed under the standard SERVICE_DESCRIPTION  associated with the product definition supplied in the transserv or ancserv Templates.  SERVICE_DESCRIPTION shall be null if there are no unique attributes or terms associated with the  offering.

002-4.3.2.1
Transmission Capacity Offerings Available for Purchase (transoffering)

Transmission Services Offerings Available for Purchase (transoffering) is used to view transmission  services posted for sale by the Primary Provider or Resellers. At a minimum this Template must be  used to view each increment and type of service required to be offered under applicable regulations  and the Primary Provider's tariffs.  The POSTING_REF is set by the TSIP when an offering is posted and can be used in transrequest to  refer to a particular offering.  A User may query information about services available from all sellers for the time frame specified by  the SERVICE_INCREMENT Data Element, namely, hourly, daily, weekly, monthly, or yearly.

Template: transoffering

1. Query

PATH_NAME*

SELLER_CODE*

SELLER_DUNS*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SERVICE_INCREMENT*

TS_CLASS*

TS_TYPE*

TS_PERIOD*

TS_WINDOW*

TS_SUBCLASS*

START_TIME (of transmission services)

STOP_TIME (of transmission services)

POSTING_REF

TIME_OF_LAST_UPDATE

2. Response

The response is one or more records showing the requested service information. Note  that the Customer will receive as a series of records spanning all the SELLER_CODEs,  PATH_NAMEs, PORs, PODs, TS_xxx, and the START_TIME/STOP_TIME specified  in the query. The SALE_REF is a value provided by the SELLER to identify the  transmission service product being sold. The ANC_SVC_REQ indicates all ancillary  services required for the specified transmission services. All Template elements are  defined in the Data Element Dictionary.

TIME_OF_LAST_UPDATE

SELLER_CODE

SELLER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

INTERFACE_TYPE

OFFER_START_TIME

OFFER_STOP_TIME

START_TIME

STOP_TIME

CAPACITY (If null, then look in seller comments for information .)

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

ANC_SVC_REQ

SALE_REF

POSTING_REF

CEILING_PRICE

OFFER_PRICE

PRICE_UNITS

SERVICE_DESCRIPTION (if null, then look at transserv)

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

SELLER_COMMENTS

002-4.3.2.2
Ancillary Services Available for Purchase (ancoffering)

Ancillary Services Available for Purchase (ancoffering) is used to provide information regarding the  ancillary services that are available for sale by all sellers (both Primary Provider and Third Party  Sellers).

Template: ancoffering

1. Query

SELLER_CODE*

SELLER_DUNS*

CONTROL_AREA*

SERVICE_INCREMENT*

AS_TYPE*

START_TIME

STOP_TIME

POSTING_REF

TIME_OF_LAST_UPDATE

2. Response

TIME_OF_LAST_UPDATE

SELLER_CODE

SELLER_DUNS

CONTROL_AREA

OFFER_START_TIME

OFFER_STOP_TIME

START_TIME

STOP_TIME

CAPACITY

SERVICE_INCREMENT

AS_TYPE

SALE_REF

POSTING_REF

CEILING_PRICE

OFFER_PRICE

PRICE_UNITS

SERVICE_DESCRIPTION (if blank, then look at ancserv)

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

SELLER_COMMENTS

002-4.3.3
Query/Response of Services Information

002-4.3.3.1
Transmission Services (transserv)

Transmission Services (transserv) is used to provide additional information regarding the transmission services SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_SUBCLASS, TS_WINDOW, NERC_CURTAILMENT_PRIORITY, and OTHER_CURTAILMENT_PRIORITY that are available for sale by a Provider in the Templates in Section 4.3.2. This Template is used to  summarize Provider tariff information for the convenience of the User. The Provider also sets  PRICE_UNITS with this Template.  

Template: transserv

1. Query
TIME_OF_LAST_UPDATE

2. Response

TIME_OF_LAST_UPDATE

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

CEILING_PRICE

PRICE_UNITS

SERVICE_DESCRIPTION

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

TARIFF_REFERENCE

002-4.3.3.2
Ancillary Services (ancserv)

Ancillary Services (ancserv) is used to provide additional information regarding the ancillary services that are available for sale by a Provider in the Templates in Section 4.3.2. This Template is used to summarize Provider tariff information for the convenience of the User. The Provider also sets PRICE_UNITS with this Template.

Template: ancserv

1. Query

TIME_OF_LAST_UPDATE

2. Response

TIME_OF_LAST_UPDATE

SERVICE_INCREMENT

AS_TYPE

CEILING_PRICE

PRICE_UNITS

SERVICE_DESCRIPTION

TARIFF_REFERENCE

002-4.3.4
Query/Response of Schedules and Curtailments, Security Events, Reductions,  and System Data

002-4.3.4.1
Transaction Schedule (scheduledetail)

Transaction Schedule (scheduledetail) provides information on the scheduled uses of the Provider’s transmission system and any curtailments or interruption thereof. Posting of transmission service  schedule information shall be in accordance with regulatory requirements, and reflect scheduled uses of  reserved capacity to a level of detail that such schedules are subject to a Provider’s application of  transmission security procedures and policies regarding curtailment and interruptions. There is no  restriction on the number of transaction schedule records that may refer to a given transmission  reservation at a given point in time.  
The Query Variables ASSIGNMENT_REF, SELLER_CODE, SELLER_DUNS, CUSTOMER_CODE, CUSTOMER_DUNS, SERVICE_INCREMENT, TS_CLASS, TS_TYPE, and  TS_PERIOD act to select those transmission reservations for which all applicable transaction schedule  information is to be returned. The PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY  Query Variables select all applicable interchange transaction schedule records that use the specified  path, point of receipt, and/or point of delivery. The TIME_OF_LAST_UPDATE, START_TIME, and STOP_TIME Query Variables select those particular interchange transaction schedule records updated  and/or effective: 1) on or after a particular point in time (START_TIME alone), 2) before a particular  point in time (STOP_TIME alone), or 3) between particular points in time (START_TIME and  STOP_TIME). The TRANSACTION_ID Query Variable selects all applicable schedule information records associated with that particular schedule. Note that the format of TRANSACTION_ID may be  Transmission Provider specific.

Each scheduledetail Template record returned in response to a query shall include information  associated with:

1. information specifically related to the scheduled transaction,

2. information from all applicable OASIS transmission reservations used to support the scheduled interchange transaction, and

3. information related to any curtailment or interruption of service (if applicable), including a Transmission Provider’s refusal to accept or begin a Customer’s proposed interchange transaction for reliability or economic reasons (as allowed by the Provider’s Tariff).

Information to be supplied in each scheduledetail Template’s response records related to the scheduled  interchange are, SCHEDULE_REF, TRANSACTION_ID, PATH_NAME, POINT_OF_RECEIPT,  POINT_OF_DELIVERY, GCA_CODE, LCA_CODE, SOURCE, SINK, SCHEDULE_PRIORITY,  START_TIME, STOP_TIME, SCHEDULE_REQUESTED, and SCHEDULE_GRANTED.
The posting and availability of schedule and curtailment information on OASIS shall be in accordance with FERC Policy.  
SCHEDULE_REF uniquely identifies a particular posting of schedule information. SCHEDULE_REF would vary with each record of data returned in response to a schedule query. TRANSACTION_ID, if applicable/available, contains a unique identifier associated with an interchange transaction that may  span multiple SCHEDULE_REF records. When available or applicable, the TRANSACTION_ID Data Element should reflect any industry-recognized transaction identifier rather than a Provider  specific internal identifier (e.g., the NERC electronic tagging “tag-id”). PATH_NAME,  POINT_OF_RECEIPT, and POINT_OF_DELIVERY identify the Transmission Provider’s specific  transmission resources used by the scheduled transaction, and would typically be identical to the  corresponding Data Elements associated with the OASIS transmission reservation used to support the  schedule. When known, the GCA_CODE and LCA_CODE identify the NERC registered Control Area  acronyms associated with the ultimate generation and load control areas respectively. When known or  required to more specifically identify the ultimate points of generation and load, the SOURCE and  SINK elements identify service points within the generation and load Control Areas respectively.  SCHEDULE_PRIORITY identifies the relative priority of this particular interchange transaction as  compared to all other scheduled transactions with respect to the application of curtailments or  interruptions. SCHEDULE_PRIORITY would typically reflect the curtailment priority Data Elements  associated with the OASIS transmission reservation used to support the schedule (i.e.,  NERC_CURTAILMENT_PRIORITY or OTHER_CURTAILMENT_PRIORITY). START_TIME  and STOP_TIME designate the particular time interval represented by this record associated with the  scheduled transaction. Note that multiple response records may be returned for a given scheduled  transaction when information associated with the schedule vary over time (e.g.,  SCHEDULE_REQUESTED, SCHEDULE_GRANTED, SCHEDULE_LIMIT, etc.), but that  scheduledetail Template response records for a given scheduled transaction should never overlap in  time. SCHEDULE_REQUESTED reflects the MW value requested to be scheduled by the Customer  during the hour, and SCHEDULE_GRANTED reflects the MW value actually scheduled by the  Transmission Provider at either the point of receipt or delivery, whichever is larger, over the  START_TIME/STOP_TIME time interval. When SCHEDULE_REQUESTED exceeds  SCHEDULE_GRANTED, a curtailment or interruption is in effect and additional information shall be  returned in the record.  
Information in each scheduledetail Template’s response record related to the OASIS transmission  reservation(s) supporting the scheduled transaction includes ASSIGNMENT_REF, SELLER_CODE,  SELLER_DUNS, CUSTOMER_CODE, CUSTOMER_DUNS, AFFILIATE_FLAG,  SERVICE_INCREMENT, TS_CLASS, TS_TYPE, TS_PERIOD, TS_WINDOW, TS_SUBCLASS,  NERC_CURTAILMENT_PRIORITY, OTHER_CURTAILMENT_PRIORITY, and  CAPACITY_USED. Transaction schedules that are supported by the use of multiple OASIS  transmission reservations return the information attributable to each individual transmission reservation  using continuation records (i.e., records beginning with CONTINUATION_FLAG = ‘Y’). Each  continuation record shall also include the SCHEDULE_REF identifier from the first  (CONTINUATION_FLAG = ‘N’) record. CAPACITY_USED reflects the peak MW amount of the  reservation used to support the scheduled transaction; the sum of CAPACITY_USED over all  continuation records (if applicable) should equal the SCHEDULE_GRANTED.
Transaction schedules that were either “denied or interrupted” (ref. 18 CFR 37.6(a)(4)) shall include  information in the scheduledetail Template’s response related to the reason the transaction could not  be started or continued at the requested MW amount. The information returned shall include:  PROVIDER_ACTION, SCHEDULE_LIMIT, CURTAILMENT_OPTIONS, SECURITY_REF,  INITIATING_PARTY, RESPONSIBLE_PARTY, PROCEDURE_NAME, PROCEDURE_LEVEL,  FACILITY_LOCATION, FACILITY_NAME, FACILITY_CLASS, and FACILITY_LIMIT_TYPE. If  there are no restrictions to the scheduled transaction, these Data Elements shall all be returned as null.  
PROVIDER_ACTION indicates the particular action taken by the Transmission Provider with respect  to the scheduled transaction; specific values to be returned are, DENIED if the schedule was not started  as requested, CURTAILED if the scheduled MW was limited for reliability reasons, or  INTERRUPTED if the scheduled MW was limited for economic reasons. SCHEDULE_LIMIT  reflects the maximum MW value over the START_TIME/STOP_TIME interval that the Provider has  determined can be scheduled. CURTAILMENT_OPTIONS defines any options the Customer may  exercise to reinstate all or part of the proposed schedule. SECURITY_REF, INITIATING_PARTY,  RESPONSIBLE_PARTY, PROCEDURE_NAME, PROCEDURE_LEVEL, FACILITY_NAME,  FACILITY_CLASS, and FACILITY_LIMIT_TYPE provide information related to the specific  transmission security event that prompted the Transmission Provider’s denial, curtailment or  interruption of the proposed scheduled transaction (see security Template).

Template: scheduledetail

1. Query

PATH_NAME*

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SERVICE_INCREMENT*

TS_CLASS*

TS_TYPE*

TS_PERIOD*

TS_WINDOW*

TS_SUBCLASS*

START_TIME

STOP_TIME

TIME_OF_LAST_UPDATE

ASSIGNMENT_REF

TRANSACTION_ID

2. Response

CONTINUATION_FLAG

TIME_OF_LAST_UPDATE

SCHEDULE_REF

TRANSACTION_ID

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

GCA_CODE

LCA_CODE

SOURCE

SINK

SCHEDULE_PRIORITY

START_TIME

STOP_TIME

SCHEDULE_REQUESTED

SCHEDULE_GRANTED

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

CAPACITY_USED

(if the transaction is subject to curtailment:)

PROVIDER_ACTION

SCHEDULE_LIMIT

CURTAILMENT_OPTIONS

SECURITY_REF

INITIATING_PARTY  (e.g, CA/TP code)
RESPONSIBLE_PARTY  (e.g., SC code)
PROCEDURE_NAME  (e.g., "NERC TLR", or registered)
PROCEDURE_LEVEL (e.g., "2a", "3")
FACILITY_LOCATION 
(e.g, "INTERNAL" or

"EXTERNAL")
FACILITY_NAME

FACILITY_CLASS  (e.g., transformer, etc.)
FACILITY_LIMIT_TYPE  (e.g, thermal, stability, etc.)
002-4.3.4.2
Security Event (security)

Security Event (security) provides information on transmission security/reliability events that  may impact the Provider’s ability to schedule transactions. The TIME_OF_LAST_UPDATE,  START_TIME, and STOP_TIME Query Variables select those particular security event  postings updated and/or effective: 1) on or after a particular point in time (START_TIME  alone), 2) before a particular point in time (STOP_TIME alone), or 3) between particular  points in time (START_TIME and STOP_TIME).  
The SECURITY_REF Data Element is a unique identifier assigned to each posting of  security related information; SECURITY_REF would vary with each record of data returned in  response to a security query. The EVENT_ID Data Element, when available, should reflect  any regional or interconnection-wide recognized security event identifier for events that are of  greater scope than those administered locally by the Provider (e.g., a NERC Security  Coordinator assigned identifier corresponding to a particular implementation of the NERC  TLR procedure). SECURITY_TYPE identifies the type of information posted for the event;  restricted values are OUTAGE for postings reflecting the state of critical transmission  facilities, and LIMIT for postings reflecting the implementation of security procedures to limit  or reduce scheduled transactions. The INITIATING_PARTY identifies by Control Area,  Security Coordinator or Transmission Provider code the entity calling for the “outage” or  “limit”, and RESPONSIBLE_PARTY identifies the entity (Control Area, Transmission  Provider, or Security Coordinator) responsible for administering any resulting security  procedure that may be instituted.  
PROCEDURE_NAME and PROCEDURE_LEVEL reflect the specific security procedure and,  if applicable, the step, stage, or level within that procedure being implemented by  RESPONSIBLE_PARTY (e.g., NERC TLR is a recognized security procedure, and level “2a”  is a step within that procedure). FACILITY_NAME, FACILITY_CLASS, and  FACILITY_LIMIT_TYPE provide specific information related to the impacted transmission  facility. FACILITY_LOCATION identifies if the impacted facility is "INTERNAL" or  "EXTERNAL" relative to the Transmission Provider’s scope of authority over the named  facility.

START_TIME and STOP_TIME reflect the period of time encompassed by the particular  security event posted. In cases where a security procedure is invoked and then progresses  through various levels or stages, there shall be separate postings for each of those stages  declared by RESPONSIBLE_PARTY with START_TIME and STOP_TIME reflecting the  period of time each specific level of the procedure was in effect.  
The use of the security Template to convey information related to major transmission facility  outages (SECURITY_TYPE = OUTAGE) is at the discretion of the Provider. Its definition in  this Template is intended to formalize the posting of facility outage information in an OASIS  Template structure where such information prior to implementation of this Template had  been posted in a free-form manner.

Template: security

1. Query

START_TIME

STOP_TIME

TIME_OF_LAST_UPDATE

SECURITY_REF

EVENT_ID

SECURITY_TYPE

INITIATING_PARTY

RESPONSIBLE_PARTY

PROCEDURE_NAME

FACILITY_CLASS

FACILITY_LIMIT_TYPE

FACILITY_LOCATION

2. Response

TIME_OF_LAST_UPDATE

SECURITY_REF

EVENT_ID

SECURITY_TYPE 
INITIATING_PARTY 
RESPONSIBLE_PARTY 
PROCEDURE_NAME
PROCEDURE_LEVEL 
FACILITY_CLASS 
FACILITY_LIMIT_TYPE 
FACILITY_LOCATION 
FACILITY_NAME 
START_TIME

STOP_TIME

002-4.3.4.3
Transmission Reservation Reduction (reduction)

The Transmission Reservation Reduction (reduction) Template provides information related  to the reduction in the Transmission Customer’s rights to schedule use of all or a portion of  capacity reserved for a given transmission reservation. Specific cases where such a  reduction in reserved capacity would be returned in response to this query Template include:  secondary market sales (as posted using the transassign or transsell Templates via the  REASSIGNED_REF, etc., Data Elements), a Transmission Provider’s interruption of the  reservation to accommodate higher priority reservations over the interruption interval (partial  displacement), etc.
The ASSIGNMENT_REF Query Variable is required and specifies the transmission  reservation whose reductions in reserved capacity (if any) are to be returned. The  START_TIME and STOP_TIME Query Variables allow the user to select the specific time  interval over which the reductions in reserved capacity are to be returned (e.g., return all  reductions in June for a year long reservation); by default all reductions over the life of the  reservation are returned.  
In response to a reduction Template query, each primary record returned (CONTINUATION_FLAG = N) shall include the ASSIGNMENT_REF, CAPACITY_GRANTED  and CAPACITY_AVAILABLE in MWs over the interval from START_TIME to STOP_TIME.  CAPACITY_AVAILABLE is derived from the transmission reservation's CAPACITY_GRANTED less all reductions (if any) in reserved capacity over the interval from START_TIME to STOP_TIME as specified in the CAPACITY_REDUCED (as negative valued MWs) Data Element. The REDUCTION_TYPE, and REDUCTION_REASON Data Elements describe the circumstances and IMPACTING_REF references the associated transmission reservation (if applicable) that caused the reduction in capacity.  
If no reductions in reserved capacity have been posted against the reservation,  CAPACITY_AVAILABLE will equal CAPACITY_GRANTED and the REDUCTION_TYPE,  REDUCTION_REASON, IMPACTING_REF and CAPACITY_REDUCED Data Elements will  be null. This response information is equivalent to the CAPACITY_GRANTED,  START_TIME, and STOP_TIME information that would be returned on execution of the  transstatus Template.
If the CAPACITY_AVAILABLE over the interval from START_TIME to STOP_TIME is the  result of more than one action reducing reserved capacity (e.g., multiple secondary market  sales for the same time period), each action reducing capacity will be returned in continuation  records (CONTINUATION_FLAG = Y) containing the ASSIGNMENT_REF,  REDUCTION_TYPE, REDUCTION_REASON, IMPACTING_REF and  CAPACITY_REDUCED Data Elements. If the action is another reservation (e.g. secondary  market sale) the REASSIGNED_CAPACITY from that reservation will be shown as a  negative value in CAPACITY_REDUCED.

Template: reduction

1. Query

START_TIME

STOP_TIME

ASSIGNMENT_REF* (must be specified)

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

CAPACITY_GRANTED

CAPACITY_AVAILABLE

START_TIME

STOP_TIME

REDUCTION_TYPE 
REDUCTION_REASON

IMPACTING_REF (if applicable)

CAPACITY_REDUCED

002-4.3.4.4
System Data (systemdata)

The System Data (systemdata) Template is used to query specific, time varying data that is  posted on a PATH, POINT_OF_RECEIPT, and/or POINT_OF_DELIVERY basis. The  SYSTEM_ATTRIBUTE Data Element defines the type of information returned in the  Template response. The restricted values for SYSTEM_ATTRIBUTE are,

· CBM – Capacity Benefit Margin

· TRM – Transmission Reliability Margin

· TTC – Total Transmission Capability

· NATC – Non-recallable (Firm) Available Transmission Capability

· RATC – Recallable (Non-firm) Available Transmission Capability

· A {registered} – Provider specific registered name for the data posted

Transmission Providers obligated to post values for one or more of the defined  SYSTEM_ATTRIBUTEs on specific transmission paths over time (e.g., hourly, then daily, etc.) as  called forth in FERC regulations shall return these posted values via the systemdata Template. If  SYSTEM_ATTRIBUTE is omitted in the query, then all attributes defined by the transmission  provider are returned, subject to the other query attributes constraints.. A given  SYSTEM_ATTRIBUTE may take on only one value at any given point in time. Note that TTC and  ATC information may also be viewed using the transoffering Template at the Transmission Provider's  discretion. Offers of service posted by Primary Providers as viewed with the transoffering Template  should reflect the applicable ATC(s) posted via systemdata in the CAPACITY Data Element.

Template: systemdata

1. Query

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SYSTEM_ATTRIBUTE*

START_TIME

STOP_TIME

TIME_OF_LAST_UPDATE

2. Response (acknowledgment)

POSTING_REF

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SYSTEM_ATTRIBUTE

START_TIME

STOP_TIME

ATTRIBUTE_VALUE

ATTRIBUTE_UNITS

TIME_OF_LAST_UPDATE

002-4.3.5
Query/Response of Lists of Information

002-4.3.5.1
List (list)

List (list) is used to provide lists of valid names. The minimum set of lists is LIST, SELLER_CODE,  PATH_NAME, POINT_OF_RECEIPT, POINT_OF_DELIVERY, SERVICE_INCREMENT,  TS_CLASS, TS_TYPE, TS_PERIOD, TS_SUBCLASS, TS_WINDOW,  NERC_CURTAILMENT_PRIORITY, REQUEST_TYPE, ANC_SERVICE_POINT,  FACILITY_CLASS, FACILITY_LIMIT_TYPE, PROCEDURE_NAME, SYSTEM_ATTRIBUTE,  SECURITY_TYPE, FACILITY_LOCATION, OTHER_CURTAILMENT_PRIORITY, AS_TYPE,  CATEGORY, and TEMPLATE. The information returned by the list Template may be used as values  for the associated OASIS Data Elements to query information, post or request services.  

Template: list

1. Query

LIST_NAME

TIME_OF_LAST_UPDATE

2. Response

TIME_OF_LAST_UPDATE

LIST_NAME

LIST_ITEM

LIST_ITEM_DESCRIPTION

002-4.3.6
Purchase Transmission Services

The following Templates shall be used by Customers and Sellers to transact purchases of services.

002-4.3.6.1
Customer Capacity Purchase Request (transrequest)

The Customer Capacity Purchase Request (Input) (transrequest) is used by the Customer to request  the purchase of transmission services or request changes to previously submitted reservations for  transmission services. The response simply acknowledges that the Customer's request was received by  the OASIS Node. It does not imply that the Seller has received the request. Inputting values into the  reference Data Elements is optional.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection  used to input the request.
Supporting "profiles" of service, which request different capacities (and  optionally price) for different time periods within a single request, is at the  discretion of the Primary Provider. Continuation records may be used to indicate  requests for these service profiles; use of continuation records is only supported  when using the CSV Format upload of Template data. Each segment of a profile  is represented by the Data Elements CAPACITY_REQUESTED,  START_TIME, and STOP_TIME, which define the intervals in time overwhich  a non-zero MW demand is being requested. The initial segment of a profile is  defined by the CAPACITY_REQUESTED, START_TIME and STOP_TIME Data Elements specified in the first/only record submitted; subsequent segments  are specified in continuation records each containing the appropriate CAPACITY_REQUESTED, START_TIME and STOP_TIME values defining  the segment. Provider's may optionally support price negotiation on segments of  a profiled reservation request. In this case, the BID_PRICE Data Element is also  included in each continuation record. If the BID_PRICE Data Element is not  specified in the continuation records, the BID_PRICE specified in the first/only  record submitted will be applied to the entire reservation request.
For requesting transmission services which include multiple paths, the following fields may be  specified using continuation records: PATH_NAME, POINT_OF_RECEIPT, and  POINT_OF_DELIVERY. Supporting multiple paths or multiple POINT_OF_RECEIPT and  POINT_OF DELIVERY is at the discretion of the Provider.
The START_TIME and STOP_TIME indicate the requested period of service.  
When the request is received at the OASIS Node, the TSIP assigns a unique ASSIGNMENT_REF  value and queues the request with a time stamp. The STATUS for the request is QUEUED. The  IMPACTED counter is initially set to 0. If the new request is not modifying an existing reservation (as  indicated by a null value for the RELATED_REF Data Element) and the SELLER is the Primary  Provider, REQUEST_TYPE must either be specified as "ORIGINAL" or be left null and OASIS will  substitute the default value of "ORIGINAL". If the new request is not modifying an existing reservation  and the SELLER is not the Primary Provider, REQUEST_TYPE must either be specified as  "RESALE" or be left null and OASIS will substitute the default value of "RESALE".
If the new request is modifying an existing transmission reservation, the Data Elements  REQUEST_TYPE and RELATED_REF must be entered. RELATED_REF contains the  ASSIGNMENT_REF for the transmission reservation being modified, and REQUEST_TYPE must be  one of MATCHING, REDIRECT, DEFERRAL, RENEWAL, or a Primary Provider registered value.
Specification of a value YES in the PRECONFIRMED field authorizes the TSIP to automatically  change the STATUS field in the transstatus Template to CONFIRMED when that request is  ACCEPTED by the Seller.

Template: transrequest

1. Input

CONTINUATION_FLAG

SELLER_CODE (Primary or Reseller)

SELLER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

ANC_SVC_LINK

POSTING_REF (Optionally set by Customer)

SALE_REF (Optionally set by Customer)

REQUEST_REF (Optionally set by Customer)

DEAL_REF (Optionally set by Customer)

CUSTOMER_COMMENTS

REQUEST_TYPE 
RELATED_REF 
2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

SELLER_CODE

SELLER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

ANC_SVC_LINK

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

CUSTOMER_COMMENTS

REQUEST_TYPE

RELATED_REF

ERROR_MESSAGE

002-4.3.6.2
Status of Customer Purchase Request (transstatus)

The Status of Customer Purchase Request (transstatus) is provided upon the request of any Customer or Provider to indicate the current status of one or more reservation records. Users may also view any transaction's status. However, the SOURCE and SINK may be masked for User requests until Transmission Providers must make source and sink information available at the time the request status posting is updated to show that a transmission request is confirmed. 
Continuation records may be returned in association with a transmission reservation to convey information regarding: 1) sale or assignment of transmission rights on the secondary market (reassignments), 2) profiled requests, or 3) service over multiple paths Each continuation record associated with a transmission reservation shall be identified by the CONTINUATION_FLAG Data Element set to 'Y' and include the ASSIGNMENT_REF Data Element.  
When a transmission reservation request acquires its rights to transmission service as the result of a sale or assignment of transmission rights on the secondary market, the identity of the original reservation, capacity, and time interval over which rights are assigned to the new reservation are defined by the Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. These Data Elements will be returned in continuation records when more than one set of reassignment information is associated with a reservation. 
If the transmission reservation has an associated profile, either as a result of the submission of CAPACITY_REQUESTED varying over time (support for Customer reservation profiles is at the discretion of the Provider) or due to the Provider offering partial service specifying a CAPACITY_GRANTED varying over time, then CAPACITY_GRANTED, CAPACITY_REQUESTED, START_TIME and STOP_TIME for the segments of the profile will be returned in continuation records. If the Provider supports negotiation of price on each segment of a Customer profiled request, BID_PRICE and OFFER_PRICE will also be returned with CAPACITY_REQUESTED, CAPACITY_GRANTED, START_TIME and STOP_TIME.
If the Provider supports reservations submitted on multiple paths, continuation records specifying PATH_NAME, POINT_OF_RECEIPT, and POINT_OF_DELIVERY associated with the reservation would be returned in continuation records. 
The AFFILIATE_FLAG will be set by the TSIP to indicate whether or not the Customer is an affiliate of the Primary Provider. The NEGOTIATED_PRICE_FLAG will be set by the TSIP to indicate whether the OFFER_PRICE is higher, lower, or the same as the BID_PRICE. Any time that a confirmed transmission reservation's rights to schedule up to the amount of CAPACITY_GRANTED is reduced, either due to secondary market sales, partial displacements, Provider initiated "recalls" of capacity, etc., the IMPACTED Data Element shall be incremented. Specific information regarding the MW level and reason for reduction in reserved capacity is viewable using the reduction Template.

Template: transstatus

1. Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

PATH_NAME*

POINT_OF_RECEIPT*

POINT_OF_DELIVERY*

SERVICE_INCREMENT*

TS_CLASS*

TS_TYPE*

TS_PERIOD*

TS_WINDOW*

TS_SUBCLASS*

STATUS*

START_TIME (Beginning time of service)

STOP_TIME

START_TIME_QUEUED (Beginning time queue)

STOP_TIME_QUEUED

NEGOTIATED_PRICE_FLAG

ASSIGNMENT_REF

REASSIGNED_REF

RELATED_REF

SALE_REF

REQUEST_REF

DEAL_REF

COMPETING_REQUEST_FLAG

TIME_OF_LAST_UPDATE

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG (Set by TSIP)

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

NERC_CURTAILMENT_PRIORITY

OTHER_CURTAILMENT_PRIORITY

START_TIME

STOP_TIME

CEILING_PRICE

OFFER_PRICE

BID_PRICE

PRICE_UNITS

PRECONFIRMED

ANC_SVC_LINK

ANC_SVC_REQ

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

IMPACTED  (Greater than 0, if another reservation impacts this reservation)
COMPETING_REQUEST_FLAG

REQUEST_TYPE

RELATED_REF

NEGOTIATED_PRICE_FLAG  ("L" if Seller accepted Price is lower than OFFER_PRICE in transoffering Template; "H" if higher; otherwise blank)
STATUS

STATUS_NOTIFICATION

STATUS_COMMENTS

TIME_QUEUED

RESPONSE_TIME_LIMIT

TIME_OF_LAST_UPDATE

PRIMARY_PROVIDER_COMMENTS

SELLER_REF

SELLER_COMMENTS

CUSTOMER_COMMENTS

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

REASSIGNED_REF

REASSIGNED_CAPACITY  (Capacity from each previous transaction)
REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

002-4.3.6.3
Seller Approval of Purchase (transsell)

Seller Approval of Purchase (Input) (transsell) is input by a Seller to modify the status and queue of a request by a Customer. 
The following fields may be submitted in continuation records for the transsell Template to convey transmission rights from multiple original transmission reservations to this new reservation: REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. Use of continuation records is only supported when using the CSV format upload of Template data. 
If the Provider/Seller cannot accommodate the Customer's CAPACITY_REQUESTED and is obligated or elects to offer the Customer partial service that varies over the total period of the reservation, CAPACITY_GRANTED, START_TIME and STOP_TIME Data Elements may be repeated in continuation records. 
If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), OFFER_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Seller's offer price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. OFFER_PRICE associated with each segment of a profiled request must match the corresponding BID_PRICE for the reservation request's STATUS to be set to ACCEPTED. 
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. The SELLER_REF Data Element may be set by the SELLER to a seller specific internal tracking number. 
If the reservation is subject to the right of first refusal pending a status change to Displaced, the COMPETING_REQUEST_FLAG shall be set to Y, and SELLER_COMMENTS shall be updated with a reference to the competing request’s ASSIGNMENT_REF. If the reservation is subject to the right of first refusal pending a status change to Superseded, the COMPETING_REQUEST_FLAG shall be set to Y, the OFFER_PRICE shall be updated, the SELLER_COMMENTS shall be updated with a reference to the competing requests ASSIGNMENT_REF, and the STATUS shall be set to COUNTEROFFER. Once the disposition of the request is finalized, the COMPETING_REQUEST_FLAG shall be reset to N and any appropriate status change shall be made. 
The Seller may accept a reservation only when the BID_PRICE and the OFFER_PRICE are the same.

Template: transsell

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS 

STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

2. Response

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

OFFER_PRICE

CAPACITY_GRANTED

STATUS

STATUS_COMMENTS

ANC_SVC_LINK

ANC_SVC_REQ

COMPETING_REQUEST_FLAG

NEGOTIATED_PRICE_FLAG

SELLER_REF

SELLER_COMMENTS

RESPONSE_TIME_LIMIT

REASSIGNED_REF

REASSIGNED_CAPACITY (Previous capacity to be reassigned)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

ERROR_MESSAGE

002-4.3.6.4
Customer Confirmation of Purchase (Input) (transcust)

Customer Confirmation of Purchase (Input) (transcust) is input by the Customer to state his agreement or withdrawal of a purchase after the Seller has indicated that the purchase request is approved.  Only the BID_PRICE, STATUS, STATUS_COMMENTS, ANC_SVC_LINK, and CUSTOMER_COMMENTS Data Elements can be modified in this Template. 
The PRECONFIRMED Data Element may only be set to a value of 'Y' using this Template. Once the Customer has set PRECONFIRMED to 'Y', either on the original submission of the transrequest Template or via this Template, its value cannot be reset to 'N'. 
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request. 
The Customer must change the BID_PRICE to be equal to the OFFER_PRICE before the reservation request's STATUS can be set to CONFIRMED. 
If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), BID_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Customer's bid price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME.  BID_PRICE associated with each segment of a profiled request must match the corresponding OFFER_PRICE for the reservation request's STATUS to be set to CONFIRMED.

Template: transcust

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS

STATUS_COMMENTS

ANC_SVC_LINK

STATUS_NOTIFICATION (If left blank, then original URL from the transrequest will be used)
CUSTOMER_COMMENTS

2. Response

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS

STATUS_COMMENTS

ANC_SVC_LINK

STATUS_NOTIFICATION

CUSTOMER_COMMENTS

ERROR_MESSAGE

002-4.3.6.5
Seller to Reassign Service Rights to Another Customer (transassign)

Seller to Reassign Service Rights to Another Customer (Input) (transassign) is used by the seller to ask the Transmission Services Information Provider to reassign some or all of the seller's rights to Services to another Customer, for seller confirmed transactions that have occurred off the OASIS Node. The TSIP shall assign a unique ASSIGNMENT_REF in the response (acknowledgment) and enter the status CONFIRMED as viewed in the transstatus Template. SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. 
Only the following fields may be redefined in a continuation record for the transassign input Template: CAPACITY_REQUESTED, CAPACITY_GRANTED, START_TIME, STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. The REQUEST_TYPE of "RESALE" is implied through execution of this Template.

Template: transassign

1. Input

CONTINUATION_FLAG

CUSTOMER_CODE

CUSTOMER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

START_TIME

STOP_TIME

OFFER_PRICE

ANC_SVC_LINK (optional: filled in if assignment is different than original transmission reservation)

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

SELLER_REF

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

CUSTOMER_CODE

CUSTOMER_DUNS

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

SOURCE

SINK

CAPACITY_REQUESTED

CAPACITY_GRANTED (Total capacity being reassigned)

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

START_TIME

STOP_TIME

OFFER_PRICE

ANC_SVC_LINK

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

SELLER_REF

ERROR_MESSAGE

002-4.3.7
Seller Posting of Transmission Services

Sellers shall use the following Templates for providing sell information. They may aggregate portions of several previous purchases to create a new service, if this capability is provided by the Transmission Services Information Provider:

002-4.3.7.1
Seller Capacity Posting (transpost)

Seller Capacity Posting (Input) (transpost) shall be used by the Seller to post the transmission capacity for resale on to the OASIS Node.

SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request. 

Template: transpost

1. Input

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

INTERFACE_TYPE

CAPACITY

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

ANC_SVC_REQ

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

SALE_REF

OFFER_PRICE

SERVICE_DESCRIPTION

SELLER_COMMENTS

2. Response (Acknowledgment)

RECORD_STATUS

POSTING_REF (Assigned by TSIP)

PATH_NAME

POINT_OF_RECEIPT

POINT_OF_DELIVERY

INTERFACE_TYPE

CAPACITY

SERVICE_INCREMENT

TS_CLASS

TS_TYPE

TS_PERIOD

TS_WINDOW

TS_SUBCLASS

ANC_SVC_REQ

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

SALE_REF

OFFER_PRICE

SERVICE_DESCRIPTION

SELLER_COMMENTS

ERROR_MESSAGE

002-4.3.7.2
Seller Capacity Modify (transupdate)

Seller Capacity Modify (Input) (transupdate) shall be used by a Seller to modify a posting of transmission capacity.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: transupdate

1. Input

POSTING_REF (Must be provided)

CAPACITY (only if modified)

START_TIME (only if modified)

STOP_TIME (only if modified)

OFFER_START_TIME (only if modified)

OFFER_STOP_TIME(only if modified)

ANC_SVC_REQ (only if modified)

SALE_REF (only if modified)

OFFER_PRICE (only if modified)

SERVICE_DESCRIPTION (only if modified)

SELLER_COMMENTS (only if modified)

2. Response (acknowledgment)

RECORD_STATUS

POSTING_REF

CAPACITY

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

ANC_SVC_REQ

SALE_REF

OFFER_PRICE

SERVICE_DESCRIPTION

SELLER_COMMENTS

ERROR_MESSAGE

002-4.3.8
Purchase of Ancillary Services

002-4.3.8.1
Customer Requests to Purchase Ancillary Services (ancrequest)

Customer Requests to Purchase Ancillary Services (ancrequest) (Input, Template Upload) is used by the customer to request ancillary services that have been posted by a seller of those services. The response simply acknowledges that the Customer's request was received by the OASIS Node. It does not imply that the Seller has received the request. The same requirements exist for the use of STATUS_NOTIFICATION as for transrequest. Submitting values into the reference Data Elements is optional.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request.
Supporting "profiles" of ancillary service, which request different capacities (and optionally price) for different time periods within a single request, is at the discretion of the Primary Provider. Continuation records may be used to indicate requests for these service profiles. Each segment of a profile is represented by the Data Elements CAPACITY, START_TIME, and STOP_TIME, which define the intervals in time overwhich a non-zero MW demand is being requested. The initial segment of a profile is defined by the CAPACITY, START_TIME and STOP_TIME Data Elements specified in the first/only record submitted; subsequent segments are specified in continuation records each containing the appropriate CAPACITY, START_TIME and STOP_TIME values defining the segment. Provider's may optionally support price negotiation on segments of a profiled reservation request. In this case, the BID_PRICE Data Element is also included in each continuation record. If the BID_PRICE Data Element is not specified in the continuation records, the BID_PRICE specified in the first/only record submitted will be applied to the entire reservation request.
The START_TIME and STOP_TIME indicate the requested period of service.
When the request is received at the OASIS Node, the TSIP assigns a unique ASSIGNMENT_REF value and queues the request with a time stamp. The STATUS for the request is QUEUED. 
Specification of a value YES in the PRECONFIRMED field authorizes the TSIP to automatically change the STATUS field in the ancstatus Template to CONFIRMED when that request is ACCEPTED by the Seller.

Template: ancrequest

1. Input

CONTINUATION_FLAG

SELLER_CODE

SELLER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

POSTING_REF (Optionally set by Customer)

SALE_REF (Optionally set by Customer)

REQUEST_REF (Optionally set by Customer)

DEAL_REF (Optionally set by Customer)

CUSTOMER_COMMENTS

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

SELLER_CODE

SELLER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

STATUS_NOTIFICATION

START_TIME

STOP_TIME

BID_PRICE

PRECONFIRMED

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

CUSTOMER_COMMENTS

ERROR_MESSAGE

002-4.3.8.2
Ancillary Services Status (ancstatus)

Ancillary Services Status (ancstatus) is used to provide the status of purchase requests regarding the ancillary services that are available for sale by all Service Providers. Continuation records may be returned in association with a ancillary services reservation to convey information regarding: 1) sale or assignment of ancillary rights on the secondary market (reassignments), or 2) profiled requests. When an ancillary reservation request is the result of a sale or assignment of transmission or ancillary rights on the secondary market, the identity of the original reservation, capacity, and time interval over which rights are assigned to the new reservation are defined by the Data Elements REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. These Data Elements will be returned in continuation records when more than one set of reassignment information is associated with a reservation. If the reservation has an associated profile (support for reservation profiles is at the discretion of the Provider), CAPACITY, START_TIME and STOP_TIME for the segments of the profile will be returned in continuation records. If the Provider supports negotiation of price on each segment of a profiled request, BID_PRICE and OFFER_PRICE will also be returned with CAPACITY, START_TIME and STOP_TIME.
The AFFILIATE_FLAG will be set by the TSIP to indicate whether or not the Customer is an affiliate of the Seller.
The values of STATUS and processes for setting STATUS are the same as for transstatus.

Template: ancstatus

1. Query

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

CONTROL_AREA

ANC_SERVICE_POINT

SERVICE_INCREMENT

AS_TYPE

STATUS

START_TIME

STOP_TIME

START_TIME_QUEUED

STOP_TIME_QUEUED

NEGOTIATED_PRICE_FLAG

ASSIGNMENT_REF

REASSIGNED_REF

SALE_REF

REQUEST_REF

DEAL_REF

TIME_OF_LAST_UPDATE (only if TIME_OF_LAST_UPDATE is posted by record)

2. Response

CONTINUATION_FLAG

ASSIGNMENT_REF

SELLER_CODE

SELLER_DUNS

CUSTOMER_CODE

CUSTOMER_DUNS

AFFILIATE_FLAG (Set by TSIP)

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

CEILING_PRICE

OFFER_PRICE

BID_PRICE

PRICE_UNITS

PRECONFIRMED

POSTING_REF

SALE_REF

REQUEST_REF

DEAL_REF

NEGOTIATED_PRICE_FLAG ("L" if Seller accepted Price is lower than OFFER_PRICE in ancoffering Template; "H" if higher; otherwise blank)

STATUS

STATUS_NOTIFICATION

STATUS_COMMENTS

TIME_QUEUED

RESPONSE_TIME_LIMIT

TIME_OF_LAST_UPDATE

PRIMARY_PROVIDER_COMMENTS

SELLER_COMMENTS

CUSTOMER_COMMENTS

SELLER_NAME

SELLER_PHONE

SELLER_FAX

SELLER_EMAIL

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

002-4.3.8.3
Seller Approves Ancillary Service (ancsell)

Seller Approves Ancillary Service (ancsell) is used by the Seller to confirm acceptance after the Seller has approved the purchase of ancillary service.
The following fields may be submitted in continuation records for the ancsell Template to convey ancillary rights from multiple original ancillary service reservations to this new reservation: REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME. If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), OFFER_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Seller's offer price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. OFFER_PRICE associated with each segment of a profiled request must match the corresponding BID_PRICE for the reservation request's STATUS to be set to ACCEPTED.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancsell

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

OFFER_PRICE

STATUS 

STATUS_COMMENTS

NEGOTIATED_PRICE_FLAG

RESPONSE_TIME_LIMIT

SELLER_COMMENTS

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

OFFER_PRICE

STATUS 

STATUS_COMMENTS

NEGOTIATED_PRICE_FLAG

RESPONSE_TIME_LIMIT

SELLER_COMMENTS

REASSIGNED_REF

REASSIGNED_CAPACITY

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

ERROR_MESSAGE

002-4.3.8.4
Customer accepts Ancillary Service (anccust)

Customer accepts Ancillary Service (anccust) is used by the customer to confirm acceptance after the seller has approved the purchase of ancillary service. 
The Customer must change the BID_PRICE to be equal to the OFFER_PRICE before the reservation request's STATUS can be set to CONFIRMED. If the Provider/Seller supports the negotiation of price on individual segments of a profiled reservation request (support for reservation profiles is at the discretion of the Provider), BID_PRICE, START_TIME and STOP_TIME Data Elements may be submitted in continuation records to modify the Customer's bid price associated with the profile segment(s) corresponding to START_TIME and STOP_TIME. BID_PRICE associated with each segment of a profiled request must match the corresponding OFFER_PRICE for the reservation request's STATUS to be set to CONFIRMED.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request.

Template: anccust

1. Input

CONTINUATION_FLAG

ASSIGNMENT_REF (Required)

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS

STATUS_COMMENTS

STATUS_NOTIFICATION (If left blank, then the original URL from the ancrequest will be used

CUSTOMER_COMMENTS

2. Response (Acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF

START_TIME

STOP_TIME

REQUEST_REF

DEAL_REF

BID_PRICE

PRECONFIRMED

STATUS 

STATUS_COMMENTS

STATUS_NOTIFICATION

CUSTOMER_COMMENTS

ERROR_MESSAGE

002-4.3.8.5
Seller to Reassign Service Rights to Another Customer (ancassign)

Seller to Reassign Service Rights to Another Customer (Input) (ancassign) is used by the seller to ask the Transmission Services Information Provider to reassign some or all of the seller's rights to Services to another Customer, for seller confirmed transactions that have occurred off the OASIS Node.
Implementation of this Template is optional until such time that a business case requiring the use of such a facility to selectively reassign ancillary services is clearly demonstrated.
The TSIP shall assign a unique ASSIGNMENT_REF in the response (acknowledgment) and enter the status CONFIRMED as viewed in the ancstatus Template.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.
Only the following fields may be redefined in a continuation record for the ancassign input Template:  CAPACITY, START_TIME, STOP_TIME, REASSIGNED_REF, REASSIGNED_CAPACITY, REASSIGNED_START_TIME, and REASSIGNED_STOP_TIME.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancassign

1. Input

CONTINUATION_FLAG

CUSTOMER_CODE

CUSTOMER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_PRICE

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

2. Response (acknowledgment)

RECORD_STATUS

CONTINUATION_FLAG

ASSIGNMENT_REF (assigned by TSIP)

CUSTOMER_CODE

CUSTOMER_DUNS

CONTROL_AREA

ANC_SERVICE_POINT

CAPACITY (Total capacity being reassigned)

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_PRICE

POSTING_NAME

REASSIGNED_REF

REASSIGNED_CAPACITY (Capacity being sold from each previous assignment)

REASSIGNED_START_TIME

REASSIGNED_STOP_TIME

SELLER_COMMENTS

ERROR_MESSAGE

002-4.3.9
Seller Posting of Ancillary Services

002-4.3.9.1
Seller Ancillary Services Posting (ancpost)

Seller Ancillary Services Posting (ancpost) is used by the Seller to post information regarding the different services that are available for sale by third party Sellers of ancillary services. 
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancpost

1. Input

CONTROL_AREA

SERVICE_DESCRIPTION

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

SALE_REF

OFFER_PRICE

SELLER_COMMENTS

2. Response (acknowledgment)

RECORD_STATUS

POSTING_REF (Assigned by TSIP)

CONTROL_AREA

SERVICE_DESCRIPTION

CAPACITY

SERVICE_INCREMENT

AS_TYPE

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

SALE_REF

OFFER_PRICE

SELLER_COMMENTS

ERROR_MESSAGE

002-4.3.9.2
Seller Modify Ancillary Services Posting (ancupdate)

Seller Modify Ancillary Services Posting (ancupdate) is used by the Seller to modify posted information regarding ancillary services that are available for sale by a third party Seller.
SELLER_CODE and SELLER_DUNS shall be determined from the registered connection used to input the request.

Template: ancupdate

1. Input

POSTING_REF (Required)

CAPACITY (only if modified)

SERVICE_DESCRIPTION (only if modified)

START_TIME (only if modified)

STOP_TIME (only if modified)

OFFER_START_TIME (only if modified)

OFFER_STOP_TIME (only if modified)

SALE_REF (only if modified)

OFFER_PRICE (only if modified)

SELLER_COMMENTS (only if modified)

2. Response (acknowledgment)

RECORD_STATUS

POSTING_REF

CAPACITY

SERVICE_DESCRIPTION

START_TIME

STOP_TIME

OFFER_START_TIME

OFFER_STOP_TIME

SALE_REF

OFFER_PRICE

SELLER_COMMENTS

ERROR_MESSAGE

002-4.3.10
Informal Messages

002-4.3.10.1
Provider/Customer Want Ads and Informal Message Posting Request (messagepost)

Provider/Customer Want Ads and Informal Message Posting Request (messagepost) is used by Providers and Customers who wish to post a message. The valid entries for CATEGORY shall be defined by providers and shall be listed in the List of CATEGORY Template.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request. 
When the OASIS node is out of service and transmission requests are received by the TP by phone or fax then the CATEGORY=OASIS_MAINTENANCE_OUTAGE will be used to document the outage.  The VALID_FROM_TIME will be the time the outage started and VALID_TO_TIME will be the time the outage ended. A list of all transactions that occurred during the outage and entered afterwards will be available through a query of the transstatusTemplate using START_TIME_QUEUED=<VALID_FROM_TIME> and STOP_TIME_QUEUED=<VALID_TO_TIME>.

Template: messagepost

1. Input

SUBJECT

CATEGORY

VALID_FROM_TIME

VALID_TO_TIME

MESSAGE (must be specified)

2. Response (acknowledgment)

RECORD_STATUS

POSTING_REF (assigned by information provider)

SUBJECT

CATEGORY

VALID_FROM_TIME

VALID_TO_TIME

MESSAGE

ERROR_MESSAGE

002-4.3.10.2
Message (message)

Message (message) is used to view a posted Want Ad or Informal Message. The CATEGORY Data Element can be queried.

Template: message

1. Query

CUSTOMER_CODE

CUSTOMER_DUNS

POSTING_REF

CATEGORY

VALID_FROM_TIME

VALID_TO_TIME

TIME_POSTED

2. Response

CUSTOMER_CODE

CUSTOMER_DUNS

POSTING_REF

SUBJECT

CATEGORY

VALID_FROM_TIME

VALID_TO_TIME

TIME_POSTED

CUSTOMER_NAME

CUSTOMER_PHONE

CUSTOMER_FAX

CUSTOMER_EMAIL

MESSAGE

002-4.3.10.3
Provider/Sellers Message Delete Request (messagedelete)

Provider/Sellers Message Delete Request (messagedelete) is used by Providers and Sellers who wish to delete their message. The POSTING_REF number is used to determine which message.
CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request.

Template: messagedelete

1. Input

POSTING_REF

2. Response (Acknowledgment)

RECORD_STATUS

POSTING_REF

ERROR_MESSAGE

002-4.3.10.4
Personnel Transfers (personnel)

The personnel Template is used to indicate when personnel are transferred between the merchant function and the Transmission Provider function as required by FERC Statutes and Regulations (18 CFR 37.4(b)(2)) .

Template: personnel

1. Query

TIME_OF_LAST_UPDATE

START_TIME_POSTED

STOP_TIME_POSTED

2. Response

POSTING_NAME

EMPLOYEE_NAME

FORMER_POSITION

FORMER_COMPANY

FORMER_DEPARTMENT

NEW_POSITION

NEW_COMPANY

NEW_DEPARTMENT

DATE_TIME_EFFECTIVE

TIME_POSTED

TIME_OF_LAST_UPDATE

002-4.3.10.5
Discretion (discretion)

The discretion Template is used to describe the circumstances when discretion was exercised in applying terms of the tariff, as described in the FERC Statutes and Regulations (18 CFR 37.4(b)(5)(iii)).

Template: discretion

1. Query

START_TIME_POSTED

STOP_TIME_POSTED

START_TIME

STOP_TIME

SERVICE_TYPE

SERVICE_NAME

TIME_OF_LAST_UPDATE

2. Response

POSTING_NAME

RESPONSIBLE_PARTY_NAME (name of person granting discretion)
SERVICE_TYPE (ancillary or transmission)
SERVICE_NAME (make consistent with offering Templates)
TARIFF_REFERENCE

START_TIME

STOP_TIME

DISCRETION_DESCRIPTION

TIME_POSTED

TIME_OF_LAST_UPDATE

002-4.3.10.6
Standards of Conduct (stdconduct)

The stdconduct Template indicates when information is disclosed in a manner contrary to the standards of conduct, as described in the FERC Statutes and Regulations (18 CFR 37.4(b)(4)(ii)).

Template: stdconduct

1. Query

START_TIME_POSTED

STOP_TIME_POSTED

TIME_OF_LAST_UPDATE

2. Response

POSTING_NAME

RESPONSIBLE_PARTY_NAME

STANDARDS_OF_CONDUCT_ISSUES

TIME_POSTED

TIME_OF_LAST_UPDATE

002-4.3.11
Audit Log

The OASIS audit log report facility shall be implemented by the definition of the following Templates:

transofferingaudit

 - audit counterpart to transoffering

ancofferingaudit

 - audit counterpart to ancoffering

scheduledetailaudit
 - audit counterpart to scheduledetail

securityaudit

 - audit counterpart to security

systemdataaudit

 - audit counterpart to systemdata

transstatusaudit

 - audit counterpart to transstatus

ancstatusaudit

 - audit counterpart to ancstatus

personnelaudit

 - audit counterpart to personnel

discretionaudit

 - audit counterpart to discretion

stdconductaudit

 - audit counterpart to stdconduct

Each of these audit Templates is an extension to the OASIS Template definitions of their non-audit counterparts. The requirements for implementation of the audit Templates is defined in the following sections. 

002-4.3.11.1
Query Variables

Each of the audit Templates defined shall support exactly the same set of Query Variables as defined for their non-audit Template counterpart. As with the standard Template definitions, audit reports may be downloaded in Comma Separated Value (CSV) format by the specification of the OUTPUT_FORMAT=DATA Query Variable, or may be viewed using a web browser when OUTPUT_FORMAT=HTML is specified.

002-4.3.11.2
Audit Report Response Format

Audit report information shall be returned in response to a valid query request made to any of the audit Templates defined. Query variables may be specified as allowed by each individual Template and shall have the effect of limiting the scope of audit data returned to that set of information selected by that combination of additional Query Variables.

The response to an audit query shall consist of ordered sets of information reflecting both the current information as posted on OASIS and the full history of changes made to that information. These ordered sets of information are organized around the individual postings or "records" returned in response to the applicable non-audit Template. For example, execution of the transstatus (or ancstatus) Template returns a set of individual records identified by unique ASSIGNMENT_REF. The transstatusaudit Template response is then organized by ASSIGNMENT_REF and would show all changes made to those Data Elements associated with each individual ASSIGNMENT_REF record.
Execution of the transoffering (or ancoffering or systemdata) Template returns a set of individual records identified by unique POSTING_REF. The transofferingaudit Template response is then organized by POSTING_REF and would show all changes made to those Data Elements associated with each individual POSTING_REF record.
The specific audit report response format is detailed in the following sections.

002-4.3.11.3
Comma Separated Value (CSV) Format

A CSV formatted audit Template response shall comply with all the general provisions and specifications defined previously for a CSV formatted response. The CSV response records shall be  organized in sets of records containing both the latest information posted on OASIS and all changes made to that information over time. 

002-4.3.11.3.1

CSV Response Header Records

The following additional Data Element names shall be included as the first set of Data Elements in the  COLUMN_HEADERS record and the corresponding Data Element values shall be included in each subsequent Data Record (row) returned in the audit response:
RECORD_TYPE

TIME_OF_LAST_UPDATE

MODIFYING_COMPANY_CODE

MODIFYING_NAME
These Data Elements shall precede the standard Data Elements associated with the specific Template being invoked.

The RECORD_TYPE Data Element shall take on one of the following restricted values:

I - denotes a record of information as it appeared on its initial Insertion (posting) on OASIS

U - denotes a record of information as it appeared immediately following an Update to the posted information

D - denotes a record of any Deleted information as it last appeared on OASIS.

The TIME_OF_LAST_UPDATE Data Element shall contain the time that the Template Data Elements were inserted, updated or deleted to the values reported in that record (row) of the response. This Data Element is identical to the standard Template TIME_OF_LAST_UPDATE Data Element, and is included as part of the fixed audit specific Data Element columns to aid users in sorting the audit response records.
The MODIFYING_COMPANY_CODE and MODIFYING_NAME Data Elements shall contain the identity of the entity (by the appropriate 4-6 character customer/provider code) and the person that inserted, updated or deleted the Data Elements to the values reported in that record (row) of the response. In the event the modification of posted information cannot be associated with a specific OASIS user (e.g., as a result of an automated back-end process), the MODIFYING_NAME Data Element may be null.
Immediately following the MODIFYING_NAME column header, each of the standard non-audit counterpart Template's Data Elements shall be listed in the exact sequence defined for that non-audit Template.
Finally, OASIS implementations may include additional Data Elements identified by unique column headers appended after the fixed audit and standard Template Data Elements. These additional Data Elements may be used to convey implementation specific information maintained in the OASIS database in association with the data being audited.

002-4.3.11.3.2

CSV Data Records

In formatting an audit response, OASIS shall collect and order information into sets of Data Records (rows). Each set of records returned shall include a record corresponding to the information as original inserted into the OASIS database denoted by a RECORD_TYPE of "I", and as many additional records with RECORD_TYPE of "U" corresponding to each update made to that information over time. If applicable, a record may also be returned in the set with a RECORD_TYPE of "D" if the corresponding information was effectively deleted from the database. The number of sets of audit report records returned in response to an audit query shall be determined by the number and type of additional Template Query Variables specified by the user.

002-4.3.11.3.3

CSV Continuation Records

Continuation records are used in certain standard Phase 1-A Templates to report repeating Data Elements associated with a single OASIS transaction such as demand profiles or the reassignment of rights on the secondary market. The first (CONTINUATION_FLAG=N) record and all associated continuation (CONTINUATION_FLAG=Y) records shall be treated as a group when generating the response to an audit query. To minimize the volume of information reported in an audit response, implementations may elect to suppress repeating the contents of information contained in continuation records if none of the Data Elements associated with those continuation records were modified. If, however, the Data Element(s) to be reported by an audit record are contained in one or more of the continuation records (e.g., a change was made to a transmission reservation's demand profile), the first (CONTINUATION_FLAG=N) record followed by the entire group of continuation (CONTINUATION_FLAG=Y) records shall be reported.

002-4.3.11.3.4

CSV Response Header Records

Finally, OASIS implementations may include additional Data Elements identified by unique column headers appended after the fixed audit and standard Template Data Elements. These additional Data Elements may be used to convey implementation specific information maintained in the OASIS database in association with the data being audited.

002-4.3.11.4
HTML Output

Specification of the Query Variable OUTPUT_FORMAT=HTML shall minimally result in an audit report formatted identically to the CSV Format (OUTPUT_FORMAT=DATA) with the exception that the response shall be returned using the HTTP header "Content-type: text/plain" specification. This will result in the CSV Data Records being rendered in simple text within the user's web-browser. More sophisticated HTML formatted responses to audit queries may be provided by the TSIPs at their discretion.

002-4.3.11.5
Special Audit Template Considerations

Transoffering

The transoffering Template is used to convey information on transmission services offered for sale as well as the availability of transmission capability (TTC/ATC). The proposed audit reporting scheme may prove inadequate to generate audits of both the commercial aspects of offers posted on OASIS (i.e., price, etc.) and the reliability aspects associated with those offers (i.e., ATC) depending on how these two different types of information are represented internally by each OASIS node.
For those OASIS implementations that handle TTC/ATC information separately from the posting of commercial offers of service, audit reports generated by the transofferingaudit Template may be limited to only reporting changes to the Data Elements associated with the commercial aspects of the offer (e.g., OFFER_PRICE, OFFER_START_TIME, etc.), and may return a null value for the CAPACITY Data Element. These nodes shall use the systemdataaudit Template audit reporting facility to allow for the full auditing of changes made to TTC and ATC postings as required under Federal Regulations.

Scheduledetail

The scheduledetail Template combines information from one or more transmission reservations and transmission security event postings (e.g., TLRs) with information posted on actual scheduled use of the transmission system.Audit information related to changes made to a given transmission reservation shall be auditable using the transstatusaudit Template. Audit information related to the posting of transmission security events that led to a curtailment or interruption of service, or the denial of a request to schedule service shall be auditable using the securityaudit Template. Therefore, the scheduledetailaudit Template shall only be required to report changes to the following Data Elements associated with the scheduledetail Template:

TRANSACTION_ID

START_TIME

STOP_TIME

SCHEDULE_REQUESTED

SCHEDULE_GRANTED

ASSIGNMENT_REF

PROVIDER_ACTION

SCHEDULE_LIMIT

CURTAILMENT_OPTIONS

SECURITY_REF

002-4.4
FILE REQUEST AND FILE DOWNLOAD EXAMPLES

Appendix A, OASIS Technical Implementation Guidelines, contains examples of the types of interactions to be expected when executing both query/response and input/response templates.  Appendix A also contains a description of the various OASIS transaction business processes that are to be supported on OASIS.





1. 

2. 


















































1. 




2. 
















1. 









2. 
































































































































































































































































































002-4.5
INFORMATION SUPPORTED BY WEB PAGE

When a regulatory order requires informational postings on OASIS and there is no OASIS S&CP template to support the postings or it is deemed inappropriate to use a template, there shall be a reference in INFO.HTM to the required information, including, but not limited to, references to the following: 

· A common source of interconnection wide curtailment and interruption information, such as the NERC Transmission Loading Relief (TLR) web site.

· Information related to the Transmission Provider's methodology for computing and application of Capacity Benefit Margin (CBM) and Transmission Reliability Margin (TRM). If the Transmission Provider does not use CBM or TRM in their assessment of Available Transmission Capability (ATC), that information shall also be in INFO.HTM.

· The location of the list of system studies conducted. There shall be a reference in INFO.HTM to the location of the company’s organizational chart, job descriptions and personnel names as referenced in Section 3.4 k.

· Information on requesting the text file of the tariffs and service agreements.

For the purposes of this section, any link to required informational postings that can be accessed from INFO.HTM would be considered to have met the OASIS posting requirements, provided that the linked information meets all other OASIS accessability requirements.

002-5
PERFORMANCE REQUIREMENTS

A critical aspect of any system is its performance. Performance encompasses many issues, such as security, sizing, response to user requests, availability, backup, and other parameters that are critical for the system to function as desired. The following sections cover the performance requirements for the OASIS Nodes .

�








PAGE  
16
August 22, 2006

Version 2

